## Rate Analysis
CONSTRUCTION ESTIMATOR INDIA
⚡ ELECTRICAL RATE ANALYSIS TEMPLATE
Professional Rate Calculator for Contractors, Builders & Developers
📍 CITY SELECTION: |  | Mumbai |  | Labor Multiplier: |  | 1 |  | Min Profit Threshold: |  | 0.1
Item No. | Work Item | Category | Unit | Material Cost (₹) | Labor Cost (₹) | Subtotal (₹) | Overheads % | Overhead Amt (₹) | Profit % | Profit Amt (₹) | Final Rate (₹) | Profit Alert
1 | Light Point Wiring | Wiring | Point | 450 | 250 | 700 | 10% | 70 | 0.15 | 115.5 | 885.5 | ✅ OK
2 | Fan Point Wiring | Wiring | Point | 520 | 280 | 800 | 10% | 80 | 0.15 | 132 | 1012 | ✅ OK
3 | 5A Socket Point | Wiring | Point | 380 | 220 | 600 | 10% | 60 | 0.15 | 99 | 759 | ✅ OK
4 | 15A Socket Point | Wiring | Point | 480 | 250 | 730 | 10% | 73 | 0.15 | 120.45 | 923.45 | ✅ OK
5 | AC Point (1.5 Ton) | Wiring | Point | 1850 | 650 | 2500 | 12% | 300 | 0.18 | 504 | 3304 | ✅ OK
6 | DB Installation (4 Way) | Panel | Nos | 2800 | 800 | 3600 | 10% | 360 | 0.15 | 594 | 4554 | ✅ OK
7 | Earthing (Pipe Type) | Earthing | Nos | 3500 | 1200 | 4700 | 10% | 470 | 0.15 | 775.5 | 5945.5 | ✅ OK
8 | Conduit Wiring | Wiring | Meter | 85 | 45 | 130 | 10% | 13 | 0.15 | 21.45 | 164.45 | ✅ OK
📊 COST COMPARISON - YOUR RATE vs MARKET RATE
Item No. | Work Item | Your Rate (₹) | Market Rate (₹) | Difference (₹) | Diff % | Status
1 | Light Point Wiring | 885.5 | 850 | 35.5 | 4.18% | ✅ COMPETITIVE
2 | Fan Point Wiring | 1012 | 950 | 62 | 6.53% | ✅ COMPETITIVE
3 | 5A Socket Point | 759 | 700 | 59 | 8.43% | ✅ COMPETITIVE
4 | 15A Socket Point | 923.45 | 900 | 23.45 | 2.61% | ✅ COMPETITIVE
5 | AC Point (1.5 Ton) | 3304 | 3200 | 104 | 3.25% | ✅ COMPETITIVE
6 | DB Installation (4 Way) | 4554 | 4200 | 354 | 8.43% | ✅ COMPETITIVE
7 | Earthing (Pipe Type) | 5945.5 | 5500 | 445.5 | 8.1% | ✅ COMPETITIVE
8 | Conduit Wiring | 164.45 | 120 | 44.45 | 37.04% | ⚠️ OVERPRICED
💡 Enter market benchmark rates in column D to compare your rates against market standards

## Material Breakdown
📦 MATERIAL BREAKDOWN ANALYSIS
Detailed Material Cost Analysis with Wastage & Transportation
S.No | Material Name | Brand/Make | Unit | Qty | Unit Rate (₹) | Amount (₹) | Wastage % | Transport (₹) | Total Cost (₹)
1 | PVC Conduit Pipe 25mm | Precision/Finolex | Meter | 100 | 28 | 2800 | 5% | 50 | 2990
2 | 1.5 sq mm FR Wire | Havells/Polycab | Meter | 500 | 12 | 6000 | 5% | 50 | 6350
3 | 2.5 sq mm FR Wire | Havells/Polycab | Meter | 300 | 18 | 5400 | 5% | 50 | 5720
4 | 4 sq mm FR Wire | Havells/Polycab | Meter | 100 | 32 | 3200 | 5% | 50 | 3410
5 | Modular Switch 6A | Legrand/Anchor | Nos | 50 | 45 | 2250 | 5% | 50 | 2412.5
6 | Modular Socket 6A | Legrand/Anchor | Nos | 30 | 85 | 2550 | 5% | 50 | 2727.5
7 | MCB 16A SP | Havells/ABB | Nos | 10 | 180 | 1800 | 5% | 50 | 1940
8 | Distribution Board 4 Way | Havells/IndoAsian | Nos | 2 | 850 | 1700 | 5% | 50 | 1835
[8 empty] | TOTAL: | 27385

## Labor Cost
👷 LABOR COST CALCULATOR
City-wise Labor Rates & Productivity Analysis
📍 CITY-WISE DAILY WAGE RATES (₹) | [8 empty] | 📊 CITY MULTIPLIERS
City | Helper | Electrician | Supervisor | [5 empty] | City | Labor Mult | Material Mult
Mumbai | 600 | 900 | 1400 | [5 empty] | Mumbai | 1 | 1
Delhi | 550 | 850 | 1300 | [5 empty] | Delhi | 0.95 | 0.98
Bangalore | 580 | 880 | 1350 | [5 empty] | Bangalore | 0.97 | 0.99
Chennai | 500 | 800 | 1200 | [5 empty] | Chennai | 0.88 | 0.95
Kolkata | 480 | 750 | 1150 | [5 empty] | Kolkata | 0.83 | 0.92
Hyderabad | 520 | 820 | 1250 | [5 empty] | Hyderabad | 0.9 | 0.96
Pune | 550 | 850 | 1300 | [5 empty] | Pune | 0.95 | 0.98
Ahmedabad | 500 | 780 | 1180 | [5 empty] | Ahmedabad | 0.87 | 0.94
[9 empty] | Tier 2 Cities | 0.75 | 0.9
[9 empty] | Custom | 1 | 1
🔧 LABOR CALCULATION FOR WORK ITEMS
S.No | Work Item | Unit | Helper Hrs | Electrician Hrs | Supervisor Hrs | Helper Cost | Electrician Cost | Total Labor (₹)
1 | Light Point Wiring | Point | 0.5 | 1 | 0.1 | 37.5 | 112.5 | 167.5
2 | Fan Point Wiring | Point | 0.5 | 1.2 | 0.1 | 37.5 | 135 | 190
3 | Socket Point (5A) | Point | 0.4 | 0.8 | 0.1 | 30 | 90 | 137.5
4 | AC Point | Point | 1 | 2.5 | 0.2 | 75 | 281.25 | 391.25
5 | DB Installation | Nos | 1.5 | 3 | 0.5 | 112.5 | 337.5 | 537.5
6 | Earthing Installation | Nos | 4 | 6 | 1 | 300 | 675 | 1150

## Rate Summary
📊 RATE SUMMARY DASHBOARD
Consolidated Rate Overview for Quick Reference
TOTAL ITEMS |  | AVG PROFIT % |  | TOTAL MATERIAL |  | TOTAL LABOR |  | Component | Amount (₹)
8 |  | 0.15375 |  | 10065 |  | 3695 |  | Material Cost | 10065
[8 empty] | Labor Cost | 3695
Work Item | Category | Unit | Material (₹) | Labor (₹) | Overheads (₹) | Profit (₹) | Final Rate (₹)
Light Point Wiring | Wiring | Point | 450 | 250 | 70 | 115.5 | 885.5
Fan Point Wiring | Wiring | Point | 520 | 280 | 80 | 132 | 1012
5A Socket Point | Wiring | Point | 380 | 220 | 60 | 99 | 759
15A Socket Point | Wiring | Point | 480 | 250 | 73 | 120.45 | 923.45
AC Point (1.5 Ton) | Wiring | Point | 1850 | 650 | 300 | 504 | 3304
DB Installation (4 Way) | Panel | Nos | 2800 | 800 | 360 | 594 | 4554
Earthing (Pipe Type) | Earthing | Nos | 3500 | 1200 | 470 | 775.5 | 5945.5
Conduit Wiring | Wiring | Meter | 85 | 45 | 13 | 21.45 | 164.45
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
|  | GRAND TOTAL: | 10065 | 3695 | 1426 | 2361.9 | 17547.9

## Rate Library
Cities | Categories | Units | Brands
Mumbai | Wiring | Point | Havells
Delhi | Panel | Nos | Polycab
Bangalore | Earthing | Meter | Finolex | Material (₹) | Labor (₹) | Total (₹) | Remarks | Standard Ref | Last Updated
Chennai | Fixture | Sq.m | Anchor
Kolkata | Cable | Set | Schneider | 420 | 230 | 650 | With 1.5mm wire | CPWD DSR | 2024
Hyderabad | Safety | Lot | Legrand | 480 | 280 | 760 | With 1.5mm wire | CPWD DSR | 2024
Pune | Automation | RM | ABB | 550 | 300 | 850 | With 1.5mm wire | CPWD DSR | 2024
Ahmedabad | 5A Socket Outlet | Wiring | IndoAsian | 380 | 220 | 600 | With 1.5mm wire | CPWD DSR | 2024
Tier 2 Cities | 15A Socket Outlet | Wiring | Crompton | 480 | 260 | 740 | With 2.5mm wire | CPWD DSR | 2024
Custom | AC Point (1.5 Ton) | Wiring | Other | 1850 | 650 | 2500 | With 4mm wire | CPWD DSR | 2024
7 | AC Point (2 Ton) | Wiring | Point | 2200 | 750 | 2950 | With 6mm wire | CPWD DSR | 2024
8 | Geyser Point | Wiring | Point | 980 | 420 | 1400 | With 4mm wire | CPWD DSR | 2024
🔲 PANEL & DISTRIBUTION
1 | DB 4 Way SP MCB | Panel | Nos | 2800 | 800 | 3600 | With MCBs | IS Standard | 2024
2 | DB 8 Way SP MCB | Panel | Nos | 4500 | 1200 | 5700 | With MCBs | IS Standard | 2024
3 | DB 12 Way TP MCB | Panel | Nos | 8500 | 2000 | 10500 | With MCBs | IS Standard | 2024
4 | Main Switch 63A DP | Panel | Nos | 1800 | 450 | 2250 | Havells/ABB | IS Standard | 2024
⚡ EARTHING & SAFETY
1 | Pipe Earthing (GI) | Earthing | Nos | 3500 | 1200 | 4700 | 40mm GI Pipe | IS 3043 | 2024
2 | Plate Earthing (Copper) | Earthing | Nos | 8500 | 2500 | 11000 | 600x600mm | IS 3043 | 2024
3 | Chemical Earthing | Earthing | Nos | 12000 | 3000 | 15000 | With compound | IS 3043 | 2024
4 | Lightning Arrester | Safety | Nos | 15000 | 4000 | 19000 | Complete set | IS Standard | 2024

## Instructions
📖 USER GUIDE & INSTRUCTIONS
Complete Guide to Using the Electrical Rate Analysis Template
📋 SHEET OVERVIEW
1. Rate Analysis | Main calculation sheet - Enter work items, costs, and calculate final rates with overheads and profit
2. Material Breakdown | Detailed material cost analysis with wastage percentage and transportation costs
3. Labor Cost | City-wise labor rates and work-item labor calculations based on productivity
4. Rate Summary | Dashboard view - Consolidated summary of all rates with KPI metrics
5. Rate Library | Reference library of standard electrical rates (CPWD/PWD based)
6. Instructions | This guide - How to use the template effectively
🔧 HOW TO USE
Step 1: Select your city from the City Selection dropdown in Rate Analysis sheet
Step 2: Enter work items in the Work Item column (B) - refer to Rate Library for standard items
Step 3: Select Category from dropdown (Wiring/Panel/Earthing/Fixture/Cable)
Step 4: Enter Material Cost (₹) in column E - use Material Breakdown for detailed calculation
Step 5: Enter Labor Cost (₹) in column F - refer to Labor Cost sheet for city-specific rates
Step 6: Set Overhead % (typically 8-12%) and Profit % (typically 10-20%)
Step 7: Final Rate calculates automatically in column L
Step 8: Review Rate Summary dashboard for consolidated view
💡 PRO TIPS
• Always include 3-5% material wastage in your estimates
• Update labor rates quarterly based on current market conditions
• Add transportation costs based on site distance from material source
• Keep minimum 10% profit margin for sustainability
• Use Rate Library as reference but adjust for local market conditions
• Review overhead costs: include site supervision, tools, safety equipment
• For tenders, add contingency of 5-10% for unforeseen work
📁 CATEGORIES |  | 📐 UNITS
Wiring |  | Point
Panel |  | Nos
Earthing |  | Meter
Fixture |  | Sq.m
Cable |  | Set
Safety |  | Lot
Automation |  | RM
Version 1.0 ¦ Electrical Rate Analysis Template for Indian Contractors ¦ All rates in INR (₹)