## Site Details
CONSTRUCTION ESTIMATOR INDIA
Electrical Safety Checklist Template
📋 PROJECT INFORMATION
Project Name: | [Enter Project Name] | Client Name: | [Enter Client Name]
Project Code: | [Enter Code] | Client Contact: | [Phone/Email]
Location/Address: | [Enter Location] | Contractor Name: | [Enter Contractor]
City/State: | [Enter City, State] | Contractor License No.: | [Enter License]
Start Date: | [DD/MM/YYYY] | Site Engineer: | [Enter Name]
Expected Completion: | [DD/MM/YYYY] | Safety Officer: | [Enter Name]
Project Value (₹): | [Enter Amount] | Electrical Supervisor: | [Enter Name]
Project Type: | [Residential/Commercial/Industrial] | Emergency Contact: | [Enter Number]
🔍 INSPECTION DETAILS
Last Inspection Date: | [Date] | Next Inspection Due: | [Date]
Inspection Frequency: | [Daily/Weekly/Monthly] | Inspector Name: | [Name]
Current Safety Score: | 0% | Compliance Status: | ❌ Critical
Total Items Checked: | 0 | Non-Compliant Items: | 0
📜 CERTIFICATIONS & COMPLIANCE
Electrical License Valid: | [Yes/No] | License Expiry: | [Date]
IS Standards Followed: | [IS 732/IS 3043] | Last Audit Date: | [Date]
Safety Training Status: | [Completed/Pending] | Training Date: | [Date]
Insurance Valid: | [Yes/No] | Policy Number: | [Number]
© Construction Estimator India ¦ Professional Safety Templates

## Safety Checklist
ELECTRICAL SAFETY CHECKLIST
As per IS 732, IS 3043, and Indian Electricity Rules 2005
S.No. | Category | Checklist Item | Status | Priority | IS Standard | Checked By | Date | Remarks
1 | General Safety | All electrical installations comply with IS 732 standards | Pending | High | IS 732
2 | General Safety | Electrical drawings and layouts available on site | Pending | High | IE Rules
3 | General Safety | Licensed electrical contractor employed | Pending | High | IE Act 2003
4 | General Safety | Electrical safety signage displayed at all locations | Pending | Medium | IS 2551
5 | General Safety | Emergency shutdown procedures posted | Pending | High | IS 14665
6 | General Safety | First aid kit available near electrical panels | Pending | High | Factory Act
7 | General Safety | Fire extinguishers (CO2/DCP) near electrical installations | Pending | High | IS 2190
8 | General Safety | Rubber mats placed in front of switchboards | Pending | High | IS 5424
9 | Earthing | Earthing system as per IS 3043 specifications | Pending | High | IS 3043
10 | Earthing | Earth resistance less than 1 ohm for substations | Pending | High | IS 3043
11 | Earthing | Earth resistance less than 5 ohms for general installations | Pending | High | IS 3043
12 | Earthing | Earth pits accessible and maintained | Pending | Medium | IS 3043
13 | Earthing | Earth continuity verified and documented | Pending | High | IS 3043
14 | Earthing | Equipment body earthing completed | Pending | High | IS 3043
15 | Earthing | Neutral earthing properly done | Pending | High | IS 3043
16 | Earthing | Lightning arrestor earthing verified | Pending | High | IS 2309
17 | Wiring | Cables sized as per load calculations (IS 732) | Pending | High | IS 732
18 | Wiring | Cable insulation rating appropriate for voltage | Pending | High | IS 694
19 | Wiring | No exposed wires or damaged insulation | Pending | High | IE Rules
20 | Wiring | Cable trays and conduits properly installed | Pending | Medium | IS 9537
21 | Wiring | Wire color coding as per IS standard | Pending | Medium | IS 732
22 | Wiring | Junction boxes properly covered and labeled | Pending | Medium | IS 5133
23 | Wiring | Underground cables at proper depth with markers | Pending | High | IS 1255
24 | Wiring | Cable joints properly made with approved materials | Pending | High | IS 8130
25 | Protection | MCBs/MCCBs rated correctly for circuits | Pending | High | IS 8828
26 | Protection | ELCB/RCCB installed (30mA sensitivity) | Pending | High | IS 12640
27 | Protection | Isolators provided at main distribution points | Pending | High | IS 13947
28 | Protection | Surge protection devices installed | Pending | Medium | IS 3070
29 | Protection | Overload protection functioning | Pending | High | IS 13947
30 | Protection | Short circuit protection adequate | Pending | High | IS 13947
31 | Protection | Phase sequence protection for 3-phase motors | Pending | Medium | IS 8623
32 | Protection | Auto-changeover for backup power tested | Pending | Medium | IS 8623
33 | Panels | Panel boards IP rated for location (IP54 outdoor) | Pending | High | IS 13947
34 | Panels | Proper ventilation in panel enclosures | Pending | Medium | IS 8623
35 | Panels | Bus bar connections tight and insulated | Pending | High | IS 8623
36 | Panels | Panel door interlocks functioning | Pending | High | IS 8623
37 | Panels | Circuit identification labels on all breakers | Pending | Medium | IS 8623
38 | Panels | Metering instruments calibrated | Pending | Medium | IS 722
39 | PPE | Insulated gloves available (Class 0 min) | Pending | High | IS 4770
40 | PPE | Safety shoes with insulated soles provided | Pending | High | IS 15298
41 | PPE | Face shields for arc flash protection | Pending | High | IS 8521
42 | PPE | Insulated tools used by electricians | Pending | High | IS 10293
43 | PPE | Voltage tester/detector available | Pending | High | IS 10810
44 | PPE | Lock Out Tag Out (LOTO) system implemented | Pending | High | OSHA
45 | PPE | Workers trained on electrical hazards | Pending | High | Factory Act

## Action Tracker
ACTION TRACKER - NON-COMPLIANCE ITEMS
Track and resolve electrical safety non-compliance issues
Action ID | Date Raised | Non-Compliance Description | Checklist Ref | Priority | Assigned To | Target Date | Status | Completion | Corrective Action Taken
ACT-001 | 15/01/2025 | Earth pit resistance exceeds 5 ohms | Item #11 | High | Ravi Kumar | 20/01/2025 | Open
ACT-002 | 15/01/2025 | Missing rubber mats at DB panels | Item #8 | High | Site Team | 18/01/2025 | Open
ACT-003 | 14/01/2025 | RCCB not installed in wet areas | Item #26 | Critical | Electrician | 16/01/2025 | In Progress |  | Procurement done
ACT-004 | 13/01/2025 | Cable color coding not followed | Item #21 | Medium | Wiring Team | 22/01/2025 | Open
ACT-005 | 12/01/2025 | Missing circuit labels on panel | Item #37 | Low | Helper | 25/01/2025 | Completed | 14/01/2025 | Labels applied

## Inspection Log
INSPECTION LOG REGISTER
Record of all electrical safety inspections conducted
Log ID | Date | Time | Inspector | Type | Checked | Compliant | Non-Comp | Score % | Remarks | Signature
INS-001 | 10/01/2025 | 09:00 | Suresh M. | Daily | 45 | 40 | 5 | 88.9% | General inspection
INS-002 | 11/01/2025 | 09:30 | Suresh M. | Daily | 45 | 42 | 3 | 93.3% | Earthing focus
INS-003 | 12/01/2025 | 10:00 | Rajesh K. | Weekly | 45 | 38 | 7 | 84.4% | Full audit
INS-004 | 15/01/2025 | 09:15 | Suresh M. | Daily | 45 | 41 | 4 | 91.1% | Post correction check

## Dashboard
ELECTRICAL SAFETY DASHBOARD
Real-time Safety Compliance Overview
📋 TOTAL ITEMS |  | ✓ COMPLIANT | ✗ NON-COMPLIANT |  | 📊 COMPLIANCE SCORE |  | ⚠ OPEN ACTIONS | 📅 LAST INSPECTION
45 |  | 40 | 5 |  | 88.9% |  | 4 | 15/01/25
COMPLIANCE BY CATEGORY |  |  | ACTIONS BY PRIORITY |  |  | ACTION STATUS
Category | Compliant | Non-Compliant | Priority | Count |  | Status | Count
General Safety | 7 | 1 | Critical | 1 |  | Open | 3
Earthing | 6 | 2 | High | 2 |  | In Progress | 1
Wiring | 7 | 1 | Medium | 1 |  | Completed | 1
Protection | 7 | 1 | Low | 1
Panels | 6 | 0
PPE | 7 | 0

## Compliance Report
ELECTRICAL SAFETY COMPLIANCE REPORT
Summary Report for Management Review
Report Date: | 03/04/2026
Reporting Period: | [Start] to [End]
Prepared By: | [Name]
📊 EXECUTIVE SUMMARY
Metric | Value | Target | Status | Trend
Overall Compliance Score | 88.9% | 95% | Below Target | ↑ Improving
Critical Issues Open | 1 | 0 | Needs Action | ↓ Decreased
Days Since Last Incident | 45 | 30+ | Good | ↑ Increasing
Training Completion | 92% | 100% | Near Target | → Stable
Inspection Frequency | Daily | Daily | On Track | → Maintained
📋 CATEGORY-WISE COMPLIANCE
Category | Total Items | Compliant | Non-Compliant | Score
General Electrical Safety | 8 | 7 | 1 | 87.5%
Earthing & Grounding | 8 | 6 | 2 | 75.0%
Wiring & Cabling | 8 | 7 | 1 | 87.5%
Switchgear & Protection | 8 | 7 | 1 | 87.5%
Panels & Enclosures | 6 | 6 | 0 | 100.0%
PPE & Personnel Safety | 7 | 7 | 0 | 100.0%
TOTAL | 45 | 40 | 5 | 88.9%
Prepared By: _________________ |  | Reviewed By: _________________
Date: _________________ |  | Date: _________________

## Instructions
📚 ELECTRICAL SAFETY CHECKLIST - USER GUIDE
How to Use This Template Effectively
🏗️ GETTING STARTED
━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━
1. Start with the 'Site Details' sheet - Fill in all project and contractor information
2. Ensure all certifications and licenses are current and documented
3. Assign a Safety Officer and Electrical Supervisor for the project
✅ USING THE SAFETY CHECKLIST
━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━
1. Go through each checklist item systematically during inspections
2. Update the 'Status' column: Compliant, Non-Compliant, N/A, or Pending
3. Mark the Priority as: Critical, High, Medium, or Low
4. Reference the IS Standard codes for compliance requirements
5. Record the inspector name and date for accountability
6. Add remarks for any observations or follow-up actions needed
⚠️ ACTION TRACKER USAGE
━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━
1. Create an action item for each non-compliance found
2. Assign a responsible person and target completion date
3. Track status: Open → In Progress → Completed
4. Document corrective actions taken for audit purposes
5. Review open actions weekly with the project team
📊 DASHBOARD & REPORTING
━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━
1. Dashboard provides real-time compliance overview
VALID DROPDOWN VALUES
3. Use charts to identify problem areas quickly
Safety Checklist - Category: | General Safety, Earthing, Wiring, Protection, Panels, PPE, Temporary Power, Lighting, Fire Safety, High Voltage, Testing, Documentation
Safety Checklist - Status: | ✔ Compliant, ⚠ Attention, ❌ Non-Compliant, Pending, N/A
Safety Checklist - Priority: | Critical, High, Medium, Low
Action Tracker - Priority: | Critical, High, Medium, Low
Action Tracker - Status: | Open, In Progress, Completed, Cancelled
Inspection Log - Type: | Daily, Weekly, Monthly, Quarterly, Annual, Special
• IS 732 - Electrical Wiring in Buildings
• IE Rules 2005 - Indian Electricity Rules
• IS 694 - PVC Insulated Cables
• IS 8828 - Miniature Circuit Breakers (MCBs)
• IS 12640 - Residual Current Devices (RCDs/ELCBs)
📞 EMERGENCY CONTACTS
━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━
• Electrical Emergency: Contact your local DISCOM
• Fire Emergency: 101
• Ambulance: 108
• Police: 100
© Construction Estimator India ¦ Professional Safety Templates ¦ www.constructionestimatorindia.com

## _DropdownLists
Status (Safety) | Category | Priority | Action Status | Inspection Type | Project Type | Yes/No/Expired | Training Status | Inspection Freq
✔ Compliant | General Safety | Critical | Open | Daily | Residential | Yes | Completed | Daily
⚠ Attention | Earthing | High | In Progress | Weekly | Commercial | No | Pending | Weekly
❌ Non-Compliant | Wiring | Medium | Completed | Monthly | Industrial | Expired | In Progress | Monthly
Pending | Protection | Low | Cancelled | Quarterly | Infrastructure
N/A | Panels |  |  | Annual | Mixed Use
| PPE |  |  | Special
Temporary Power
Lighting
Fire Safety
High Voltage
Testing
Documentation