## DASHBOARD
🏗️ CONSTRUCTION ESTIMATOR INDIA
Executive Project Dashboard
📋 PROJECT OVERVIEW |  |  | 💰 KEY FINANCIAL METRICS
Project Name |  |  | Total Material Cost
Client Name |  |  | Total Labor Cost | 0
Location |  |  | Total Overheads | 0
Project Type |  |  | Profit Amount | 0
Area (Sq Ft) |  |  | Total Project Cost | 0
Estimate Number |  | CEI-20260403-001 | Final Selling Price | 0
Estimate Date |  | 2026-04-03 | GST Amount (18%) | #VALUE!
Project Status |  |  | Grand Total with GST | #VALUE!
📊 COST BREAKDOWN (%) |  |  | 📈 PROJECT HEALTH
Material Cost % |  | 0 | Profit Status | 🟢 Excellent
Labor Cost % |  | 0 | Budget Status | 🟡 Slight Over
Overheads % |  | 0 | Load Requirement | Three Phase (3Ø)
Profit Margin % |  | 0.15 | MCB Recommendation | 100A
Cost per Sq Ft |  | Enter Area | Total Load (kW) | 14.42 kW
Chart Data (for visualization)
Category | Amount
Material | 0
Labor | 0
Overheads | 0
Profit | 0
Cost Category Comparison
Type | Material | Labor
Cost | 0 | 0
🔗 QUICK NAVIGATION
📋 PROJECT INFO - Enter project details and city selection
📊 BOQ - Create bill of quantities with items and rates
💰 PROFIT CALCULATOR - Set profit margins and view selling price
🧾 QUOTATION - Generate professional client quotation
⚠️ ALERTS & NOTIFICATIONS
⚠️ Please enter Project Name in PROJECT INFO
✅ Profit margin healthy
⚠️ Load exceeds 5kW - Three Phase recommended

## PROJECT INFO
🏗️ CONSTRUCTION ESTIMATOR INDIA
Project Information & Settings
📋 PROJECT DETAILS |  | 📍 CITY RATE MULTIPLIERS
Field | Value | City | Material Multiplier | Labor Multiplier
Estimate Number | CEI-20260403-001 | Delhi | 1.15 | 1.2
Project Name |  | Mumbai | 1.25 | 1.3
Client Name |  | Bangalore | 1.2 | 1.25
Client Contact |  | Chennai | 1.1 | 1.15
Project Location |  | Kolkata | 1.05 | 1.1
Project Type |  | Hyderabad | 1.12 | 1.18
Area (Sq Ft) |  | Pune | 1.15 | 1.2
Estimate Date | 2026-04-03 | Tier 2 | 1 | 1
Project Start Date |  | Custom | 1 | 1
Expected Completion
Project Status |  | ⚙️ APPLIED RATES
Selected City
|  | Material Multiplier | 1
|  | Labor Multiplier | 1

## BOQ
📋 BILL OF QUANTITIES (BOQ)
Electrical Work Estimation with City-Adjusted Rates
S.No. | Item Code | Description | Category | Unit | Quantity | Material Rate (₹) | Labor Rate (₹) | Material Cost (₹) | Labor Cost (₹) | Total Cost (₹)
1 | WR001 | Point Wiring (Light/Fan) | Wiring | Point |  | 350 | 250 | 0 | 0 | 0
2 | WR002 | Point Wiring (5A Socket) | Wiring | Point |  | 400 | 280 | 0 | 0 | 0
3 | WR003 | Point Wiring (15A Socket) | Wiring | Point |  | 550 | 320 | 0 | 0 | 0
4 | WR004 | Point Wiring (AC) | Wiring | Point |  | 1200 | 450 | 0 | 0 | 0
5 | WR005 | Point Wiring (Geyser) | Wiring | Point |  | 850 | 380 | 0 | 0 | 0
6 | CD001 | PVC Conduit 20mm (Concealed) | Conduit | Meter |  | 45 | 65 | 0 | 0 | 0
7 | CD002 | PVC Conduit 25mm (Concealed) | Conduit | Meter |  | 55 | 70 | 0 | 0 | 0
8 | DB002 | 6 Way SPN DB | DB | Nos |  | 1600 | 900 | 0 | 0 | 0
9 | DB006 | MCB SP 6-32A | DB | Nos |  | 180 | 50 | 0 | 0 | 0
10 | DB008 | RCCB 40A 30mA | DB | Nos |  | 1800 | 150 | 0 | 0 | 0
11 | ER001 | Copper Plate Earthing | Earthing | Nos |  | 4500 | 2500 | 0 | 0 | 0
12 | ER004 | Earth Wire (Per Meter) | Earthing | Meter |  | 45 | 25 | 0 | 0 | 0
13 | SW001 | Modular Switch 6A | Switches | Nos |  | 45 | 25 | 0 | 0 | 0
14 | SW003 | Modular Socket 6A 5Pin | Switches | Nos |  | 85 | 30 | 0 | 0 | 0
15 | SW006 | 2M Switch Plate | Switches | Nos |  | 65 | 20 | 0 | 0 | 0
16 | LT001 | LED Bulb 9W | Lighting | Nos |  | 120 | 30 | 0 | 0 | 0
17 | LT002 | LED Panel Light 12W Round | Lighting | Nos |  | 350 | 150 | 0 | 0 | 0
18 | LT006 | Ceiling Fan (Standard) | Lighting | Nos |  | 1800 | 350 | 0 | 0 | 0
19 | FX001 | Batten Holder | Fixtures | Nos |  | 35 | 20 | 0 | 0 | 0
20 | FX004 | Junction Box 3x3 | Fixtures | Nos |  | 25 | 15 | 0 | 0 | 0
21 | [5 empty] | 0 | 0 | 0 | 0 | 0
22 | [5 empty] | 0 | 0 | 0 | 0 | 0
23 | [5 empty] | 0 | 0 | 0 | 0 | 0
24 | [5 empty] | 0 | 0 | 0 | 0 | 0
25 | [5 empty] | 0 | 0 | 0 | 0 | 0
26 | [5 empty] | 0 | 0 | 0 | 0 | 0
27 | [5 empty] | 0 | 0 | 0 | 0 | 0
28 | [5 empty] | 0 | 0 | 0 | 0 | 0
29 | [5 empty] | 0 | 0 | 0 | 0 | 0
30 | [5 empty] | 0 | 0 | 0 | 0 | 0
31 | [5 empty] | 0 | 0 | 0 | 0 | 0
32 | [5 empty] | 0 | 0 | 0 | 0 | 0
33 | [5 empty] | 0 | 0 | 0 | 0 | 0
34 | [5 empty] | 0 | 0 | 0 | 0 | 0
35 | [5 empty] | 0 | 0 | 0 | 0 | 0
36 | [5 empty] | 0 | 0 | 0 | 0 | 0
37 | [5 empty] | 0 | 0 | 0 | 0 | 0
38 | [5 empty] | 0 | 0 | 0 | 0 | 0
39 | [5 empty] | 0 | 0 | 0 | 0 | 0
40 | [5 empty] | 0 | 0 | 0 | 0 | 0
41 | [5 empty] | 0 | 0 | 0 | 0 | 0
42 | [5 empty] | 0 | 0 | 0 | 0 | 0
43 | [5 empty] | 0 | 0 | 0 | 0 | 0
44 | [5 empty] | 0 | 0 | 0 | 0 | 0
45 | [5 empty] | 0 | 0 | 0 | 0 | 0
46 | [5 empty] | 0 | 0 | 0 | 0 | 0
SUMMARY
Total Material Cost | [7 empty] | 0
Total Labor Cost | [8 empty] | 0
GRAND TOTAL | [9 empty] | 0

## RATE ANALYSIS
📊 RATE ANALYSIS
Detailed Cost Breakdown with Wastage Calculations
S.No. | Item Name | Material Components | Qty per Unit | Material Rate (₹) | Labor Rate (₹) | Wastage % | Wastage Amount (₹) | Final Rate/Unit (₹)
1 | Light/Fan Point | 1.5mm wire (5m), PVC conduit (2m), Junction box, Accessories | 1 | 350 | 250 | 5% | 17.5 | 630
2 | 5A Socket Point | 1.5mm wire (6m), PVC conduit (2.5m), Socket, Plate, Accessories | 1 | 400 | 280 | 5% | 20 | 714
3 | 15A Socket Point | 2.5mm wire (6m), PVC conduit (2.5m), Socket, Plate, Accessories | 1 | 550 | 320 | 5% | 27.5 | 913.5
4 | AC Point | 4mm wire (8m), PVC conduit 25mm (4m), Isolator, Accessories | 1 | 1200 | 450 | 8% | 96 | 1782
5 | Geyser Point | 4mm wire (6m), PVC conduit 25mm (3m), MCB, Accessories | 1 | 850 | 380 | 8% | 68 | 1328.4
6 | PVC Conduit 20mm | Conduit pipe, Bends, Clips, Junction boxes | Per Meter | 45 | 65 | 10% | 4.5 | 121
7 | PVC Conduit 25mm | Conduit pipe, Bends, Clips, Junction boxes | Per Meter | 55 | 70 | 10% | 5.5 | 137.5
8 | 6 Way SPN DB | DB box, MCBs (6 nos), Bus bar, Wiring, Accessories | 1 | 1600 | 900 | 3% | 48 | 2575
9 | 8 Way SPN DB | DB box, MCBs (8 nos), Bus bar, Wiring, Accessories | 1 | 2200 | 1000 | 3% | 66 | 3296
10 | Copper Plate Earthing | Copper plate, GI pipe, Salt, Charcoal, Earth wire, Chamber | 1 | 4500 | 2500 | 5% | 225 | 7350
11 | GI Pipe Earthing | GI pipe, Salt, Charcoal, Earth wire, Chamber | 1 | 2800 | 1800 | 5% | 140 | 4830
12 | Chemical Earthing | Chemical electrode, Backfill compound, Chamber, Earth wire | 1 | 8500 | 3000 | 2% | 170 | 11730
13 | Modular Switch Installation | Switch, Plate frame, Screws, Wire termination | 1 | 45 | 25 | 3% | 1.35 | 72.1
14 | LED Panel Light 12W | Panel light, Driver, Wire, Mounting accessories | 1 | 350 | 150 | 2% | 7 | 510
15 | Ceiling Fan Installation | Fan, Clamp, Down rod, Canopy, Wiring | 1 | 1800 | 350 | 2% | 36 | 2193
16 | Main Supply Cable (per m) | 6mm cable, Cable ties, Glands, Terminations | Per Meter | 180 | 80 | 12% | 21.6 | 291.2
📈 ANALYSIS SUMMARY
Average Wastage % | [6 empty] | 5.5%
Items with High Wastage (>8%) | [6 empty] | 3
Total Items Analyzed | [6 empty] | 16

## MATERIAL COST
🔌 MATERIAL COST TRACKER
Track Material Purchases by Brand and Category
S.No. | Item Name | Brand | Unit | Quantity | Rate (₹) | Total Cost (₹)
1 | FR Wire 1.5 sq mm (90m coil) | Havells | Coil | 10 | 1850 | 18500
2 | FR Wire 2.5 sq mm (90m coil) | Havells | Coil | 5 | 2950 | 14750
3 | FR Wire 4 sq mm (90m coil) | Polycab | Coil | 3 | 4500 | 13500
4 | FR Wire 6 sq mm (45m coil) | Polycab | Coil | 2 | 3800 | 7600
5 | PVC Conduit 20mm (3m length) | Precision | Nos | 50 | 45 | 2250
6 | PVC Conduit 25mm (3m length) | Precision | Nos | 30 | 65 | 1950
7 | Modular Switch 6A | Anchor | Nos | 40 | 48 | 1920
8 | Modular Switch 16A | Anchor | Nos | 20 | 68 | 1360
9 | Modular Socket 6A 5Pin | Anchor | Nos | 25 | 95 | 2375
10 | Modular Socket 16A 5Pin | Anchor | Nos | 15 | 135 | 2025
11 | 4M Switch Plate | Anchor | Nos | 30 | 110 | 3300
12 | 6M Switch Plate | Anchor | Nos | 20 | 145 | 2900
13 | MCB SP 16A | Schneider | Nos | 12 | 195 | 2340
14 | MCB SP 32A | Schneider | Nos | 6 | 215 | 1290
15 | MCB DP 32A | Schneider | Nos | 4 | 385 | 1540
16 | RCCB 40A 30mA | Schneider | Nos | 2 | 1950 | 3900
17 | 6 Way SPN DB Box | Schneider | Nos | 1 | 1450 | 1450
18 | LED Panel Light 12W | Havells | Nos | 15 | 380 | 5700
19 | LED Panel Light 18W | Havells | Nos | 10 | 520 | 5200
20 | LED Tube Light 20W | Philips | Nos | 8 | 310 | 2480
21 | Ceiling Fan 1200mm | Havells | Nos | 6 | 1950 | 11700
22 | Exhaust Fan 6 inch | Havells | Nos | 4 | 720 | 2880
23 | Junction Box 3x3 | Anchor | Nos | 40 | 28 | 1120
24 | Junction Box 4x4 | Anchor | Nos | 20 | 38 | 760
25 | PVC Tape Roll | Anchor | Nos | 20 | 28 | 560
26 | Cable Tie Pack (100 nos) | Generic | Pack | 10 | 85 | 850
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
📊 MATERIAL COST SUMMARY
Total Material Cost | [5 empty] | 114200
Number of Items | [5 empty] | 26
📦 BRAND-WISE BREAKDOWN
Havells | [5 empty] | 58730
Polycab | [5 empty] | 21100
Finolex | [5 empty] | 0
Anchor | [5 empty] | 16320
Schneider | [5 empty] | 10520
Others | [5 empty] | 7530

## LABOR COST
👷 LABOR COST TRACKER
Track Labor Costs by Work Type and Category
S.No. | Work Type | Unit | Quantity | Rate (₹) | Total Cost (₹)
1 | Light/Fan Point Wiring | Point | 25 | 250 | 6250
2 | 5A Socket Point Wiring | Point | 15 | 280 | 4200
3 | 15A Socket Point Wiring | Point | 8 | 320 | 2560
4 | AC Point Wiring | Point | 4 | 450 | 1800
5 | Geyser Point Wiring | Point | 3 | 380 | 1140
6 | PVC Conduit Laying 20mm | Meter | 150 | 65 | 9750
7 | PVC Conduit Laying 25mm | Meter | 80 | 70 | 5600
8 | Main Supply Cable Laying | Meter | 50 | 80 | 4000
9 | Submain Cable Laying | Meter | 100 | 60 | 6000
10 | DB Installation (6 Way) | Nos | 1 | 900 | 900
11 | DB Installation (8 Way) | Nos | 1 | 1000 | 1000
12 | MCB Installation | Nos | 12 | 50 | 600
13 | RCCB Installation | Nos | 2 | 150 | 300
14 | Copper Plate Earthing | Nos | 1 | 2500 | 2500
15 | Earth Wire Laying | Meter | 30 | 25 | 750
16 | Switch/Socket Installation | Nos | 60 | 25 | 1500
17 | LED Panel Light Installation | Nos | 25 | 150 | 3750
18 | Ceiling Fan Installation | Nos | 6 | 350 | 2100
19 | Exhaust Fan Installation | Nos | 4 | 200 | 800
20 | Junction Box Installation | Nos | 40 | 15 | 600
21 | Testing & Commissioning | Lump Sum | 1 | 3500 | 3500
22 | Cable Termination | Nos | 20 | 35 | 700
23 | Chase Cutting (Wall) | Meter | 100 | 45 | 4500
24 | Chase Cutting (Ceiling) | Meter | 50 | 55 | 2750
25 | Supervision Charges | Day | 5 | 800 | 4000
26 | Helper/Assistant | Day | 10 | 450 | 4500
27
28
29
30
31
32
33
34
35
36
📊 LABOR COST SUMMARY
Total Labor Cost |  |  |  |  | 76050
Number of Work Items |  |  |  |  | 26
📋 CATEGORY-WISE BREAKDOWN
Wiring Work |  |  |  |  | 15950
Conduit/Cable Work |  |  |  |  | 26050
DB & MCB Work |  |  |  |  | 2800
Earthing Work |  |  |  |  | 3250
Fixture Installation |  |  |  |  | 8750
Other Work |  |  |  |  | 19250

## LOAD CALCULATOR
⚡ ELECTRICAL LOAD CALCULATOR
Calculate Total Load & Get MCB/Phase Recommendations
📊 APPLIANCE LOAD INPUTS
S.No. | Appliance Type | Typical Wattage | Quantity | Total Watts | Diversity Factor | Effective Load (W)
1 | LED Lights (9W) | 9 | 15 | 135 | 0.8 | 108
2 | LED Panel Lights (12W) | 12 | 10 | 120 | 0.8 | 96
3 | LED Tube Lights (20W) | 20 | 8 | 160 | 0.8 | 128
4 | Ceiling Fans | 75 | 8 | 600 | 0.7 | 420
5 | Exhaust Fans | 40 | 4 | 160 | 0.6 | 96
6 | 5A Socket Points | 100 | 10 | 1000 | 0.3 | 300
7 | 15A Socket Points | 1000 | 6 | 6000 | 0.4 | 2400
8 | Split AC (1 Ton) | 1200 | 2 | 2400 | 0.8 | 1920
9 | Split AC (1.5 Ton) | 1800 | 2 | 3600 | 0.8 | 2880
10 | Split AC (2 Ton) | 2400 | 1 | 2400 | 0.8 | 1920
11 | Geyser (15L) | 2000 | 2 | 4000 | 0.5 | 2000
12 | Geyser (25L) | 3000 | 1 | 3000 | 0.5 | 1500
13 | Washing Machine | 500 | 1 | 500 | 0.5 | 250
14 | Refrigerator | 200 | 1 | 200 | 0.8 | 160
15 | Water Pump (0.5 HP) | 400 | 1 | 400 | 0.6 | 240
16
17
18
19
20
📈 LOAD SUMMARY
Total Connected Load |  |  |  | 24675 |  | 24.68 kW
Total Effective Load (with Diversity) |  |  |  | 14418 |  | 14.42 kW
Load in kVA (at 0.8 PF) |  |  |  | 18022.5 |  | 18.02 kVA
🔧 RECOMMENDATIONS
Main MCB Rating |  |  |  | 100A |  | Based on effective load
Phase Requirement |  |  |  | Three Phase (3Ø) |  | Above 5kW load
Recommended Earthing |  |  |  | 3+ Earthing Points |  | As per IS standards
Meter Type |  |  |  | Three Phase Meter |  | Contact DISCOM for sanctioned load
📋 MCB SIZING REFERENCE
Load Range (kW) | MCB Rating | Cable Size | Conduit Size
0 - 2 kW | 16A | 1.5 sq mm | 20mm
2 - 4 kW | 32A | 2.5 sq mm | 20mm
4 - 6 kW | 40A | 4 sq mm | 25mm
6 - 8 kW | 63A | 6 sq mm | 25mm
8 - 12 kW | 100A | 10 sq mm | 32mm
>12 kW | TPN DB | 16 sq mm+ | 32mm+

## PROFIT CALCULATOR
💰 PROFIT CALCULATOR
Calculate Project Profit & Selling Price
📊 COST SUMMARY
Total Material Cost (from BOQ) |  |  | 0 | Auto-linked
Total Labor Cost (from BOQ) |  |  | 0 | Auto-linked
Direct Cost Subtotal |  |  | 0
📋 OVERHEADS & INDIRECT COSTS
Transport & Logistics |  | 0.03 | 0
Site Supervision |  | 0.05 | 0
Tools & Equipment |  | 0.02 | 0
Consumables & Misc |  | 0.02 | 0
Contingency |  | 0.05 | 0
Total Overheads |  |  | 0 | 0%
💵 TOTAL PROJECT COST
Total Cost (Direct + Overheads) |  |  | 0
📈 PROFIT CALCULATION
Desired Profit Margin |  | 0.15 | 0 | Adjust as needed
Final Selling Price |  |  | 0
Profit Amount |  |  | 0 | ✔️ OK
Cost per Sq Ft |  |  | Enter Area | Based on project area
📊 PROFIT ANALYSIS
Material Cost % |  | 0%
Labor Cost % |  | 0%
Overheads % |  | 0%
Profit % |  | 0%
🎯 QUICK PROFIT SCENARIOS
Profit % | Profit Amount | Selling Price | Cost/Sq Ft
10% | 0 | 0
15% | 0 | 0
20% | 0 | 0
25% | 0 | 0
✅ Profit margin is healthy.

## GST & BILLING
🧾 GST & BILLING
GST Calculation & Invoice Summary for Electrical Work
📋 HSN CODE REFERENCE FOR ELECTRICAL WORK
HSN Code | Description | GST Rate | CGST | SGST | IGST | Remarks
85444 | Electric Wires & Cables | 18% | 9% | 9% | 18% | Most common for wiring
85366 | Switches, Sockets, Plugs | 18% | 9% | 9% | 18% | Modular switches
85371 | Distribution Boards | 18% | 9% | 9% | 18% | DB Boxes, MCBs
85361 | MCB, MCCB, Fuses | 18% | 9% | 9% | 18% | Circuit protection
85363 | RCCB, RCBO | 18% | 9% | 9% | 18% | Earth leakage protection
85392 | LED Lights | 12% | 6% | 6% | 12% | LED bulbs, panels
84145 | Fans | 18% | 9% | 9% | 18% | Ceiling, exhaust fans
39172 | PVC Conduits | 18% | 9% | 9% | 18% | Rigid & flexible
85452 | Earthing Electrodes | 18% | 9% | 9% | 18% | Copper/GI plates
9954 | Electrical Installation Services | 18% | 9% | 9% | 18% | Labor charges (SAC)
💵 BILLING CALCULATION
Description | Amount (₹) | HSN/SAC | GST % | GST Amount | Total with GST | Notes
Material Supply | Auto-linked | 85444 | 0.18 | #VALUE! | #VALUE! | Wires, switches, etc.
Labor & Installation | Auto-linked | 9954 | 0.18 | #VALUE! | #VALUE! | Service charges (SAC)
Overheads & Profit | #VALUE! | 9954 | 0.18 | #VALUE! | #VALUE! | Supervision, profit
📊 BILLING SUMMARY
Subtotal (Before GST) |  |  |  | #VALUE!
Total GST (CGST + SGST) |  |  |  | #VALUE!
Grand Total (With GST) |  |  |  | #VALUE! | #VALUE!
🧾 INVOICE DETAILS
Invoice Number | INV-20260403-001
Invoice Date | 2026-04-03
Due Date | 2026-05-03
Payment Terms | 30 Days Net
Client GSTIN
Your GSTIN
Place of Supply | Same State
📑 TAX BREAKUP (For Same State Supply)
CGST @ 9% | #VALUE!
SGST @ 9% | #VALUE!
Total Tax | #VALUE!
Amount in Words: |  | (Amount will be converted to words)

## VENDOR COMPARISON
🏪 VENDOR COMPARISON
Compare Supplier Quotes & Find Best Prices
📊 MATERIAL PRICE COMPARISON
S.No. | Material Item | Unit | Vendor 1 Rate (₹) | Vendor 2 Rate (₹) | Vendor 3 Rate (₹) | Lowest Rate (₹) | Best Vendor
1 | FR Wire 1.5 sq mm (Coil) | Coil | 1850 | 1780 | 1920 | 1780 | Vendor 2
2 | FR Wire 2.5 sq mm (Coil) | Coil | 2950 | 2850 | 3100 | 2850 | Vendor 2
3 | FR Wire 4 sq mm (Coil) | Coil | 4500 | 4350 | 4650 | 4350 | Vendor 2
4 | PVC Conduit 20mm | Meter | 48 | 45 | 52 | 45 | Vendor 2
5 | PVC Conduit 25mm | Meter | 58 | 55 | 62 | 55 | Vendor 2
6 | Modular Switch 6A | Nos | 52 | 48 | 55 | 48 | Vendor 2
7 | Modular Switch 16A | Nos | 72 | 68 | 75 | 68 | Vendor 2
8 | 6A Socket 5Pin | Nos | 98 | 92 | 105 | 92 | Vendor 2
9 | 16A Socket 5Pin | Nos | 138 | 128 | 145 | 128 | Vendor 2
10 | MCB SP 16A | Nos | 195 | 185 | 210 | 185 | Vendor 2
11 | MCB DP 32A | Nos | 395 | 375 | 420 | 375 | Vendor 2
12 | RCCB 40A | Nos | 1980 | 1850 | 2100 | 1850 | Vendor 2
13 | 6 Way SPN DB | Nos | 1580 | 1450 | 1650 | 1450 | Vendor 2
14 | LED Panel 12W | Nos | 395 | 365 | 420 | 365 | Vendor 2
15 | Ceiling Fan 1200mm | Nos | 1980 | 1850 | 2100 | 1850 | Vendor 2
16
17
18
19
20
21
22
23
24
25
📋 VENDOR INFORMATION
Vendor | Company Name | Contact Person | Phone | Email | Location | Payment Terms | Delivery Days
Vendor 1
Vendor 2
Vendor 3
📈 COMPARISON SUMMARY
Total if All from Vendor 1 |  |  |  | 16291
Total if All from Vendor 2 |  |  |  | 15491
Total if All from Vendor 3 |  |  |  | 17064
Total if Best from Each |  |  |  | 15491
Potential Savings |  |  |  | 0

## COST TRACKING
📊 COST TRACKING
Track Actual Costs vs Estimates & Monitor Budget Overruns
💰 COST COMPARISON BY CATEGORY
S.No. | Cost Category | Estimated Cost (₹) | Actual Cost (₹) | Variance (₹) | % Overrun | Status
1 | Wiring Materials | 50000 | 48500 | -1500 | -0.03 | ✅ Under Budget
2 | Conduit & Pipes | 25000 | 27500 | 2500 | 0.1 | 📈 Slight Over
3 | Switches & Sockets | 35000 | 33000 | -2000 | -0.057143 | ✅ Under Budget
4 | Distribution Boards | 18000 | 19500 | 1500 | 0.083333 | 📈 Slight Over
5 | MCBs & RCCBs | 12000 | 11500 | -500 | -0.041667 | ✅ Under Budget
6 | Earthing | 15000 | 14800 | -200 | -0.013333 | ✅ Under Budget
7 | Lighting Fixtures | 45000 | 48000 | 3000 | 0.066667 | 📈 Slight Over
8 | Fans & Ventilation | 22000 | 21500 | -500 | -0.022727 | ✅ Under Budget
9 | Labor - Wiring | 35000 | 38000 | 3000 | 0.085714 | 📈 Slight Over
10 | Labor - Installation | 28000 | 29500 | 1500 | 0.053571 | 📈 Slight Over
11
12
13
14
15
16
17
18
19
20
📈 TRACKING SUMMARY
Total Estimated Cost |  | 285000
Total Actual Cost |  |  | 291800
Total Variance |  |  |  | 6800
Overall % Overrun |  |  |  |  | 0.02386
Budget Status | [5 empty] | 🟡 Slight Over
⚠️ BUDGET ALERTS
Items Over Budget |  | 5
Items Significantly Over (>10%) |  | 0
Largest Overrun Category |  | Lighting Fixtures
Largest Overrun Amount |  |  |  | 3000
📋 PROJECT PROGRESS
Budget Utilized % |  | 1.0239
Remaining Budget |  |  |  | 0
Additional Funds Needed |  |  |  | 6800

## QUOTATION
CONSTRUCTION ESTIMATOR INDIA
Professional Electrical Estimation & Contracting Services
GSTIN: [Your GSTIN] ¦ PAN: [Your PAN]
📧 info@constructionestimator.in ¦ 📞 +91 98765 43210
📋 QUOTATION / ESTIMATE
Quotation No: | CEI-20260403-001 | Date: | 2026-04-03
Valid Until: | 2026-05-03 | Reference: | Electrical Work
📋 CLIENT DETAILS
Client Name:
Project:
Location:
Project Type:
Area (Sq Ft):
💰 PROJECT COST SUMMARY
S.No. | Description |  | HSN/SAC | Amount (₹)
1 | Material Supply |  | 85444 | 0
2 | Labor & Installation Charges |  | 9954 | 0
3 | Overheads (Transport, Supervision, Tools) |  | 9954 | 0
4 | Profit Margin |  | - | 0
| SUBTOTAL (Before GST) |  |  | 0
| GST @ 18% |  |  | 0
| GRAND TOTAL (With GST) |  |  | 0
Amount in Words: | Indian Rupees (Amount to be written manually)
📝 SCOPE OF WORK
• Complete electrical wiring for the specified project area
• Installation of distribution boards, MCBs, and RCCBs as per load requirements
• Wiring points for lights, fans, sockets (5A & 15A), AC, and geyser
• PVC conduit laying (concealed/surface as specified)
• Earthing installation as per IS standards
• Installation of switches, sockets, and modular plates
• Testing, commissioning, and handover
• All materials as per ISI standards (Havells/Polycab/Anchor equivalent)
📋 TERMS & CONDITIONS
1. Payment Terms: 50% advance, 40% on material delivery, 10% on completion
2. Validity: This quotation is valid for 30 days from the date of issue
3. Warranty: 1 year warranty on workmanship, material warranty as per manufacturer
4. Escalation: Prices subject to change if material costs increase beyond 10%
5. Scope Changes: Any additional work will be charged separately at prevailing rates
6. Site Readiness: Civil work, plastering, and painting to be completed before electrical work
7. GST: GST @ 18% applicable on total contract value
8. Disputes: Subject to local jurisdiction
For Construction Estimator India |  | Client Acceptance
_________________________ |  | _________________________
Authorized Signatory |  | Client Signature & Date
Date: |  | Date:

## RATE LIBRARY
📚 RATE LIBRARY - INDIAN MARKET RATES
Base Rates (Tier 2 Cities) - Automatically adjusted by City Multiplier
Item Code | Category | Item Description | Unit | Material Rate (₹) | Labor Rate (₹) | Total Base Rate (₹) | Remarks
WR001 | Wiring | Point Wiring (Light/Fan) | Point | 350 | 250 | 600 | 1.5 sq mm FR wire
WR002 | Wiring | Point Wiring (5A Socket) | Point | 400 | 280 | 680 | 1.5 sq mm FR wire
WR003 | Wiring | Point Wiring (15A Socket) | Point | 550 | 320 | 870 | 2.5 sq mm FR wire
WR004 | Wiring | Point Wiring (AC) | Point | 1200 | 450 | 1650 | 4 sq mm FR wire
WR005 | Wiring | Point Wiring (Geyser) | Point | 850 | 380 | 1230 | 4 sq mm FR wire
WR006 | Wiring | Main Supply Cable (Per Meter) | Meter | 180 | 80 | 260 | 6 sq mm cable
WR007 | Wiring | Submain Cable (Per Meter) | Meter | 120 | 60 | 180 | 4 sq mm cable
CD001 | Conduit | PVC Conduit 20mm (Concealed) | Meter | 45 | 65 | 110 | ISI marked
CD002 | Conduit | PVC Conduit 25mm (Concealed) | Meter | 55 | 70 | 125 | ISI marked
CD003 | Conduit | PVC Conduit 32mm (Concealed) | Meter | 75 | 80 | 155 | ISI marked
CD004 | Conduit | Flexible Conduit 20mm | Meter | 35 | 45 | 80 | For bends
CD005 | Conduit | GI Conduit 20mm | Meter | 85 | 90 | 175 | Heavy duty
DB001 | DB | 4 Way SPN DB | Nos | 1200 | 800 | 2000 | With MCBs
DB002 | DB | 6 Way SPN DB | Nos | 1600 | 900 | 2500 | With MCBs
DB003 | DB | 8 Way SPN DB | Nos | 2200 | 1000 | 3200 | With MCBs
DB004 | DB | 12 Way TPN DB | Nos | 4500 | 1500 | 6000 | With MCBs
DB005 | DB | 16 Way TPN DB | Nos | 6500 | 1800 | 8300 | With MCBs
DB006 | DB | MCB SP 6-32A | Nos | 180 | 50 | 230 | Individual
DB007 | DB | MCB DP 6-32A | Nos | 350 | 60 | 410 | Individual
DB008 | DB | RCCB 40A 30mA | Nos | 1800 | 150 | 1950 | Earth leakage
ER001 | Earthing | Copper Plate Earthing | Nos | 4500 | 2500 | 7000 | 600x600x3mm
ER002 | Earthing | GI Pipe Earthing | Nos | 2800 | 1800 | 4600 | 40mm dia
ER003 | Earthing | Chemical Earthing | Nos | 8500 | 3000 | 11500 | Maintenance free
ER004 | Earthing | Earth Wire (Per Meter) | Meter | 45 | 25 | 70 | 8 SWG GI wire
SW001 | Switches | Modular Switch 6A | Nos | 45 | 25 | 70 | Standard brand
SW002 | Switches | Modular Switch 16A | Nos | 65 | 30 | 95 | Standard brand
SW003 | Switches | Modular Socket 6A 5Pin | Nos | 85 | 30 | 115 | With shutter
SW004 | Switches | Modular Socket 16A 5Pin | Nos | 120 | 35 | 155 | With shutter
SW005 | Switches | Bell Push Switch | Nos | 55 | 25 | 80 | Standard
SW006 | Switches | 2M Switch Plate | Nos | 65 | 20 | 85 | Cover plate
SW007 | Switches | 4M Switch Plate | Nos | 95 | 25 | 120 | Cover plate
SW008 | Switches | 6M Switch Plate | Nos | 125 | 30 | 155 | Cover plate
SW009 | Switches | 8M Switch Plate | Nos | 160 | 35 | 195 | Cover plate
LT001 | Lighting | LED Bulb 9W | Nos | 120 | 30 | 150 | B22 holder
LT002 | Lighting | LED Panel Light 12W Round | Nos | 350 | 150 | 500 | Surface/Recessed
LT003 | Lighting | LED Panel Light 18W Square | Nos | 480 | 180 | 660 | Surface/Recessed
LT004 | Lighting | LED Tube Light 20W | Nos | 280 | 100 | 380 | 4 feet
LT005 | Lighting | LED Strip Light (Per Meter) | Meter | 150 | 80 | 230 | Warm/Cool white
LT006 | Lighting | Ceiling Fan (Standard) | Nos | 1800 | 350 | 2150 | 1200mm sweep
LT007 | Lighting | Ceiling Fan (Premium) | Nos | 3200 | 400 | 3600 | BLDC motor
LT008 | Lighting | Exhaust Fan 6 inch | Nos | 650 | 200 | 850 | For bathroom
LT009 | Lighting | Exhaust Fan 9 inch | Nos | 950 | 250 | 1200 | For kitchen
FX001 | Fixtures | Batten Holder | Nos | 35 | 20 | 55 | B22
FX002 | Fixtures | Angle Holder | Nos | 40 | 25 | 65 | B22
FX003 | Fixtures | Pendant Holder | Nos | 55 | 30 | 85 | Decorative
FX004 | Fixtures | Junction Box 3x3 | Nos | 25 | 15 | 40 | PVC
FX005 | Fixtures | Junction Box 4x4 | Nos | 35 | 20 | 55 | PVC
AC001 | Accessories | PVC Tape (Roll) | Nos | 25 | 0 | 25 | Insulation
AC002 | Accessories | Cable Tie (Pack of 100) | Pack | 80 | 0 | 80 | 150mm
AC003 | Accessories | Wire Connector Strip | Nos | 15 | 5 | 20 | 12 way
AC004 | Accessories | Gland 20mm | Nos | 12 | 8 | 20 | PVC/Brass
AC005 | Accessories | Anchor Fastener | Nos | 8 | 5 | 13 | 8mm
⚠️ Note: These are base rates for Tier 2 cities. Actual rates will be multiplied by city-specific factors from PROJECT INFO sheet.

## INSTRUCTIONS
📖 HOW TO USE THIS TEMPLATE
Construction Estimator India - Step-by-Step User Guide
👋 WELCOME!
This premium electrical estimation template is designed for Indian contractors, builders, and developers. Follow this guide to create professional estimates, track costs, and generate client-ready quotations. The template uses INR (₹) currency and includes city-based rate adjustments for accurate pricing across India.
🚀 QUICK START (5 Steps to Your First Estimate)
STEP 1: Set Up Project Info
➡️ Go to PROJECT INFO sheet → Enter project name, client details, location (select city from dropdown), project type, and area in sq ft. The estimate number is auto-generated. City selection applies local rate multipliers automatically.
STEP 2: Create Bill of Quantities
➡️ Go to BOQ sheet → Enter item codes from RATE LIBRARY (e.g., WR001 for Light Point, WR002 for Power Point) → Enter quantities → Costs calculate automatically with city-adjusted rates using VLOOKUP.
STEP 3: Review Profit & Pricing
➡️ Go to PROFIT CALCULATOR → Review total material and labor costs → Adjust overhead percentages (transport, supervision, contingency) if needed → Set your desired profit margin → Final selling price updates automatically.
STEP 4: Generate GST Invoice
➡️ Go to GST & BILLING → Review GST calculations (CGST/SGST split) → Select applicable GST rate → Add client GSTIN if applicable → Invoice details are auto-generated with proper HSN codes.
STEP 5: Print Quotation
➡️ Go to QUOTATION sheet → Review all auto-filled project details, pricing, and terms → Print or export as PDF for client presentation. Professional letterhead format included.
📋 SHEET-BY-SHEET GUIDE (All 13 Sheets Explained)
1. DASHBOARD
Your project command center! View all key metrics at a glance: total estimated cost, material vs labor breakdown, profit margin status, and visual charts. All data auto-populates from other sheets - no manual entry needed here.
2. PROJECT INFO
Start here! Enter project name, client name, address, phone, email, project type, and area (sq ft). Select your city from the dropdown to apply local rate multipliers. The city multiplier table (rows 20+) is fully editable.
3. BOQ (Bill of Quantities)
Your main estimation sheet. Column B: Enter item codes from RATE LIBRARY (WR001, WR002, etc.). Column F: Enter quantities. All rates, unit costs, and totals calculate automatically using VLOOKUP formulas.
4. RATE ANALYSIS
Understand your costs in detail. Shows material components, wastage percentages, labor components, and final rate per unit for each item. Useful for explaining costs to clients or for internal analysis.
5. MATERIAL COST
Track actual material purchases. Enter item names, select brands from dropdown (Havells, Finolex, etc.), quantities, and rates. Brand-wise summary table shows spending by manufacturer.
6. LABOR COST
Track labor expenses by work type (Wiring, Installation, Testing, etc.). Enter work descriptions, units, quantities, and per-unit rates. Category-wise breakdown helps identify labor cost drivers.
7. LOAD CALCULATOR
Essential for electrical safety! Enter appliance quantities (lights, fans, ACs, geysers, etc.). Calculator automatically recommends: MCB size, single vs three-phase, earthing requirements, and cable specifications.
8. PROFIT CALCULATOR
Set your pricing strategy. Adjust overhead percentages: Transport (default 3%), Supervision (5%), Contingency (5%). Set profit margin (default 15%). Warning indicator appears if profit drops below 10%.
9. GST & BILLING
India GST compliance made easy. Select HSN codes for electrical items, choose applicable GST rate (5%/12%/18%/28%), CGST and SGST auto-calculate. Add client GSTIN for B2B invoices.
10. VENDOR COMPARISON
Compare quotes from up to 3 suppliers for each item. Enter supplier names and quoted rates. Lowest rate automatically highlights in green. Total potential savings calculated instantly.
11. COST TRACKING
Monitor project budget health. Enter actual costs as work progresses. Variance (Estimated - Actual) and % overrun auto-calculate. Status indicators: ✅ Under Budget, ⚠️ Warning, 🔴 Over Budget.
12. QUOTATION
Professional client-ready quotation. Auto-fills from PROJECT INFO and PROFIT CALCULATOR. Includes itemized pricing, scope of work, terms and conditions, and payment schedule. Print or export as PDF.
13. RATE LIBRARY
Master database with 50+ electrical items. Contains: Item codes, descriptions, units, material rates, labor rates. Base rates are for Tier 2 cities - city multipliers adjust automatically. Fully editable.
💡 PRO TIPS FOR BETTER ESTIMATES
✅ Always start with PROJECT INFO - it sets up the foundation for all calculations and applies city-specific rates
✅ Use RATE LIBRARY item codes in BOQ for accurate rate lookup - don't type rates manually
✅ Adjust city multipliers in PROJECT INFO (rows 20+) if local rates differ significantly from defaults
✅ Review PROFIT CALCULATOR before finalizing quotation - ensure margins meet your business requirements
✅ Use VENDOR COMPARISON to negotiate better prices - showing competitive quotes helps in negotiations
✅ Track actual costs in COST TRACKING throughout the project to improve future estimates
✅ Update RATE LIBRARY quarterly as material and labor rates change in the market
✅ Use LOAD CALCULATOR for every project to ensure electrical safety compliance
⚠️ COMMON MISTAKES TO AVOID
❌ Don't skip PROJECT INFO - other sheets depend on city multipliers and project details
❌ Don't manually type rates in BOQ - always use item codes from RATE LIBRARY
❌ Don't forget to update quantities in LOAD CALCULATOR when scope changes
❌ Don't ignore variance warnings in COST TRACKING - address budget issues early
❌ Don't use outdated rates - update RATE LIBRARY with current market prices
📞 SUPPORT & CONTACT
For questions, customization requests, or technical support:
📧 Email: support@constructionestimator.in
📞 Phone: +91 98765 43210 (Mon-Sat, 9 AM - 6 PM IST)
🌐 Website: www.constructionestimator.in
Template Version: 1.0 ¦ Last Updated: January 2025 ¦ Designed for Indian Electrical Contractors