## Project Setup
CONSTRUCTION ESTIMATOR INDIA |  |  |  | DROPDOWN LISTS
⚡ Premium Electrical Takeoff System |  |  |  | Location Options | Project Types | Building Types | Wiring Methods | Brands
|  |  |  | Delhi | Residential | 1BHK | Concealed | Havells
📋 PROJECT INFORMATION |  |  |  | Mumbai | Commercial | 2BHK | Surface | Polycab
|  |  |  | Bangalore | Mixed Use | 3BHK | Mixed | Finolex
Project Name |  | Estimate Number | CEI-20260403-5911 | Chennai |  | 4BHK |  | Anchor
Client Name |  | Date | 2026-04-03 | Hyderabad |  | Villa/Bungalow |  | Schneider
Client Contact |  | Valid Until | 2026-05-03 | Kolkata |  | Duplex |  | Legrand
Project Address |  | Number of Floors |  | Pune |  | Office Space |  | Mixed
Location |  | Total Area (Sq Ft) |  | Tier 2 City |  | Retail Shop
Project Type |  | Prepared By |  | Custom |  | Showroom
Building Type |  | Approved By |  |  |  | Warehouse
Wiring Method |  | Version | 1 |  |  | Custom
⚙️ ESTIMATION SETTINGS
Preferred Brand | Havells | City Rate Multiplier | 1
Wastage % | 10 | Wire per Point (m) | 8
Labor Rate Multiplier | 1 | Conduit per Point (m) | 3
GST % | 18 | Profit Margin % | 15
Overhead % | 5 | Contingency % | 5
📊 PROJECT QUICK STATS (Auto-Updated)
Total Points | 4 | Total Material Cost | 75655
Total Wire (m) | 32 | Total Labor Cost | 20218.4
Total Conduit (m) | 12 | Grand Total | 129092.0566
Connected Load (kW) | 0 | Selling Price | 148455.8651
Phase Requirement | - | Cost per Sq Ft | 0

## Rate Library
📦 RATE LIBRARY - ELECTRICAL MATERIALS (INDIA)
Base rates for common electrical materials - Prices in INR (₹)
Cat Code | Category | Item Description | Unit | Base Rate (₹) | Havells | Polycab | Finolex | Notes
W01 | Wires | 1.0 sq mm FR PVC Wire (per m) | m | 12 | 14 | 13 | 11 | For lighting circuits
W02 | Wires | 1.5 sq mm FR PVC Wire (per m) | m | 18 | 21 | 19 | 17 | For power circuits
W03 | Wires | 2.5 sq mm FR PVC Wire (per m) | m | 28 | 32 | 30 | 26 | For AC/heavy loads
W04 | Wires | 4.0 sq mm FR PVC Wire (per m) | m | 45 | 52 | 48 | 42 | For sub-mains
W05 | Wires | 6.0 sq mm FR PVC Wire (per m) | m | 68 | 78 | 72 | 64 | For main supply
W06 | Wires | Earth Wire 2.5 sq mm (per m) | m | 25 | 29 | 27 | 23 | Green/Yellow
C01 | Conduits | 20mm PVC Conduit Pipe (per m) | m | 22 | 26 | 24 | 20 | ISI marked
C02 | Conduits | 25mm PVC Conduit Pipe (per m) | m | 32 | 37 | 34 | 29 | For multiple wires
C03 | Conduits | 20mm Flexible Conduit (per m) | m | 35 | 40 | 38 | 32 | For bends
C04 | Conduits | Conduit Bend 20mm | Nos | 8 | 10 | 9 | 7 | 90 degree
C05 | Conduits | Junction Box 3x3 | Nos | 25 | 30 | 28 | 23 | MS/PVC
S01 | Switches | 6A Switch | Nos | 45 | 85 | 65 | 42 | Modular type
S02 | Switches | 16A Switch | Nos | 65 | 120 | 95 | 60 | Modular type
S03 | Switches | 6A 2-Way Switch | Nos | 75 | 140 | 110 | 70 | For staircase
S04 | Sockets | 6A Socket | Nos | 55 | 100 | 80 | 50 | 3 pin
S05 | Sockets | 16A Socket | Nos | 85 | 155 | 125 | 78 | For AC/Geyser
S06 | Sockets | 6A+16A Combined Socket | Nos | 120 | 220 | 175 | 110 | Twin socket
M01 | MCB | SP MCB 6A | Nos | 120 | 180 | 150 | 110 | C-Curve
M02 | MCB | SP MCB 16A | Nos | 125 | 185 | 155 | 115 | C-Curve
M03 | MCB | SP MCB 32A | Nos | 145 | 210 | 175 | 135 | C-Curve
M04 | MCB | DP MCB 32A | Nos | 320 | 480 | 400 | 300 | For AC
M05 | MCB | TP MCB 63A | Nos | 850 | 1200 | 1050 | 780 | Main MCB
M06 | DB | 4-Way SPN DB | Nos | 450 | 680 | 560 | 420 | With cover
M07 | DB | 8-Way SPN DB | Nos | 750 | 1100 | 920 | 700 | With cover
M08 | DB | 12-Way TPN DB | Nos | 2200 | 3200 | 2800 | 2000 | Main DB
F01 | Fans | Ceiling Fan 1200mm | Nos | 1800 | 2500 | 2200 | 1650 | 48 inch
F02 | Fans | Exhaust Fan 150mm | Nos | 650 | 950 | 800 | 600 | 6 inch
F03 | Fans | Exhaust Fan 200mm | Nos | 850 | 1200 | 1050 | 780 | 8 inch
L01 | Lights | LED Panel 12W Square | Nos | 280 | 420 | 350 | 260 | Cool white
L02 | Lights | LED Panel 18W Round | Nos | 380 | 550 | 480 | 350 | Cool white
L03 | Lights | LED Tube 20W 4ft | Nos | 220 | 320 | 280 | 200 | With fixture
L04 | Lights | LED Bulb 9W | Nos | 85 | 120 | 105 | 78 | B22 base
A01 | Accessories | Modular Plate 1M | Nos | 35 | 65 | 50 | 32 | White
A02 | Accessories | Modular Plate 2M | Nos | 45 | 85 | 65 | 42 | White
A03 | Accessories | Modular Plate 4M | Nos | 75 | 140 | 110 | 70 | White
A04 | Accessories | Modular Plate 8M | Nos | 120 | 220 | 175 | 110 | White
A05 | Accessories | Gang Box 1M | Nos | 25 | 35 | 30 | 23 | Metal
A06 | Accessories | Gang Box 2M | Nos | 35 | 50 | 42 | 32 | Metal
A07 | Accessories | PVC Tape (per roll) | Nos | 25 | 35 | 30 | 23 | Insulation tape
LB01 | Labor | Wiring per point | Point | 180 | 180 | 180 | 180 | Incl. concealed
LB02 | Labor | Fan installation | Nos | 250 | 250 | 250 | 250 | Per fan
LB03 | Labor | Light installation | Nos | 150 | 150 | 150 | 150 | Per light
LB04 | Labor | DB installation | Nos | 500 | 500 | 500 | 500 | Per DB
LB05 | Labor | AC point | Point | 350 | 350 | 350 | 350 | 16A point

## Takeoff Input
📝 ELECTRICAL TAKEOFF INPUT SHEET
Enter quantities for each room/area - All calculations are automatic
🏠 ROOM-WISE ELECTRICAL POINTS
Room/Area | Floor | Light Points | Fan Points | 5A Sockets | 15A Sockets | AC Points | Geyser Points | Exhaust Fan | TV Points | Total Points | Remarks
Living Room | GF | 4 | 2 | 4 | 2 | 1 | 0 | 0 | 1 | 13 | Main area
Master Bedroom | FF | 2 | 1 | 2 | 1 | 1 | 0 | 1 | 1 | 8 | With attached bath
Bedroom 2 | FF | 2 | 1 | 2 | 1 | 1 | 0 | 0 | 1 | 7
Bedroom 3 | FF | 2 | 1 | 2 | 1 | 1 | 0 | 0 | 1 | 7
Kitchen | GF | 3 | 1 | 4 | 2 | 0 | 1 | 1 | 0 | 12 | Chimney point incl.
Dining | GF | 2 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 5
Bathroom 1 | GF | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 0 | 5 | Guest bath
Bathroom 2 | FF | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 0 | 5 | Master bath
Bathroom 3 | FF | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 0 | 5 | Common bath
Balcony 1 | GF | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 3
Balcony 2 | FF | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 3
Staircase | - | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2-way switch
Passage | GF | 2 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3
Utility/Store | GF | 1 | 0 | 2 | 1 | 0 | 0 | 0 | 0 | 4 | Washing machine
Parking | GF | 2 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 4 | Car charger point
TOTAL | 0 | 27 | 9 | 25 | 12 | 4 | 4 | 5 | 4

## Quantity Calc
🧮 QUANTITY CALCULATION SHEET
Auto-calculated quantities from Takeoff Input with wastage adjustment
⚙️ CALCULATION SETTINGS (Linked from Project Setup)
Setting | Value |  | Setting | Value
Total Points | 4 |  | Wire per Point (m) | 8
Light Points | 0 |  | Conduit per Point (m) | 3
Fan Points | 27 |  | Wastage % | 10
5A Socket Points | 9 |  | City Multiplier | 1
15A Socket Points | 25 |  | Preferred Brand | Havells
AC Points | 12
Geyser Points | 4
Exhaust Points | 4
TV/Data Points | 5
📦 MATERIAL QUANTITY BREAKDOWN
S.No | Item Description | Calculation Logic | Base Qty | Wastage % | Adjusted Qty | Unit | Notes
WIRES & CABLES
1 | 1.5 sq mm FR Wire (Light circuits) | Light Pts × Wire/Pt × 1.5 | 0 | 1000% | 0 | m | For lighting
2 | 2.5 sq mm FR Wire (Power circuits) | (5A+15A Pts) × Wire/Pt × 2 | 544 | 1000% | 598.4 | m | For sockets
3 | 4.0 sq mm FR Wire (AC/Geyser) | (AC+Geyser Pts) × Wire/Pt × 2.5 | 320 | 1000% | 352 | m | Heavy loads
4 | 6.0 sq mm FR Wire (Sub-main) | Total Pts / 10 × 15m | 15 | 1000% | 16.5 | m | Sub-main runs
5 | Earth Wire 2.5 sq mm | Total Pts × Wire/Pt × 0.5 | 16 | 1000% | 17.6 | m | Safety earthing
CONDUITS & PIPES
6 | 20mm PVC Conduit | Total Pts × Conduit/Pt | 12 | 1000% | 13.2 | m | Main conduit
7 | 25mm PVC Conduit (Heavy) | (AC+Geyser Pts) × Conduit/Pt | 48 | 1000% | 52.8 | m | For heavy cables
8 | Flexible Conduit 20mm | Total Pts × 0.5m | 2 | 1000% | 2.2 | m | For bends/turns
9 | Conduit Bends 20mm | Total Pts × 2 | 8 | 1000% | 9 | Nos | 90° bends
10 | Junction Boxes 3×3 | Total Pts × 0.75 | 3 | 1000% | 4 | Nos | MS/PVC boxes
SWITCHES & SOCKETS
11 | 6A Switches | Light Pts + Fan Pts | 27 | 1000% | 30 | Nos | Modular type
12 | 16A Switches | AC Pts + Geyser Pts | 16 | 1000% | 18 | Nos | Heavy load switch
13 | 6A Sockets | 5A Socket Points | 9 | 1000% | 10 | Nos | 3-pin socket
14 | 16A Sockets | 15A Socket Points | 25 | 1000% | 28 | Nos | AC/Geyser socket
15 | 2-Way Switches | Staircase Points | 2 | 1000% | 3 | Nos | For staircase
16 | TV/Data Sockets | TV/Data Points | 5 | 1000% | 6 | Nos | RJ45/Coax
MODULAR PLATES & GANG BOXES
17 | 2M Modular Plates | Light + Fan Pts | 27 | 1000% | 30 | Nos | For switches
18 | 4M Modular Plates | Socket Points | 34 | 1000% | 38 | Nos | For sockets
19 | 8M Modular Plates | AC + Combo Points | 8 | 1000% | 9 | Nos | For heavy points
20 | Gang Boxes (Metal) | Total Plates | 77 | 1000% | 85 | Nos | Concealed boxes
DISTRIBUTION & MCBs
21 | SP MCB 6A (Lights) | Ceil(Light Pts/8) | 0 | 0% | 0 | Nos | Per circuit
22 | SP MCB 16A (Power) | Ceil(Socket Pts/6) | 6 | 0% | 6 | Nos | Per circuit
23 | DP MCB 32A (AC/Geyser) | AC + Geyser Points | 16 | 0% | 16 | Nos | Individual MCB
24 | Distribution Board | Based on total MCBs | 16-Way | 0% | 1 | Nos | Size: 16-Way
ACCESSORIES
25 | PVC Insulation Tape | 1 roll per 10 points | 1 | 1000% | 2 | Rolls | Black tape
26 | Wire Clips/Clamps | Per meter conduit | 13.2 | 1000% | 15 | Nos | PVC clips
27 | Wall Plugs & Screws | 2 per point | 8 | 1000% | 9 | Nos | For mounting

## Material Sheet
💰 MATERIAL COST SHEET
Auto-calculated costs from Quantity Sheet with Rate Library prices
Havells Brand |  |  | City Multiplier: 1 |  | Date: 03-Apr-2026
🔌 WIRES & CABLES
S.No | Item Description | Unit | Quantity | Rate (₹) | Amount (₹) | Remarks
1 | 1.5 sq mm FR PVC Wire | m | 0 | 21 | 0 | For lighting circuits
2 | 2.5 sq mm FR PVC Wire | m | 598.4 | 32 | 19148.8 | For power circuits
3 | 4.0 sq mm FR PVC Wire | m | 352 | 52 | 18304 | For AC/Geyser
4 | 6.0 sq mm FR PVC Wire | m | 16.5 | 78 | 1287 | Sub-main runs
5 | Earth Wire 2.5 sq mm | m | 17.6 | 29 | 510.4 | Safety earthing
SUBTOTAL - WIRES |  |  |  |  | 39250.2
🔧 CONDUITS & PIPES
S.No | Item Description | Unit | Quantity | Rate (₹) | Amount (₹) | Remarks
6 | 20mm PVC Conduit Pipe | m | 13.2 | 26 | 343.2 | Main conduit
7 | 25mm PVC Conduit Pipe | m | 52.8 | 37 | 1953.6 | Heavy load areas
8 | Flexible Conduit 20mm | m | 2.2 | 40 | 88 | Bends/transitions
9 | Conduit Bends 20mm | Nos | 9 | 10 | 90 | Direction changes
10 | Junction Boxes 3×3 | Nos | 4 | 30 | 120 | Wire joints
SUBTOTAL - CONDUITS |  |  |  |  | 2594.8
🔲 SWITCHES & SOCKETS
S.No | Item Description | Unit | Quantity | Rate (₹) | Amount (₹) | Remarks
11 | 6A Switch Module | Nos | 30 | 85 | 2550 | Lights/fans
12 | 16A Switch Module | Nos | 18 | 120 | 2160 | AC/Geyser
13 | 6A Socket Module | Nos | 10 | 100 | 1000 | General use
14 | 16A Socket Module | Nos | 28 | 155 | 4340 | Heavy appliances
15 | 2-Way Switch Module | Nos | 3 | 140 | 420 | Staircase/corridor
16 | TV/Data Socket Module | Nos | 6 | 220 | 1320 | Entertainment
SUBTOTAL - SWITCHES & SOCKETS |  |  |  |  | 11790
📦 MODULAR PLATES & BOXES
S.No | Item Description | Unit | Quantity | Rate (₹) | Amount (₹) | Remarks
17 | 2 Module Plate | Nos | 30 | 65 | 1950 | Single switch
18 | 4 Module Plate | Nos | 38 | 85 | 3230 | Dual switch
19 | 6 Module Plate | Nos | 9 | 140 | 1260 | Combined points
20 | 8 Module Plate | Nos | 85 | 220 | 18700 | Multi-point
SUBTOTAL - PLATES & BOXES |  |  |  |  | 25140
⚡ DISTRIBUTION & MCBs
S.No | Item Description | Unit | Quantity | Rate (₹) | Amount (₹) | Remarks
21 | SP MCB 6A | Nos | 0 | 180 | 0 | Lighting
22 | SP MCB 16A | Nos | 6 | 185 | 1110 | Power circuits
23 | SP MCB 32A | Nos | 16 | 210 | 3360 | AC circuits
24 | DP MCB 40A | Nos | 1 | 480 | 480 | Main isolator
25 | RCCB 40A 30mA | Nos | 0 | 1200 | 0 | Earth leakage
SUBTOTAL - MCBs & DISTRIBUTION |  |  |  |  | 4950
🔩 ACCESSORIES & MISC
S.No | Item Description | Unit | Quantity | Rate (₹) | Amount (₹) | Remarks
26 | PVC Tape Roll | Nos | 2 | 35 | 70 | Insulation
27 | Cable Ties Pack | Pkt | 15 | 50 | 750 | Wire management
28 | Wall Plugs & Screws | Set | 9 | 35 | 315 | Mounting
SUBTOTAL - ACCESSORIES |  |  |  |  | 1135
💰 TOTAL MATERIAL COST |  |  |  |  | 84860

## BOQ
📋 BILL OF QUANTITIES (BOQ)
Complete electrical work estimation with material and labor breakdown
Item No | Description | Unit | Quantity | Rate (₹) | Material (₹) | Labor (₹) | Total (₹)
A. WIRING & CABLING WORKS
A.1 | 1.5 sq mm FR PVC Wiring (Light circuits) | m | 0 | 21 | 0 | 0 | 0
A.2 | 2.5 sq mm FR PVC Wiring (Power circuits) | m | 598.4 | 32 | 19148.8 | 6120 | 25268.8
A.3 | 4.0 sq mm FR PVC Wiring (AC/Heavy loads) | m | 352 | 52 | 18304 | 5600 | 23904
A.4 | 6.0 sq mm FR PVC Wiring (Sub-main) | m | 16.5 | 78 | 1287 | 0 | 1287
A.5 | Earth Wire 2.5 sq mm | m | 17.6 | 29 | 510.4 | 0 | 510.4
Subtotal - Wiring Works |  |  |  |  | 39250.2 | 11720 | 50970.2
B. CONDUIT & PIPING WORKS
B.1 | 20mm PVC Conduit Pipe | m | 13.2 | 26 | 343.2 | 198 | 541.2
B.2 | 25mm PVC Conduit Pipe | m | 52.8 | 37 | 1953.6 | 950.4 | 2904
B.3 | Flexible Conduit 20mm | m | 2.2 | 40 | 88 | 0 | 88
B.4 | Junction Boxes 3×3 | Nos | 4 | 30 | 120 | 100 | 220
Subtotal - Conduit Works |  |  |  |  | 2504.8 | 1248.4 | 3753.2
C. SWITCHES, SOCKETS & ACCESSORIES
C.1 | Modular Switch 6A | Nos | 30 | 85 | 2550 | 0 | 2550
C.2 | Modular Switch 16A | Nos | 18 | 120 | 2160 | 0 | 2160
C.3 | 5 Pin Socket 6A | Nos | 10 | 140 | 1400 | 0 | 1400
C.4 | 5 Pin Socket 16A | Nos | 28 | 100 | 2800 | 0 | 2800
C.5 | Modular Plate 8M | Nos | 3 | 220 | 660 | 0 | 660
Subtotal - Switches & Sockets |  |  |  |  | 9570 | 0 | 9570
D. DISTRIBUTION BOARD & MCBs
M06 | 8-Way Distribution Board | Nos | 0 | 680 | 0 | 0 | 0
M02 | MCB SP 16A | Nos | 30 | 185 | 5550 | 0 | 5550
M03 | MCB SP 32A | Nos | 38 | 210 | 7980 | 0 | 7980
M05 | RCCB 40A 30mA | Nos | 9 | 1200 | 10800 | 0 | 10800
Subtotal - Distribution Board |  |  |  |  | 24330 | 0 | 24330
E. FIXTURE INSTALLATION (Labor Only)
E.1 | Ceiling Fan Installation | Nos | 27 | 250 | 0 | 6750 | 6750
E.2 | Light Point Installation | Nos | 0 | 150 | 0 | 0 | 0
E.3 | DB Installation & Wiring | Nos | 1 | 500 | 0 | 500 | 500
Subtotal - Fixtures |  |  |  |  | 0 | 7250 | 7250
TOTAL MATERIAL COST |  |  |  |  | 75655 |  | 75655
TOTAL LABOR COST | [5 empty] | 20218.4 | 20218.4
SUB TOTAL |  |  |  |  | 75655 | 20218.4 | 95873.4
GST @ 18% | [6 empty] | 17257.212
GRAND TOTAL (Including GST) | [6 empty] | 113130.612

## Load Calculator
⚡ ELECTRICAL LOAD CALCULATOR
Connected load calculation with MCB & Phase recommendations
📊 APPLIANCE LOAD CALCULATION
Appliance Type | Count | Wattage (W) | Total Load (W)
Light Points (LED avg) | 0 | 60 | 0
Ceiling Fans | 27 | 75 | 2025
5A Socket Points (General) | 9 | 200 | 1800
15A Socket Points | 25 | 1500 | 37500
Air Conditioner Points (1.5 Ton) | 12 | 1500 | 18000
Geyser Points | 4 | 2000 | 8000
Exhaust Fans | 4 | 40 | 160
TV/Data Points | 5 | 150 | 750
TOTAL CONNECTED LOAD |  |  | 68235
🔌 LOAD SUMMARY & RECOMMENDATIONS
Total Connected Load | 68235 | Watts (W) | 68235 W
Total Connected Load | 68.235 | Kilowatts (kW) | 68.24 kW
Diversity Factor | 0.6 | (Typical 0.5-0.8) | Editable
Maximum Demand | 40.941 | kW (After Diversity) | 40.94 kW
Maximum Demand Current | 59.095 | Amperes (A) | 59.1 A
🔀 PHASE & SUPPLY RECOMMENDATION
Recommended Phase | Three Phase (3P) | Based on max demand | 415V Supply
Main MCB Rating | 63A | Recommended | TP MCB
Main RCCB Rating | 63A 30mA | Earth Leakage Protection | 30mA sensitivity
Supply Cable Size | 16 sq mm | Copper PVC | As per IE Rules
📦 DISTRIBUTION BOARD SIZING
Lighting Circuits | 0 | MCBs Required | 0 × 6A SP MCB
Power Circuits (5A) | 2 | MCBs Required | 2 × 16A SP MCB
Power Circuits (15A) | 7 | MCBs Required | 7 × 20A SP MCB
AC Circuits | 12 | Individual MCBs | 12 × 32A DP MCB
Geyser Circuits | 4 | Individual MCBs | 4 × 20A SP MCB
Total MCB Ways Required | 27 | +2 for RCCB & spare | 27 ways
Recommended DB Size | 20-Way | SPN Distribution Board | With TP Isolator
🔐 EARTHING & SAFETY
Earthing Type Required | Plate Earthing (2 Nos.) | IS 3043 Standard | GI Plate 600×600mm
Earth Electrode | GI Pipe or CI Plate | As per soil resistivity | Max 5 ohms
Earth Wire Size | 6 sq mm | Green/Yellow PVC | From DB to Earth

## Cost Summary
💰 COST SUMMARY & PROFIT CALCULATOR
Complete financial analysis with profit margin and selling price
📊 COST BREAKDOWN
Total Material Cost | 75655 | From BOQ Sheet
Total Labor Cost | 20218.4 | From BOQ Sheet
Sub Total (Material + Labor) | 95873.4 | Before overheads
➕ ADDITIONAL COSTS
Overhead Costs | 4793.67 | 5% of Subtotal
Contingency | 4793.67 | 5% of Subtotal
Transportation/Logistics | 1917.468 | 2% estimated
Site Supervision | 2021.84 | 10% of Labor
Total Additional Costs | 13526.648
🧾 TAX CALCULATION
Net Amount (Before Tax) | 109400.048 | Subtotal + Additional
GST Rate | 18 | %
GST Amount | 19692.0086 | On net amount
TOTAL PROJECT COST | 129092.0566 | Including all taxes
💹 PROFIT CALCULATOR
Desired Profit Margin | 15 | % (Editable in Project Setup)
Profit Amount | 19363.8085 | On total cost
SELLING PRICE | 148455.8651 | Total + Profit
Profit Margin Status | ✅ Good Margin
Profit per Point | 4840.9521 | ₹ per electrical point
📐 COST PER SQ FT ANALYSIS
Total Built-up Area | 0 | Sq Ft (from Project Setup)
Cost per Sq Ft (At Cost) | 0 | Without profit
Selling Price per Sq Ft | 0 | With profit
Industry Benchmark | ₹ 80 - ₹ 150 / Sq Ft | For residential electrical
Your Rate Comparison | Below Market Rate
📋 QUICK SUMMARY
Total Points | 4 | Connected Load (kW) | 68.235
Material Cost | 75655 | Labor Cost | 20218.4
Total Cost | 129092.0566 | Selling Price | 148455.8651
Profit Amount | 19363.8085 | Profit % | 15%
Cost/Sq Ft | 0 | Selling/Sq Ft | 0

## Dashboard
📊 PROJECT DASHBOARD
Project: ¦ Estimate: CEI-20260403-5911
⚡ TOTAL POINTS |  | 🔌 CONNECTED LOAD |  | 💰 TOTAL COST
4 |  | 68.2 kW |  | ₹ 129,092
Electrical Points |  | Three Phase (3P) |  | Including GST
🏷️ SELLING PRICE |  | 📐 COST PER SQ FT |  | 💹 PROFIT AMOUNT
₹ 148,456 |  | ₹ 0.00 |  | ₹ 19,364
15% Profit |  | Per Square Foot |  | ✅ Good Margin
📈 COST BREAKDOWN
Category | Amount (₹) | % of Total
Material Cost | 75655 | 69.1544
Labor Cost | 20218.4 | 18.4812
Overhead Costs | 4793.67 | 4.3818
Contingency | 4793.67 | 4.3818
Transportation | 1917.468 | 1.7527
Site Supervision | 2021.84 | 1.8481
Sub Total | 109400.048
GST | 19692.0086
TOTAL | 129092.0566
📋 PROJECT METRICS
Total Wire Length | 32 m | Total Conduit | 12 m | DB Size | 20-Way
Phase Required | Three Phase (3P) | Main MCB | 63A | RCCB | 63A 30mA

## Quotation
CONSTRUCTION ESTIMATOR INDIA
Premium Electrical Estimation Services
📧 info@constructionestimator.in ¦ 📞 +91 XXXXX XXXXX
⚡ ELECTRICAL WORK QUOTATION
Quotation No: | CEI-20260403-5911 | Date: | 2026-04-03
Valid Until: | 46145 | Version: | 1
📋 CLIENT DETAILS
Client Name: | 0
Contact: | 0
Project Name: | 0
Location: | 0
Project Type: | 0
Building Type: | 0
🔧 SCOPE OF WORK
Total Electrical Points: | 4 | Wiring Method: | 0
Connected Load: | 68.2 kW | Phase Requirement: | Three Phase (3P)
Distribution Board: | 20-Way | Main MCB: | 63A
💰 COST SUMMARY
Description |  | Amount (₹)
A. Total Material Cost |  | 75655
B. Total Labor Cost |  | 20218.4
C. Overhead & Contingency |  | 13526.648
D. Sub Total |  | 109400.048
E. GST @ 18% |  | 19692.0086
F. Total Project Cost |  | 129092.0566
G. Profit Margin (15%) |  | 19363.8085
FINAL QUOTATION AMOUNT |  | 148455.8651
Amount in Words: | Rupees One Lakh Forty Eight Thousand Four Hundred Fifty Six Only
📝 TERMS & CONDITIONS
1. 30% advance payment on confirmation of order
2. 40% payment on material delivery at site
3. 30% payment on completion of work
4. All materials as per ISI standards (Havells/Polycab/Finolex)
5. Warranty: 1 year on workmanship, material warranty as per brand
6. Quotation valid for 30 days from date of issue
7. Any additional work will be charged extra
8. GST and other taxes as applicable
For Construction Estimator India |  | Client Acceptance
Authorized Signatory |  | Client Signature & Stamp
Date: ______________ |  | Date: ______________
Thank you for your business! ¦ www.constructionestimator.in

## Execution Tracker
📋 EXECUTION TRACKER
Track material usage, work progress, and completion status
Project: |  | 0 |  | Start Date: |  |  | Overall Progress:
Estimate No: |  | CEI-20260403-5911 |  | Target Date: |  |  |  | 0%
📦 MATERIAL TRACKING
S.No | Item Description | Unit | Planned | Actual | Balance | % Used | Status | Remarks
WIRES & CABLES
1 | 1.5 sq mm FR Wire | m | 0 | 0 | 0 | 0 | 🔴 Pending
2 | 2.5 sq mm FR Wire | m | 598.4 | 0 | 598.4 | 0 | 🔴 Pending
3 | 4.0 sq mm FR Wire | m | 352 | 0 | 352 | 0 | 🔴 Pending
4 | 6.0 sq mm FR Wire | m | 16.5 | 0 | 16.5 | 0 | 🔴 Pending
5 | Earth Wire (Green) | m | 17.6 | 0 | 17.6 | 0 | 🔴 Pending
CONDUITS & PIPES
6 | 20mm PVC Conduit | m | 13.2 | 0 | 13.2 | 0 | 🔴 Pending
7 | 25mm PVC Conduit | m | 52.8 | 0 | 52.8 | 0 | 🔴 Pending
8 | Conduit Accessories | set | 2.2 | 0 | 2.2 | 0 | 🔴 Pending
SWITCHES & SOCKETS
9 | 6A Switch | nos | 4 | 0 | 4 | 0 | 🔴 Pending
10 | 16A Switch | nos | 0 | 0 | 0 | 0 | 🔴 Pending
11 | 6A Socket | nos | 30 | 0 | 30 | 0 | 🔴 Pending
12 | 16A Socket | nos | 18 | 0 | 18 | 0 | 🔴 Pending
13 | Switch Plates/Boxes | nos | 10 | 0 | 10 | 0 | 🔴 Pending
DISTRIBUTION & MCBs
14 | Distribution Box | nos | 3 | 0 | 3 | 0 | 🔴 Pending
15 | MCB - 6A SP | nos | 6 | 0 | 6 | 0 | 🔴 Pending
16 | MCB - 16A SP | nos | 0 | 0 | 0 | 0 | 🔴 Pending
17 | MCB - 32A DP | nos | 30 | 0 | 30 | 0 | 🔴 Pending
18 | RCCB 40A | nos | 38 | 0 | 38 | 0 | 🔴 Pending
ACCESSORIES
19 | Junction Boxes | nos | 85 | 0 | 85 | 0 | 🔴 Pending
20 | Cable Ties (pack) | pkt | 0 | 0 | 0 | 0 | 🔴 Pending
21 | PVC Tape | rolls | 0 | 0 | 0 | 0 | 🔴 Pending
22 | Clamps & Clips | nos | 6 | 0 | 6 | 0 | 🔴 Pending
OVERALL COMPLETION |  |  | 1282.7 | 0 | 1282.7 | 0 | 🔴 Pending
📈 WORK PROGRESS LOG
Date | Work Done |  | Manpower | Hours | Supervisor |  | Notes

## Instructions
📘 USER INSTRUCTIONS
Complete Guide to Using the Electrical Takeoff System
🚀 GETTING STARTED
Step 1 | Go to 'Project Setup' sheet and fill in all project details - Project Name, Client Name, Location, Project Type, etc.
Step 2 | Select your preferred brand (Havells/Polycab/Finolex/Anchor/etc.) - rates will auto-adjust based on brand selection.
Step 3 | Adjust settings if needed: Wastage % (default 10%), Wire per Point (default 8m), GST % (default 18%), Profit Margin % (default 15%).
Step 4 | Enter Total Area in Sq Ft for cost per sq ft calculations.
📝 ENTERING TAKEOFF DATA
Step 5 | Go to 'Takeoff Input' sheet - this is where you enter all electrical points room by room.
Step 6 | For each room, enter the count of: Light Points, Fan Points, 5A Sockets, 15A Sockets, AC Points, Geyser Points, Exhaust Fans, TV/Data Points.
Step 7 | Add more rows if you have more rooms - just copy an existing row and modify. Formulas will auto-extend.
Step 8 | Total Points per room and per category will auto-calculate. Check the TOTAL row at the bottom.
Tip ⚡ | Be accurate with point counts - this drives all material quantities, costs, and load calculations!
📊 UNDERSTANDING THE OUTPUTS
Sheet | Description
Quantity Calc | Shows how points are converted to wire lengths, conduit, switches, MCBs, etc. with wastage adjustment.
Material Sheet | Detailed material costing with brand-specific rates. Check this for material procurement budget.
BOQ | Bill of Quantities - formal breakdown of material + labor costs. Use this for client proposals.
Load Calculator | Calculates connected load, recommends phase (Single/Three), MCB sizes, and DB requirements.
Cost Summary | Complete financial summary including overheads, GST, profit margin, and cost per sq ft analysis.
Dashboard | Visual summary with KPIs and charts. Great for presentations and quick project overview.
Quotation | Print-ready quotation with your branding, terms & conditions. Just print and send to client!
Execution Tracker | Track material usage during execution. Enter actual quantities used to monitor progress.
⚙️ CUSTOMIZATION TIPS
Rates | Update 'Rate Library' sheet with current market rates. Formulas will auto-update all calculations.
Brands | Add more brands by adding columns in Rate Library. Update VLOOKUP in Material Sheet to include new columns.
Rooms | Add custom room types in Takeoff Input. Just add rows and copy formulas from existing rows.
Wastage | Adjust wastage % in Project Setup based on project complexity. Concealed wiring typically needs 10-15%.
Labor | Labor rates (LB01-LB05 in Rate Library) can be adjusted based on your local market rates.
✅ BEST PRACTICES
1 | Always double-check point counts with actual drawings before finalizing estimates.
2 | Keep Rate Library updated with current market prices for accurate estimations.
3 | Use Execution Tracker during project execution to monitor material usage and prevent wastage.
4 | Review Load Calculator recommendations - undersized wiring/MCBs can cause safety issues!
5 | Maintain at least 10-15% profit margin - anything below 10% shows warning in Cost Summary.
6 | Save a copy of this template before starting a new project to preserve the original.
📞 SUPPORT & CONTACT
For support, customizations, or bulk licensing:
📧 Email: support@constructionestimator.in
🌐 Website: www.constructionestimator.in
© 2024 Construction Estimator India - All Rights Reserved
💡 NOTE: Project Setup has dropdown selection cells for Location, Project Type, Building Type, and Brand.