## Cover
[ COMPANY LOGO ]
SHARMA PLUMBING & MECHANICAL CONTRACTORS PVT. LTD.
Excellence in Commercial & Industrial Plumbing Solutions
DETAILED COMMERCIAL PLUMBING ESTIMATE
Professional Bid Document
PROJECT INFORMATION
Project Name: | Corporate Tower - Restroom Renovation
Client: | Prestige Commercial Developers Pvt. Ltd.
Project Location: | Sector 62, Noida, Uttar Pradesh - 201301
Tender Reference: | PCT/PLUMB/2026/0042
Estimate Number: | EST-2026-04-0156
Date Issued: | 06-April-2026
Valid Until: | 05-June-2026 (60 Days)
Prepared By: | Rajesh Kumar, Senior Estimator
COMPANY DETAILS
Registered Office: | A-45, Industrial Area Phase-II, Gurgaon, Haryana - 122002
Phone: | +91 124 4567890 ¦ +91 98765 43210
Email: | estimates@sharmaplumbing.co.in
Website: | www.sharmaplumbing.co.in
GSTIN: | 06AABCS1234A1Z5
Plumbing License No.: | HR/PLUMB/2015/00234
Insurance Policy: | ICICI Lombard - ₹5 Crore Professional Liability
CONFIDENTIAL - This estimate is proprietary and intended solely for the named recipient
© 2026 Sharma Plumbing & Mechanical Contractors Pvt. Ltd. ¦ All Rights Reserved

## Instructions
HOW TO USE THIS TEMPLATE
Complete Guide for Commercial Plumbing Estimating
QUICK START GUIDE
1. UPDATE COVER PAGE: Enter your company details, logo, project info, client info, and estimate number
2. CUSTOMIZE LABOR RATES: Go to Labor Calculator tab and update base wages and burden rates for your region
3. ENTER YOUR TAKEOFF: In Detailed Takeoff tab, modify quantities, unit prices, and labor hours for your project
4. REVIEW MAIN ESTIMATE: Check the Main Estimate tab - all totals calculate automatically from Takeoff
5. ADJUST MARKUPS: In Main Estimate Cost Summary section, change markup percentages as needed
6. VERIFY GST RATES: Confirm CGST/SGST rates are correct for your state (currently 9% each)
7. UPDATE TERMS: Modify Terms & Conditions to match your company policies
8. REVIEW DASHBOARD: Check the Dashboard for a visual summary of your estimate
9. PRINT/EXPORT: Hide instruction tabs and print Main Estimate for client presentation
COVER PAGE
Purpose: Professional title page for your estimate
Customize: Replace company name, address, GSTIN, license number
Logo: Replace [ COMPANY LOGO ] placeholder with your logo image
Project Info: Update project name, client, location, tender reference
Dates: Estimate number auto-formats; update validity period if needed
LABOR CALCULATOR
Purpose: Calculate fully loaded labor rates including all statutory burdens
Base Wages (Section 1): Enter current daily/hourly wages for your area
Statutory Burden (Section 2): Update EPF, ESI, bonus rates as per current laws
Overhead (Section 3): Adjust safety, tools, travel costs as per your operations
Loaded Rates (Section 4): These calculate automatically - use these in Main Estimate
💡 TIP: Review rates quarterly as minimum wages change
DETAILED TAKEOFF
Purpose: Quantity survey and material/labor costing
Adding Items: Insert rows within category sections, copy formulas from adjacent rows
Deleting Items: Delete entire rows, subtotals will recalculate
Categories: 6 standard categories - Water Supply, Drainage, Fixtures, Storm, Labor, Equipment
Pricing: Update Unit Price column with current market rates
Labor Hours: Estimate installation hours based on your crew productivity
💡 TIP: Build a price database in a separate sheet for quick reference
MAIN ESTIMATE
Purpose: Client-facing bid document with full breakdown
Data Links: All line items pull from Detailed Takeoff automatically
Cost Summary: Markups and GST calculate based on editable percentages
Assumptions/Exclusions: IMPORTANT - Customize these for each project
Payment Schedule: Adjust milestone percentages to your terms
Signatures: Print area includes signature blocks
💡 TIP: Always review Assumptions & Exclusions carefully for each project
DASHBOARD
Purpose: Visual summary for management review
KPIs: Grand Total, Direct Cost, Margin, GST - all auto-calculated
Charts: Cost distribution pie chart and Material vs Labor bar chart
Status: Update project status manually as needed
CUSTOMIZATION TIPS
• ADDING NEW CATEGORIES: | Copy a category section, update formulas to reference new rows
• CHANGING BRANDS: | Update Specification column in Detailed Takeoff with your preferred brands
• GST FOR INTERSTATE: | For interstate supply, change CGST+SGST to IGST at 18%
• MULTIPLE ALTERNATES: | Add Alternate columns in Cost Summary for optional pricing
• CURRENCY FORMAT: | All cells use ₹ Indian Rupee format - modify if needed
• PRINTING: | Set print area to exclude formula rows, include page breaks
• PROTECTION: | Protect sheets to prevent accidental formula deletion (allow input cells)
REFERENCE: COMMON INDIAN PLUMBING BRANDS
Product Category | Popular Brands
Pipes & Fittings (CPVC/uPVC) | Astral, Supreme, Prince, Finolex, Ashirvad
Sanitaryware | Hindware, Jaquar, Parryware, Cera, Kohler India
Faucets & CP Fittings | Jaquar, Grohe, Kohler, Hindware, Essco
Concealed Cisterns | Geberit, Grohe, Jaquar, Hindware
Water Heaters | Racold, AO Smith, Bajaj, Havells, Venus
Pumps | Crompton, Kirloskar, CRI, Grundfos, Lubi
KEY FORMULAS USED
Material Cost = | Quantity × Unit Price
Labor Cost = | Labor Hours × Loaded Rate (from Labor Calculator)
Line Total = | Material Cost + Labor Cost
Subtotal = | SUM of Line Totals in category
Markup Amount = | Subtotal × Markup %
GST Amount = | Subtotal Before Tax × GST Rate
Grand Total = | Subtotal Before Tax + Total GST
TEMPLATE INFORMATION
Version: 1.0 ¦ Created: April 2026
Designed for: Commercial Plumbing Contractors in India
Compliance: GST, EPF, ESI, BOCW Act requirements included
Standards: Based on IS plumbing codes and industry best practices
For questions: Customize this section with your company contact information
© Professional Plumbing Estimate Template - For Commercial Use

## Dashboard
ESTIMATE SUMMARY DASHBOARD
Corporate Tower - Restroom Renovation
GRAND TOTAL |  |  | DIRECT COST |  |  | GROSS MARGIN
2673285.308 |  |  | 1779508.352 |  |  | 33.43%
Including 18% GST |  |  | Before markups & tax |  |  | Profit margin %
TOTAL GST |  |  | MATERIALS |  |  | LABOR COST
407789.2843 |  |  | 1669100 |  |  | 110408.3516
CGST + SGST @ 18% |  |  | 93.8% |  |  | 6.204%
COST BY CATEGORY |  |  | MARKUP ANALYSIS |  |  | PROJECT DETAILS
Category | Amount | % | Item | Rate | Amount
Water Supply | 177520.3938 | 9.976% | Material Markup | 10% | 166910 | Estimate No: | EST-2026-04-0156
Drainage & Venting | 144431.2956 | 8.116% | Labor Markup | 15% | 16561.2527 | Date Issued: | 06-April-2026
Fixtures & Equipment | 1120444.338 | 62.96% | Overhead & Profit | 12% | 213541.0022 | Valid Until: | 05-June-2026 (60 Days)
Storm Water | 136030.3144 | 7.644% | Contingency | 5% | 88975.4176 | Client: | Prestige Commercial Developers Pvt. Ltd.
Labor Activities | 76832.01 | 4.318%
Equipment & Subs | 124250 | 6.982% | Total Markups |  | 485987.6725 | Line Items: | 66
[6 empty] | Loaded Rate: | 188.3137
TOTAL | 1779508.352 | 100%
Chart Data
Water Supply | 177520.3938 |  | Materials | 1669100
Drainage & Venting | 144431.2956 |  | Labor | 110408.3516
Fixtures & Equipment | 1120444.338
Storm Water | 136030.3144
Labor Activities | 76832.01
Equipment & Subs | 124250
ESTIMATE STATUS
Status: | PENDING CLIENT APPROVAL |  | Last Updated: | 2026-04-07 |  | Prepared By: | Rajesh Kumar, Senior Estimator

## Labor Calculator
LABOR BURDEN & RATE CALCULATOR
Calculates Fully Loaded Labor Rates for Accurate Estimating
SECTION 1: BASE WAGE RATES (Daily & Hourly)
Labor Category | Daily Wage (₹) | Hours/Day | Hourly Rate (₹) | Skill Level | Notes
Master Plumber / Supervisor | 1200 | 8 | 150 | Highly Skilled | Licensed, 10+ years exp
Licensed Plumber | 900 | 8 | 112.5 | Skilled | 5-10 years experience
Journeyman Plumber | 700 | 8 | 87.5 | Skilled | 2-5 years experience
Plumber Helper / Apprentice | 500 | 8 | 62.5 | Semi-Skilled | Training phase
General Labor | 400 | 8 | 50 | Unskilled | Material handling
Welder (Specialized) | 1000 | 8 | 125 | Specialized | Certified welder
Pipe Fitter | 850 | 8 | 106.25 | Skilled | Industrial piping
SECTION 2: STATUTORY BURDEN & BENEFITS (%)
Component | Rate (%) | Basis | Employer Share | Employee Share | Remarks
Provident Fund (EPF) | 12 | Basic + DA | 12% | 12% | EPFO mandatory for 20+ employees
Employee Pension Scheme (EPS) | 8.33 | Basic (capped) | 8.33% | — | Part of EPF contribution
EDLI (Insurance) | 0.5 | Basic | 0.5% | — | Death/disability coverage
EPF Admin Charges | 0.5 | Basic | 0.5% | — | Administrative fee
ESI (Employee State Insurance) | 3.25 | Gross (if <₹21,000/mo) | 3.25% | 0.75% | Medical benefits
Professional Tax | 0.5 | Estimated | — | State-wise | Varies by state
Bonus (Statutory) | 8.33 | Basic | 8.33% | — | Payment of Bonus Act
Gratuity (Accrual) | 4.81 | Basic | 4.81% | — | 15 days per year service
Leave Encashment | 4.17 | Basic | 4.17% | — | Earned leave provision
Workmen Compensation | 1.5 | Wages | 1.5% | — | Insurance premium
TOTAL STATUTORY BURDEN | 43.89 | — | — | — | Employer's statutory cost
SECTION 3: ADDITIONAL LABOR OVERHEAD
Overhead Item | Rate (%) | Basis | Amount (₹) | Frequency | Notes
Safety Equipment & PPE | 2 | Labor Cost |  | Per project | Hard hats, gloves, boots, vests
Tools & Consumables | 3 | Labor Cost |  | Ongoing | Hand tools, drill bits, etc.
Training & Certification | 1.5 | Labor Cost |  | Annual | Skill upgradation
Transportation/Travel | 3 | Labor Cost |  | Daily | Site commute allowance
Accommodation (Outstation) | 5 | Labor Cost |  | If applicable | For projects >50km
Supervision Overhead | 4 | Labor Cost |  | Ongoing | Site supervision cost
Productivity Factor | 5 | Labor Cost |  | Standard | Non-productive time allowance
TOTAL ADDITIONAL OVERHEAD | 23.5 | — | — | — | Additional employer cost
SECTION 4: FULLY LOADED LABOR RATES
Labor Category | Base Hourly (₹) | Burden % | Overhead % | Loaded Rate (₹/hr) | Loaded Rate (₹/day)
Master Plumber / Supervisor | 150 | 43.89 | 23.5 | 251.085 | 2008.68
Licensed Plumber | 112.5 | 43.89 | 23.5 | 188.3137 | 1506.51
Journeyman Plumber | 87.5 | 43.89 | 23.5 | 146.4663 | 1171.73
Plumber Helper / Apprentice | 62.5 | 43.89 | 23.5 | 104.6188 | 836.95
General Labor | 50 | 43.89 | 23.5 | 83.695 | 669.56
Welder (Specialized) | 125 | 43.89 | 23.5 | 209.2375 | 1673.9
Pipe Fitter | 106.25 | 43.89 | 23.5 | 177.8519 | 1422.815
QUICK REFERENCE - DEFAULT RATES FOR ESTIMATES
Average Loaded Rate (Skilled): | 180.4673 | ₹/hour
Average Loaded Rate (All): | 165.8954 | ₹/hour
Total Burden Multiplier: | 1.6739 | x base rate
Recommended Billing Rate (2x cost): | 331.7909 | ₹/hour
Notes:
• Rates are calculated based on current statutory requirements. Update percentages as regulations change.
• ESI applies only when monthly wages are below ₹21,000. Adjust manually for higher wage categories.
• Accommodation overhead (5%) should be included only for outstation projects.

## Detailed Takeoff
[12 empty] | UNITS | PIPE_TYPES | BRANDS | SKILL_LEVELS
| DETAILED MATERIAL & LABOR TAKEOFF | [10 empty] | nos | CPVC SDR-11 | Astral | Highly Skilled
| Commercial Plumbing Project - Quantity Survey | [10 empty] | rft | CPVC SDR-13.5 | Supreme | Skilled
[12 empty] | rmt | uPVC SWR Type A | Prince | Semi-Skilled
[12 empty] | sqft | uPVC SWR Type B | Finolex | Unskilled
[12 empty] | sqm | GI Class B | Ashirvad | Specialized
| Project: | Corporate Tower - Restroom Renovation | [9 empty] | lot | GI Class C | Hindware
| Drawing Ref: | M-101, M-102, M-103, P-101 | [9 empty] | set | HDPE PE100 | Jaquar
| Takeoff By: | Estimating Department | Date: | 06-April-2026 | [7 empty] | pair | PPR PN-10 | Parryware
[12 empty] | kg | PPR PN-16 | Cera
| Item # | Description | Specification / Size / Brand | Qty | Unit | Unit Price (₹) | Total Material (₹) | Labor Hrs | Labor Cost (₹) | Line Total (₹) | Notes / Remarks | litre | SS 304 | Kohler
[12 empty] | hrs | Copper Type L | Grohe
| 1. DOMESTIC WATER SUPPLY SYSTEM | [10 empty] | days |  | Geberit
| 1.01 | CPVC Pipe - Hot Water Line | 25mm (1") SDR-11, Astral/Supreme | 150 | rft | 85 | 12750 | 8 | 1506.51 | 14256.51 | As per drawing M-101 | each |  | Racold
| 1.02 | CPVC Pipe - Cold Water Line | 20mm (3/4") SDR-11 | 280 | rft | 65 | 18200 | 12 | 2259.765 | 20459.765 | Floor 1-3 | meter |  | AO Smith
| 1.03 | CPVC Pipe - Cold Water Line | 32mm (1-1/4") SDR-11 | 120 | rft | 110 | 13200 | 6 | 1129.8825 | 14329.8825 | Main risers
| 1.04 | GI Pipe - Main Supply | 50mm (2") Class B, ISI | 80 | rft | 320 | 25600 | 10 | 1883.1375 | 27483.1375 | Underground to OHT
| 1.05 | CPVC Elbow 90° | 25mm, Astral | 45 | nos | 42 | 1890 | 2 | 376.6275 | 2266.6275
| 1.06 | CPVC Tee | 25mm x 20mm, Reducer | 30 | nos | 55 | 1650 | 1.5 | 282.4706 | 1932.4706
| 1.07 | CPVC Ball Valve | 25mm, Brass Core | 24 | nos | 185 | 4440 | 3 | 564.9412 | 5004.9412 | At each riser
| 1.08 | Gate Valve - GI | 50mm, Gun Metal, ISI | 6 | nos | 1250 | 7500 | 2 | 376.6275 | 7876.6275 | Main isolation
| 1.09 | Non-Return Valve | 50mm, Dual Check | 4 | nos | 1850 | 7400 | 1.5 | 282.4706 | 7682.4706 | Pump discharge
| 1.1 | Pressure Reducing Valve | 50mm, Honeywell/Forbes Marshall | 2 | nos | 8500 | 17000 | 3 | 564.9412 | 17564.9412 | Per floor
| 1.11 | Water Meter | 25mm, Multi-jet, Class B | 12 | nos | 2200 | 26400 | 2 | 376.6275 | 26776.6275 | Individual units
| 1.12 | Pipe Supports & Clamps | MS Clamps, Powder Coated | 1 | lot | 15000 | 15000 | 8 | 1506.51 | 16506.51 | Complete system
| 1.13 | Insulation - Hot Water Pipes | 25mm Nitrile Rubber, 13mm thick | 150 | rft | 95 | 14250 | 6 | 1129.8825 | 15379.8825
|  | Subtotal - Category 1 |  |  |  |  | 165280 |  | 12240.3937 | 177520.3938
2. SANITARY DRAINAGE & VENTING SYSTEM
| 2.01 | uPVC Soil Pipe | 110mm (4") SWR, Type A, Prince/Astral | 180 | rft | 145 | 26100 | 14 | 2636.3925 | 28736.3925 | Vertical stacks
| 2.02 | uPVC Soil Pipe | 75mm (3") SWR, Type A | 120 | rft | 95 | 11400 | 8 | 1506.51 | 12906.51 | Branch lines
| 2.03 | uPVC Waste Pipe | 50mm (2") SWR | 200 | rft | 65 | 13000 | 10 | 1883.1375 | 14883.1375 | Basin/sink waste
| 2.04 | uPVC Vent Pipe | 75mm (3") SWR | 90 | rft | 95 | 8550 | 5 | 941.5688 | 9491.5688 | Vent stack
| 2.05 | uPVC Y-Branch | 110mm x 110mm | 18 | nos | 185 | 3330 | 2 | 376.6275 | 3706.6275
| 2.06 | uPVC P-Trap | 110mm, Floor Mounted | 24 | nos | 145 | 3480 | 3 | 564.9412 | 4044.9412 | WC connections
| 2.07 | uPVC Bend 90° | 110mm, Sweep Bend | 20 | nos | 125 | 2500 | 1.5 | 282.4706 | 2782.4706
| 2.08 | CI Inspection Chamber Cover | 450mm x 450mm, HD, 25T | 8 | nos | 2800 | 22400 | 4 | 753.255 | 23153.255 | External manholes
| 2.09 | Floor Drain - SS | 150mm, Jali Type, SS 304 | 36 | nos | 450 | 16200 | 4 | 753.255 | 16953.255 | Wet areas
| 2.1 | Floor Drain - Cockroach Trap | 100mm, Multi-seal | 24 | nos | 285 | 6840 | 2.5 | 470.7844 | 7310.7844 | Dry areas
| 2.11 | Nahani Trap | 110mm, Cast Iron | 12 | nos | 380 | 4560 | 2 | 376.6275 | 4936.6275 | Main drains
| 2.12 | Clean Out Plug | 110mm, Threaded, Brass | 16 | nos | 320 | 5120 | 1 | 188.3137 | 5308.3138 | Access points
| 2.13 | Vent Cowl | 75mm, PVC | 6 | nos | 145 | 870 | 0.5 | 94.1569 | 964.1569 | Terrace level
| 2.14 | Pipe Sleeves - MS | Various sizes, Powder Coated | 1 | lot | 8500 | 8500 | 4 | 753.255 | 9253.255 | Wall/floor penetrations
|  | Subtotal - Category 2 |  |  |  |  | 132850 |  | 11581.2956 | 144431.2956
3. SANITARY FIXTURES & EQUIPMENT
| 3.01 | EWC - Wall Hung | Hindware Enigma / Jaquar Arc, White | 18 | nos | 12500 | 225000 | 4 | 753.255 | 225753.255 | With seat cover
| 3.02 | EWC - Floor Mounted | Parryware Cascade, P-Trap, White | 6 | nos | 6800 | 40800 | 3 | 564.9412 | 41364.9413 | Staff toilets
| 3.03 | Concealed Cistern | Geberit Sigma / Grohe, Dual Flush | 18 | nos | 8500 | 153000 | 3 | 564.9412 | 153564.9413 | For wall hung WC
| 3.04 | Urinal - Waterless | Hindware / Jaquar, Sensor Flush | 12 | nos | 9500 | 114000 | 2.5 | 470.7844 | 114470.7844 | Gents washroom
| 3.05 | Wash Basin - Counter Top | Jaquar Fonte, 550mm, White | 24 | nos | 4500 | 108000 | 2 | 376.6275 | 108376.6275 | With fixing kit
| 3.06 | Wash Basin - Wall Hung | Cera Campbell, 450mm | 8 | nos | 3200 | 25600 | 2 | 376.6275 | 25976.6275 | Accessible WC
| 3.07 | Basin Mixer - Single Lever | Jaquar Florentine, Chrome | 24 | nos | 5500 | 132000 | 1 | 188.3137 | 132188.3138
| 3.08 | Sensor Tap - Basin | Kohler / Grohe, AC Powered | 8 | nos | 12000 | 96000 | 1.5 | 282.4706 | 96282.4706 | Premium areas
| 3.09 | Concealed Stop Cock | 15mm, Brass, CP, Jaquar | 48 | nos | 650 | 31200 | 0.5 | 94.1569 | 31294.1569 | Under basin
| 3.1 | Angle Valve - CP | 15mm, Brass, Quarter Turn | 36 | nos | 380 | 13680 | 0.3 | 56.4941 | 13736.4941
| 3.11 | Health Faucet Set | Jaquar / Hindware, SS Hose, ABS Head | 24 | nos | 1100 | 26400 | 0.5 | 94.1569 | 26494.1569 | All WCs
| 3.12 | Soap Dispenser - Built-in | SS 304, 500ml | 16 | nos | 1850 | 29600 | 0.5 | 94.1569 | 29694.1569
| 3.13 | Paper Towel Dispenser | SS 304, Wall Mounted | 8 | nos | 2200 | 17600 | 0.5 | 94.1569 | 17694.1569
| 3.14 | Mirror - Beveled Edge | 600x900mm, 5mm Float Glass | 16 | nos | 1800 | 28800 | 0.5 | 94.1569 | 28894.1569 | Above basins
| 3.15 | Grab Bar - SS | 600mm, SS 304, 32mm Dia | 8 | nos | 1650 | 13200 | 0.5 | 94.1569 | 13294.1569 | Accessible WC
| 3.16 | Water Heater - Storage | 25L, Racold/AO Smith, 5 Star | 4 | nos | 9500 | 38000 | 2 | 376.6275 | 38376.6275 | Pantry areas
| 3.17 | Instant Geyser | 3L, Bajaj/Havells | 6 | nos | 3800 | 22800 | 1 | 188.3137 | 22988.3138 | Basin hot water
|  | Subtotal - Category 3 |  |  |  |  | 1115680 |  | 4764.3379 | 1120444.338
4. STORM WATER DRAINAGE
| 4.01 | HDPE Pipe - Rain Water | 110mm, PE100, SDR 17 | 120 | rft | 185 | 22200 | 8 | 1506.51 | 23706.51 | Roof drainage
| 4.02 | HDPE Pipe - Rain Water | 160mm, PE100, SDR 17 | 80 | rft | 320 | 25600 | 6 | 1129.8825 | 26729.8825 | Main downpipes
| 4.03 | Roof Drain - Dome Type | 110mm, CI with SS Dome | 12 | nos | 1850 | 22200 | 2 | 376.6275 | 22576.6275 | Flat roof areas
| 4.04 | Balcony Drain | 75mm, SS 304, Flat Grate | 18 | nos | 450 | 8100 | 1.5 | 282.4706 | 8382.4706
| 4.05 | Down Pipe Bracket | 160mm, MS Powder Coated | 24 | nos | 185 | 4440 | 1 | 188.3137 | 4628.3138
| 4.06 | Rain Water Head | 160mm, CI, Decorative | 6 | nos | 1250 | 7500 | 1 | 188.3137 | 7688.3138 | Facade
| 4.07 | Grating - Trench | 300mm wide, MS HDG | 15 | rmt | 1800 | 27000 | 3 | 564.9412 | 27564.9412 | Driveway
| 4.08 | Catch Basin | 450x450mm, Precast | 4 | nos | 3500 | 14000 | 4 | 753.255 | 14753.255 | External
|  | Subtotal - Category 4 |  |  |  |  | 131040 |  | 4990.3144 | 136030.3144
5. LABOR - INSTALLATION & TESTING
| 5.01 | Rough-in Plumbing - Water Supply | Complete system as per drawings | 1 | lot | 0 | 0 | 120 | 22597.65 | 22597.65 | Includes fittings
| 5.02 | Rough-in Plumbing - Drainage | Complete system as per drawings | 1 | lot | 0 | 0 | 100 | 18831.375 | 18831.375 | Includes testing
| 5.03 | Finish Plumbing - Fixtures | Installation & connection | 1 | lot | 0 | 0 | 80 | 15065.1 | 15065.1 | All fixtures
| 5.04 | Pressure Testing | Hydrostatic test @ 10 bar | 1 | lot | 0 | 0 | 16 | 3013.02 | 3013.02 | With certification
| 5.05 | Drainage Testing | Ball test & smoke test | 1 | lot | 0 | 0 | 12 | 2259.765 | 2259.765 | With certification
| 5.06 | Coordination with MEP | Site coordination | 1 | lot | 0 | 0 | 40 | 7532.55 | 7532.55 | Throughout project
| 5.07 | Punch List / Snag Work | Defect rectification | 1 | lot | 0 | 0 | 24 | 4519.53 | 4519.53 | Final phase
| 5.08 | Documentation & As-Built | Drawing updates | 1 | lot | 0 | 0 | 16 | 3013.02 | 3013.02 | Final submission
|  | Subtotal - Category 5 |  |  |  |  | 0 |  | 76832.01 | 76832.01
6. EQUIPMENT RENTAL & SUBCONTRACTORS
| 6.01 | Core Cutting - Walls | Various sizes 50-150mm | 45 | nos | 450 | 20250 | 0 | 0 | 20250 | Subcontract
| 6.02 | Core Cutting - Slabs | Various sizes 75-200mm | 30 | nos | 650 | 19500 | 0 | 0 | 19500 | Subcontract
| 6.03 | Scaffolding Rental | For vertical work | 1 | lot | 25000 | 25000 | 0 | 0 | 25000 | 2 months
| 6.04 | Hydrostatic Test Pump | Rental for testing | 1 | lot | 8500 | 8500 | 0 | 0 | 8500 | 1 week
| 6.05 | CCTV Drain Inspection | Post-installation survey | 1 | lot | 15000 | 15000 | 0 | 0 | 15000 | Subcontract
| 6.06 | Crane Rental | For OHT equipment | 2 | days | 18000 | 36000 | 0 | 0 | 36000 | As required
|  | Subtotal - Category 6 |  |  |  |  | 124250 |  | 0 | 124250
Note: Dropdown lists are available for Unit column (F). Click on cells in column F to select from predefined units. | TAKEOFF SUMMARY
|  | Total Materials: |  |  |  |  | 1669100
|  | Total Labor: | [6 empty] | 110408.3516
|  | TOTAL DIRECT COST: | [7 empty] | 1779508.352
|  | Total Line Items: |  | 66

## Main Estimate
[ COMPANY LOGO ] |  |  | SHARMA PLUMBING & MECHANICAL CONTRACTORS PVT. LTD.
A-45, Industrial Area Phase-II, Gurgaon, Haryana - 122002
Phone: +91 124 4567890 ¦ Email: estimates@sharmaplumbing.co.in ¦ Web: www.sharmaplumbing.co.in
GSTIN: 06AABCS1234A1Z5 ¦ Plumbing Lic: HR/PLUMB/2015/00234 ¦ Insurance: ₹5 Cr Liability
DETAILED COMMERCIAL PLUMBING ESTIMATE
ESTIMATE DETAILS | [5 empty] | CLIENT / PROJECT INFORMATION
Estimate No: | EST-2026-04-0156 |  |  |  |  | Client: | Prestige Commercial Developers Pvt. Ltd.
Date Issued: | 06-April-2026 |  |  |  |  | Project: | Corporate Tower - Restroom Renovation
Valid Until: | 05-June-2026 (60 Days) |  |  |  |  | Site Address: | Sector 62, Noida, Uttar Pradesh - 201301
Prepared By: | Rajesh Kumar, Senior Estimator |  |  |  |  | Contact Person: | Mr. Vikram Sharma, Project Manager
Tender Ref: | PCT/PLUMB/2026/0042 |  |  |  |  | Phone/Email: | +91 98111 22345 ¦ vikram@prestigedev.com
PROJECT OVERVIEW
This estimate covers the complete plumbing works for the Corporate Tower Restroom Renovation project including domestic water supply, sanitary drainage, storm water systems, and installation of premium sanitary fixtures. The scope includes 3 floors of commercial office restrooms with 18 wall-hung WCs, 12 urinals, 24 wash basins, and associated piping infrastructure. All works are as per architectural drawings M-101 through M-103 and plumbing specifications P-101.
DETAILED SCOPE OF WORK
Reference Drawings: M-101 (Water Supply), M-102 (Drainage), M-103 (Storm Water), P-101 (Specifications)
S.No. | Work Description | [9 empty] | Dwg Ref
1 | Domestic hot and cold water supply system including CPVC/GI piping, valves, meters, and insulation | [9 empty] | M-101
2 | Complete sanitary drainage system with soil, waste, and vent piping including floor drains and traps | [9 empty] | M-102
3 | Storm water drainage system from roof and balconies to external discharge | [9 empty] | M-103
4 | Supply and installation of all sanitary fixtures (EWCs, urinals, basins, faucets, accessories) | [9 empty] | P-101
5 | Water heaters and instant geysers for hot water requirements | [9 empty] | P-101
6 | Core cutting, sleeve installation, and penetration sealing | [9 empty] | All
7 | Pressure testing, drainage testing, and system commissioning | [9 empty] | P-101
8 | As-built documentation and warranty handover | [9 empty] | —
ITEMIZED COST BREAKDOWN
Item # | Description | Specification / Size / Brand | Qty | Unit | Unit Price (₹) | Material Cost (₹) | Labor Hrs | Rate (₹/hr) | Labor Cost (₹) | Line Total (₹) | Notes
1. DOMESTIC WATER SUPPLY SYSTEM
1.01 | CPVC Pipe - Hot Water Line | 25mm (1") SDR-11, Astral/Supreme | 150 | rft | 85 | 12750 | 8 | 188.3137 | 1506.51 | 14256.51 | As per drawing M-101
1.02 | CPVC Pipe - Cold Water Line | 20mm (3/4") SDR-11 | 280 | rft | 65 | 18200 | 12 | 188.3137 | 2259.765 | 20459.765 | Floor 1-3
1.03 | CPVC Pipe - Cold Water Line | 32mm (1-1/4") SDR-11 | 120 | rft | 110 | 13200 | 6 | 188.3137 | 1129.8825 | 14329.8825 | Main risers
1.04 | GI Pipe - Main Supply | 50mm (2") Class B, ISI | 80 | rft | 320 | 25600 | 10 | 188.3137 | 1883.1375 | 27483.1375 | Underground to OHT
1.05 | CPVC Elbow 90° | 25mm, Astral | 45 | nos | 42 | 1890 | 2 | 188.3137 | 376.6275 | 2266.6275
1.06 | CPVC Tee | 25mm x 20mm, Reducer | 30 | nos | 55 | 1650 | 1.5 | 188.3137 | 282.4706 | 1932.4706
1.07 | CPVC Ball Valve | 25mm, Brass Core | 24 | nos | 185 | 4440 | 3 | 188.3137 | 564.9412 | 5004.9412 | At each riser
1.08 | Gate Valve - GI | 50mm, Gun Metal, ISI | 6 | nos | 1250 | 7500 | 2 | 188.3137 | 376.6275 | 7876.6275 | Main isolation
1.09 | Non-Return Valve | 50mm, Dual Check | 4 | nos | 1850 | 7400 | 1.5 | 188.3137 | 282.4706 | 7682.4706 | Pump discharge
1.1 | Pressure Reducing Valve | 50mm, Honeywell/Forbes Marshall | 2 | nos | 8500 | 17000 | 3 | 188.3137 | 564.9412 | 17564.9412 | Per floor
1.11 | Water Meter | 25mm, Multi-jet, Class B | 12 | nos | 2200 | 26400 | 2 | 188.3137 | 376.6275 | 26776.6275 | Individual units
1.12 | Pipe Supports & Clamps | MS Clamps, Powder Coated | 1 | lot | 15000 | 15000 | 8 | 188.3137 | 1506.51 | 16506.51 | Complete system
1.13 | Insulation - Hot Water Pipes | 25mm Nitrile Rubber, 13mm thick | 150 | rft | 95 | 14250 | 6 | 188.3137 | 1129.8825 | 15379.8825
| Subtotal - Water Supply |  |  |  |  | 165280 | 65 |  | 12240.3937 | 177520.3938
2. SANITARY DRAINAGE & VENTING SYSTEM
2.01 | uPVC Soil Pipe | 110mm (4") SWR, Type A, Prince/Astral | 180 | rft | 145 | 26100 | 14 | 188.3137 | 2636.3925 | 28736.3925 | Vertical stacks
2.02 | uPVC Soil Pipe | 75mm (3") SWR, Type A | 120 | rft | 95 | 11400 | 8 | 188.3137 | 1506.51 | 12906.51 | Branch lines
2.03 | uPVC Waste Pipe | 50mm (2") SWR | 200 | rft | 65 | 13000 | 10 | 188.3137 | 1883.1375 | 14883.1375 | Basin/sink waste
2.04 | uPVC Vent Pipe | 75mm (3") SWR | 90 | rft | 95 | 8550 | 5 | 188.3137 | 941.5688 | 9491.5688 | Vent stack
2.05 | uPVC Y-Branch | 110mm x 110mm | 18 | nos | 185 | 3330 | 2 | 188.3137 | 376.6275 | 3706.6275
2.06 | uPVC P-Trap | 110mm, Floor Mounted | 24 | nos | 145 | 3480 | 3 | 188.3137 | 564.9412 | 4044.9412 | WC connections
2.07 | uPVC Bend 90° | 110mm, Sweep Bend | 20 | nos | 125 | 2500 | 1.5 | 188.3137 | 282.4706 | 2782.4706
2.08 | CI Inspection Chamber Cover | 450mm x 450mm, HD, 25T | 8 | nos | 2800 | 22400 | 4 | 188.3137 | 753.255 | 23153.255 | External manholes
2.09 | Floor Drain - SS | 150mm, Jali Type, SS 304 | 36 | nos | 450 | 16200 | 4 | 188.3137 | 753.255 | 16953.255 | Wet areas
2.1 | Floor Drain - Cockroach Trap | 100mm, Multi-seal | 24 | nos | 285 | 6840 | 2.5 | 188.3137 | 470.7844 | 7310.7844 | Dry areas
2.11 | Nahani Trap | 110mm, Cast Iron | 12 | nos | 380 | 4560 | 2 | 188.3137 | 376.6275 | 4936.6275 | Main drains
2.12 | Clean Out Plug | 110mm, Threaded, Brass | 16 | nos | 320 | 5120 | 1 | 188.3137 | 188.3137 | 5308.3138 | Access points
2.13 | Vent Cowl | 75mm, PVC | 6 | nos | 145 | 870 | 0.5 | 188.3137 | 94.1569 | 964.1569 | Terrace level
2.14 | Pipe Sleeves - MS | Various sizes, Powder Coated | 1 | lot | 8500 | 8500 | 4 | 188.3137 | 753.255 | 9253.255 | Wall/floor penetrations
| Subtotal - Drainage & Venting |  |  |  |  | 132850 | 61.5 |  | 11581.2956 | 144431.2956
3. SANITARY FIXTURES & EQUIPMENT
3.01 | EWC - Wall Hung | Hindware Enigma / Jaquar Arc, White | 18 | nos | 12500 | 225000 | 4 | 188.3137 | 753.255 | 225753.255 | With seat cover
3.02 | EWC - Floor Mounted | Parryware Cascade, P-Trap, White | 6 | nos | 6800 | 40800 | 3 | 188.3137 | 564.9412 | 41364.9413 | Staff toilets
3.03 | Concealed Cistern | Geberit Sigma / Grohe, Dual Flush | 18 | nos | 8500 | 153000 | 3 | 188.3137 | 564.9412 | 153564.9413 | For wall hung WC
3.04 | Urinal - Waterless | Hindware / Jaquar, Sensor Flush | 12 | nos | 9500 | 114000 | 2.5 | 188.3137 | 470.7844 | 114470.7844 | Gents washroom
3.05 | Wash Basin - Counter Top | Jaquar Fonte, 550mm, White | 24 | nos | 4500 | 108000 | 2 | 188.3137 | 376.6275 | 108376.6275 | With fixing kit
3.06 | Wash Basin - Wall Hung | Cera Campbell, 450mm | 8 | nos | 3200 | 25600 | 2 | 188.3137 | 376.6275 | 25976.6275 | Accessible WC
3.07 | Basin Mixer - Single Lever | Jaquar Florentine, Chrome | 24 | nos | 5500 | 132000 | 1 | 188.3137 | 188.3137 | 132188.3138
3.08 | Sensor Tap - Basin | Kohler / Grohe, AC Powered | 8 | nos | 12000 | 96000 | 1.5 | 188.3137 | 282.4706 | 96282.4706 | Premium areas
3.09 | Concealed Stop Cock | 15mm, Brass, CP, Jaquar | 48 | nos | 650 | 31200 | 0.5 | 188.3137 | 94.1569 | 31294.1569 | Under basin
3.1 | Angle Valve - CP | 15mm, Brass, Quarter Turn | 36 | nos | 380 | 13680 | 0.3 | 188.3137 | 56.4941 | 13736.4941
3.11 | Health Faucet Set | Jaquar / Hindware, SS Hose, ABS Head | 24 | nos | 1100 | 26400 | 0.5 | 188.3137 | 94.1569 | 26494.1569 | All WCs
3.12 | Soap Dispenser - Built-in | SS 304, 500ml | 16 | nos | 1850 | 29600 | 0.5 | 188.3137 | 94.1569 | 29694.1569
3.13 | Paper Towel Dispenser | SS 304, Wall Mounted | 8 | nos | 2200 | 17600 | 0.5 | 188.3137 | 94.1569 | 17694.1569
3.14 | Mirror - Beveled Edge | 600x900mm, 5mm Float Glass | 16 | nos | 1800 | 28800 | 0.5 | 188.3137 | 94.1569 | 28894.1569 | Above basins
3.15 | Grab Bar - SS | 600mm, SS 304, 32mm Dia | 8 | nos | 1650 | 13200 | 0.5 | 188.3137 | 94.1569 | 13294.1569 | Accessible WC
3.16 | Water Heater - Storage | 25L, Racold/AO Smith, 5 Star | 4 | nos | 9500 | 38000 | 2 | 188.3137 | 376.6275 | 38376.6275 | Pantry areas
3.17 | Instant Geyser | 3L, Bajaj/Havells | 6 | nos | 3800 | 22800 | 1 | 188.3137 | 188.3137 | 22988.3138 | Basin hot water
| Subtotal - Fixtures & Equipment |  |  |  |  | 1115680 | 25.3 |  | 4764.3379 | 1120444.338
4. STORM WATER DRAINAGE
4.01 | HDPE Pipe - Rain Water | 110mm, PE100, SDR 17 | 120 | rft | 185 | 22200 | 8 | 188.3137 | 1506.51 | 23706.51 | Roof drainage
4.02 | HDPE Pipe - Rain Water | 160mm, PE100, SDR 17 | 80 | rft | 320 | 25600 | 6 | 188.3137 | 1129.8825 | 26729.8825 | Main downpipes
4.03 | Roof Drain - Dome Type | 110mm, CI with SS Dome | 12 | nos | 1850 | 22200 | 2 | 188.3137 | 376.6275 | 22576.6275 | Flat roof areas
4.04 | Balcony Drain | 75mm, SS 304, Flat Grate | 18 | nos | 450 | 8100 | 1.5 | 188.3137 | 282.4706 | 8382.4706
4.05 | Down Pipe Bracket | 160mm, MS Powder Coated | 24 | nos | 185 | 4440 | 1 | 188.3137 | 188.3137 | 4628.3138
4.06 | Rain Water Head | 160mm, CI, Decorative | 6 | nos | 1250 | 7500 | 1 | 188.3137 | 188.3137 | 7688.3138 | Facade
4.07 | Grating - Trench | 300mm wide, MS HDG | 15 | rmt | 1800 | 27000 | 3 | 188.3137 | 564.9412 | 27564.9412 | Driveway
4.08 | Catch Basin | 450x450mm, Precast | 4 | nos | 3500 | 14000 | 4 | 188.3137 | 753.255 | 14753.255 | External
| Subtotal - Storm Water |  |  |  |  | 131040 | 26.5 |  | 4990.3144 | 136030.3144
5. LABOR - INSTALLATION & TESTING
5.01 | Rough-in Plumbing - Water Supply | Complete system as per drawings | 1 | lot | 0 | 0 | 120 | 188.3137 | 22597.65 | 22597.65 | Includes fittings
5.02 | Rough-in Plumbing - Drainage | Complete system as per drawings | 1 | lot | 0 | 0 | 100 | 188.3137 | 18831.375 | 18831.375 | Includes testing
5.03 | Finish Plumbing - Fixtures | Installation & connection | 1 | lot | 0 | 0 | 80 | 188.3137 | 15065.1 | 15065.1 | All fixtures
5.04 | Pressure Testing | Hydrostatic test @ 10 bar | 1 | lot | 0 | 0 | 16 | 188.3137 | 3013.02 | 3013.02 | With certification
5.05 | Drainage Testing | Ball test & smoke test | 1 | lot | 0 | 0 | 12 | 188.3137 | 2259.765 | 2259.765 | With certification
5.06 | Coordination with MEP | Site coordination | 1 | lot | 0 | 0 | 40 | 188.3137 | 7532.55 | 7532.55 | Throughout project
5.07 | Punch List / Snag Work | Defect rectification | 1 | lot | 0 | 0 | 24 | 188.3137 | 4519.53 | 4519.53 | Final phase
5.08 | Documentation & As-Built | Drawing updates | 1 | lot | 0 | 0 | 16 | 188.3137 | 3013.02 | 3013.02 | Final submission
| Subtotal - Labor |  |  |  |  | 0 | 408 |  | 76832.01 | 76832.01
6. EQUIPMENT RENTAL & SUBCONTRACTORS
6.01 | Core Cutting - Walls | Various sizes 50-150mm | 45 | nos | 450 | 20250 | 0 | 188.3137 | 0 | 20250 | Subcontract
6.02 | Core Cutting - Slabs | Various sizes 75-200mm | 30 | nos | 650 | 19500 | 0 | 188.3137 | 0 | 19500 | Subcontract
6.03 | Scaffolding Rental | For vertical work | 1 | lot | 25000 | 25000 | 0 | 188.3137 | 0 | 25000 | 2 months
6.04 | Hydrostatic Test Pump | Rental for testing | 1 | lot | 8500 | 8500 | 0 | 188.3137 | 0 | 8500 | 1 week
6.05 | CCTV Drain Inspection | Post-installation survey | 1 | lot | 15000 | 15000 | 0 | 188.3137 | 0 | 15000 | Subcontract
6.06 | Crane Rental | For OHT equipment | 2 | days | 18000 | 36000 | 0 | 188.3137 | 0 | 36000 | As required
| Subtotal - Equipment & Subs |  |  |  |  | 124250 | 0 |  | 0 | 124250
COST SUMMARY
[6 empty] | Description |  |  | Amount (₹)
[6 empty] | Subtotal - Materials |  |  | 1669100
[6 empty] | Subtotal - Labor |  |  | 110408.3516
[6 empty] | Subtotal - Line Totals |  |  | 1779508.352
[6 empty] | DIRECT COST SUBTOTAL |  |  | 1779508.352
[6 empty] | Material Markup | 10% |  | 166910
[6 empty] | Labor Markup | 15% |  | 16561.2527
[6 empty] | Overhead & Profit | 12% |  | 213541.0022
[6 empty] | Contingency | 5% |  | 88975.4176
[6 empty] | SUBTOTAL BEFORE TAX |  |  | 2265496.024
GST BREAKUP
[6 empty] | CGST @ 9% | 9% |  | 203894.6422
[6 empty] | SGST @ 9% | 9% |  | 203894.6422
[6 empty] | IGST @ 18% (if interstate) | 18% |  | 407789.2843 | N/A for intrastate
[6 empty] | Total GST (CGST + SGST) |  |  | 407789.2843
[6 empty] | GRAND TOTAL (INR) |  |  | 2673285.308
[6 empty] | Amount in Words: | Rupees _____ Lakhs _____ Thousand Only
BASE BID + ALTERNATES
[6 empty] | Base Bid Amount |  |  | 2673285.308
[6 empty] | Alternate 1: Premium Fixtures Upgrade |  |  | 85000
[6 empty] | Alternate 2: Extended Warranty (5 years) |  |  | 35000
[6 empty] | Alternate 3: Water Recycling System |  |  | 125000
[6 empty] | TOTAL WITH ALL ALTERNATES |  |  | 2918285.308
ASSUMPTIONS
• Site access available during normal working hours (8 AM - 6 PM, Mon-Sat)
• Clean water and electricity available at site at no cost to contractor
• All civil/structural work (chasing, grouting, patching) by others unless specified
• Architectural finishes and tiling by others
• Fire stopping and sealing included for penetrations in fire-rated assemblies
• Coordination with other MEP trades assumed but not delays caused by others
• Existing plumbing infrastructure in serviceable condition
• No hazardous material removal required (asbestos, lead)
• Temporary facilities (toilets, storage) provided by main contractor
• All materials as per approved samples and shop drawings
EXCLUSIONS
• Civil and masonry work including wall chasing and floor cutting
• Waterproofing and anti-termite treatment
• Electrical work including wiring for water heaters and sensors
• HVAC and fire protection systems
• Interior finishing, tiling, and painting
• Furniture and vanity units (CP counters provided by others)
• Landscaping and external sitework beyond building line
• Main water supply connection charges from municipal authority
• Sewer connection charges and NOCs
• Architect/consultant fees
• Sales tax/GST on client-supplied materials
• Escalation beyond validity period
• Works not shown on approved drawings
• Night work, overtime, or acceleration unless pre-approved
• Insurance beyond standard contractor coverage
PAYMENT TERMS & SCHEDULE
Milestone | Description | [6 empty] | Percentage
1 | Advance Payment (on work order acceptance) | [5 empty] | 20% | 534657.0617
2 | On completion of rough-in plumbing (water & drainage) | [5 empty] | 25% | 668321.3271
3 | On completion of fixture installation (50% fixtures) | [5 empty] | 25% | 668321.3271
4 | On substantial completion & testing | [5 empty] | 20% | 534657.0617
5 | Final payment (after handover & defect liability period) | [5 empty] | 10% | 267328.5308
| TOTAL | [5 empty] | 100% | 2673285.308
• All payments due within 15 days of invoice submission
• GST invoice will be raised for each milestone as per prevailing rates
• TDS @ 2% will be deducted at source as applicable under Income Tax Act
• Retention: 5% of each payment to be released after 6-month defect liability period
• Interest @ 18% p.a. applicable on overdue payments beyond 30 days
PROJECT SCHEDULE / TIMELINE
Phase | Activity |  |  |  | Duration | Start | End
1 | Mobilization & Material Procurement |  |  |  | Week 1 | Week 2 | Work Order
2 | Rough-in - Water Supply Piping |  |  |  | Week 2 | Week 5 | Phase 1
3 | Rough-in - Drainage & Vent Piping |  |  |  | Week 3 | Week 6 | Phase 1
4 | Storm Water Drainage |  |  |  | Week 5 | Week 7 | Phase 2
5 | Pressure Testing & Inspections |  |  |  | Week 7 | Week 8 | Phase 2,3,4
6 | Fixture Installation |  |  |  | Week 8 | Week 11 | Phase 5
7 | Final Connections & Commissioning |  |  |  | Week 11 | Week 12 | Phase 6
8 | Punch List & Documentation |  |  |  | Week 12 | Week 13 | Phase 7
Total Project Duration: |  |  |  | 13 Weeks (Approximately 3 Months)
Note: Schedule subject to timely approvals, site access, and coordination with other trades
WARRANTY
Workmanship Warranty: |  |  |  | 24 months from date of substantial completion
Material/Product Warranty: |  |  |  | As per manufacturer's warranty (typically 1-5 years)
Fixtures (Jaquar/Hindware): |  |  |  | 5 years manufacturer warranty
Concealed Cisterns (Geberit): |  |  |  | 10 years manufacturer warranty
Pipes & Fittings: |  |  |  | 15 years manufacturer warranty (Astral/Supreme)
Water Heaters: |  |  |  | 2-5 years as per brand
Warranty Exclusions:
• Damage due to misuse, negligence, or improper maintenance
• Damage from unauthorized repairs or modifications
• Normal wear and tear, consumables (washers, gaskets)
• Damage from water quality issues (hard water, corrosion)
CHANGE ORDER PROCEDURE
• All changes to the scope of work must be requested in writing
• Contractor will provide written quote within 3 working days of request
• No change work shall commence without written approval from authorized client representative
• Change orders will be priced at rates consistent with this estimate plus applicable markup
• Time extensions for change orders will be evaluated and agreed separately
• All approved changes will be documented and attached to this estimate
• Cumulative changes exceeding 10% of contract value require formal amendment
INSURANCE & COMPLIANCE
Contractor's All Risk (CAR) Insurance: |  |  |  | Covered under ICICI Lombard Policy
Third Party Liability: |  |  |  | ₹5 Crore coverage
Workmen Compensation: |  |  |  | As per Workmen Compensation Act, 1923
EPFO/ESIC Compliance: |  |  |  | All statutory registrations current
Safety Compliance: |  |  |  | BOCW Act and applicable state regulations
ACCEPTANCE & AUTHORIZATION
PREPARED BY (Contractor) | [5 empty] | ACCEPTED BY (Client)
Name: _______________________ | [5 empty] | Name: _______________________
Title: Senior Estimator | [5 empty] | Title: _______________________
Date: _______________________ | [5 empty] | Date: _______________________
Signature: _______________________ | [5 empty] | Signature: _______________________
Company Seal: | [5 empty] | Authorization:
☐ Base Bid Accepted
☐ Base Bid + Alternate 1
☐ Base Bid + All Alternates
By signing above, the Client confirms acceptance of this estimate including all terms, conditions, assumptions, and exclusions stated herein. This estimate becomes a binding contract upon signature by both parties.
Document Reference: PLUMB-EST-2024-001 ¦ Version: 1.0 ¦ Page ___ of ___

## Terms & Conditions
TERMS & CONDITIONS
Commercial Plumbing Contract Terms
1. SCOPE OF WORK
The Contractor shall furnish all labor, materials, equipment, and supervision necessary to complete the plumbing work as described in the attached estimate and referenced drawings. Work shall be performed in accordance with applicable building codes (National Building Code of India), manufacturer specifications, and industry best practices. Any work not specifically included in the scope shall be considered additional and will require a written change order approved by both parties before commencement.
2. CONTRACT DOCUMENTS
The contract documents include and shall govern in the following order of precedence:
(a) Signed Estimate/Proposal
(b) These Terms & Conditions
(c) Referenced Drawings and Specifications
(d) Approved Shop Drawings and Submittals
(e) Change Orders and Amendments
3. PRICING & PAYMENT TERMS
3.1 All prices are quoted in Indian Rupees (₹) and include applicable GST (Goods and Services Tax) as itemized in the estimate.
3.2 Payment shall be made as per the milestone schedule specified in the estimate, within 15 days of invoice submission.
3.3 A 5% retention shall be held from each progress payment and released after satisfactory completion of the 6-month defect liability period.
3.4 Interest at 18% per annum shall be charged on amounts overdue beyond 30 days from invoice date.
3.5 TDS (Tax Deducted at Source) shall be deducted at applicable rates as per Income Tax Act provisions. TDS certificates to be provided quarterly.
4. TAXES & STATUTORY COMPLIANCE
4.1 The Contractor holds valid GSTIN and shall issue GST-compliant invoices with proper HSN/SAC codes.
4.2 E-way bills shall be generated for material transportation as required under GST regulations.
4.3 The Contractor shall maintain valid registrations under PF (Provident Fund) and ESI (Employees' State Insurance) Acts and submit monthly compliance reports.
4.4 All statutory labor welfare contributions and professional tax obligations shall be the Contractor's responsibility.
5. PROJECT SCHEDULE & DELAYS
5.1 The Contractor commits to complete work within the timeline specified in the estimate, subject to timely site access and approvals.
5.2 Force Majeure: Neither party shall be liable for delays due to acts of God, natural disasters, government actions, strikes, or other events beyond reasonable control.
5.3 Liquidated damages at 0.5% of contract value per week of delay (maximum 10%) may be applied for delays attributable to the Contractor.
5.4 Extensions of time shall be granted for delays caused by Client, design changes, or Force Majeure events.
6. CHANGES & VARIATIONS
6.1 No extra work shall be performed without a written Change Order signed by both parties.
6.2 Change Orders shall detail the scope change, price adjustment, and any impact on project schedule.
6.3 Pricing for additions shall be based on estimate rates or, for new items, mutually agreed unit rates.
6.4 Deletions from scope shall be credited at estimate rates less 10% overhead.
6.5 The Client may order changes within the general scope; substantial scope changes require mutual agreement.
7. WARRANTY
7.1 WORKMANSHIP WARRANTY: The Contractor warrants all workmanship for a period of 24 months from the date of substantial completion.
7.2 MATERIAL WARRANTY: All materials shall carry manufacturer's standard warranty. Warranty documentation shall be provided to Client upon project completion.
7.3 DEFECT LIABILITY: During the 6-month defect liability period, the Contractor shall rectify any defects at no additional cost within 7 days of notification.
7.4 WARRANTY EXCLUSIONS: Warranty does not cover damage caused by misuse, unauthorized modifications, lack of maintenance, or normal wear and tear.
7.5 The Contractor shall respond to warranty claims within 48 hours and complete repairs within 7 working days.
8. INSURANCE & INDEMNITY
8.1 The Contractor shall maintain Contractor's All Risk (CAR) Insurance covering the full value of works until handover.
8.2 Third Party Liability Insurance with minimum coverage of ₹50,00,000 per occurrence shall be maintained.
8.3 Workmen Compensation Insurance as per the Workmen's Compensation Act, 1923 shall cover all site workers.
8.4 The Contractor shall indemnify the Client against all claims, damages, and liabilities arising from the Contractor's negligence.
8.5 Copies of insurance policies and proof of premium payment shall be submitted before work commencement.
9. SAFETY & SITE REGULATIONS
9.1 The Contractor shall comply with the Building and Other Construction Workers (BOCW) Act, 1996 and all applicable safety regulations.
9.2 All workers shall be provided with and required to wear appropriate Personal Protective Equipment (PPE) at all times.
9.3 The Contractor shall conduct regular toolbox talks and maintain safety records as required.
9.4 The Contractor shall adhere to site rules, working hours, and access protocols established by the Client.
9.5 Any safety violations may result in work stoppage until corrective measures are implemented.
10. DISPUTE RESOLUTION
10.1 The parties shall attempt to resolve any dispute through good faith negotiation within 15 days of written notice.
10.2 If negotiation fails, disputes shall be referred to arbitration under the Arbitration and Conciliation Act, 1996.
10.3 Arbitration shall be conducted by a sole arbitrator mutually appointed, with proceedings in English and held in the city where the project is located.
10.4 The arbitrator's decision shall be final and binding on both parties.
10.5 Courts in the city where the project is located shall have exclusive jurisdiction over any legal proceedings.
11. TERMINATION
11.1 TERMINATION FOR CAUSE: Either party may terminate if the other commits a material breach and fails to cure within 15 days of written notice.
11.2 TERMINATION FOR CONVENIENCE: The Client may terminate for convenience with 30 days written notice and payment for work completed.
11.3 Upon termination, the Contractor shall secure the site, remove equipment, and deliver all completed work and materials paid for.
11.4 The Client shall pay for all work satisfactorily completed up to the termination date, less any damages for breach.
12. CONFIDENTIALITY
12.1 Both parties shall maintain confidentiality of all commercial, technical, and financial information disclosed during the project.
12.2 Confidential information shall not be disclosed to third parties without prior written consent, except as required by law.
12.3 This confidentiality obligation shall survive the completion or termination of the contract for a period of 3 years.
13. GENERAL PROVISIONS
13.1 ENTIRE AGREEMENT: This contract, including all attachments, constitutes the entire agreement and supersedes all prior negotiations and agreements.
13.2 AMENDMENTS: No modification of this contract shall be valid unless in writing and signed by authorized representatives of both parties.
13.3 SEVERABILITY: If any provision is found invalid, the remaining provisions shall continue in full force and effect.
13.4 ASSIGNMENT: Neither party may assign this contract without prior written consent of the other party.
13.5 GOVERNING LAW: This contract shall be governed by the Indian Contract Act, 1872 and the laws of India.
13.6 NOTICES: All notices shall be in writing and delivered by registered post, courier, or email to the addresses specified in the estimate.
By signing the estimate/proposal, the Client acknowledges having read, understood, and agreed to these Terms & Conditions.