## Cover & Instructions
PLUMBING FULL COST RATE ANALYSIS SHEET
Professional Estimating Tool for Indian Contractors
Residential & Commercial Projects ¦ Version 2.0 ¦ April 2026
[YOUR COMPANY LOGO HERE]
📊 COMPLETE COSTING | 🏠🏢 DUAL MODE | 🇮🇳 INDIA-READY
Labor, materials, overhead | Residential & Commercial | GST, PF, ESI, IS codes
📑 WORKBOOK NAVIGATION
Tab Name | Purpose | Key Features
1. Cover & Instructions | Introduction & Guide | How to use this tool
2. Labor Burden Calculator | Calculate true labor costs | Loaded rates, crew configs
3. Material Rate Analysis | Track material costs | Indian brands, markup
4. Task Rate Analysis | Cost per plumbing task | Res & Comm rates
5. Summary Dashboard | Overview & Analysis | KPIs, profit margins
6. Database & Reference | Lookup tables | Productivity, IS codes
📖 HOW TO USE THIS TOOL
STEP 1: | Go to Labor Burden Calculator tab. Enter base wages for each worker type.
Add benefits (PF, ESI, bonus) and calculate loaded hourly rates.
STEP 2: | Update Material Rate Analysis with current supplier prices.
Set waste factors and markup percentages for each material.
STEP 3: | In Task Rate Analysis, select tasks needed for your project.
Adjust labor hours based on residential or commercial complexity.
STEP 4: | Set your desired profit margin % for each task category.
Review auto-calculated selling rates with GST.
STEP 5: | Check Summary Dashboard for overall project profitability.
Export rates for client quotations.
⚠️ KEY ASSUMPTIONS
• All currency values in Indian Rupees (₹)
• GST: 18% for services, 12%/18% for materials (editable in Dashboard)
• Labor: 8-hour workday, 26 working days per month
• Statutory: PF @ 12%, ESI @ 3.25%, Bonus @ 8.33% (employer)
• Yellow cells (🟡) = Input cells - YOU can edit these
• Blue cells (🔵) = Formula cells - Auto-calculated, protected
• Productivity rates are market averages - adjust for your region
Last Updated: | 07-Apr-2026
© 2026 ¦ Professional Plumbing Estimating Tool ¦ Made in India

## Labor Burden Calculator
LABOR BURDEN & CREW RATE CALCULATOR
Calculate True Loaded Labor Costs with Indian Statutory Requirements
SECTION A: BASE WAGE INPUTS
Worker Category | Daily Wage (₹) | Monthly Salary (₹) | Hourly Rate (₹) | Skill Level | Notes
Helper/Mazdoor | 600 | 15600 | 75 | Unskilled | Assists plumbers
Plumber Grade III | 800 | 20800 | 100 | Semi-Skilled | Basic plumbing work
Plumber Grade II | 1000 | 26000 | 125 | Skilled | Standard installations
Plumber Grade I | 1200 | 31200 | 150 | Highly Skilled | Complex work
Senior Plumber | 1500 | 39000 | 187.5 | Expert | Supervision + work
Foreman/Supervisor | 2000 | 52000 | 250 | Supervisory | Team management
Site Engineer | 2500 | 65000 | 312.5 | Technical | Quality & coordination
SECTION B: STATUTORY BENEFITS & EMPLOYER CONTRIBUTIONS
Benefit Component | Rate (%) | Basis | Monthly Cost (₹) | Annual Cost (₹) | Remarks
Provident Fund (PF) - Employer | 12% | Basic Wage | 3120 | 37440 | EPF Act 1952
ESI - Employer Contribution | 3.25% | Gross Wage | 845 | 10140 | For wages ≤₹21,000/month
Bonus (Statutory) | 8.33% | Basic Wage | 2165.8 | 25989.6 | Payment of Bonus Act
Gratuity Provision | 4.81% | Basic Wage | 1250.6 | 15007.2 | 15 days per year
Leave Encashment | 4% | Basic Wage | 1040 | 12480 | Earned leave provision
Insurance (Group) | 1.5% | Per Worker | 390 | 4680 | Accidental + medical
Training & Certification | 1% | Per Worker | 260 | 3120 | Skill development
Uniform & PPE | 0.5% | Per Worker | 130 | 1560 | Safety equipment
TOTAL BURDEN RATE: |  | 35.39%
Additional Allowances (Per Worker/Month)
Tool Allowance | 500 | Monthly | 500 | 6000 | Hand tools maintenance
Travel/Conveyance | 1500 | Monthly | 1500 | 18000 | Site travel
Mobile/Communication | 300 | Monthly | 300 | 3600 | Coordination
SECTION C: FULLY LOADED LABOR RATES
Worker Category | Base Hourly (₹) | Burden Amount (₹) | Allowances/Hr (₹) | Loaded Hourly Rate (₹) | Loaded Daily Rate (₹)
Helper/Mazdoor | 75 | 26.5425 | 11.0577 | 112.6002 | 900.8015
Plumber Grade III | 100 | 35.39 | 11.0577 | 146.4477 | 1171.5815
Plumber Grade II | 125 | 44.2375 | 11.0577 | 180.2952 | 1442.3615
Plumber Grade I | 150 | 53.085 | 11.0577 | 214.1427 | 1713.1415
Senior Plumber | 187.5 | 66.3563 | 11.0577 | 264.9139 | 2119.3115
Foreman/Supervisor | 250 | 88.475 | 11.0577 | 349.5327 | 2796.2615
Site Engineer | 312.5 | 110.5938 | 11.0577 | 434.1514 | 3473.2115
SECTION D: CREW CONFIGURATIONS & BLENDED RATES
Crew Type | Composition | Workers | Blended Hourly (₹) | Blended Daily (₹) | Recommended For
Small Residential Crew | 1 Plumber II + 1 Helper | 2 | 146.4477 | 1171.5815 | Minor repairs, single fixture
Standard Residential | 1 Sr. Plumber + 1 Plumber II + 1 Helper | 3 | 185.9364 | 1487.4915 | Bathroom/kitchen remodel
Large Residential | 1 Foreman + 2 Plumber I + 2 Helpers | 5 | 200.6037 | 1604.8295 | New construction, multi-bath
Commercial Basic | 1 Foreman + 2 Plumber I + 1 Plumber II + 2 Helpers | 6 | 197.2189 | 1577.7515 | Office restrooms
Commercial Standard | 1 Engineer + 1 Foreman + 3 Plumber I + 2 Plumber II + 3 Helpers | 10 | 212.4503 | 1699.6025 | Large commercial
Industrial/Heavy | 1 Engineer + 2 Foremen + 4 Plumber I + 4 Plumber II + 6 Helpers | 17 | 199.21 | 1593.6798 | Industrial, high-rise
SECTION E: NON-PRODUCTIVE TIME & EFFICIENCY FACTORS
Factor | Days/Year | % of Work Year | Description
Public Holidays | 12 | 3.846% | National & state holidays
Earned Leave | 15 | 4.808% | Annual leave entitlement
Sick Leave | 7 | 2.244% | Average sick days
Training Days | 5 | 1.603% | Skill upgrades
Weather/Downtime | 10 | 3.205% | Monsoon, site delays
TOTAL NON-PRODUCTIVE | 49 | 15.71% | Effective working days = 312 - total
Productivity Factor to Apply: | 1.1863 | Multiply loaded rates by this factor for effective cost
KEY REFERENCE CELLS: Burden Rate (D27), Loaded Rates (F36:F42), Productivity Factor (C62), Crew Rates (E46:E51)

## Material Rate Analysis
MATERIAL RATE ANALYSIS
Current Material Costs with Waste Factors & Markup for Indian Plumbing Projects
GLOBAL SETTINGS
Default Markup %: | 25% | Default Waste %: | 5% | GST Rate: | 18% | Last Updated: | 07-Apr-2026
🔧 PIPES & TUBES
S.No | Item Description | Specification/Brand | Unit | Market Rate (₹) | Waste % | Markup % | Cost with Waste (₹) | Final Rate (₹)
1 | CPVC Pipe - Hot & Cold | Astral/Supreme 15mm SDR11 | Meter | 85 | 5% | 25% | 89.25 | 111.5625
2 | CPVC Pipe - Hot & Cold | Astral/Supreme 20mm SDR11 | Meter | 120 | 5% | 25% | 126 | 157.5
3 | CPVC Pipe - Hot & Cold | Astral/Supreme 25mm SDR11 | Meter | 175 | 5% | 25% | 183.75 | 229.6875
4 | uPVC Pipe - Drainage | Finolex/Prince 75mm SWR | Meter | 180 | 7% | 20% | 192.6 | 231.12
5 | uPVC Pipe - Drainage | Finolex/Prince 110mm SWR | Meter | 280 | 7% | 20% | 299.6 | 359.52
6 | uPVC Pipe - Drainage | Finolex/Prince 160mm SWR | Meter | 520 | 7% | 20% | 556.4 | 667.68
7 | GI Pipe - Water Supply | Tata/Jindal 15mm Medium | Meter | 145 | 3% | 22% | 149.35 | 182.207
8 | GI Pipe - Water Supply | Tata/Jindal 20mm Medium | Meter | 195 | 3% | 22% | 200.85 | 245.037
9 | GI Pipe - Water Supply | Tata/Jindal 25mm Medium | Meter | 285 | 3% | 22% | 293.55 | 358.131
10 | PPR Pipe - Hot Water | Kalde/Wavin 20mm PN20 | Meter | 95 | 5% | 25% | 99.75 | 124.6875
11 | PPR Pipe - Hot Water | Kalde/Wavin 25mm PN20 | Meter | 140 | 5% | 25% | 147 | 183.75
12 | HDPE Pipe - Underground | Supreme/Jain 20mm PE100 | Meter | 45 | 8% | 20% | 48.6 | 58.32
13 | HDPE Pipe - Underground | Supreme/Jain 25mm PE100 | Meter | 65 | 8% | 20% | 70.2 | 84.24
14 | Copper Pipe - Premium | Mandev/Soft Copper 15mm | Meter | 650 | 3% | 30% | 669.5 | 870.35
15 | Copper Pipe - Premium | Mandev/Soft Copper 22mm | Meter | 950 | 3% | 30% | 978.5 | 1272.05
16 | PEX Pipe - Flexible | Rehau/Uponor 16mm | Meter | 125 | 4% | 28% | 130 | 166.4
🔩 FITTINGS & CONNECTORS
S.No | Item Description | Specification/Brand | Unit | Market Rate (₹) | Waste % | Markup % | Cost with Waste (₹) | Final Rate (₹)
17 | CPVC Elbow 90° | Astral 15mm | Each | 18 | 10% | 30% | 19.8 | 25.74
18 | CPVC Elbow 90° | Astral 20mm | Each | 28 | 10% | 30% | 30.8 | 40.04
19 | CPVC Tee | Astral 15mm | Each | 25 | 10% | 30% | 27.5 | 35.75
20 | CPVC Tee | Astral 20mm | Each | 38 | 10% | 30% | 41.8 | 54.34
21 | CPVC Union | Astral 15mm | Each | 45 | 5% | 30% | 47.25 | 61.425
22 | CPVC Ball Valve | Astral 15mm | Each | 185 | 3% | 28% | 190.55 | 243.904
23 | CPVC Ball Valve | Astral 20mm | Each | 265 | 3% | 28% | 272.95 | 349.376
24 | uPVC Bend 90° | Finolex 110mm | Each | 145 | 8% | 25% | 156.6 | 195.75
25 | uPVC Y-Junction | Finolex 110mm | Each | 185 | 8% | 25% | 199.8 | 249.75
26 | uPVC P-Trap | 110mm | Each | 220 | 5% | 25% | 231 | 288.75
27 | Floor Trap/Gully | Jaquar/Hindware 6"x6" | Each | 350 | 3% | 30% | 360.5 | 468.65
28 | Brass Gate Valve | Zoloto/Sant 15mm | Each | 320 | 2% | 25% | 326.4 | 408
29 | Brass Gate Valve | Zoloto/Sant 20mm | Each | 480 | 2% | 25% | 489.6 | 612
30 | Brass Non-Return Valve | Zoloto 25mm | Each | 650 | 2% | 25% | 663 | 828.75
31 | SS Flexible Connector | 15mm x 450mm | Each | 180 | 5% | 28% | 189 | 241.92
32 | Concealed Stop Cock | Jaquar/Parryware 15mm | Each | 450 | 3% | 30% | 463.5 | 602.55
33 | Angle Cock - Chrome | Jaquar/Hindware | Each | 380 | 3% | 30% | 391.4 | 508.82
🚽 SANITARY FIXTURES
S.No | Item Description | Specification/Brand | Unit | Market Rate (₹) | Waste % | Markup % | Cost with Waste (₹) | Final Rate (₹)
34 | Wall-Hung WC - Standard | Parryware/Cera | Set | 4500 | 2% | 20% | 4590 | 5508
35 | Wall-Hung WC - Premium | Jaquar/Kohler | Set | 12000 | 2% | 18% | 12240 | 14443.2
36 | Floor-Mounted WC - EWC | Hindware/Parryware | Set | 3800 | 2% | 20% | 3876 | 4651.2
37 | Floor-Mounted WC - Premium | 0 | 8500 | 0.02 | 18% |  | 0.0236 | 0.0236
38 | Concealed Cistern | Geberit/Grohe | Set | 8500 | 1% | 18% | 8585 | 10130.3
39 | Exposed Cistern - Standard | Parryware | Set | 1800 | 2% | 22% | 1836 | 2239.92
40 | Wash Basin - Table Top | Hindware/Cera | Each | 2800 | 3% | 22% | 2884 | 3518.48
41 | Wash Basin - Wall Hung | Jaquar/Parryware | Each | 3200 | 3% | 22% | 3296 | 4021.12
42 | Wash Basin - Pedestal | Hindware/Cera | Set | 2200 | 3% | 22% | 2266 | 2764.52
43 | Kitchen Sink - SS Single | Nirali/Franke | Each | 3500 | 2% | 20% | 3570 | 4284
44 | Kitchen Sink - SS Double | Nirali/Franke | Each | 5500 | 2% | 20% | 5610 | 6732
45 | Urinal - Standard | Parryware/Cera | Each | 2200 | 2% | 22% | 2244 | 2737.68
46 | Urinal - Sensor | Jaquar/Kohler | Each | 12000 | 1% | 18% | 12120 | 14301.6
47 | Bidet - Standard | Parryware | Each | 4500 | 2% | 20% | 4590 | 5508
48 | Health Faucet Set | Jaquar/Hindware | Set | 850 | 3% | 28% | 875.5 | 1120.64
49 | Shower Partition - Glass | Saint-Gobain 8mm | Sqft | 450 | 5% | 25% | 472.5 | 590.625
🚿 FAUCETS & TAPS
S.No | Item Description | Specification/Brand | Unit | Market Rate (₹) | Waste % | Markup % | Cost with Waste (₹) | Final Rate (₹)
50 | Pillar Cock - Chrome | Jaquar/Parryware | Each | 650 | 2% | 30% | 663 | 861.9
51 | Basin Mixer | Jaquar/Grohe | Each | 2800 | 2% | 25% | 2856 | 3570
52 | Single Lever Basin Mixer | Jaquar Premium | Each | 4500 | 2% | 22% | 4590 | 5599.8
53 | Wall Mixer - 2-in-1 | Jaquar/Hindware | Each | 3200 | 2% | 25% | 3264 | 4080
54 | Wall Mixer - 3-in-1 | Jaquar/Grohe | Each | 4800 | 2% | 25% | 4896 | 6120
55 | Diverter - 5 Way | Jaquar/Kohler | Each | 6500 | 2% | 22% | 6630 | 8088.6
56 | Overhead Shower - 8" | Jaquar/Grohe | Each | 2200 | 2% | 28% | 2244 | 2872.32
57 | Hand Shower Set | Jaquar/Hindware | Set | 1800 | 3% | 28% | 1854 | 2373.12
58 | Rain Shower - 12" | Jaquar Premium | Each | 5500 | 2% | 22% | 5610 | 6844.2
59 | Kitchen Sink Mixer | Jaquar/Franke | Each | 3800 | 2% | 25% | 3876 | 4845
60 | Bib Cock - Chrome | Jaquar/Parryware | Each | 480 | 3% | 30% | 494.4 | 642.72
61 | 2-Way Bib Cock | Jaquar | Each | 750 | 3% | 28% | 772.5 | 988.8
🔥 WATER HEATERS & EQUIPMENT
S.No | Item Description | Specification/Brand | Unit | Market Rate (₹) | Waste % | Markup % | Cost with Waste (₹) | Final Rate (₹)
62 | Instant Water Heater - 3L | Bajaj/Racold | Each | 3500 | 1% | 18% | 3535 | 4171.3
63 | Storage Water Heater - 15L | AO Smith/Racold | Each | 8500 | 1% | 15% | 8585 | 9872.75
64 | Storage Water Heater - 25L | AO Smith/Havells | Each | 12000 | 1% | 15% | 12120 | 13938
65 | Pressure Pump - 0.5HP | Crompton/Kirloskar | Each | 4500 | 1% | 18% | 4545 | 5363.1
66 | Pressure Pump - 1HP | Crompton/Kirloskar | Each | 7500 | 1% | 18% | 7575 | 8938.5
67 | Submersible Pump - 1HP | Kirloskar/CRI | Each | 12000 | 1% | 15% | 12120 | 13938
68 | Water Tank - 500L | Sintex/Supreme | Each | 3800 | 2% | 15% | 3876 | 4457.4
69 | Water Tank - 1000L | Sintex/Supreme | Each | 6500 | 2% | 15% | 6630 | 7624.5
70 | Solar Water Heater - 100LPD | Tata/V-Guard | Set | 22000 | 1% | 12% | 22220 | 24886.4
71 | RO Water Purifier | Kent/Aquaguard | Each | 15000 | 1% | 15% | 15150 | 17422.5

## Task Rate Analysis
TASK / ASSEMBLY RATE ANALYSIS
Detailed Cost Breakdown per Plumbing Task with Profit Margin Calculation
PROJECT MODE & GLOBAL SETTINGS
Project Type: | Residential | Profit %: | 20% | GST: | 18% | Overhead: | 10% | Contingency: | 5%
S.No | Task/Assembly Description | Unit | Material Cost (₹) | Labor Hrs (Res) | Labor Hrs (Comm) | Loaded Rate (₹/hr) | Labor Cost (₹) | Equip Cost (₹) | Overhead (₹) | Total Cost (₹) | Profit % | Selling Rate (₹)
🔧 PIPING WORKS - WATER SUPPLY
S.No | Task/Assembly Description | Unit | Material Cost (₹) | Labor Hrs (Res) | Labor Hrs (Comm) | Loaded Rate (₹/hr) | Labor Cost (₹) | Equip Cost (₹) | Overhead (₹) | Total Cost (₹) | Profit % | Selling Rate (₹)
1 | CPVC Pipe Installation - 15mm (Hot/Cold) | Meter | 112 | 0.25 | 0.3 | 180.2952 | 45.0738 | 15 | 17.2074 | 189.2812 | 20% | 227.1374
2 | CPVC Pipe Installation - 20mm (Hot/Cold) | Meter | 158 | 0.28 | 0.35 | 180.2952 | 50.4827 | 15 | 22.3483 | 245.8309 | 20% | 294.9971
3 | CPVC Pipe Installation - 25mm (Hot/Cold) | Meter | 230 | 0.3 | 0.38 | 180.2952 | 54.0886 | 18 | 30.2089 | 332.2974 | 20% | 398.7569
4 | uPVC Drainage Pipe - 75mm | Meter | 231 | 0.3 | 0.4 | 180.2952 | 54.0886 | 20 | 30.5089 | 335.5974 | 18% | 396.0049
5 | uPVC Drainage Pipe - 110mm | Meter | 360 | 0.35 | 0.45 | 180.2952 | 63.1033 | 22 | 44.5103 | 489.6136 | 18% | 577.7441
6 | uPVC Drainage Pipe - 160mm | Meter | 668 | 0.4 | 0.55 | 180.2952 | 72.1181 | 25 | 76.5118 | 841.6299 | 18% | 993.1233
7 | GI Pipe Installation - 15mm | Meter | 182 | 0.4 | 0.5 | 214.1427 | 85.6571 | 25 | 29.2657 | 321.9228 | 22% | 392.7458
8 | GI Pipe Installation - 20mm | Meter | 245 | 0.45 | 0.55 | 214.1427 | 96.3642 | 28 | 36.9364 | 406.3006 | 22% | 495.6868
9 | GI Pipe Installation - 25mm | Meter | 358 | 0.5 | 0.6 | 214.1427 | 107.0713 | 30 | 49.5071 | 544.5785 | 22% | 664.3857
10 | PPR Pipe Welding - 20mm | Meter | 125 | 0.35 | 0.45 | 214.1427 | 74.9499 | 35 | 23.495 | 258.4449 | 25% | 323.0562
11 | PPR Pipe Welding - 25mm | Meter | 184 | 0.4 | 0.5 | 214.1427 | 85.6571 | 35 | 30.4657 | 335.1228 | 25% | 418.9035
12 | HDPE Pipe - Underground 20mm | Meter | 58 | 0.35 | 0.5 | 180.2952 | 63.1033 | 40 | 16.1103 | 177.2136 | 20% | 212.6564
13 | HDPE Pipe - Underground 25mm | Meter | 84 | 0.4 | 0.55 | 180.2952 | 72.1181 | 40 | 19.6118 | 215.7299 | 20% | 258.8759
14 | Copper Pipe Installation - 15mm | Meter | 871 | 0.6 | 0.75 | 264.9139 | 158.9484 | 50 | 107.9948 | 1187.9432 | 28% | 1520.5673
15 | Copper Pipe Installation - 22mm | Meter | 1272 | 0.7 | 0.85 | 264.9139 | 185.4398 | 55 | 151.244 | 1663.6837 | 28% | 2129.5152
16 | PEX Pipe Installation - 16mm | Meter | 166 | 0.25 | 0.35 | 180.2952 | 45.0738 | 20 | 23.1074 | 254.1812 | 25% | 317.7265
🚿 PIPING WORKS - DRAINAGE & VENTING
S.No | Task/Assembly Description | Unit | Material Cost (₹) | Labor Hrs (Res) | Labor Hrs (Comm) | Loaded Rate (₹/hr) | Labor Cost (₹) | Equip Cost (₹) | Overhead (₹) | Total Cost (₹) | Profit % | Selling Rate (₹)
17 | Floor Trap Installation - 6"x6" | Each | 455 | 0.5 | 0.65 | 180.2952 | 90.1476 | 25 | 57.0148 | 627.1624 | 25% | 783.9529
18 | P-Trap Installation - 110mm | Each | 286 | 0.4 | 0.55 | 180.2952 | 72.1181 | 20 | 37.8118 | 415.9299 | 22% | 507.4345
19 | Nahani Trap Installation | Each | 320 | 0.45 | 0.6 | 180.2952 | 81.1328 | 20 | 42.1133 | 463.2461 | 22% | 565.1603
20 | Vent Pipe Installation - 75mm | Meter | 231 | 0.35 | 0.45 | 146.4477 | 51.2567 | 18 | 30.0257 | 330.2824 | 20% | 396.3388
21 | Vent Pipe Installation - 110mm | Meter | 360 | 0.4 | 0.5 | 146.4477 | 58.5791 | 20 | 43.8579 | 482.437 | 20% | 578.9244
22 | Cowl/Vent Cap Installation | Each | 180 | 0.3 | 0.4 | 146.4477 | 43.9343 | 15 | 23.8934 | 262.8277 | 25% | 328.5347
23 | Manhole Connection | Each | 850 | 2 | 2.5 | 214.1427 | 428.2854 | 100 | 137.8285 | 1516.1139 | 20% | 1819.3367
24 | Rain Water Pipe - 110mm | Meter | 360 | 0.35 | 0.45 | 180.2952 | 63.1033 | 22 | 44.5103 | 489.6136 | 20% | 587.5364
25 | Rain Water Outlet/Gully | Each | 450 | 0.6 | 0.8 | 180.2952 | 108.1771 | 30 | 58.8177 | 646.9948 | 22% | 789.3337
🚽 FIXTURE INSTALLATION - RESIDENTIAL
S.No | Task Description | Unit | Material Cost (₹) | Res Hrs | Comm Hrs | Loaded Rate (₹) | Labor Cost (₹) | Equip Cost (₹) | Overhead (₹) | Total Cost (₹) | Profit % | Selling Rate (₹)
26 | Wall-Hung WC Installation (Standard) | Each | 5400 | 2.5 | 3 | 264.9139 | 1457.0267 | 150 | 350.3513 | 7357.378 | 22% | 8976.0012
27 | Wall-Hung WC Installation (Premium) | Each | 14160 | 3 | 3.5 | 264.9139 | 1721.9406 | 200 | 804.097 | 16886.0377 | 20% | 20263.2452
28 | Floor-Mounted EWC Installation | Each | 4560 | 2 | 2.5 | 180.2952 | 811.3284 | 120 | 274.5664 | 5765.8948 | 22% | 7034.3916
29 | Concealed Cistern Installation | Each | 10030 | 2.5 | 3 | 264.9139 | 1457.0267 | 180 | 583.3513 | 12250.378 | 20% | 14700.4536
30 | Wash Basin - Wall Hung | Each | 3904 | 1.5 | 2 | 180.2952 | 631.0332 | 80 | 230.7517 | 4845.7848 | 22% | 5911.8575
31 | Wash Basin - Table Top | Each | 3416 | 1.25 | 1.75 | 180.2952 | 540.8856 | 100 | 202.8443 | 4259.7299 | 22% | 5196.8704
32 | Wash Basin - Pedestal Set | Each | 2684 | 1.5 | 2 | 180.2952 | 631.0332 | 80 | 169.7517 | 3564.7848 | 22% | 4349.0375
33 | Kitchen Sink - SS Single Bowl | Each | 4200 | 1.5 | 2 | 180.2952 | 631.0332 | 100 | 246.5517 | 5177.5848 | 22% | 6316.6535
34 | Kitchen Sink - SS Double Bowl | Each | 6600 | 2 | 2.5 | 180.2952 | 811.3284 | 120 | 376.5664 | 7907.8948 | 22% | 9647.6316
35 | Bathtub Installation - Standard | Each | 18000 | 4 | 5 | 264.9139 | 2384.2255 | 350 | 1036.7113 | 21770.9368 | 18% | 25689.7054
36 | Shower Enclosure - Glass | Sqm | 5625 | 2 | 2.5 | 214.1427 | 963.6421 | 150 | 336.9321 | 7075.5742 | 22% | 8632.2005
37 | Urinal Installation - Standard | Each | 2684 | 1.5 | 2 | 180.2952 | 631.0332 | 80 | 169.7517 | 3564.7848 | 22% | 4349.0375
38 | Urinal Installation - Sensor | Each | 14160 | 2.5 | 3 | 264.9139 | 1457.0267 | 200 | 790.8513 | 16607.878 | 18% | 19597.2961
39 | Bidet Installation | Each | 5400 | 1.5 | 2 | 180.2952 | 631.0332 | 100 | 306.5517 | 6437.5848 | 22% | 7853.8535
40 | Health Faucet Set Installation | Each | 1088 | 0.5 | 0.75 | 146.4477 | 183.0596 | 25 | 64.803 | 1360.8626 | 28% | 1741.9041
🚿 FAUCET & TAP INSTALLATION
S.No | Task Description | Unit | Material Cost (₹) | Res Hrs | Comm Hrs | Loaded Rate (₹) | Labor Cost (₹) | Equip Cost (₹) | Overhead (₹) | Total Cost (₹) | Profit % | Selling Rate (₹)
41 | Pillar Cock Installation | Each | 845 | 0.3 | 0.4 | 146.4477 | 102.5134 | 15 | 48.1257 | 1010.6391 | 28% | 1293.618
42 | Basin Mixer Installation | Each | 3500 | 0.5 | 0.65 | 180.2952 | 207.3395 | 25 | 186.617 | 3918.9564 | 25% | 4898.6956
43 | Single Lever Basin Mixer | Each | 5490 | 0.6 | 0.8 | 180.2952 | 252.4133 | 30 | 288.6207 | 6061.0339 | 22% | 7394.4614
44 | Wall Mixer 2-in-1 | Each | 4000 | 0.75 | 1 | 180.2952 | 315.5166 | 35 | 217.5258 | 4568.0424 | 25% | 5710.053
45 | Wall Mixer 3-in-1 | Each | 6000 | 1 | 1.25 | 180.2952 | 405.6642 | 40 | 322.2832 | 6767.9474 | 25% | 8459.9342
46 | Diverter 5-Way | Each | 7930 | 1.25 | 1.5 | 214.1427 | 588.8924 | 50 | 428.4446 | 8997.337 | 22% | 10976.7512
47 | Overhead Shower 8" with Arm | Each | 2816 | 0.5 | 0.65 | 146.4477 | 168.4148 | 25 | 150.4707 | 3159.8856 | 28% | 4044.6536
48 | Hand Shower Set Complete | Set | 2304 | 0.5 | 0.65 | 146.4477 | 168.4148 | 25 | 124.8707 | 2622.2856 | 28% | 3356.5256
49 | Rain Shower 12" Complete | Each | 6710 | 0.75 | 1 | 180.2952 | 315.5166 | 40 | 353.2758 | 7418.7924 | 22% | 9050.9267
50 | Kitchen Sink Mixer | Each | 4750 | 0.6 | 0.8 | 180.2952 | 252.4133 | 30 | 251.6207 | 5284.0339 | 25% | 6605.0424
51 | Bib Cock Installation | Each | 624 | 0.25 | 0.35 | 146.4477 | 87.8686 | 12 | 36.1934 | 760.062 | 30% | 988.0807
52 | Concealed Stop Cock | Each | 585 | 0.4 | 0.55 | 180.2952 | 171.2804 | 20 | 38.814 | 815.0945 | 28% | 1043.3209
53 | Angle Cock Installation | Each | 494 | 0.25 | 0.35 | 146.4477 | 87.8686 | 12 | 29.6934 | 623.562 | 30% | 810.6307
🔥 EQUIPMENT INSTALLATION
S.No | Task Description | Unit | Material Cost (₹) | Res Hrs | Comm Hrs | Loaded Rate (₹) | Labor Cost (₹) | Equip Cost (₹) | Overhead (₹) | Total Cost (₹) | Profit % | Selling Rate (₹)
54 | Instant Water Heater 3L | Each | 4130 | 1 | 1.25 | 180.2952 | 405.6642 | 50 | 229.2832 | 4814.9474 | 20% | 5777.9369
55 | Storage Water Heater 15L | Each | 9775 | 1.5 | 2 | 214.1427 | 749.4994 | 80 | 530.225 | 11134.7244 | 18% | 13138.9748
56 | Storage Water Heater 25L | Each | 13800 | 2 | 2.5 | 214.1427 | 963.6421 | 100 | 743.1821 | 15606.8242 | 18% | 18416.0526
57 | Pressure Pump 0.5HP | Each | 5310 | 2 | 2.5 | 214.1427 | 963.6421 | 120 | 319.6821 | 6713.3242 | 20% | 8055.9891
58 | Pressure Pump 1HP | Each | 8850 | 2.5 | 3 | 214.1427 | 1177.7848 | 150 | 508.8892 | 10686.674 | 20% | 12824.0089
59 | Submersible Pump 1HP | Each | 13800 | 3 | 4 | 264.9139 | 1854.3976 | 200 | 792.7199 | 16647.1175 | 18% | 19643.5986
60 | Water Tank 500L Installation | Each | 4370 | 2 | 2.5 | 180.2952 | 811.3284 | 150 | 266.5664 | 5597.8948 | 20% | 6717.4737
61 | Water Tank 1000L Installation | Each | 7475 | 3 | 4 | 214.1427 | 1498.9988 | 200 | 458.6999 | 9632.6988 | 20% | 11559.2385
62 | Solar Water Heater 100LPD | Set | 24640 | 6 | 8 | 264.9139 | 3708.7952 | 500 | 1442.4398 | 30291.235 | 15% | 34834.9202
63 | RO Water Purifier | Each | 17250 | 1.5 | 2 | 180.2952 | 631.0332 | 80 | 898.0517 | 18859.0848 | 18% | 22253.7201
64 | Water Softener Installation | Each | 35000 | 4 | 5 | 264.9139 | 2384.2255 | 300 | 1884.2113 | 39568.4368 | 15% | 45503.7023
65 | Sump Pump Installation | Each | 12000 | 3 | 4 | 214.1427 | 1498.9988 | 250 | 687.4499 | 14436.4488 | 18% | 17035.0096
🔍 TESTING & COMMISSIONING
S.No | Task Description | Unit | Material Cost (₹) | Res Hrs | Comm Hrs | Loaded Rate (₹) | Labor Cost (₹) | Equip Cost (₹) | Overhead (₹) | Total Cost (₹) | Profit % | Selling Rate (₹)
66 | Pressure Testing - Per Point | Point | 50 | 0.25 | 0.3 | 180.2952 | 99.1624 | 25 | 8.7081 | 182.8705 | 35% | 246.8751
67 | Hydrostatic Test - Complete System | Job | 500 | 4 | 6 | 214.1427 | 2141.4269 | 200 | 142.0713 | 2983.4983 | 30% | 3878.5478
68 | Leak Detection & Repair | Hour | 100 | 1 | 1 | 214.1427 | 428.2854 | 50 | 28.9143 | 607.1997 | 35% | 819.7195
69 | Drainage Test - Per Floor | Floor | 200 | 2 | 3 | 180.2952 | 901.476 | 100 | 60.0738 | 1261.5498 | 30% | 1640.0147
70 | Flushing & Disinfection | System | 800 | 3 | 4 | 180.2952 | 1262.0663 | 150 | 110.6033 | 2322.6697 | 28% | 2973.0172
71 | Final Inspection & Handover | Unit | 0 | 2 | 3 | 349.5327 | 1747.6635 | 100 | 92.3832 | 1940.0466 | 25% | 2425.0583
72 | Snag Rectification | Hour | 150 | 1 | 1 | 214.1427 | 428.2854 | 50 | 31.4143 | 659.6997 | 30% | 857.6095
73 | Documentation & As-Built | Set | 500 | 4 | 6 | 434.1514 | 4341.5144 | 200 | 252.0757 | 5293.5901 | 20% | 6352.3082
⚡ SPECIALTY WORKS
S.No | Task Description | Unit | Material Cost (₹) | Res Hrs | Comm Hrs | Loaded Rate (₹) | Labor Cost (₹) | Equip Cost (₹) | Overhead (₹) | Total Cost (₹) | Profit % | Selling Rate (₹)
74 | Gas Pipe Installation - GI 15mm | Meter | 250 | 0.6 | 0.8 | 264.9139 | 370.8795 | 40 | 33.044 | 693.9235 | 30% | 902.1005
75 | Gas Pipe Installation - GI 20mm | Meter | 350 | 0.7 | 0.9 | 264.9139 | 423.8623 | 45 | 40.9431 | 859.8054 | 30% | 1117.747
76 | Fire Sprinkler Connection | Each | 850 | 1 | 1.25 | 264.9139 | 596.0564 | 80 | 76.3028 | 1602.3592 | 28% | 2051.0198
77 | Compressed Air Line - 15mm | Meter | 200 | 0.5 | 0.65 | 214.1427 | 246.2641 | 35 | 24.0632 | 505.3273 | 28% | 646.8189
78 | Medical Gas Piping (Per Point) | Point | 1500 | 2 | 2.5 | 264.9139 | 1192.1127 | 150 | 142.1056 | 2984.2184 | 25% | 3730.273
79 | Swimming Pool Plumbing (Per Sqm) | Sqm | 800 | 0.8 | 1 | 264.9139 | 476.8451 | 100 | 68.8423 | 1445.6874 | 22% | 1763.7386
80 | Rainwater Harvesting Connection | Each | 2500 | 3 | 4 | 214.1427 | 1498.9988 | 200 | 209.9499 | 4408.9488 | 20% | 5290.7385
81 | Grease Trap Installation | Each | 8000 | 4 | 5 | 214.1427 | 1927.2842 | 300 | 511.3642 | 10738.6484 | 22% | 13101.1511
82 | Sewage Treatment Plant Connection | Job | 15000 | 8 | 10 | 349.5327 | 6291.5885 | 500 | 1089.5794 | 22881.1679 | 18% | 26999.7781

## Summary Dashboard
SUMMARY DASHBOARD
Overview of Loaded Rates, Profit Margins & Project Analysis
📊 KEY PERFORMANCE INDICATORS
Metric | Burden Rate | Productivity | Avg Labor Rate | Default Profit | GST Rate | Project Mode
Current Value | 35.39% | 1.1863 | 243.1548 | 20% | 18% | Residential
Description | Total burden % | Output factor | ₹/hour avg | Markup | Tax rate | Project type
👷 LABOR RATE SUMMARY
Worker Type | Daily Wage | Loaded/Hr | Loaded/Day | Monthly | Annual | % of Max
Helper | 600 | 112.6002 | 900.8015 | 23420.84 | 281050.08 | 25.94%
Plumber III | 800 | 146.4477 | 1171.5815 | 30461.12 | 365533.44 | 33.73%
Plumber II | 1000 | 180.2952 | 1442.3615 | 37501.4 | 450016.8 | 41.53%
Plumber I | 1200 | 214.1427 | 1713.1415 | 44541.68 | 534500.16 | 49.32%
Sr. Plumber | 1500 | 264.9139 | 2119.3115 | 55102.1 | 661225.2 | 61.02%
Foreman | 2000 | 349.5327 | 2796.2615 | 72702.8 | 872433.6 | 80.51%
Engineer | 2500 | 434.1514 | 3473.2115 | 90303.5 | 1083642 | 100%
👥 CREW CONFIGURATION SUMMARY
Crew Type | Workers | Hourly Rate | Daily Rate | Weekly | Best For | Index
Small Residential | 2 | 146.4477 | 1171.5815 | 7029.4892 | Minor repairs | 1
Standard Residential | 3 | 185.9364 | 1487.4915 | 8924.9492 | Full bathroom | 1.2696
Medium Commercial | 5 | 200.6037 | 1604.8295 | 9628.9772 | Office buildings | 1.3698
Large Commercial | 6 | 197.2189 | 1577.7515 | 9466.5092 | Large projects | 1.3467
Industrial | 10 | 212.4503 | 1699.6025 | 10197.6152 | Factory work | 1.4507
Emergency Response | 17 | 199.21 | 1593.6798 | 9562.0786 | 24/7 service | 1.3603
🔝 TOP 10 COMMON TASK RATES
Task | Unit | Cost (₹) | Sell Rate (₹) | Profit % | With GST (₹) | Margin ₹
CPVC 15mm Pipe | Meter | 189.2812 | 227.1374 | 20% | 268.0221 | 37.8562
Floor-Mount EWC | Each | 5765.8948 | 7034.3916 | 22% | 8300.5821 | 1268.4969
Wall-Hung WC | Each | 7357.378 | 8976.0012 | 22% | 10591.6814 | 1618.6232
Basin Mixer | Each | 3918.9564 | 4898.6956 | 25% | 5780.4608 | 979.7391
Wall Mixer 3-in-1 | Each | 6767.9474 | 8459.9342 | 25% | 9982.7224 | 1691.9868
Pressure Pump 0.5HP | Each | 6713.3242 | 8055.9891 | 20% | 9506.0671 | 1342.6648
Water Heater 15L | Each | 11134.7244 | 13138.9748 | 18% | 15503.9902 | 2004.2504
Floor Trap 6x6 | Each | 627.1624 | 783.9529 | 25% | 925.0645 | 156.7906
Concealed Cistern | Each | 12250.378 | 14700.4536 | 20% | 17346.5353 | 2450.0756
Kitchen Sink SS | Each | 5177.5848 | 6316.6535 | 22% | 7453.6511 | 1139.0687
📈 PROFIT MARGIN ANALYZER
Sample Cost Basis: | 5000 | (Enter any cost to analyze margins)
Scenario | Profit % | Selling (₹) | Profit (₹) | With GST (₹) | GST Amt (₹) | Net Margin
Conservative | 15% | 5750 | 750 | 6785 | 1035 | 11.05%
Standard | 20% | 6000 | 1000 | 7080 | 1080 | 14.12%
Aggressive | 25% | 6250 | 1250 | 7375 | 1125 | 16.95%
Premium | 30% | 6500 | 1500 | 7670 | 1170 | 19.56%
High-End | 35% | 6750 | 1750 | 7965 | 1215 | 21.97%
Custom | 40% | 7000 | 2000 | 8260 | 1260 | 24.21%
🧾 GST IMPACT CALCULATOR
Project Value (₹): | 100000
Component | Rate | Amount (₹) | Notes
Base Value | 100% | 100000 | Before tax
GST @ 18% | 18% | 18000 | Service tax
Total Payable | 118% | 118000 | Client pays
Input Credit (Est) | ~12% | 12000 | Material GST
Net GST Liability | Varies | 6000 | Pay to govt
🏗️ QUICK PROJECT ESTIMATOR
Enter quantities for instant estimate
Item | Qty | Rate (₹) | Total (₹) | Notes
Bathroom - Residential | 1 | 45000 | 45000 | Complete plumbing
Bathroom - Commercial | 0 | 65000 | 0 | Higher spec
Kitchen Plumbing | 1 | 28000 | 28000 | Sink + dishwasher
Water Supply Points | 8 | 2500 | 20000 | Per point
Drainage Points | 6 | 3500 | 21000 | Per point
Testing & Handover | 1 | 8000 | 8000 | Complete
ESTIMATED TOTAL: |  |  | 122000
With 18% GST: |  |  | 143960

## Database & Reference
DATABASE & REFERENCE TABLES
Productivity Rates, IS Codes, Unit Conversions & Common Plumbing Standards
📊 STANDARD PRODUCTIVITY RATES (Output per 8-Hour Day)
Task Category | Unit | Residential | Commercial | Difficult Access | Notes
CPVC Pipe - 15mm | Meters/Day | 40 | 32 | 24 | Include fittings
CPVC Pipe - 20mm | Meters/Day | 35 | 28 | 21 | Include fittings
CPVC Pipe - 25mm | Meters/Day | 30 | 24 | 18 | Include fittings
uPVC Drainage - 75mm | Meters/Day | 25 | 20 | 15 | SWR type
uPVC Drainage - 110mm | Meters/Day | 20 | 16 | 12 | SWR type
GI Pipe - 15mm | Meters/Day | 18 | 14 | 10 | Threaded joints
GI Pipe - 20mm | Meters/Day | 15 | 12 | 8 | Threaded joints
Copper Pipe - 15mm | Meters/Day | 12 | 10 | 7 | Soldered joints
WC Installation - Floor | Units/Day | 3 | 2 | 1.5 | Complete with cistern
WC Installation - Wall Hung | Units/Day | 2 | 1.5 | 1 | With concealed cistern
Wash Basin - Counter | Units/Day | 5 | 4 | 3 | With mixer tap
Wash Basin - Pedestal | Units/Day | 4 | 3 | 2 | Complete set
Kitchen Sink - SS | Units/Day | 4 | 3 | 2 | With mixer
Floor Trap Installation | Units/Day | 12 | 10 | 7 | With connection
Valve Installation | Units/Day | 20 | 16 | 12 | Gate/ball valves
Water Heater - Instant | Units/Day | 6 | 5 | 4 | 3-6 liter
Water Heater - Storage | Units/Day | 3 | 2.5 | 2 | 15-25 liter
Pressure Pump | Units/Day | 2 | 1.5 | 1 | 0.5-1 HP
Pressure Testing | Points/Day | 40 | 35 | 25 | Per point
Concealed Piping | Meters/Day | 15 | 12 | 8 | Wall chase work
Underground Piping | Meters/Day | 20 | 15 | 10 | Trench work
📋 INDIAN STANDARDS (IS) CODE REFERENCE
IS Code | Year | Title | Application | Key Requirement | Status
IS 1172 | 1993 | Water Supply & Sanitary Installation | General | Basic plumbing code | Active
IS 2065 | 1983 | Code for Water Supply in Buildings | Design | Pipe sizing standards | Active
IS 3114 | 1994 | Code for Laying Cast Iron Pipes | CI Pipes | Installation method | Active
IS 4985 | 2000 | uPVC Pipes for Water Supply | uPVC | Material spec | Active
IS 15778 | 2007 | CPVC Pipes for Hot & Cold Water | CPVC | SDR 11 standard | Active
IS 8329 | 2000 | Centrifugally Cast Iron Pipes | CI Drain | SN/DN class | Active
IS 1239 | 2004 | Steel Tubes & Fittings | GI Pipes | Light/Medium/Heavy | Active
IS 4984 | 1995 | HDPE Pipes for Water | HDPE | PE80/PE100 | Active
IS 12234 | 2006 | Thermoplastic Tanks | Storage | Water storage | Active
IS 2548 | 1968 | Vitreous Sanitary Appliances | WC/Basin | Quality spec | Active
IS 9842 | 1981 | Flushing Cisterns | Cisterns | 6/3L dual flush | Active
IS 781 | 1984 | Cast Iron Manhole Covers | Manholes | Load class | Active
IS 2963 | 1979 | Copper Alloy Gate Valves | Valves | Pressure rating | Active
IS 778 | 1984 | Copper Alloy Ball Valves | Valves | PN rating | Active
IS 6392 | 1971 | Steel Pipe Flanges | Flanges | PN6/PN10/PN16 | Active
IS 2379 | 1990 | Color Code for Pipelines | All Pipes | Identification | Active
IS 3589 | 2001 | Electrically Welded Pipes | Steel | ERW specification | Active
NBC 2016 | 2016 | National Building Code | All | Part 9 - Plumbing | Active
IS 1742 | 1983 | Building Drainage Code | Drainage | Slope & sizing | Active
IS 5531 | 1988 | Sanitary Fixtures Water Usage | Fixtures | Flow rates | Active
📐 UNIT CONVERSION TABLE
From | To | Multiply By | Example | Common Use | Formula
Inches | mm | 25.4 | 1" = 25.4mm | Pipe sizes | #NAME?
Feet | Meters | 0.3048 | 10ft = 3.048m | Lengths | #NAME?
Gallons (US) | Liters | 3.785 | 1gal = 3.785L | Volume | #NAME?
Gallons (Imp) | Liters | 4.546 | 1gal = 4.546L | UK specs | #NAME?
PSI | Bar | 0.0689 | 100psi = 6.89bar | Pressure | #NAME?
PSI | kg/cm² | 0.0703 | 100psi = 7.03kg | Pressure | #NAME?
CFM | m³/hr | 1.699 | 100CFM = 169.9 | Flow | #NAME?
GPM | LPM | 3.785 | 10GPM = 37.85LPM | Flow rate | #NAME?
°F | °C | (F-32)*5/9 | 100°F = 37.8°C | Temperature | #NAME?
Sq.ft | Sq.m | 0.0929 | 100sqft = 9.29sqm | Area | #NAME?
Cu.ft | Liters | 28.317 | 1cuft = 28.3L | Volume | #NAME?
mm | Inches | 0.0394 | 25mm ≈ 1" | Reverse | #NAME?
🔧 STANDARD PIPE SIZE REFERENCE
Nominal Size | OD (mm) | ID (mm) | Wall (mm) | Material | Application
½" / 15mm | 21.3 | 15.8 | 2.75 | CPVC/GI | Fixture connection
¾" / 20mm | 26.7 | 20.9 | 2.9 | CPVC/GI | Branch lines
1" / 25mm | 33.4 | 26.6 | 3.4 | CPVC/GI | Main supply
1¼" / 32mm | 42.2 | 35.1 | 3.55 | GI/uPVC | Larger supply
1½" / 40mm | 48.3 | 40.9 | 3.7 | GI/uPVC | Drainage
2" / 50mm | 60.3 | 52.5 | 3.9 | uPVC/GI | Drainage
3" / 75mm | 88.9 | 77.9 | 5.5 | uPVC SWR | Soil pipe
4" / 110mm | 110 | 103.2 | 3.4 | uPVC SWR | Main drain
6" / 160mm | 160 | 150.6 | 4.7 | uPVC SWR | Stack/main
8" / 200mm | 200 | 188 | 6 | uPVC/HDPE | Underground
💧 WATER FIXTURE UNITS (WFU) - IS 2065 Reference
Fixture Type | Cold WFU | Hot WFU | Total WFU | Min. Trap (mm) | Flow Rate (LPM)
WC - Flush Tank | 3 | - | 3 | 100 | 6-9
WC - Flush Valve | 6 | - | 6 | 100 | 45-60
Urinal - Flush Tank | 2 | - | 2 | 50 | 3-4
Wash Basin - Residential | 1 | 1 | 2 | 32 | 6-8
Wash Basin - Public | 2 | 2 | 4 | 40 | 8-12
Kitchen Sink - Single | 2 | 2 | 4 | 40 | 8-12
Kitchen Sink - Double | 3 | 3 | 6 | 50 | 12-15
Shower | 2 | 2 | 4 | 50 | 12-15
Bathtub | 3 | 3 | 6 | 40 | 15-20
Washing Machine | 2 | 2 | 4 | 50 | 10-15