## Cover Page
[COMPANY LOGO]
YOUR COMPANY NAME
Licensed Plumbing Contractors & MEP Consultants
Address Line 1, Address Line 2, City - PIN Code
Phone: +91-XXXXX XXXXX ¦ Email: info@yourcompany.com ¦ Web: www.yourcompany.com
PLUMBING BILL OF QUANTITIES
(BOQ)
PROJECT INFORMATION
Project Name: |  | G+2 Residential Building - Plumbing Works
Project Location: |  | Plot No. XX, Sector YY, City Name
Client Name: |  | M/s. Client Name Pvt. Ltd.
Client Address: |  | Client Full Address
BOQ Reference No.: |  | BOQ-2026-001
BOQ Date: |  | 07-Apr-2026
Revision No.: |  | R0 (Original)
Validity Period: |  | 30 Days from BOQ Date
COMPANY CREDENTIALS
GSTIN: |  | XX XXXXX XXXXX X X XX
PAN: |  | XXXXX0000X
Plumbing License No.: |  | PLB/LIC/STATE/XXXX
ISO Certification: |  | ISO 9001:2015 Certified
AUTHORIZATION
Prepared By: | Checked By: | Approved By:
________________________ | ________________________ | ________________________
Name & Designation | Name & Designation | Name & Designation
Date: _______________ | Date: _______________ | Date: _______________
This document is confidential and proprietary. Unauthorized reproduction is prohibited.

## Main BOQ
Sr. No. | Item Code | Description of Work | Unit | Qty | Rate (₹) | Amount (₹) | Remarks
SECTION A: WATER SUPPLY SYSTEM
A.1 | PLB-WS-001 | Supply and fixing of CPVC pipes 20mm dia (SDR 11) including all fittings, clamps and accessories complete | Rmt | 150 | 85 | 12750
A.2 | PLB-WS-002 | Supply and fixing of CPVC pipes 25mm dia (SDR 11) including all fittings, clamps and accessories complete | Rmt | 100 | 110 | 11000
A.3 | PLB-WS-003 | Supply and fixing of CPVC pipes 32mm dia (SDR 11) including all fittings, clamps and accessories complete | Rmt | 60 | 145 | 8700
A.4 | PLB-WS-004 | Supply and fixing of CPVC Ball Valve 20mm dia (brass) | No. | 24 | 280 | 6720
A.5 | PLB-WS-005 | Supply and fixing of CPVC Ball Valve 25mm dia (brass) | No. | 12 | 380 | 4560
A.6 | PLB-WS-006 | Supply and fixing of Gate Valve 32mm dia (gunmetal) | No. | 6 | 850 | 5100
A.7 | PLB-WS-007 | Supply and fixing of Non-Return Valve 25mm dia | No. | 3 | 650 | 1950
A.8 | PLB-WS-008 | Supply and fixing of water meter 20mm dia (multi-jet) | No. | 3 | 2800 | 8400
|  | Sub-Total Section A |  |  |  | 59180
SECTION B: DRAINAGE & SEWERAGE SYSTEM
B.1 | PLB-DR-001 | Supply and fixing of PVC SWR pipes 75mm dia (Type A) including all fittings complete | Rmt | 80 | 125 | 10000
B.2 | PLB-DR-002 | Supply and fixing of PVC SWR pipes 110mm dia (Type A) including all fittings complete | Rmt | 120 | 185 | 22200
B.3 | PLB-DR-003 | Supply and fixing of PVC SWR pipes 160mm dia (Type A) for soil stack | Rmt | 45 | 320 | 14400
B.4 | PLB-DR-004 | Supply and fixing of floor trap 110mm dia with SS jali | No. | 12 | 450 | 5400
B.5 | PLB-DR-005 | Supply and fixing of nahani trap 75mm dia with SS jali | No. | 9 | 280 | 2520
B.6 | PLB-DR-006 | Supply and fixing of P-trap for WC | No. | 6 | 380 | 2280
B.7 | PLB-DR-007 | Supply and fixing of bottle trap for wash basin (32mm) | No. | 6 | 650 | 3900
B.8 | PLB-DR-008 | Supply and fixing of vent cowl 75mm dia | No. | 3 | 220 | 660
|  | Sub-Total Section B |  |  |  | 61360
SECTION C: SANITARY FIXTURES
C.1 | PLB-SF-001 | Supply and fixing of EWC (European Water Closet) with seat cover, flush valve complete | No. | 6 | 8500 | 51000
C.2 | PLB-SF-002 | Supply and fixing of wall hung wash basin with pedestal | No. | 6 | 3200 | 19200
C.3 | PLB-SF-003 | Supply and fixing of kitchen sink SS 24"x18" with waste coupling | No. | 3 | 4500 | 13500
C.4 | PLB-SF-004 | Supply and fixing of CP pillar cock (long body) | No. | 12 | 850 | 10200
C.5 | PLB-SF-005 | Supply and fixing of CP 2-way bib cock | No. | 6 | 1200 | 7200
C.6 | PLB-SF-006 | Supply and fixing of CP angle valve 15mm | No. | 18 | 380 | 6840
C.7 | PLB-SF-007 | Supply and fixing of CP shower with arm and flange | No. | 6 | 2800 | 16800
C.8 | PLB-SF-008 | Supply and fixing of CP towel rail 24" | No. | 6 | 950 | 5700
C.9 | PLB-SF-009 | Supply and fixing of CP soap dish | No. | 6 | 450 | 2700
C.10 | PLB-SF-010 | Supply and fixing of CP health faucet with hook and hose | No. | 6 | 1100 | 6600
|  | Sub-Total Section C |  |  |  | 139740
SECTION D: RAINWATER HARVESTING
D.1 | PLB-RW-001 | Supply and fixing of PVC rainwater pipes 110mm dia including all fittings | Rmt | 40 | 195 | 7800
D.2 | PLB-RW-002 | Supply and fixing of first flush diverter 110mm | No. | 2 | 3500 | 7000
D.3 | PLB-RW-003 | Supply and fixing of filter unit for rainwater | No. | 1 | 12000 | 12000
D.4 | PLB-RW-004 | Construction of rainwater recharge pit 1m x 1m x 2m deep | No. | 1 | 18000 | 18000
|  | Sub-Total Section D |  |  |  | 44800
SECTION E: HOT WATER SYSTEM
E.1 | PLB-HW-001 | Supply and fixing of CPVC Hot water pipes 20mm dia (SDR 11) including all fittings | Rmt | 60 | 95 | 5700
E.2 | PLB-HW-002 | Supply and fixing of CPVC Hot water pipes 25mm dia (SDR 11) including all fittings | Rmt | 40 | 125 | 5000
E.3 | PLB-HW-003 | Supply and fixing of mixing valve (thermostatic) 15mm | No. | 6 | 2800 | 16800
E.4 | PLB-HW-004 | Supply and fixing of hot water recirculation pump | No. | 1 | 8500 | 8500
E.5 | PLB-HW-005 | Supply and fixing of pipe insulation for hot water lines (9mm thick) | Rmt | 100 | 45 | 4500
Sub-Total Section E | [5 empty] | 40500
SECTION F: PUMPS & EQUIPMENT
F.1 | PLB-PE-001 | Supply and installation of domestic water booster pump 1HP with pressure tank | No. | 1 | 18500 | 18500
F.2 | PLB-PE-002 | Supply and installation of sump pump 0.5HP submersible | No. | 1 | 8500 | 8500
F.3 | PLB-PE-003 | Supply and installation of instant water heater 3KW (Racold/AO Smith) | No. | 3 | 6500 | 19500
F.4 | PLB-PE-004 | Supply and installation of storage water heater 25L (Racold/AO Smith) | No. | 2 | 9500 | 19000
F.5 | PLB-PE-005 | Supply and installation of solar water heater 200 LPD with stand | Set | 1 | 35000 | 35000
F.6 | PLB-PE-006 | Supply and fixing of overhead tank 1000L (Sintex/equivalent) | No. | 2 | 8500 | 17000
F.7 | PLB-PE-007 | Supply and fixing of underground sump tank 5000L (RCC/HDPE) | No. | 1 | 45000 | 45000
Sub-Total Section F | [5 empty] | 162500
SECTION G: TESTING & COMMISSIONING
G.1 | PLB-TC-001 | Hydraulic pressure testing of water supply lines at 10 kg/cm² | Job | 1 | 5000 | 5000
G.2 | PLB-TC-002 | Leakage testing and rectification of drainage system | Job | 1 | 3500 | 3500
G.3 | PLB-TC-003 | Flushing and sterilization of water supply lines | Job | 1 | 4500 | 4500
G.4 | PLB-TC-004 | Commissioning of pumps and equipment | Job | 1 | 3000 | 3000
G.5 | PLB-TC-005 | Preparation of as-built drawings | Set | 1 | 8000 | 8000
G.6 | PLB-TC-006 | Operation & Maintenance manual preparation | Set | 1 | 5000 | 5000
Sub-Total Section G | [5 empty] | 29000
SECTION H: MISCELLANEOUS
H.1 | PLB-MS-001 | Supply and fixing of MS pipe supports and hangers | Kg | 50 | 120 | 6000
H.2 | PLB-MS-002 | Supply and fixing of GI sleeves for wall/slab penetrations | No. | 30 | 180 | 5400
H.3 | PLB-MS-003 | Core cutting for pipes through RCC (up to 150mm dia) | No. | 20 | 350 | 7000
H.4 | PLB-MS-004 | Grouting and sealing of pipe penetrations | No. | 50 | 85 | 4250
H.5 | PLB-MS-005 | Supply and fixing of access panels 300x300mm | No. | 6 | 650 | 3900
H.6 | PLB-MS-006 | Supply and fixing of rodding eyes/cleanouts 110mm | No. | 8 | 280 | 2240
H.7 | PLB-MS-007 | Transportation and handling charges | LS | 1 | 15000 | 15000
H.8 | PLB-MS-008 | Site supervision and management | LS | 1 | 25000 | 25000
Sub-Total Section H | [5 empty] | 68790
GRAND TOTAL (Before GST) | [5 empty] | 605870
Add: Overhead & Profit @ 10% | [5 empty] | 60587
Add: Contingency @ 5% | [5 empty] | 30293.5
Sub-Total (with Overhead & Contingency) | [5 empty] | 696750.5
GST @ 18% (Breakup):
CGST @ 9% | [5 empty] | 62707.545
SGST @ 9% | [5 empty] | 62707.545
Total GST (18%) | [5 empty] | 125415.09
GRAND TOTAL (Including GST) | [5 empty] | 822165.59
Note: For Inter-State supply, IGST @ 18% will be applicable instead of CGST + SGST

## Takeoff
Sr. | Description | Location | No. | Length | Width/Dia | Height | Qty | Unit
1 | CPVC Pipe 20mm - Ground Floor | GF Toilet 1 | 1 | 8 | - | - | 8 | Rmt
2 | CPVC Pipe 20mm - Ground Floor | GF Toilet 2 | 1 | 8 | - | - | 8 | Rmt
3 | CPVC Pipe 20mm - Ground Floor | GF Kitchen | 1 | 6 | - | - | 6 | Rmt
4 | CPVC Pipe 20mm - First Floor | FF Toilet 1 | 1 | 10 | - | - | 10 | Rmt
5 | CPVC Pipe 20mm - First Floor | FF Toilet 2 | 1 | 10 | - | - | 10 | Rmt
6 | CPVC Pipe 20mm - First Floor | FF Kitchen | 1 | 6 | - | - | 6 | Rmt
7 | CPVC Pipe 20mm - Second Floor | SF Toilet 1 | 1 | 12 | - | - | 12 | Rmt
8 | CPVC Pipe 20mm - Second Floor | SF Toilet 2 | 1 | 12 | - | - | 12 | Rmt
9 | CPVC Pipe 20mm - Second Floor | SF Kitchen | 1 | 6 | - | - | 6 | Rmt
10 | CPVC Pipe 20mm - Risers | Vertical | 3 | 24 | - | - | 72 | Rmt
| TOTAL CPVC 20mm Pipe | [5 empty] | 150 | Rmt

## Rate Analysis
RATE ANALYSIS - CPVC Pipe 20mm dia (SDR 11)
Sr. | Description | Unit | Quantity | Rate (₹) | Amount (₹)
1 | CPVC Pipe 20mm dia (SDR 11) | Rmt | 1.05 | 42 | 44.1
2 | CPVC Elbow 20mm | No. | 0.5 | 18 | 9
3 | CPVC Tee 20mm | No. | 0.25 | 24 | 6
4 | CPVC Coupler 20mm | No. | 0.2 | 12 | 2.4
5 | Clamps/Supports | No. | 0.5 | 8 | 4
6 | Teflon Tape | Roll | 0.1 | 25 | 2.5
7 | Solvent Cement | ml | 15 | 0.25 | 3.75
8 | Labour Charges | Rmt | 1 | 25 | 25
| Total Cost per Rmt |  |  |  | 96.75
| Add: Overhead & Profit @ 10% |  |  |  | 9.675
| FINAL RATE per Rmt |  |  |  | 106.425

## Summary
PLUMBING BOQ - SUMMARY DASHBOARD
Project: | G+2 Residential Building
BOQ Reference: | BOQ-2026-001
SECTION-WISE SUMMARY
Section | Description | Amount (₹)
A | Water Supply System | 59180
B | Drainage & Sewerage System | 61360
C | Sanitary Fixtures | 139740
D | Rainwater Harvesting | 44800
E | Hot Water System | 40500
F | Pumps & Equipment | 162500
G | Testing & Commissioning | 29000
H | Miscellaneous | 68790
| SUB-TOTAL (Basic Amount) | 605870
| Add: Overhead & Profit (10%) | 60587
| Add: Contingency (5%) | 30293.5
| Sub-Total (with Markup) | 696750.5
GST BREAKUP
| CGST @ 9% | 62707.545
| SGST @ 9% | 62707.545
| Total GST (18%) | 125415.09
GRAND TOTAL (Including GST) |  | 822165.59
Amount in Words:
Indian Rupees [Enter amount in words manually] Only
ASSUMPTIONS
• Rates are inclusive of material, labor, and contractor's profit
• All materials are of approved brands/makes
• Work to be executed as per approved drawings and specifications
• Access and working space to be provided by client
EXCLUSIONS
• Civil work and structural modifications
• Electrical connections for pumps and water heaters
• External underground pipeline work beyond building boundary
• Fire fighting and sprinkler systems

## Instructions
PLUMBING BOQ TEMPLATE - USER INSTRUCTIONS
📋 TEMPLATE OVERVIEW
This comprehensive Plumbing BOQ template is designed for contractors, estimators, and MEP consultants
working on residential and commercial plumbing projects in India.
📑 SHEET DESCRIPTIONS
• Cover Page: Professional cover page with company and project information
• Main BOQ: Detailed Bill of Quantities with all plumbing items and calculations
• Takeoff: Quantity takeoff sheet linked to Main BOQ for measurement calculations
• Rate Analysis: Breakdown of rates for individual items
• Summary: Dashboard with section-wise totals and visual charts
• Instructions: This help sheet (you are here!)
🔧 HOW TO USE THIS TEMPLATE
1. Update Cover Page with your company details and project information
2. Modify Main BOQ items as per your project requirements
3. Update quantities in the Takeoff sheet - they auto-calculate
4. Adjust rates in Rate Analysis sheet if needed
5. Summary will automatically update with all changes
💡 TIPS
• All amounts are in Indian Rupees (₹)
• GST is calculated at 18% - modify if different
• Use Item Codes for easy reference
• Add/delete rows as needed in Main BOQ
• Keep backup copies before making major changes
📞 SUPPORT
For questions or customization requests, contact your template provider.
Version: 1.0 ¦ Date: April 2026 ¦ Reference: BOQ-2026-001

## Lists
UNITS | PIPE TYPES | FIXTURE BRANDS | PIPE BRANDS | CATEGORIES
No. | CPVC 20mm | Jaquar | Supreme | Water Supply
Rmt | CPVC 25mm | Parryware | Astral | Hot Water
Sqm | CPVC 32mm | Hindware | Finolex | Drainage
Cum | CPVC 40mm | Kohler | Prince | Sanitary Fixtures
Kg | CPVC 50mm | TOTO | Ashirvad | Valves & Fittings
LS | PVC SWR 75mm | Cera | Wavin | Pumps & Equipment
Set | PVC SWR 110mm | Grohe | Kisan | Rainwater
Job | PVC SWR 160mm | Roca | Nandi | Testing
Pair | uPVC 20mm | American Standard | Captain | Miscellaneous
Ltr | uPVC 25mm | Duravit | Sudhakar
Mtr | uPVC 32mm | Essco | AKG
Ft | GI Pipe 15mm | Marc
Inch | GI Pipe 20mm | Somany
Lot | GI Pipe 25mm | Johnson
PPR Pipe 20mm
PPR Pipe 25mm
HDPE Pipe 20mm
HDPE Pipe 25mm
Copper Pipe 15mm