## Cover & Instructions
[YOUR COMPANY LOGO]
PLUMBING MATERIAL TAKEOFF SHEET
Detailed Quantity Takeoff (QTO) Template
For MEP Estimators & Plumbing Contractors
Version 1.0 ¦ April 2026
India Edition - GST Compliant
PROJECT INFORMATION
Project Name:
Client Name:
Project Address:
Estimator Name:
Date Prepared:
Revision No.:
Drawing Reference:
Scope of Work:
HOW TO USE THIS TEMPLATE
Step 1: Set Up Labor Rates
Go to the 'Labor Rate Calculator' tab and enter your base labor rates. The loaded labor rate will automatically flow to the Main Takeoff Sheet.
Step 2: Review Material Database
Check the 'Material Database' tab for pre-filled items. You can add your own items, update prices, and customize brands.
Step 3: Enter Your Takeoff
Use the 'Main Takeoff Sheet' to enter quantities. Select categories from dropdowns, enter quantities, and watch totals calculate automatically.
Step 4: Review Summary Dashboard
The 'Summary Dashboard' shows grand totals, GST calculations, and contingency. Adjust GST rates and contingency % as needed.
Step 5: Print or Export
Set print area, adjust page breaks if needed, and export to PDF for client submission.
ASSUMPTIONS & EXCLUSIONS
ASSUMPTIONS:
• Labor rates are based on standard productivity for skilled plumbers in metro cities
───────────────────────────────────────────── | • Material prices are indicative and should be verified with local suppliers
Template Version: 1.0 ¦ Professional Plumbing Material Takeoff | • Waste factors are pre-set at 5-10% but can be adjusted per line item
Created: 2026-04-06 | • All measurements to be verified from approved construction drawings
• GST rates as per current Indian tax structure (18% standard)
EXCLUSIONS:
• Civil work, wall chasing, and core cutting
• Electrical connections for water heaters and pumps
• Fire fighting and fire suppression systems
• External underground drainage beyond 1m from building
• Approval fees, testing, and commissioning charges
WORKBOOK TABS
| Tab Name | Description
| 1. Cover & Instructions | This page - Project info and usage guide
| 2. Main Takeoff Sheet | Primary quantity takeoff worksheet with all calculations
| 3. Material Database | Reference list of plumbing materials, brands, and default values
| 4. Summary Dashboard | Grand totals, GST breakdown, contingency, and visual summary
| 5. Labor Rate Calculator | Calculate loaded labor rates with overheads
© 2026 ¦ Premium Plumbing Estimating Template ¦ For Professional Use Only

## Material Database
[YOUR COMPANY LOGO]
MATERIAL DATABASE - PLUMBING ITEMS
Reference List for Quantity Takeoff ¦ India Edition
Sr. No. | Category | Item Description | Size / Specification | Brand | Unit | Unit Price (₹) | Labor (hrs/unit) | Notes
1 | Pipes - CPVC | CPVC Pipe SDR 11 | 15mm (1/2") | Supreme/Astral | Meter | 45 | 0.15 | Hot & Cold Water
2 | Pipes - CPVC | CPVC Pipe SDR 11 | 20mm (3/4") | Supreme/Astral | Meter | 65 | 0.18 | Hot & Cold Water
3 | Pipes - CPVC | CPVC Pipe SDR 11 | 25mm (1") | Supreme/Astral | Meter | 95 | 0.2 | Hot & Cold Water
4 | Pipes - CPVC | CPVC Pipe SDR 11 | 32mm (1.25") | Supreme/Astral | Meter | 145 | 0.22 | Hot & Cold Water
5 | Pipes - CPVC | CPVC Pipe SDR 11 | 40mm (1.5") | Supreme/Astral | Meter | 195 | 0.25 | Hot & Cold Water
6 | Pipes - CPVC | CPVC Pipe SDR 11 | 50mm (2") | Supreme/Astral | Meter | 295 | 0.28 | Hot & Cold Water
7 | Pipes - uPVC | uPVC Pipe Type A | 75mm (3") | Supreme/Finolex | Meter | 185 | 0.2 | Drainage
8 | Pipes - uPVC | uPVC Pipe Type A | 110mm (4") | Supreme/Finolex | Meter | 285 | 0.25 | Drainage/Soil
9 | Pipes - uPVC | uPVC Pipe Type A | 160mm (6") | Supreme/Finolex | Meter | 495 | 0.35 | Main Stack
10 | Pipes - uPVC | uPVC Pipe Type B | 75mm (3") | Prince/Astral | Meter | 145 | 0.18 | Waste Water
11 | Pipes - uPVC | uPVC Pipe Type B | 110mm (4") | Prince/Astral | Meter | 225 | 0.22 | Waste Water
12 | Pipes - uPVC | SWR Pipe | 110mm (4") | Supreme/Ashirvad | Meter | 195 | 0.2 | Soil Stack
13 | Pipes - HDPE | HDPE Pipe PE100 PN10 | 20mm | Supreme/Jain | Meter | 35 | 0.12 | Underground
14 | Pipes - HDPE | HDPE Pipe PE100 PN10 | 25mm | Supreme/Jain | Meter | 55 | 0.15 | Underground
15 | Pipes - HDPE | HDPE Pipe PE100 PN10 | 32mm | Supreme/Jain | Meter | 85 | 0.18 | Underground
16 | Pipes - PPR | PPR Pipe PN20 | 20mm | Kalde/Wavin | Meter | 75 | 0.2 | Hot Water
17 | Pipes - PPR | PPR Pipe PN20 | 25mm | Kalde/Wavin | Meter | 115 | 0.22 | Hot Water
18 | Pipes - PPR | PPR Pipe PN20 | 32mm | Kalde/Wavin | Meter | 165 | 0.25 | Hot Water
19 | Pipes - GI | GI Pipe Medium Class | 15mm (1/2") | Jindal/Tata | Meter | 185 | 0.35 | External/Riser
20 | Pipes - GI | GI Pipe Medium Class | 20mm (3/4") | Jindal/Tata | Meter | 275 | 0.4 | External/Riser
21 | Pipes - GI | GI Pipe Medium Class | 25mm (1") | Jindal/Tata | Meter | 395 | 0.45 | External/Riser
22 | Pipes - Copper | Copper Tube Type L | 15mm (1/2") | Mandev/Mueller | Meter | 650 | 0.5 | Premium/Medical
23 | Pipes - Copper | Copper Tube Type L | 22mm (3/4") | Mandev/Mueller | Meter | 950 | 0.55 | Premium/Medical
24 | Pipes - Copper | Copper Tube Type L | 28mm (1") | Mandev/Mueller | Meter | 1350 | 0.6 | Premium/Medical
25 | Fittings - CPVC | CPVC Elbow 90° | 15mm | Supreme/Astral | Each | 18 | 0.1 | -
26 | Fittings - CPVC | CPVC Elbow 90° | 20mm | Supreme/Astral | Each | 28 | 0.12 | -
27 | Fittings - CPVC | CPVC Elbow 45° | 15mm | Supreme/Astral | Each | 22 | 0.1 | -
28 | Fittings - CPVC | CPVC Tee | 15mm | Supreme/Astral | Each | 25 | 0.12 | -
29 | Fittings - CPVC | CPVC Tee | 20mm | Supreme/Astral | Each | 38 | 0.15 | -
30 | Fittings - CPVC | CPVC Reducer | 20x15mm | Supreme/Astral | Each | 22 | 0.08 | -
31 | Fittings - CPVC | CPVC Coupler | 15mm | Supreme/Astral | Each | 12 | 0.08 | -
32 | Fittings - CPVC | CPVC Union | 15mm | Supreme/Astral | Each | 65 | 0.15 | -
33 | Fittings - CPVC | CPVC MTA (Male Threaded Adapter) | 15mm | Supreme/Astral | Each | 28 | 0.12 | -
34 | Fittings - CPVC | CPVC FTA (Female Threaded Adapter) | 15mm | Supreme/Astral | Each | 32 | 0.12 | -
35 | Fittings - uPVC | uPVC Elbow 90° | 75mm | Supreme/Prince | Each | 45 | 0.12 | -
36 | Fittings - uPVC | uPVC Elbow 90° | 110mm | Supreme/Prince | Each | 85 | 0.15 | -
37 | Fittings - uPVC | uPVC Tee | 110mm | Supreme/Prince | Each | 125 | 0.18 | -
38 | Fittings - uPVC | uPVC Y-Branch | 110x110mm | Supreme/Prince | Each | 145 | 0.2 | -
39 | Fittings - uPVC | uPVC P-Trap | 110mm | Supreme/Ashirvad | Each | 185 | 0.25 | Floor Trap
40 | Fittings - uPVC | Nahani Trap (Floor) | 110mm | Supreme/Choksey | Each | 165 | 0.2 | -
41 | Fittings - uPVC | uPVC Door Cap/Cleanout | 110mm | Supreme/Prince | Each | 95 | 0.15 | -
42 | Fittings - uPVC | Vent Cowl | 110mm | Supreme/Prince | Each | 125 | 0.1 | -
43 | Valves | Ball Valve (Brass) | 15mm | Zoloto/Sant | Each | 285 | 0.2 | Isolation
44 | Valves | Ball Valve (Brass) | 20mm | Zoloto/Sant | Each | 425 | 0.25 | Isolation
45 | Valves | Ball Valve (Brass) | 25mm | Zoloto/Sant | Each | 595 | 0.3 | Isolation
46 | Valves | Gate Valve (Brass) | 15mm | Leader/Sant | Each | 245 | 0.2 | Main Line
47 | Valves | Gate Valve (Brass) | 20mm | Leader/Sant | Each | 385 | 0.25 | Main Line
48 | Valves | Check Valve (NRV) | 15mm | Zoloto/Leader | Each | 195 | 0.15 | Non-Return
49 | Valves | Check Valve (NRV) | 20mm | Zoloto/Leader | Each | 295 | 0.18 | Non-Return
50 | Valves | Angle Valve (CP) | 15mm | Jaquar/Essco | Each | 385 | 0.15 | Under Basin
51 | Valves | Concealed Stop Cock | 15mm | Jaquar/Kohler | Each | 1250 | 0.35 | Bathroom
52 | Valves | Flush Valve | 32mm | Jaquar/Kohler | Each | 2850 | 0.5 | Urinal
53 | Valves | Pressure Reducing Valve (PRV) | 20mm | Honeywell/Watts | Each | 3500 | 0.45 | High Rise
54 | Fixtures - WC | EWC with Seat Cover (Standard) | Complete Set | Parryware/Hindware | Set | 4500 | 2.5 | Floor Mounted
55 | Fixtures - WC | EWC with Seat Cover (Premium) | Complete Set | Kohler/TOTO | Set | 12500 | 3 | Floor Mounted
56 | Fixtures - WC | Wall Hung WC with Frame | Complete Set | Kohler/Grohe | Set | 28500 | 4 | Concealed Frame
57 | Fixtures - WC | Indian WC (Orissa Pan) | 580mm | Parryware/Hindware | Each | 1850 | 1.5 | Floor
58 | Fixtures - WC | Flush Tank (Dual Flush) | 10L | Parryware/Cera | Each | 1650 | 0.75 | External
59 | Fixtures - WC | Concealed Cistern with Frame | Complete | Geberit/Grohe | Set | 15500 | 2 | In-Wall
60 | Fixtures - Basin | Wash Basin (Counter Top) | 450x450mm | Parryware/Hindware | Each | 2850 | 1.5 | Bathroom
61 | Fixtures - Basin | Wash Basin (Wall Hung) | 550x450mm | Cera/Kohler | Each | 3250 | 1.75 | Bathroom
62 | Fixtures - Basin | Pedestal Basin Set | Complete | Parryware/Hindware | Set | 3950 | 2 | Bathroom
63 | Fixtures - Basin | Under Counter Basin | 500x400mm | Kohler/Jaquar | Each | 4500 | 1.5 | Premium
64 | Fixtures - Sink | SS Kitchen Sink (Single Bowl) | 24x18x8" | Nirali/Franke | Each | 4250 | 1.5 | Kitchen
65 | Fixtures - Sink | SS Kitchen Sink (Double Bowl) | 37x18x8" | Nirali/Franke | Each | 7500 | 2 | Kitchen
66 | Fixtures - Sink | Granite Sink (Single Bowl) | 24x18" | Carysil/Franke | Each | 12500 | 2 | Premium Kitchen
67 | Fixtures - Urinal | Urinal (Standard) | Wall Hung | Parryware/Hindware | Each | 2850 | 1.5 | Commercial
68 | Fixtures - Urinal | Urinal (Waterless) | Wall Hung | Kohler/Villeroy | Each | 8500 | 1.5 | Eco
69 | Fixtures - Bath | Acrylic Bathtub | 1500x750mm | Hindware/Kohler | Each | 18500 | 4 | Bathroom
70 | Fixtures - Bath | Shower Tray (Acrylic) | 900x900mm | Kohler/Duravit | Each | 8500 | 2 | Shower Area
71 | Fixtures - Bidet | Bidet Spray Set (Health Faucet) | Complete | Jaquar/Grohe | Set | 950 | 0.5 | Bathroom
72 | Fixtures - Floor Drain | Floor Drain (SS) | 150x150mm | Jaquar/Johnson | Each | 450 | 0.25 | Bathroom/Balcony
73 | Fixtures - Gully Trap | Gully Trap (CI) | 110mm | Neco/Local | Each | 850 | 0.5 | External
74 | Equipment | Storage Water Heater | 15L | Racold/AO Smith | Each | 8500 | 1.5 | Bathroom
75 | Equipment | Storage Water Heater | 25L | Racold/AO Smith | Each | 12500 | 1.75 | Bathroom
76 | Equipment | Instant Water Heater | 3L | Havells/Bajaj | Each | 4500 | 1 | Kitchen
77 | Equipment | Pressure Booster Pump | 0.5 HP | Crompton/Kirloskar | Each | 6500 | 2.5 | Overhead Tank
78 | Equipment | Submersible Pump | 1 HP | Kirloskar/CRI | Each | 12500 | 3 | Sump
79 | Equipment | Solar Water Heater | 100 LPD | Supreme/Tata | Set | 25000 | 8 | Terrace
80 | Accessories | Pipe Clamp (MS with rubber) | 15mm | Local/GI | Each | 12 | 0.05 | Support
81 | Accessories | Pipe Clamp (MS with rubber) | 20mm | Local/GI | Each | 15 | 0.05 | Support
82 | Accessories | Pipe Clamp (MS with rubber) | 110mm | Local/GI | Each | 45 | 0.08 | Support
83 | Accessories | Threaded Rod (MS) | 10mm x 1m | Local | Meter | 85 | 0.1 | Hanger
84 | Accessories | Channel/Strut (41x41) | Per Meter | Hilti/Unistrut | Meter | 285 | 0.15 | Support
85 | Accessories | Expansion Bolt | M10 | Hilti/Fischer | Each | 25 | 0.05 | Fixing
86 | Accessories | PTFE Tape | 12mm x 10m | 3M/Local | Roll | 25 | 0.02 | Thread Seal
87 | Accessories | Plumber's Putty | 500gm | Pidilite/M-Seal | Each | 185 | 0.05 | Sealing
88 | Accessories | Pipe Insulation (Elastomeric) | 15mm | Armacell/Superlon | Meter | 65 | 0.1 | Hot Water
89 | Miscellaneous | Core Cutting (Wall) | 110mm | Contractor | Each | 350 | 0.5 | Per Hole
90 | Miscellaneous | Sleeve (MS) | 110mm | Local | Each | 125 | 0.15 | Wall/Floor
91 | Miscellaneous | Puddle Flange | 110mm | Local | Each | 185 | 0.2 | Water Tank
92 | Miscellaneous | Testing & Commissioning | Per Point | - | Point | 50 | 0.25 | -
93 | Miscellaneous | Chlorination & Flushing | Lump Sum | - | LS | 2500 | 4 | Per System
DROPDOWN LISTS FOR MAIN TAKEOFF SHEET
Categories | Units | Brands
Pipes - CPVC | Meter | Supreme
Pipes - uPVC | Each | Astral
Pipes - HDPE | Set | Prince
Pipes - PPR | Roll | Finolex
Pipes - GI | Point | Ashirvad
Pipes - Copper | LS | Jindal
Fittings - CPVC | Kg | Tata
Fittings - uPVC | Ltr | Mandev
Valves | Sq.m | Mueller
Fixtures - WC | Cu.m | Kalde
Fixtures - Basin |  | Wavin
Fixtures - Sink |  | Jain
Fixtures - Urinal |  | Zoloto
Fixtures - Bath |  | Sant
Fixtures - Bidet |  | Leader
Fixtures - Floor Drain |  | Jaquar
Fixtures - Gully Trap |  | Kohler
Equipment |  | Grohe
Accessories |  | TOTO
Miscellaneous |  | Parryware
Hindware
Cera
Geberit
Nirali
Franke
Carysil
Racold
AO Smith
Havells
Crompton
Kirloskar
CRI
Hilti
Fischer
3M
Local
Contractor

## Labor Rate Calculator
[YOUR COMPANY LOGO]
LABOR RATE CALCULATOR
Loaded Labor Rate Computation ¦ India Edition
BASE WAGE RATES
Description | Daily Rate (₹) | Hourly Rate (₹)
Skilled Plumber (Senior) | 850 | 106.25
Skilled Plumber (Junior) | 650 | 81.25
Semi-Skilled Helper | 500 | 62.5
Unskilled Labor | 400 | 50
Weighted Average Hourly Rate: |  | 84.375
LABOR BURDEN & BENEFITS
Component | Percentage (%) | Amount (₹/hr)
Provident Fund (EPF) - Employer Share | 12% | 10.125
Employee State Insurance (ESI) | 3.25% | 2.7422
Bonus (Statutory) | 8.33% | 7.0284
Gratuity Provision | 4.81% | 4.0584
Leave Encashment | 4% | 3.375
Workmen Compensation Insurance | 1.5% | 1.2656
Safety Equipment & PPE | 2% | 1.6875
Training & Skill Development | 1% | 0.84375
Total Labor Burden %: | 36.89% | 31.1259
OVERHEAD & INDIRECT COSTS
Component | Percentage (%) | Amount (₹/hr)
Site Supervision & Management | 8% | 9.2401
Small Tools & Consumables | 3% | 3.465
Transportation & Mobilization | 4% | 4.62
Site Facilities & Welfare | 2% | 2.31
Quality Control & Inspection | 1.5% | 1.7325
Administrative Overhead | 5% | 5.775
Insurance & Contingency | 2.5% | 2.8875
Total Overhead %: | 26% | 30.0302
PROFIT & MARGIN
Component | Percentage (%) | Amount (₹/hr)
Contractor Profit Margin | 10% | 14.5531
Risk Contingency | 3% | 4.3659
LOADED LABOR RATE SUMMARY
Base Hourly Wage Rate |  | 84.375
Add: Labor Burden & Benefits |  | 31.1259
Add: Overhead & Indirect Costs |  | 30.0302
Add: Profit & Risk Margin |  | 18.9191
LOADED LABOR RATE (₹/Hour) |  | 164.4502
LOADED LABOR RATE (₹/Day) |  | 1315.6019
QUICK REFERENCE - RATE TIERS
Worker Type | Base Rate (₹/hr) | Loaded Rate (₹/hr)
Skilled Plumber (Senior) | 106.25 | 186.8831
Skilled Plumber (Junior) | 81.25 | 142.9106
Semi-Skilled Helper | 62.5 | 109.9313
Unskilled Labor | 50 | 87.945
NOTES & ASSUMPTIONS
1. Base wage rates are indicative for Tier-1 cities in India (2024). Adjust for regional variations.
2. Labor burden percentages are based on statutory requirements. EPF/ESI may vary by establishment size.
3. Weighted average assumes typical crew composition: 40% Senior, 30% Junior, 20% Semi-skilled, 10% Unskilled.
4. Overhead percentages should be adjusted based on project size, location, and company-specific costs.
5. Profit margin may vary from 8-15% depending on market conditions and project complexity.
6. All rates assume 8-hour working day. Overtime rates may apply for extended hours.
7. Yellow cells indicate user-adjustable inputs. Gray cells are calculated automatically.

## Main Takeoff Sheet
[YOUR COMPANY LOGO]
PLUMBING MATERIAL TAKEOFF SHEET
Detailed Quantity Takeoff (QTO) ¦ 2 BHK Residential Apartment - Sample Project
Reference: Loaded Labor Rate from 'Labor Rate Calculator' tab → | [12 empty] | 164.4502
Sr. No. | System / Category | Item Description | Specification / Size / Brand | Dwg. Ref. | Unit | Qty | Waste % | Qty w/ Waste | Unit Price (₹) | Material Cost (₹) | Labor (hrs/unit) | Labor Hours | Labor Rate (₹/hr) | Labor Cost (₹) | Line Total (₹) | Notes / Remarks
SECTION 1: DOMESTIC COLD WATER SUPPLY
1 | Cold Water Supply | CPVC Pipe SDR 11 | 15mm (1/2") Supreme | P-101 | Meter | 45 | 5% | 47.25 | 45 | 2126.25 | 0.15 | 7.0875 | 164.4502 | 1165.541 | 3291.791 | Main distribution
2 | Cold Water Supply | CPVC Pipe SDR 11 | 20mm (3/4") Supreme | P-101 | Meter | 25 | 5% | 26.25 | 65 | 1706.25 | 0.18 | 4.725 | 164.4502 | 777.0274 | 2483.2774 | Riser pipe
3 | Cold Water Supply | CPVC Elbow 90° | 15mm Supreme | P-101 | Each | 24 | 5% | 25.2 | 18 | 453.6 | 0.1 | 2.52 | 164.4502 | 414.4146 | 868.0146 | -
4 | Cold Water Supply | CPVC Tee | 15mm Supreme | P-101 | Each | 12 | 5% | 12.6 | 25 | 315 | 0.12 | 1.512 | 164.4502 | 248.6488 | 563.6488 | -
5 | Cold Water Supply | CPVC MTA | 15mm Supreme | P-101 | Each | 8 | 5% | 8.4 | 28 | 235.2 | 0.12 | 1.008 | 164.4502 | 165.7658 | 400.9658 | Tap connections
6 | Cold Water Supply | Ball Valve Brass | 15mm Zoloto | P-101 | Each | 6 | 0% | 6 | 285 | 1710 | 0.2 | 1.2 | 164.4502 | 197.3403 | 1907.3403 | Isolation valves
7 | Cold Water Supply | Gate Valve Brass | 20mm Leader | P-101 | Each | 2 | 0% | 2 | 385 | 770 | 0.25 | 0.5 | 164.4502 | 82.2251 | 852.2251 | Main line
8 | Cold Water Supply | Check Valve NRV | 20mm Zoloto | P-101 | Each | 1 | 0% | 1 | 295 | 295 | 0.18 | 0.18 | 164.4502 | 29.601 | 324.601 | After pump
| Subtotal - Cold Water Supply |  |  |  |  | 123 |  | 128.7 |  | 7611.3 |  | 18.7325 |  | 3080.564 | 10691.864
SECTION 2: DOMESTIC HOT WATER SUPPLY
9 | Hot Water Supply | CPVC Pipe SDR 11 | 15mm (1/2") Astral | P-102 | Meter | 18 | 5% | 18.9 | 45 | 850.5 | 0.15 | 2.835 | 164.4502 | 466.2164 | 1316.7164 | Bathroom & Kitchen
10 | Hot Water Supply | CPVC Pipe SDR 11 | 20mm (3/4") Astral | P-102 | Meter | 8 | 5% | 8.4 | 65 | 546 | 0.18 | 1.512 | 164.4502 | 248.6488 | 794.6488 | Main hot line
11 | Hot Water Supply | CPVC Elbow 90° | 15mm Astral | P-102 | Each | 10 | 5% | 10.5 | 18 | 189 | 0.1 | 1.05 | 164.4502 | 172.6727 | 361.6727 | -
12 | Hot Water Supply | CPVC Tee | 15mm Astral | P-102 | Each | 4 | 5% | 4.2 | 25 | 105 | 0.12 | 0.504 | 164.4502 | 82.8829 | 187.8829 | -
13 | Hot Water Supply | Storage Water Heater | 15L Racold | P-102 | Each | 2 | 0% | 2 | 8500 | 17000 | 1.5 | 3 | 164.4502 | 493.3507 | 17493.3507 | Bathroom
14 | Hot Water Supply | Pipe Insulation | 15mm Armacell | P-102 | Meter | 18 | 10% | 19.8 | 65 | 1287 | 0.1 | 1.98 | 164.4502 | 325.6115 | 1612.6115 | Hot water lines
| Subtotal - Hot Water Supply |  |  |  |  | 60 |  | 63.8 |  | 19977.5 |  | 10.881 |  | 1789.383 | 21766.883
SECTION 3: SANITARY DRAINAGE SYSTEM
15 | Sanitary Drainage | uPVC Pipe Type A | 110mm (4") Supreme | P-201 | Meter | 12 | 5% | 12.6 | 285 | 3591 | 0.25 | 3.15 | 164.4502 | 518.0182 | 4109.0182 | Soil stack
16 | Sanitary Drainage | uPVC Pipe Type A | 75mm (3") Supreme | P-201 | Meter | 8 | 5% | 8.4 | 185 | 1554 | 0.2 | 1.68 | 164.4502 | 276.2764 | 1830.2764 | Waste line
17 | Sanitary Drainage | SWR Pipe | 110mm (4") Supreme | P-201 | Meter | 6 | 5% | 6.3 | 195 | 1228.5 | 0.2 | 1.26 | 164.4502 | 207.2073 | 1435.7073 | Vent stack
18 | Sanitary Drainage | uPVC Elbow 90° | 110mm Supreme | P-201 | Each | 6 | 5% | 6.3 | 85 | 535.5 | 0.15 | 0.945 | 164.4502 | 155.4055 | 690.9055 | -
19 | Sanitary Drainage | uPVC Y-Branch | 110x110mm Supreme | P-201 | Each | 4 | 5% | 4.2 | 145 | 609 | 0.2 | 0.84 | 164.4502 | 138.1382 | 747.1382 | WC connection
20 | Sanitary Drainage | uPVC P-Trap | 110mm Supreme | P-201 | Each | 2 | 0% | 2 | 185 | 370 | 0.25 | 0.5 | 164.4502 | 82.2251 | 452.2251 | Floor trap
21 | Sanitary Drainage | Nahani Trap Floor | 110mm Supreme | P-201 | Each | 4 | 0% | 4 | 165 | 660 | 0.2 | 0.8 | 164.4502 | 131.5602 | 791.5602 | Bathroom floor
22 | Sanitary Drainage | Floor Drain SS | 150x150mm Jaquar | P-201 | Each | 4 | 0% | 4 | 450 | 1800 | 0.25 | 1 | 164.4502 | 164.4502 | 1964.4502 | -
23 | Sanitary Drainage | Cleanout/Door Cap | 110mm Supreme | P-201 | Each | 3 | 0% | 3 | 95 | 285 | 0.15 | 0.45 | 164.4502 | 74.0026 | 359.0026 | Access points
24 | Sanitary Drainage | Vent Cowl | 110mm Supreme | P-201 | Each | 2 | 0% | 2 | 125 | 250 | 0.1 | 0.2 | 164.4502 | 32.89 | 282.89 | Terrace
| Subtotal - Sanitary Drainage |  |  |  |  | 51 |  | 52.8 |  | 10883 |  | 10.825 |  | 1780.1738 | 12663.1738
SECTION 4: PLUMBING FIXTURES & APPLIANCES
25 | Fixtures | EWC with Seat Cover Standard | Complete Set Parryware | P-301 | Set | 2 | 0% | 2 | 4500 | 9000 | 2.5 | 5 | 164.4502 | 822.2512 | 9822.2512 | Master & Common
26 | Fixtures | Wash Basin Counter Top | 450x450mm Hindware | P-301 | Each | 2 | 0% | 2 | 2850 | 5700 | 1.5 | 3 | 164.4502 | 493.3507 | 6193.3507 | Bathroom
27 | Fixtures | SS Kitchen Sink Single | 24x18x8" Nirali | P-301 | Each | 1 | 0% | 1 | 4250 | 4250 | 1.5 | 1.5 | 164.4502 | 246.6754 | 4496.6754 | Kitchen
28 | Fixtures | Flush Tank Dual Flush | 10L Parryware | P-301 | Each | 2 | 0% | 2 | 1650 | 3300 | 0.75 | 1.5 | 164.4502 | 246.6754 | 3546.6754 | -
29 | Fixtures | Health Faucet Set | Complete Jaquar | P-301 | Set | 2 | 0% | 2 | 950 | 1900 | 0.5 | 1 | 164.4502 | 164.4502 | 2064.4502 | Bathroom
30 | Fixtures | Angle Valve CP | 15mm Jaquar | P-301 | Each | 8 | 0% | 8 | 385 | 3080 | 0.15 | 1.2 | 164.4502 | 197.3403 | 3277.3403 | Under basin/WC
31 | Fixtures | Concealed Stop Cock | 15mm Jaquar | P-301 | Each | 4 | 0% | 4 | 1250 | 5000 | 0.35 | 1.4 | 164.4502 | 230.2303 | 5230.2303 | Bathroom
32 | Fixtures | Floor Drain SS | 150x150mm Johnson | P-301 | Each | 2 | 0% | 2 | 450 | 900 | 0.25 | 0.5 | 164.4502 | 82.2251 | 982.2251 | Balcony
| Subtotal - Plumbing Fixtures |  |  |  |  | 23 |  | 23 |  | 33130 |  | 15.1 |  | 2483.1985 | 35613.1985
SECTION 5: MISCELLANEOUS & ACCESSORIES
33 | Miscellaneous | Pipe Clamp MS | 15mm | P-401 | Each | 30 | 10% | 33 | 12 | 396 | 0.05 | 1.65 | 164.4502 | 271.3429 | 667.3429 | Support clamps
34 | Miscellaneous | Pipe Clamp MS | 110mm | P-401 | Each | 15 | 10% | 16.5 | 45 | 742.5 | 0.08 | 1.32 | 164.4502 | 217.0743 | 959.5743 | Drainage support
35 | Miscellaneous | Threaded Rod MS | 10mm x 1m | P-401 | Meter | 10 | 10% | 11 | 85 | 935 | 0.1 | 1.1 | 164.4502 | 180.8953 | 1115.8953 | Hangers
36 | Miscellaneous | Expansion Bolt | M10 Hilti | P-401 | Each | 40 | 5% | 42 | 25 | 1050 | 0.05 | 2.1 | 164.4502 | 345.3455 | 1395.3455 | Fixing
37 | Miscellaneous | PTFE Tape | 12mm x 10m | P-401 | Roll | 10 | 0% | 10 | 25 | 250 | 0.02 | 0.2 | 164.4502 | 32.89 | 282.89 | Thread seal
38 | Miscellaneous | Plumber's Putty | 500gm Pidilite | P-401 | Each | 2 | 0% | 2 | 185 | 370 | 0.05 | 0.1 | 164.4502 | 16.445 | 386.445 | Sealing
39 | Miscellaneous | Core Cutting | 110mm | P-401 | Each | 8 | 0% | 8 | 350 | 2800 | 0.5 | 4 | 164.4502 | 657.8009 | 3457.8009 | Wall penetration
40 | Miscellaneous | Sleeve MS | 110mm | P-401 | Each | 8 | 0% | 8 | 125 | 1000 | 0.15 | 1.2 | 164.4502 | 197.3403 | 1197.3403 | Wall/Floor
41 | Miscellaneous | Testing & Commissioning | Per Point | P-401 | Point | 25 | 0% | 25 | 50 | 1250 | 0.25 | 6.25 | 164.4502 | 1027.814 | 2277.814 | All points
| Subtotal - Miscellaneous |  |  |  |  | 148 |  | 155.5 |  | 8793.5 |  | 17.92 |  | 2946.9482 | 11740.4482
GRAND TOTAL | [5 empty] | 405 |  | 423.8 |  | 80395.3 |  | 73.4585 |  | 12080.2676 | 92475.5676

## Summary Dashboard
[YOUR COMPANY LOGO]
SUMMARY DASHBOARD
Plumbing Material Takeoff Summary ¦ 2 BHK Residential Apartment
| COST BREAKDOWN BY SECTION |  |  |  |  | KEY METRICS
| Section | Material Cost (₹) | Labor Cost (₹) | Section Total (₹) |  | Metric | Value
| 1. Cold Water Supply | 7611.3 | 3080.564 | 10691.864 |  | Total Line Items | 41
| 2. Hot Water Supply | 19977.5 | 1789.383 | 21766.883 |  | Total Labor Hours | 73.4585
| 3. Sanitary Drainage | 10883 | 1780.1738 | 12663.1738 |  | Loaded Labor Rate (₹/hr) | 164.4502
| 4. Plumbing Fixtures | 33130 | 2483.1985 | 35613.1985 |  | Material Cost % | 86.94%
| 5. Miscellaneous | 8793.5 | 2946.9482 | 11740.4482 |  | Material : Labor Ratio | 6.66
[6 empty] | Cost per Sq.ft (₹) | 114.5772
| SUBTOTAL (Before GST) | 80395.3 | 12080.2676 | 92475.5676 |  | Date Prepared | 2026-04-06
| GST CALCULATION |  |  |  |  | COST DISTRIBUTION
| GST Type: | Intra-State | (Select: Intra-State / Inter-State) |  |  | Component | Amount (₹)
| GST Rate (%): | 18 | (Standard rate for plumbing services) |  |  | Material Cost | 80395.3
[6 empty] | Labor Cost | 12080.2676
| CGST @ 9% | 8322.8011 | (Central GST - Intra-State) |  |  | GST (Intra-State) | 16645.6022
| SGST @ 9% | 8322.8011 | (State GST - Intra-State) |  |  | Contingency | 5456.0585
[6 empty] | TOTAL | 114577.2282
| IGST @ 18% | 16645.6022 | (Integrated GST - Inter-State)
Total GST Amount:
16645.6022
| OR IGST (Inter-State) | 16645.6022
CONTINGENCY & FINAL TOTAL
| Subtotal (Material + Labor) |  |  | 92475.5676
| GST Amount (Intra-State) |  |  | 16645.6022
| Subtotal with GST |  |  | 109121.1697
| Contingency %: | 5 | (Recommended 5-10%)
| Contingency Amount |  |  | 5456.0585
| GRAND TOTAL (Incl. GST & Contingency) |  |  | 114577.2282
NOTES & DISCLAIMERS
1. All prices are indicative and subject to market fluctuations.
2. GST rates may vary based on material classification and applicable exemptions.
3. Labor rates are based on current market conditions and may vary by region.
4. Contingency amount covers unforeseen expenses and minor variations.
5. This estimate is valid for 30 days from the date of preparation.
6. Final quantities may vary based on actual site conditions.
7. Transportation and handling charges are included in material costs.
Chart Data
| Component | Amount |  | Section | Total
| Material Cost | 80395.3 |  | Cold Water | 10691.864
| Labor Cost | 12080.2676 |  | Hot Water | 21766.883
| GST | 16645.6022 |  | Drainage | 12663.1738
| Contingency | 5456.0585 |  | Fixtures | 35613.1985
|  |  |  | Miscellaneous | 11740.4482