## Index
[YOUR COMPANY LOGO] | PROFESSIONAL PLUMBING CHECKLIST TEMPLATES
Complete Documentation Package for Plumbing Contractors & Technicians
TEMPLATE PACKAGE CONTENTS
# | CHECKLIST NAME | DESCRIPTION
1 | Pre-Installation / Rough-In Checklist | Pipe routing, venting, slope verification
2 | Installation & Finish Checklist | Bathroom & kitchen fixture installation
3 | Final Inspection & Testing Checklist | Pressure tests, leak checks, compliance
4 | Water Heater Installation Checklist | Gas/electric water heater setup
5 | Bathroom Remodel Plumbing Checklist | Complete bathroom renovation tasks
6 | Commercial Plumbing Checklist | Office, hotel, school installations
7 | Service Call / Repair Checklist | Maintenance & emergency repairs
8 | Material & Tool Checklist | Pre-job inventory verification
9 | Safety & Compliance Checklist | OSHA, IS codes, site safety
KEY FEATURES
✓ | Digital checkboxes & dropdown menus | Easy status tracking
✓ | Conditional formatting | Auto-highlights completed items
✓ | Print-ready A4 layout | Professional client handouts
✓ | India-specific fields | GSTIN, License No., IS Codes
✓ | Signature blocks | Technician & client sign-off
✓ | Fully customizable | Add your branding & items
DOCUMENT INFORMATION
Version: | 1
Last Updated: | April 2026
Created By: | [Your Company Name]
Contact: | [email@company.com]
© 2026 [Your Company Name] ¦ All Rights Reserved ¦ www.yourcompany.com

## Instructions
📋 HOW TO USE THIS CHECKLIST PACKAGE
Complete Guide to Customization, Usage & Printing
1. GETTING STARTED
• | Open the checklist tab you need from the sheet tabs at the bottom
• | Fill in the Job Information section at the top of each checklist
• | Use the Status dropdown columns to track progress: Not Started → In Progress → Completed → N/A
• | Add notes in the Remarks column for any special observations
• | Complete the signature block at the bottom when job is finished
• | Save a copy for each new project to maintain clean templates
2. CUSTOMIZATION TIPS
✎ | ADDING YOUR COMPANY BRANDING:
→ Replace [YOUR COMPANY LOGO] with your actual logo image
→ Update company name, contact info, and GSTIN in header sections
→ Modify footer with your website and license numbers
✎ | MODIFYING CHECKLIST ITEMS:
→ Insert new rows to add custom tasks specific to your workflow
→ Delete rows for items not applicable to your business
→ Edit task descriptions to match your terminology
✎ | ADDING TECHNICIAN NAMES TO DROPDOWNS:
→ Go to Data → Data Validation → Edit the source list
3. STATUS DROPDOWN OPTIONS
☐ | NOT STARTED - Task has not been initiated yet
🔄 | IN PROGRESS - Work is currently underway
✓ | COMPLETED - Task finished and verified
— | N/A - Not applicable to this specific job
💡 TIP: Conditional formatting will automatically color rows based on status selection
4. PRINTING INSTRUCTIONS
1 | Go to File → Print (or press Ctrl+P)
2 | Select 'Fit Sheet on One Page' or 'Fit All Columns on One Page'
3 | Choose A4 paper size for standard printing
4 | Set orientation to Portrait for most checklists
5 | Print area is pre-set - adjust if you've added rows
6 | For PDF export: File → Save As → Choose PDF format
📄 RECOMMENDED: Print on good quality paper for client handouts
5. CHECKLIST OVERVIEW
1 | Rough-In Checklist - Use before walls are closed; pipe routing & venting
2 | Installation Checklist - Fixture mounting, connections, finish work
3 | Inspection Checklist - Pressure tests, leak checks, final verification
4 | Water Heater Checklist - Gas/electric heater installation steps
5 | Bathroom Remodel - Complete bathroom renovation plumbing tasks
6 | Commercial Checklist - Large-scale office/hotel/school projects
7 | Service Call Checklist - Repairs, maintenance, emergency jobs
8 | Materials & Tools - Pre-job inventory and equipment verification
9 | Safety & Compliance - OSHA, IS codes, PPE requirements
6. INDIA-SPECIFIC COMPLIANCE NOTES
🇮🇳 | GSTIN field included for tax documentation
🇮🇳 | License Number fields for contractor registration
🇮🇳 | References to IS (Indian Standard) codes where applicable
🇮🇳 | NBC (National Building Code) compliance checkpoints
🇮🇳 | Local PWD approval requirements noted
SUPPORT & FEEDBACK
Questions? Contact: [your-email@company.com]
We'd love to hear how these templates help your business!
© 2026 [Your Company Name] ¦ Professional Plumbing Templates

## 1-Rough-In
[LOGO] |  | PRE-INSTALLATION / ROUGH-IN PLUMBING CHECKLIST
[Company Name] ¦ GSTIN: [Your GSTIN] ¦ License: [License No.] ¦ Contact: [Phone/Email]
Doc No: | RI-001 | Revision: | 1 | Page 1 of 1
JOB & SITE INFORMATION
Job/Project Name:
Client Name:
Site Address:
Date: |  | Technician:
Job Type: |  | Building Type:
Permit No: |  | Inspector:
☐ | # | TASK DESCRIPTION | STATUS | NOTES / REMARKS
1. PERMITS & APPROVALS
☐ | 1.1 | Building permit obtained and displayed on site | Not Started
☐ | 1.2 | Plumbing permit approved by local authority | Not Started
☐ | 1.3 | Site layout plan reviewed and approved | Not Started
☐ | 1.4 | Utility locations marked (water main, sewer, gas) | Not Started
2. SITE PREPARATION
☐ | 2.1 | Floor/wall penetration locations marked | Not Started
☐ | 2.2 | Trenches excavated to proper depth (min 450mm) | Not Started
☐ | 2.3 | Sleeves installed for wall/floor penetrations | Not Started
☐ | 2.4 | Access points identified for future maintenance | Not Started
☐ | 2.5 | Structural clearances verified with contractor | Not Started
☐ | 2.6 | Underground utilities located and marked | Not Started
3. WATER SUPPLY ROUGH-IN
☐ | 3.1 | Main water line size verified (as per IS 2065) | Not Started
☐ | 3.2 | Pipe material correct (CPVC/PPR/GI as specified) | Not Started
☐ | 3.3 | Hot and cold water lines properly separated (min 150mm) | Not Started
☐ | 3.4 | Pipe supports installed at correct intervals (1.2m horizontal, 1.8m vertical) | Not Started
☐ | 3.5 | Shut-off valves installed at main entry and each branch | Not Started
☐ | 3.6 | Pressure reducing valve installed where required | Not Started
☐ | 3.7 | Water meter location prepared | Not Started
☐ | 3.8 | Stub-outs positioned correctly for fixtures | Not Started
☐ | 3.9 | Air chambers/water hammer arrestors installed | Not Started
☐ | 3.1 | Insulation installed on hot water pipes | Not Started
4. DRAINAGE & WASTE ROUGH-IN
☐ | 4.1 | Drain pipe sizes correct (IS 2470 specifications) | Not Started
☐ | 4.2 | Proper slope maintained (1:40 to 1:60 gradient) | Not Started
☐ | 4.3 | P-traps/S-traps positioned for all fixtures | Not Started
☐ | 4.4 | Cleanout access points installed at required locations | Not Started
☐ | 4.5 | Floor drains positioned with proper trap depth | Not Started
☐ | 4.6 | Waste stack properly sized and positioned | Not Started
☐ | 4.7 | Horizontal branches connected at proper angles (45° max) | Not Started
☐ | 4.8 | Anti-siphon traps installed where required | Not Started
☐ | 4.9 | Grease trap location prepared (kitchen) | Not Started
☐ | 4.1 | Sewer connection point verified | Not Started
☐ | 4.11 | Pipe supports secure (every 1.2m horizontal) | Not Started
☐ | 4.12 | Backflow prevention devices in place | Not Started
5. VENTING SYSTEM
☐ | 5.1 | Vent stack size adequate (min 75mm) | Not Started
☐ | 5.2 | Vent pipes extend above roofline (min 150mm) | Not Started
☐ | 5.3 | Individual fixture vents properly connected | Not Started
☐ | 5.4 | Wet venting configuration correct (if used) | Not Started
☐ | 5.5 | Air admittance valves installed where permitted | Not Started
☐ | 5.6 | Vent termination away from windows/air intakes (min 3m) | Not Started
☐ | 5.7 | Vent pipe supports installed correctly | Not Started
6. ROUGH-IN TESTING
☐ | 6.1 | Water supply pressure test completed (1.5x working pressure) | Not Started
☐ | 6.2 | Test pressure held for minimum 30 minutes | Not Started
☐ | 6.3 | Drain system water test completed | Not Started
☐ | 6.4 | No leaks detected at joints and connections | Not Started
☐ | 6.5 | Vent system smoke/peppermint test completed | Not Started
☐ | 6.6 | All test results documented | Not Started
7. DOCUMENTATION & HANDOVER
☐ | 7.1 | As-built drawings updated with actual pipe routes | Not Started
☐ | 7.2 | Photos taken of concealed piping before closing | Not Started
☐ | 7.3 | Test certificates prepared | Not Started
☐ | 7.4 | Material certificates collected (pipes, fittings) | Not Started
☐ | 7.5 | Rough-in inspection scheduled with authority | Not Started
NOTES & OBSERVATIONS
SIGN-OFF & APPROVAL
Technician Name: |  | Signature:
Date: |  | Time:
Supervisor/Client: |  | Signature:
Date: |  | Approval Status:
© 2026 [Your Company Name] ¦ This checklist complies with IS 2065, IS 2470, NBC 2016

## 2-Installation
[LOGO] |  | PLUMBING INSTALLATION & FINISH CHECKLIST (BATHROOM / KITCHEN)
[Company Name] ¦ GSTIN: [Your GSTIN] ¦ License: [License No.] ¦ Contact: [Phone/Email]
Doc No: | IF-001 | Revision: | 1 | Page 1 of 1
JOB & SITE INFORMATION
Job/Project Name:
Client Name:
Site Address:
Date: |  | Technician:
Area Type: |  | Floor/Unit:
Permit No: |  | Inspector:
☐ | # | TASK DESCRIPTION | STATUS | NOTES / REMARKS
1. PRE-INSTALLATION VERIFICATION
☐ | 1.1 | Rough-in inspection completed and approved | Not Started
☐ | 1.2 | All stub-outs accessible and properly positioned | Not Started
☐ | 1.3 | Water supply turned off and system depressurized | Not Started
☐ | 1.4 | Drain lines clear and tested | Not Started
☐ | 1.5 | Wall/floor surfaces prepared for fixture mounting | Not Started
☐ | 1.6 | All fixtures and materials on-site and inspected | Not Started
2. TOILET / WC INSTALLATION
☐ | 2.1 | Closet flange secure and at correct height | Not Started
☐ | 2.2 | Wax ring/gasket properly seated | Not Started
☐ | 2.3 | Toilet bowl positioned and level | Not Started
☐ | 2.4 | Mounting bolts tightened evenly (do not overtighten) | Not Started
☐ | 2.5 | Tank-to-bowl connection secure (close-coupled) | Not Started
☐ | 2.6 | Water supply line connected (braided SS recommended) | Not Started
☐ | 2.7 | Fill valve and flush mechanism adjusted | Not Started
☐ | 2.8 | Toilet tested for flush performance and leaks | Not Started
3. WASH BASIN / SINK INSTALLATION
☐ | 3.1 | Basin/sink mounting brackets secure and level | Not Started
☐ | 3.2 | Pedestal or vanity properly positioned | Not Started
☐ | 3.3 | Basin set in place and sealed (silicone) | Not Started
☐ | 3.4 | Faucet/mixer installed and secured | Not Started
☐ | 3.5 | Hot and cold supply lines connected correctly | Not Started
☐ | 3.6 | Pop-up drain assembly installed | Not Started
☐ | 3.7 | P-trap connected and aligned | Not Started
☐ | 3.8 | Overflow drain clear and functional | Not Started
☐ | 3.9 | Basin tested for drainage and leaks | Not Started
☐ | 3.1 | Caulking applied around basin edge | Not Started
4. SHOWER / BATHTUB INSTALLATION
☐ | 4.1 | Shower tray/bathtub level and properly supported | Not Started
☐ | 4.2 | Drain connection secure with proper trap | Not Started
☐ | 4.3 | Shower valve/mixer installed at correct height | Not Started
☐ | 4.4 | Diverter valve operational (if applicable) | Not Started
☐ | 4.5 | Shower head and arm installed | Not Started
☐ | 4.6 | Hand shower and slide bar mounted (if applicable) | Not Started
☐ | 4.7 | Glass door/curtain rod installed (if applicable) | Not Started
☐ | 4.8 | Waterproofing membrane intact around connections | Not Started
☐ | 4.9 | All joints sealed with appropriate sealant | Not Started
☐ | 4.1 | Shower tested for water pressure and drainage | Not Started
5. KITCHEN SINK INSTALLATION
☐ | 5.1 | Sink cutout clean and properly sized | Not Started
☐ | 5.2 | Sink clips/mounting hardware secure | Not Started
☐ | 5.3 | Sink set and sealed with silicone | Not Started
☐ | 5.4 | Kitchen faucet/mixer installed | Not Started
☐ | 5.5 | Sprayer hose connected (if applicable) | Not Started
☐ | 5.6 | Strainer baskets installed in drain openings | Not Started
☐ | 5.7 | Garbage disposal connected (if applicable) | Not Started
☐ | 5.8 | P-trap and drain lines connected | Not Started
☐ | 5.9 | Dishwasher connection prepared (air gap if required) | Not Started
6. WATER SUPPLY CONNECTIONS
☐ | 6.1 | All supply valves (angle stops) installed | Not Started
☐ | 6.2 | Supply lines connected without kinks | Not Started
☐ | 6.3 | Hot water connected to left side (standard) | Not Started
☐ | 6.4 | All connections hand-tight plus 1/4 turn | Not Started
☐ | 6.5 | Thread tape/compound applied to threaded connections | Not Started
☐ | 6.6 | No cross-connections between hot and cold | Not Started
☐ | 6.7 | Water supply turned on and checked for leaks | Not Started
7. FINAL TESTING & CLEANUP
☐ | 7.1 | All fixtures tested for proper operation | Not Started
☐ | 7.2 | Water pressure adequate at all outlets | Not Started
☐ | 7.3 | Hot water temperature correct (max 50°C at tap) | Not Started
☐ | 7.4 | All drains flowing freely without gurgling | Not Started
☐ | 7.5 | No visible leaks at any connection | Not Started
☐ | 7.6 | Fixtures cleaned and protective covers removed | Not Started
☐ | 7.7 | Work area cleaned and debris removed | Not Started
☐ | 7.8 | Client walkthrough and demonstration completed | Not Started
NOTES & OBSERVATIONS
SIGN-OFF & APPROVAL
Technician Name: |  |  | Signature:
Date: |  | Time:
Supervisor/Client: |  |  | Signature:
Date: |  | Approval Status:
© [Company Name] ¦ This checklist complies with local plumbing codes and industry standards ¦ Rev 1.0

## 3-Inspection
[LOGO] |  | FINAL INSPECTION & TESTING PLUMBING CHECKLIST
[Company Name] ¦ GSTIN: [Your GSTIN] ¦ License: [License No.] ¦ Contact: [Phone/Email]
Doc No: FI-001 |  |  | Rev: 1.0 ¦ Effective: 2024
Job Name: |  | Client Name:
Site Address:
Start Date: |  | Completion Date:
Lead Technician: |  | Permit No:
Inspector Name: |  | Badge/ID:
☐ | # | TASK DESCRIPTION | STATUS | NOTES / REMARKS
1. PRE-INSPECTION PREPARATION
☐ | 1.1 | All plumbing work completed as per approved drawings
☐ | 1.2 | Work area clean and accessible for inspection
☐ | 1.3 | All fixtures installed and secured
☐ | 1.4 | Test equipment calibrated and ready (pressure gauge, etc.)
☐ | 1.5 | Safety barriers in place for testing
☐ | 1.6 | Previous inspection punch-list items addressed
☐ | 1.7 | As-built drawings available for reference
2. WATER SUPPLY PRESSURE TEST
☐ | 2.1 | System filled with water and air bled from lines
☐ | 2.2 | All outlets capped or plugged securely
☐ | 2.3 | Test pressure applied: _______ bar (1.5x working pressure)
☐ | 2.4 | Pressure gauge installed at lowest point
☐ | 2.5 | Test duration: minimum 30 minutes maintained
☐ | 2.6 | Initial pressure reading recorded: _______ bar
☐ | 2.7 | Final pressure reading recorded: _______ bar
☐ | 2.8 | Pressure drop within acceptable limits (≤0.2 bar)
☐ | 2.9 | All joints and connections visually inspected during test
☐ | 2.1 | No visible leaks or moisture at any point
3. DRAINAGE SYSTEM TEST
☐ | 3.1 | All drain openings plugged except highest vent
☐ | 3.2 | System filled with water to overflow level
☐ | 3.3 | Water level maintained for minimum 15 minutes
☐ | 3.4 | No drop in water level observed (leak-free)
☐ | 3.5 | Each fixture drain tested individually
☐ | 3.6 | Drainage flow rate adequate (no slow drains)
☐ | 3.7 | No gurgling sounds indicating venting issues
☐ | 3.8 | P-traps holding water properly (no siphoning)
☐ | 3.9 | Floor drains functioning with proper trap seal
☐ | 3.1 | Cleanout access points verified accessible
4. VENT SYSTEM TEST
☐ | 4.1 | Smoke test or peppermint test performed
☐ | 4.2 | No smoke/odor detected inside building
☐ | 4.3 | Vent terminations clear of obstructions
☐ | 4.4 | Vent pipes properly secured and supported
☐ | 4.5 | Vent caps/screens installed where required
☐ | 4.6 | Air admittance valves functioning (if installed)
☐ | 4.7 | No cross-connections with other systems
5. FIXTURE OPERATION TEST
☐ | 5.1 | All faucets/mixers operate smoothly
☐ | 5.2 | Hot water delivered to correct side (left)
☐ | 5.3 | Water pressure adequate at all outlets
☐ | 5.4 | No water hammer or excessive noise
☐ | 5.5 | Toilets flush completely and refill properly
☐ | 5.6 | Toilet tank not running continuously
☐ | 5.7 | Showers deliver adequate pressure and flow
☐ | 5.8 | Diverter valves operate correctly
☐ | 5.9 | All valves (stop, isolation) operate freely
☐ | 5.1 | Temperature limiting devices functional (anti-scald)
☐ | 5.11 | Backflow preventers tested and certified
6. COMPLIANCE VERIFICATION
☐ | 6.1 | Pipe sizes comply with IS 2065 / local code
☐ | 6.2 | Drainage slopes meet minimum requirements (1:40)
☐ | 6.3 | Fixture spacing per accessibility guidelines
☐ | 6.4 | Water heater installation per IS 302.21 / local code
☐ | 6.5 | Backflow prevention as per local requirements
☐ | 6.6 | Cross-connection control verified
☐ | 6.7 | Earthquake strapping on water heater (if required)
☐ | 6.8 | Gas line testing complete (if applicable)
☐ | 6.9 | Electrical grounding/bonding verified
☐ | 6.1 | NBC 2016 compliance confirmed
7. DOCUMENTATION & HANDOVER
☐ | 7.1 | Test certificates completed and signed
☐ | 7.2 | As-built drawings finalized
☐ | 7.3 | Material certificates collected (pipes, fittings, fixtures)
☐ | 7.4 | Warranty documents provided to client
☐ | 7.5 | Operation and maintenance manual provided
☐ | 7.6 | Emergency shut-off locations explained to client
☐ | 7.7 | Maintenance schedule provided
☐ | 7.8 | Final walkthrough completed with client
☐ | 7.9 | Punch-list items (if any) documented
TEST RESULTS SUMMARY
Test Type | Result | Reading/Value | Pass/Fail | Remarks
Water Pressure Test
Drainage Test
Vent System Test
Fixture Operation
ADDITIONAL NOTES / DEFICIENCIES
SIGN-OFF & APPROVAL
Technician: | Sign: _______________ | Name: _______________ | Date: _______
Supervisor/Client: | Sign: _______________ | Name: _______________ | Date: _______
Inspector: | Sign: _______________ | Name: _______________ | Date: _______
Standards: IS 2065 (Pipes) ¦ IS 2470 (Drainage) ¦ IS 1172 (Water Supply) ¦ NBC 2016

## 4-Water Heater
[LOGO] |  | WATER HEATER INSTALLATION CHECKLIST
[Company Name] ¦ GSTIN: [Your GSTIN] ¦ License: [License No.]
Doc No: | WH-001 | Revision: 1.0 |  | Page 1 of 1
JOB & SITE INFORMATION
Job/Project Name:
Client Name:
Site Address:
Date: |  | Technician:
Heater Type: |  | Capacity (L):
Brand/Model: |  | Serial No:
Permit No: |  | Inspector:
☐ | # | TASK DESCRIPTION | STATUS | NOTES / REMARKS
1. PRE-INSTALLATION CHECKS
☐ | 1.1 | Old water heater disconnected and removed (if replacement) | Not Started
☐ | 1.2 | Installation location verified (ventilation, clearances) | Not Started
☐ | 1.3 | Floor/wall structure adequate to support water heater weight | Not Started
☐ | 1.4 | Adequate clearance for maintenance access (min 600mm front) | Not Started
☐ | 1.5 | Drain pan installed under unit (where required) | Not Started
☐ | 1.6 | T&P relief valve discharge location identified | Not Started
☐ | 1.7 | Water supply shutoff valve accessible | Not Started
☐ | 1.8 | Electrical/gas supply isolated and locked out | Not Started
☐ | 1.9 | All required materials and tools on-site | Not Started
2. GAS WATER HEATER INSTALLATION
☐ | 2.1 | Gas supply line size adequate (as per IS 5826) | Not Started
☐ | 2.2 | Gas shutoff valve installed within 1m of unit | Not Started
☐ | 2.3 | Flexible gas connector installed (approved type) | Not Started
☐ | 2.4 | Gas line leak tested with soapy water/detector | Not Started
☐ | 2.5 | Combustion air supply adequate (per manufacturer specs) | Not Started
☐ | 2.6 | Flue pipe/chimney properly sized and installed | Not Started
☐ | 2.7 | Flue pipe slope correct (upward toward termination) | Not Started
☐ | 2.8 | Flue termination location code-compliant | Not Started
☐ | 2.9 | Draft hood/vent connector secure | Not Started
☐ | 2.1 | CO detector installed in same room/area | Not Started
☐ | 2.11 | Gas pressure verified at manifold | Not Started
☐ | 2.12 | Pilot light/ignition system tested | Not Started
☐ | 2.13 | Burner flame appearance correct (blue, stable) | Not Started
3. ELECTRIC WATER HEATER INSTALLATION
☐ | 3.1 | Dedicated electrical circuit installed (as per IS 732) | Not Started
☐ | 3.2 | Circuit breaker/MCB sized correctly for load | Not Started
☐ | 3.3 | Wiring gauge adequate for current draw | Not Started
☐ | 3.4 | ELCB/RCCB installed for safety (30mA) | Not Started
☐ | 3.5 | Electrical connections secure and insulated | Not Started
☐ | 3.6 | Grounding/earthing properly connected | Not Started
☐ | 3.7 | Junction box cover in place | Not Started
☐ | 3.8 | Thermostat set to recommended temperature (50-60°C) | Not Started
☐ | 3.9 | Upper and lower heating elements tested | Not Started
☐ | 3.1 | Electrical panel labeled for water heater circuit | Not Started
☐ | 3.11 | No exposed wiring near water sources | Not Started
4. WATER SUPPLY & CONNECTIONS
☐ | 4.1 | Cold water inlet connected (right side/marked) | Not Started
☐ | 4.2 | Hot water outlet connected (left side/marked) | Not Started
☐ | 4.3 | Isolation valves installed on both lines | Not Started
☐ | 4.4 | Dielectric unions/nipples installed (prevent corrosion) | Not Started
☐ | 4.5 | Expansion tank installed (closed system) | Not Started
☐ | 4.6 | Check valve installed where required | Not Started
☐ | 4.7 | Pressure reducing valve installed (if supply >5 bar) | Not Started
☐ | 4.8 | All connections leak-free under pressure | Not Started
☐ | 4.9 | Pipe insulation installed on hot water lines | Not Started
☐ | 4.1 | Recirculation line connected (if applicable) | Not Started
5. SAFETY DEVICES & PROTECTION
☐ | 5.1 | T&P (Temperature & Pressure) relief valve installed | Not Started
☐ | 5.2 | T&P valve rating matches tank specs | Not Started
☐ | 5.3 | T&P discharge pipe routed to safe location | Not Started
☐ | 5.4 | Discharge pipe terminates 150mm above floor/drain | Not Started
☐ | 5.5 | No valves installed on T&P discharge line | Not Started
☐ | 5.6 | Earthquake straps installed (seismic zones) | Not Started
☐ | 5.7 | Anti-scald mixing valve installed (if required) | Not Started
☐ | 5.8 | Thermal expansion protection in place | Not Started
☐ | 5.9 | Warning labels affixed to unit | Not Started
6. COMMISSIONING & TESTING
☐ | 6.1 | Tank filled completely before powering on | Not Started
☐ | 6.2 | Air bled from hot water lines | Not Started
☐ | 6.3 | No air in tank (water flows from T&P valve) | Not Started
☐ | 6.4 | Water supply pressure recorded: _______ bar | Not Started
☐ | 6.5 | System powered on / gas supply opened | Not Started
☐ | 6.6 | Initial heating cycle completed successfully | Not Started
☐ | 6.7 | Hot water temperature at tap verified: _______ °C | Not Started
☐ | 6.8 | Thermostat operation verified | Not Started
☐ | 6.9 | T&P valve manually tested (opens and reseals) | Not Started
☐ | 6.1 | No leaks at any connection after heating | Not Started
☐ | 6.11 | System operates quietly (no rumbling/popping) | Not Started
7. DOCUMENTATION & HANDOVER
☐ | 7.1 | Warranty card filled and submitted to manufacturer | Not Started
☐ | 7.2 | Installation certificate provided to client | Not Started
☐ | 7.3 | User manual provided to client | Not Started
☐ | 7.4 | Operating instructions explained to client | Not Started
☐ | 7.5 | Maintenance schedule provided (anode rod, flushing) | Not Started
☐ | 7.6 | Emergency shutoff procedure demonstrated | Not Started
☐ | 7.7 | Photos of installation taken for records | Not Started
NOTES & OBSERVATIONS
SIGN-OFF & APPROVAL
Technician Name: |  |  | Signature:
Date: |  | Time:
Client/Supervisor: |  |  | Signature:
Date: |  | Approval Status:
© [Company Name] ¦ Complies with IS 302.21, IS 5826 (Gas), IS 732 (Electrical) ¦ Rev 1.0

## 5-Bathroom Remodel
[LOGO] |  | BATHROOM REMODEL PLUMBING CHECKLIST
[Company Name] ¦ GSTIN: [Your GSTIN] ¦ License: [License No.]
Doc No: | BR-001 | Revision: | 1 | Page 1 of 1
JOB & SITE INFORMATION
Job/Project Name: | Master Bathroom Renovation - Sharma Residence
Client Name: | Mr. Rajesh Sharma
Site Address: | 42, Green Park Extension, New Delhi - 110016
Start Date: | 15-Mar-2026 | Target Completion: | 28-Mar-2026
Lead Technician: | Sunil Kumar | Helper: | Ramesh
Bathroom Type: | Master Bath (attached) | Floor Area: | 45 sq.ft.
Permit No: | DDA/PLM/2026/1842 | Building Age: | 12 years
☐ | # | TASK DESCRIPTION | STATUS | NOTES / REMARKS
1. DEMOLITION & REMOVAL
☐ | 1.1 | Water supply shut off at main valve | Completed | Main valve in utility room
☐ | 1.2 | Existing fixtures photographed for reference | Completed | Photos saved to client folder
☐ | 1.3 | Old toilet removed and capped | Completed | Flange inspected - good condition
☐ | 1.4 | Old wash basin and vanity removed | Completed
☐ | 1.5 | Old shower/bathtub removed | Completed | Drain in good condition
☐ | 1.6 | Old faucets and fixtures removed | Completed
☐ | 1.7 | Existing pipes inspected for damage/corrosion | Completed | Hot water pipe needs replacement
☐ | 1.8 | Old water heater disconnected (if in bathroom) | N/A | WH in utility area
☐ | 1.9 | Debris removed and area cleaned | Completed
☐ | 1.1 | Floor drain cap installed during work | Completed
2. ROUGH-IN MODIFICATIONS
☐ | 2.1 | New fixture locations marked per design | Completed | As per architect drawing v2
☐ | 2.2 | Water supply lines relocated/extended as needed | Completed | Hot water line replaced (CPVC)
☐ | 2.3 | New shut-off valve locations determined | Completed
☐ | 2.4 | Drain lines modified for new layout | In Progress | Awaiting new P-trap delivery
☐ | 2.5 | Vent connections verified/modified | In Progress
☐ | 2.6 | Shower drain relocated (if required) | Completed | Moved 6 inches to center
☐ | 2.7 | Floor slope verified toward drain (1:40 min) | Completed | Slope verified with level
☐ | 2.8 | Wall backing installed for grab bars/accessories | Not Started | Client to confirm locations
☐ | 2.9 | Waterproofing membrane installed | Not Started | Scheduled for tomorrow
☐ | 2.1 | Pressure test on modified lines (30 min @ 6 bar) | Not Started
☐ | 2.11 | Rough-in inspection called/scheduled | Not Started | Call inspector after waterproofing
☐ | 2.12 | Photos taken of concealed piping | In Progress
3. NEW FIXTURE INSTALLATION
☐ | 3.1 | New toilet flange installed/verified | Not Started
☐ | 3.2 | New toilet installed and sealed | Not Started | Hindware Constellation model
☐ | 3.3 | Toilet water supply connected | Not Started
☐ | 3.4 | Wash basin/vanity installed | Not Started | Wall-hung design
☐ | 3.5 | Basin faucet/mixer installed | Not Started | Jaquar single-lever
☐ | 3.6 | Basin drain and P-trap connected | Not Started
☐ | 3.7 | Shower tray/base installed and leveled | Not Started
☐ | 3.8 | Shower mixer/valve installed | Not Started | Thermostatic mixer
☐ | 3.9 | Shower head and arm installed | Not Started | Rain shower + hand shower
☐ | 3.1 | Glass door/enclosure installed | Not Started | Client purchased separately
☐ | 3.11 | Floor drain grating installed | Not Started | Tile-insert type
☐ | 3.12 | Towel warmer/heated rail connected (if applicable) | N/A | Not in scope
☐ | 3.13 | Exhaust fan connected (if scope) | Not Started | Electrical by others
☐ | 3.14 | All fixtures aligned and level | Not Started
4. CONNECTIONS & TESTING
☐ | 4.1 | All water supply connections completed | Not Started
☐ | 4.2 | All drain connections completed | Not Started
☐ | 4.3 | System filled and air bled | Not Started
☐ | 4.4 | Leak test performed on all connections | Not Started
☐ | 4.5 | Hot water reaching all outlets | Not Started
☐ | 4.6 | Water pressure adequate at all fixtures | Not Started
☐ | 4.7 | Drainage flow tested at all fixtures | Not Started
☐ | 4.8 | No cross-connections verified | Not Started
☐ | 4.9 | Toilet flush test (3 consecutive flushes) | Not Started
☐ | 4.1 | P-traps holding water properly | Not Started
5. FINISHING & CLEANUP
☐ | 5.1 | All joints sealed with silicone/caulk | Not Started
☐ | 5.2 | Escutcheons and trim plates installed | Not Started
☐ | 5.3 | Access panels installed (if required) | Not Started
☐ | 5.4 | Protective covers removed from fixtures | Not Started
☐ | 5.5 | All fixtures cleaned and polished | Not Started
☐ | 5.6 | Work area cleaned and debris removed | Not Started
☐ | 5.7 | Final leak check after 24 hours | Not Started
☐ | 5.8 | Client walkthrough and demonstration | Not Started
☐ | 5.9 | Punch-list items documented (if any) | Not Started
6. DOCUMENTATION & HANDOVER
☐ | 6.1 | Warranty cards collected and provided | Not Started
☐ | 6.2 | Operation instructions given to client | Not Started
☐ | 6.3 | Maintenance tips provided | Not Started
☐ | 6.4 | Emergency shutoff locations explained | Not Started
☐ | 6.5 | Before/after photos compiled | Not Started
☐ | 6.6 | Final invoice prepared | Not Started
MATERIALS USED (for billing reference)
Item | Qty | Description | Brand | Unit Price
CPVC Pipe 1/2" | 15m | Hot & cold water supply | Astral | ₹65/m
PVC Pipe 3" | 8m | Drainage | Prince | ₹120/m
Ball Valve 1/2" | 4 nos | Isolation valves | Zoloto | ₹180 each
Flexible Hose | 3 nos | Fixture connections | Jaquar | ₹350 each
P-Trap | 2 nos | Basin & shower | Hindware | ₹220 each
NOTES & OBSERVATIONS
Client requested additional grab bar near toilet - to be installed after tiles. Waterproofing warranty: 10 years.
SIGN-OFF & APPROVAL
Lead Technician: | Sunil Kumar | Signature: ____________________ | Date: | ____________________
Client Approval: | Mr. Rajesh Sharma | Signature: ____________________ | Date: | ____________________
© 2026 [Company Name] ¦ All checklists comply with Indian Plumbing Standards IS 12183 ¦ Form: BR-CHK-001 v1.0

## 6-Commercial
[LOGO] |  | COMMERCIAL PLUMBING CHECKLIST
[Company Name] ¦ GSTIN: [Your GSTIN] ¦ License: [License No.]
Doc No: | CP-001 | Revision: | 1 | Page 1 of 1
PROJECT & SITE INFORMATION
Project Name:
Client/Owner:
Site Address:
Date: |  | Project Manager:
Building Type: |  | Total Floors:
Contractor: |  | Architect:
Project Value: |  | Contract No:
Permit No: |  | PWD Approval:
☐ | # | TASK DESCRIPTION | STATUS | NOTES / REMARKS
1. PROJECT PLANNING & PERMITS
☐ | 1.1 | Building plans reviewed with architect/engineer | Not Started
☐ | 1.2 | Plumbing drawings approved by PWD/local authority | Not Started
☐ | 1.3 | Fire NOC obtained for sprinkler/hydrant system | Not Started
☐ | 1.4 | Environmental clearance for STP/ETP (if applicable) | Not Started
☐ | 1.5 | Water connection approval from municipal corporation | Not Started
☐ | 1.6 | Sewer connection permit obtained | Not Started
☐ | 1.7 | Rainwater harvesting plan approved (NBC compliance) | Not Started
☐ | 1.8 | Material submittals approved by consultant | Not Started
☐ | 1.9 | Shop drawings reviewed and approved | Not Started
2. WATER SUPPLY SYSTEM
☐ | 2.1 | Underground/overhead tank capacity adequate (NBC norms) | Not Started
☐ | 2.2 | Tank waterproofing and lining completed | Not Started
☐ | 2.3 | Float valves and level controllers installed | Not Started
☐ | 2.4 | Booster pump system installed (multi-stage/VFD) | Not Started
☐ | 2.5 | Pump control panel commissioned | Not Started
☐ | 2.6 | Pressure vessels/hydropneumatic system operational | Not Started
☐ | 2.7 | Main riser pipes installed with proper supports | Not Started
☐ | 2.8 | Floor distribution lines completed | Not Started
☐ | 2.9 | Isolation valves at each floor riser | Not Started
☐ | 2.1 | PRV (Pressure Reducing Valves) installed where required | Not Started
☐ | 2.11 | Water meter installation at main entry and sub-meters | Not Started
☐ | 2.12 | Hot water system/solar water heater installed | Not Started
☐ | 2.13 | Water treatment plant operational (if applicable) | Not Started
☐ | 2.14 | Drinking water stations/RO points connected | Not Started
3. DRAINAGE & SEWAGE SYSTEM
☐ | 3.1 | Soil pipe stacks properly sized and vented | Not Started
☐ | 3.2 | Waste pipe system connected with proper traps | Not Started
☐ | 3.3 | Floor drains installed with proper grating | Not Started
☐ | 3.4 | Inspection chambers at correct intervals | Not Started
☐ | 3.5 | Manholes constructed per IS specifications | Not Started
☐ | 3.6 | Grease trap installed (kitchen/restaurant areas) | Not Started
☐ | 3.7 | Oil interceptor installed (parking/workshop areas) | Not Started
☐ | 3.8 | Sewage Treatment Plant (STP) installed and tested | Not Started
☐ | 3.9 | STP treated water reuse system connected | Not Started
☐ | 3.1 | Sump pit and ejector pumps for basement drainage | Not Started
☐ | 3.11 | Non-return valves on basement drainage | Not Started
☐ | 3.12 | Vent pipes extend above roof level | Not Started
☐ | 3.13 | Rainwater drainage system separate from sewage | Not Started
☐ | 3.14 | Stormwater detention tank (if required) | Not Started
☐ | 3.15 | Connection to municipal sewer verified | Not Started
4. FIRE PROTECTION SYSTEM (if in scope)
☐ | 4.1 | Fire water storage tank capacity per NBC | Not Started
☐ | 4.2 | Fire pump (main + jockey + diesel) installed | Not Started
☐ | 4.3 | Fire pump test run completed successfully | Not Started
☐ | 4.4 | Sprinkler system installed and tested | Not Started
☐ | 4.5 | Fire hydrant system operational | Not Started
☐ | 4.6 | Hose reels installed at required locations | Not Started
☐ | 4.7 | Fire department connection (FDC) installed | Not Started
☐ | 4.8 | Alarm valves and flow switches connected | Not Started
☐ | 4.9 | Pressure gauges installed at key points | Not Started
☐ | 4.1 | Fire pump room signage and access | Not Started
☐ | 4.11 | Fire NOC inspection passed | Not Started
☐ | 4.12 | Annual maintenance contract in place | Not Started
5. BACKFLOW PREVENTION & CROSS-CONNECTION
☐ | 5.1 | Backflow preventer at water main entry | Not Started
☐ | 5.2 | RPZ (Reduced Pressure Zone) valves where required | Not Started
☐ | 5.3 | Air gaps maintained at tank inlets | Not Started
☐ | 5.4 | Vacuum breakers on hose bibs | Not Started
☐ | 5.5 | No direct connection between potable and non-potable | Not Started
☐ | 5.6 | Dual check valves at fixture connections | Not Started
☐ | 5.7 | Annual testing schedule established | Not Started
☐ | 5.8 | Backflow test report submitted to authority | Not Started
6. SPECIALTY SYSTEMS (as applicable)
☐ | 6.1 | Medical gas piping (hospitals) - certified | Not Started
☐ | 6.2 | Laboratory drainage (acid-resistant piping) | Not Started
☐ | 6.3 | Commercial kitchen plumbing complete | Not Started
☐ | 6.4 | Laundry room connections | Not Started
☐ | 6.5 | Swimming pool plumbing and filtration | Not Started
☐ | 6.6 | Fountain/water feature piping | Not Started
☐ | 6.7 | Irrigation system for landscaping | Not Started
☐ | 6.8 | Compressed air piping (if applicable) | Not Started
☐ | 6.9 | Vacuum system piping (if applicable) | Not Started
☐ | 6.1 | Central hot water system/boiler connections | Not Started
☐ | 6.11 | Cooling tower makeup water connection | Not Started
7. TESTING & COMMISSIONING
☐ | 7.1 | Hydrostatic pressure test on all risers | Not Started
☐ | 7.2 | Drainage flow test completed | Not Started
☐ | 7.3 | Fire pump performance test witnessed | Not Started
☐ | 7.4 | Booster pump performance verified | Not Started
☐ | 7.5 | STP efficiency test results acceptable | Not Started
☐ | 7.6 | Water quality test passed | Not Started
☐ | 7.7 | Flush and disinfection of water lines | Not Started
☐ | 7.8 | All valves tagged and labeled | Not Started
☐ | 7.9 | As-built drawings submitted | Not Started
☐ | 7.1 | O&M manuals provided | Not Started
☐ | 7.11 | Training provided to maintenance staff | Not Started
8. COMPLIANCE & HANDOVER
☐ | 8.1 | NBC 2016 compliance certificate | Not Started
☐ | 8.2 | PWD final inspection passed | Not Started
☐ | 8.3 | Fire department final approval | Not Started
☐ | 8.4 | IGBC/GRIHA points documentation (green building) | Not Started
☐ | 8.5 | Warranty documents for all equipment | Not Started
☐ | 8.6 | Spare parts inventory handed over | Not Started
☐ | 8.7 | Emergency contact list provided | Not Started
☐ | 8.8 | Defect liability period terms agreed | Not Started
NOTES & OBSERVATIONS
SIGN-OFF & APPROVAL
Project Manager: | Name: | ________________ | Signature: | ________________
Contractor: | Name: | ________________ | Signature: | ________________
Consultant/Engineer: | Name: | ________________ | Signature: | ________________
Client Representative: | Name: | ________________ | Signature: | ________________
© [Company Name] ¦ Complies with NBC 2016, IS 2065, IS 2470, IS 1172 ¦ Form: CP-CHK-001

## 7-Service Call
[LOGO] |  | SERVICE CALL / REPAIR CHECKLIST
[Company Name] ¦ GSTIN: [Your GSTIN] ¦ License: [License No.] ¦ 24/7 Helpline: [Phone]
Service Ticket #: | SC-______ | Date: |  | Time In: ______
CUSTOMER & SERVICE INFORMATION
Customer Name: |  | Phone:
Service Address:
Landmark: |  | City/Pin:
Technician Assigned: |  | Vehicle No:
SERVICE DETAILS
Call Type: |  | Priority:
Problem Reported:
Equipment/Area: |  | Location in Property:
Previous Service: |  | Reference Ticket:
☐ | # | TASK DESCRIPTION | STATUS | NOTES / REMARKS
1. INITIAL ASSESSMENT & DIAGNOSIS
☐ | 1.1 | Customer briefed on arrival, problem confirmed | Not Started
☐ | 1.2 | Area inspected for safety hazards | Not Started
☐ | 1.3 | Water supply isolated (if emergency) | Not Started
☐ | 1.4 | Electrical supply isolated (if applicable) | Not Started
☐ | 1.5 | Problem visually diagnosed | Not Started
☐ | 1.6 | Root cause identified | Not Started
☐ | 1.7 | Repair options explained to customer | Not Started
☐ | 1.8 | Cost estimate provided and approved | Not Started
2. LEAK REPAIRS
☐ | 2.1 | Source of leak identified | Not Started
☐ | 2.2 | Shut-off valve closed upstream | Not Started
☐ | 2.3 | Damaged pipe/fitting removed | Not Started
☐ | 2.4 | New pipe/fitting installed | Not Started
☐ | 2.5 | Joints sealed properly (tape/compound) | Not Started
☐ | 2.6 | Water restored and leak test performed | Not Started
☐ | 2.7 | No secondary leaks detected | Not Started
☐ | 2.8 | Area dried and cleaned | Not Started
☐ | 2.9 | Customer shown repaired area | Not Started
3. DRAIN CLEARING / BLOCKAGE
☐ | 3.1 | Blockage location determined | Not Started
☐ | 3.2 | Plunger/hand auger attempted | Not Started
☐ | 3.3 | Drain snake/machine used (if needed) | Not Started
☐ | 3.4 | P-trap removed and cleaned (if needed) | Not Started
☐ | 3.5 | Obstruction removed and identified | Not Started
☐ | 3.6 | Drain flushed with water | Not Started
☐ | 3.7 | Flow rate normal after clearing | Not Started
☐ | 3.8 | P-trap reinstalled and tested | Not Started
☐ | 3.9 | Customer advised on prevention | Not Started
4. FIXTURE REPAIRS
☐ | 4.1 | Faucet washer/cartridge replaced | Not Started
☐ | 4.2 | Toilet flapper/fill valve replaced | Not Started
☐ | 4.3 | Toilet wax ring replaced | Not Started
☐ | 4.4 | Showerhead descaled/replaced | Not Started
☐ | 4.5 | Aerator cleaned/replaced | Not Started
☐ | 4.6 | Supply line replaced | Not Started
☐ | 4.7 | Angle stop valve replaced | Not Started
☐ | 4.8 | Fixture secured and tightened | Not Started
☐ | 4.9 | Caulking/sealant applied | Not Started
☐ | 4.1 | Fixture operation tested | Not Started
5. WATER HEATER SERVICE
☐ | 5.1 | Error code/symptom recorded | Not Started
☐ | 5.2 | Power/gas supply checked | Not Started
☐ | 5.3 | Thermostat tested and adjusted | Not Started
☐ | 5.4 | Heating element tested/replaced | Not Started
☐ | 5.5 | Anode rod inspected | Not Started
☐ | 5.6 | T&P valve tested | Not Started
☐ | 5.7 | Tank flushed (sediment removal) | Not Started
☐ | 5.8 | Unit restored to operation | Not Started
6. COMPLETION & VERIFICATION
☐ | 6.1 | All repairs tested and verified | Not Started
☐ | 6.2 | Water pressure normal | Not Started
☐ | 6.3 | No leaks at any repair point | Not Started
☐ | 6.4 | Water supply restored | Not Started
☐ | 6.5 | Work area cleaned | Not Started
☐ | 6.6 | Old parts shown to customer (if requested) | Not Started
☐ | 6.7 | Customer demonstrated repair | Not Started
☐ | 6.8 | Follow-up recommendations provided | Not Started
PARTS & MATERIALS USED
Part/Material | Qty | Description | Rate | Amount
|  |  | TOTAL: | 0
SERVICE CHARGES
Time In: |  | Time Out:
Total Hours: |  | Labor Rate: | ₹/hr | Labor Amt:
Parts Total: | 0 | Travel/Visit:
GST (18%): |  |  | GRAND TOTAL:
WARRANTY & RECOMMENDATIONS
Warranty Period: |  | Valid Until:
Recommendations / Follow-up Required:
CUSTOMER FEEDBACK
Service Rating: | ☐ Excellent ☐ Good ☐ Satisfactory ☐ Poor
Comments:
SIGN-OFF & PAYMENT
Technician Name: |  | Signature:
Customer Name: |  | Signature:
Payment Mode: |  | Amount Received:
Payment Status: |  | Balance Due:
© [Company Name] ¦ 24/7 Emergency Service ¦ Customer Copy / Office Copy

## 8-Materials Tools
[LOGO] |  | MATERIAL & TOOL CHECKLIST
[Company Name] ¦ GSTIN: [Your GSTIN] ¦ License: [License No.]
Doc No: | MT-001 | Date: |  | Prepared By:
JOB INFORMATION
Job/Project Name:
Job Type: |  | Site Address:
Estimated Duration: |  | Start Date:
Lead Technician: |  | Helper(s):
Vehicle/Truck No: |  | Warehouse:
☐ | QTY | ITEM DESCRIPTION | CHECKED | NOTES / LOCATION
1. PIPES & TUBING
☐ |  | CPVC Pipe - 1/2" (15mm) | ☐
☐ |  | CPVC Pipe - 3/4" (20mm) | ☐
☐ |  | CPVC Pipe - 1" (25mm) | ☐
☐ |  | PVC Pipe - 2" (50mm) Drainage | ☐
☐ |  | PVC Pipe - 3" (75mm) Drainage | ☐
☐ |  | PVC Pipe - 4" (100mm) Soil | ☐
☐ |  | GI Pipe (as specified) | ☐
☐ |  | Flexible Connectors - Various sizes | ☐
☐ |  | PPR Pipe (if specified) | ☐
☐ |  | Copper Pipe (if specified) | ☐
☐ |  | PE Pipe for underground | ☐
☐ |  | Corrugated drain hose | ☐
☐ |  | Insulation tubes/foam | ☐
2. FITTINGS - WATER SUPPLY
☐ |  | Elbows - 90° (various sizes) | ☐
☐ |  | Elbows - 45° (various sizes) | ☐
☐ |  | Tees (various sizes) | ☐
☐ |  | Reducers / Bushings | ☐
☐ |  | Couplings / Unions | ☐
☐ |  | End Caps / Plugs | ☐
☐ |  | Male/Female Adapters (MTA/FTA) | ☐
☐ |  | Ball Valves - 1/2" & 3/4" | ☐
☐ |  | Gate Valves (as required) | ☐
☐ |  | Check Valves / Non-return | ☐
☐ |  | Angle Stop Valves | ☐
☐ |  | Pressure Reducing Valve | ☐
☐ |  | Clamps & Pipe Supports | ☐
☐ |  | Pipe Hangers / Brackets | ☐
☐ |  | Wall Sleeves / Escutcheons | ☐
☐ |  | Dielectric Unions | ☐
3. FITTINGS - DRAINAGE
☐ |  | P-Traps (32mm, 40mm) | ☐
☐ |  | S-Traps (as required) | ☐
☐ |  | Bottle Traps | ☐
☐ |  | Floor Drains / Gratings | ☐
☐ |  | Cleanout Plugs / Access | ☐
☐ |  | Y-Branches / Wyes | ☐
☐ |  | Sanitary Tees | ☐
☐ |  | Long Sweep Elbows | ☐
☐ |  | Reducing Couplings | ☐
☐ |  | Closet Flanges | ☐
☐ |  | Wax Rings / Gaskets | ☐
☐ |  | Vent Caps / Cowls | ☐
4. FIXTURES & ACCESSORIES (if supplying)
☐ |  | Toilet / WC (model: ________) | ☐
☐ |  | Wash Basin (model: ________) | ☐
☐ |  | Kitchen Sink (model: ________) | ☐
☐ |  | Faucets / Mixers (qty: ____) | ☐
☐ |  | Shower Set / Rain Shower | ☐
☐ |  | Toilet Seat Cover | ☐
☐ |  | Flush Tank / Cistern | ☐
☐ |  | Health Faucet / Jet Spray | ☐
☐ |  | Towel Rail / Accessories | ☐
☐ |  | Soap Dish / Holder | ☐
☐ |  | Mirror / Cabinet | ☐
☐ |  | Grab Bars (if required) | ☐
☐ |  | Shower Enclosure / Door | ☐
5. CONSUMABLES & SEALANTS
☐ |  | CPVC Solvent Cement (yellow) | ☐
☐ |  | PVC Solvent Cement (grey) | ☐
☐ |  | PTFE / Teflon Tape (rolls) | ☐
☐ |  | Thread Sealant / Paste | ☐
☐ |  | Silicone Sealant (clear/white) | ☐
☐ |  | Plumber's Putty | ☐
☐ |  | Pipe Dope / Joint Compound | ☐
☐ |  | Epoxy Putty (emergency repairs) | ☐
☐ |  | Cleaning Solvent / Primer | ☐
☐ |  | Sandpaper / Emery Cloth | ☐
☐ |  | Rags / Cleaning Cloths | ☐
☐ |  | Masking Tape / Duct Tape | ☐
6. HAND TOOLS
☐ |  | Pipe Wrench Set (10", 14", 18") | ☐
☐ |  | Adjustable Wrench Set | ☐
☐ |  | Basin Wrench | ☐
☐ |  | Strap Wrench | ☐
☐ |  | Pipe Cutter (CPVC/PVC) | ☐
☐ |  | Tubing Cutter (copper) | ☐
☐ |  | Hacksaw with extra blades | ☐
☐ |  | PVC Pipe Cutter / Shears | ☐
☐ |  | Deburring Tool / Reamer | ☐
☐ |  | Screwdriver Set (flat & Phillips) | ☐
☐ |  | Pliers Set (needle nose, slip joint) | ☐
☐ |  | Channel Lock Pliers | ☐
☐ |  | Hammer (ball peen) | ☐
☐ |  | Chisel Set | ☐
☐ |  | Tape Measure (5m, 8m) | ☐
☐ |  | Spirit Level (small & large) | ☐
☐ |  | Pencil / Marker | ☐
☐ |  | Utility Knife / Cutter | ☐
☐ |  | Flashlight / Headlamp | ☐
7. POWER TOOLS & EQUIPMENT
☐ |  | Drill Machine with bits | ☐
☐ |  | Hammer Drill / Rotary Hammer | ☐
☐ |  | Angle Grinder with discs | ☐
☐ |  | Reciprocating Saw | ☐
☐ |  | Drain Snake / Auger Machine | ☐
☐ |  | Pipe Threader (manual/electric) | ☐
☐ |  | Soldering Kit (copper) | ☐
☐ |  | PPR Welding Machine | ☐
☐ |  | Inspection Camera | ☐
☐ |  | Extension Cord / Power Strip | ☐
8. TESTING & MEASURING EQUIPMENT
☐ |  | Pressure Test Gauge | ☐
☐ |  | Pressure Test Pump (manual) | ☐
☐ |  | Manometer | ☐
☐ |  | Water Pressure Gauge | ☐
☐ |  | Thermometer (water temp) | ☐
☐ |  | Leak Detector Spray | ☐
☐ |  | Gas Leak Detector (if gas work) | ☐
☐ |  | Multimeter (for electric WH) | ☐
9. SAFETY EQUIPMENT (MANDATORY)
☐ |  | Safety Glasses / Goggles | ☐
☐ |  | Work Gloves (leather/rubber) | ☐
☐ |  | Steel Toe Boots | ☐
☐ |  | Hard Hat (if required) | ☐
☐ |  | Dust Mask / Respirator | ☐
☐ |  | Ear Protection | ☐
☐ |  | Knee Pads | ☐
☐ |  | First Aid Kit | ☐
☐ |  | Fire Extinguisher (vehicle) | ☐
☐ |  | Warning Signs / Barriers | ☐
VEHICLE / TRANSPORT CHECK
☐ |  | Vehicle fuel level adequate | ☐
☐ |  | Tool boxes secured | ☐
☐ |  | Materials loaded and secured | ☐
☐ |  | GPS / Navigation ready | ☐
VERIFICATION & SIGN-OFF
Prepared By: |  | Signature:
Checked By: |  | Signature:
Date/Time: |  | Departure Time:
© [Company Name] ¦ Always verify inventory before leaving warehouse ¦ Form: MT-CHK-001

## 9-Safety Compliance
[LOGO] |  | SAFETY & COMPLIANCE CHECKLIST
[Company Name] ¦ GSTIN: [Your GSTIN] ¦ License: [License No.] ¦ Emergency: [Phone]
Doc No: | SC-001 | Date: |  | Site Supervisor:
JOB & SITE INFORMATION
Job/Project Name:
Site Address:
Date: |  | Time:
Technician(s): |  | Total Workers:
Work Type: |  | Risk Level:
Emergency Contact: |  | Nearest Hospital:
☐ | # | SAFETY REQUIREMENT | STATUS | REMARKS / ACTION
1. PERSONAL PROTECTIVE EQUIPMENT (PPE) - MANDATORY
☐ | 1.1 | Safety glasses/goggles worn by all workers
☐ | 1.2 | Work gloves appropriate for task (leather/rubber/chemical)
☐ | 1.3 | Steel-toe safety boots worn
☐ | 1.4 | Hard hat worn (construction sites)
☐ | 1.5 | High-visibility vest worn (roadwork/public areas)
☐ | 1.6 | Hearing protection used (power tools/noisy environment)
☐ | 1.7 | Dust mask/respirator used (drilling/cutting/sanding)
☐ | 1.8 | Knee pads used for extended kneeling work
☐ | 1.9 | Face shield worn (grinding/cutting operations)
☐ | 1.1 | Chemical-resistant apron (when handling solvents)
☐ | 1.11 | Fall protection harness (working at heights >2m)
☐ | 1.12 | All PPE in good condition and properly fitted
2. SITE SAFETY ASSESSMENT
☐ | 2.1 | Site hazards identified and documented
☐ | 2.2 | Work area cordoned off / barricaded
☐ | 2.3 | Warning signs posted (Wet Floor/Work in Progress/No Entry)
☐ | 2.4 | Adequate lighting in work area
☐ | 2.5 | Ventilation adequate (especially for solvent/gas work)
☐ | 2.6 | Clear access/egress routes maintained
☐ | 2.7 | Emergency exits identified and unobstructed
☐ | 2.8 | Slip/trip hazards removed or marked
☐ | 2.9 | Overhead hazards identified and addressed
☐ | 2.1 | Underground utilities located (before excavation)
☐ | 2.11 | Weather conditions assessed (outdoor work)
☐ | 2.12 | First aid kit accessible and stocked
☐ | 2.13 | Fire extinguisher accessible and charged
3. TOOL & EQUIPMENT SAFETY
☐ | 3.1 | All power tools inspected before use
☐ | 3.2 | Power cords in good condition (no fraying/damage)
☐ | 3.3 | GFCI/ELCB protection for power tools
☐ | 3.4 | Guards in place on all cutting/grinding tools
☐ | 3.5 | Hand tools in good condition (no mushroomed heads)
☐ | 3.6 | Correct tool used for the job
☐ | 3.7 | Ladders inspected and properly positioned
☐ | 3.8 | Scaffolding properly erected (if used)
☐ | 3.9 | Lifting equipment inspected (if used)
☐ | 3.1 | Pressure testing equipment calibrated
☐ | 3.11 | Gas leak detector tested and functional
☐ | 3.12 | Tools stored safely when not in use
4. ELECTRICAL SAFETY
☐ | 4.1 | Electrical supply isolated before plumbing work
☐ | 4.2 | Lockout/Tagout (LOTO) procedure followed
☐ | 4.3 | Location of electrical panels identified
☐ | 4.4 | No water near live electrical connections
☐ | 4.5 | Metal pipes properly grounded/bonded
☐ | 4.6 | ELCB/RCCB tested before water heater work
☐ | 4.7 | Wet hands never touch electrical equipment
☐ | 4.8 | Extension cords not overloaded
☐ | 4.9 | Temporary lighting properly installed
☐ | 4.1 | Electrical work done by qualified electrician only
5. WATER & GAS ISOLATION
☐ | 5.1 | Main water supply shut-off valve location known
☐ | 5.2 | Water supply isolated before work begins
☐ | 5.3 | System depressurized before opening
☐ | 5.4 | Hot water system cooled before work
☐ | 5.5 | Gas supply shut off (water heater work)
☐ | 5.6 | Gas valve tagged/locked out
☐ | 5.7 | Gas leak test performed before restoring
☐ | 5.8 | CO detector present for gas work
☐ | 5.9 | No open flames near gas lines
☐ | 5.1 | Ventilation provided for gas work
6. CONFINED SPACE ENTRY (if applicable)
☐ | 6.1 | Confined space permit obtained
☐ | 6.2 | Atmosphere tested (O2, combustibles, toxic gases)
☐ | 6.3 | Continuous air monitoring in place
☐ | 6.4 | Forced ventilation provided
☐ | 6.5 | Entry/exit procedures established
☐ | 6.6 | Attendant stationed outside space
☐ | 6.7 | Rescue equipment readily available
☐ | 6.8 | Communication system established
☐ | 6.9 | Emergency rescue plan in place
☐ | 6.1 | All entrants trained on hazards
7. CHEMICAL & SOLVENT SAFETY
☐ | 7.1 | Material Safety Data Sheets (MSDS) available
☐ | 7.2 | Chemicals stored in original containers
☐ | 7.3 | Solvent containers closed when not in use
☐ | 7.4 | Adequate ventilation when using solvents
☐ | 7.5 | No smoking near flammable materials
☐ | 7.6 | Fire extinguisher nearby for solvent work
☐ | 7.7 | Chemical-resistant gloves worn
☐ | 7.8 | Eye wash station accessible
☐ | 7.9 | Spill containment materials available
☐ | 7.1 | Waste chemicals disposed properly
8. REGULATORY COMPLIANCE (INDIA)
☐ | 8.1 | Valid plumbing contractor license displayed
☐ | 8.2 | Workers covered under ESI/PF (if applicable)
☐ | 8.3 | Work complies with IS 2065 (Pipes)
☐ | 8.4 | Work complies with IS 2470 (Drainage)
☐ | 8.5 | Work complies with IS 1172 (Water Supply)
☐ | 8.6 | Work complies with NBC 2016 (Plumbing section)
☐ | 8.7 | Local municipal building codes followed
☐ | 8.8 | PWD approval obtained (if required)
☐ | 8.9 | Environmental regulations followed (STP/discharge)
☐ | 8.1 | Fire NOC requirements met (commercial)
☐ | 8.11 | BIS standards for materials verified
☐ | 8.12 | Insurance coverage valid and adequate
9. EMERGENCY PROCEDURES
☐ | 9.1 | Emergency contact numbers posted
☐ | 9.2 | Location of nearest hospital known
☐ | 9.3 | First aid trained person on site
☐ | 9.4 | Fire evacuation route identified
☐ | 9.5 | Water main shut-off procedure known
☐ | 9.6 | Gas emergency procedure established
☐ | 9.7 | Electrical emergency procedure known
☐ | 9.8 | Incident reporting procedure understood
☐ | 9.9 | Emergency assembly point identified
INCIDENT / NEAR-MISS RECORD
Date/Time: |  | Type:
Description:
Action Taken:
Reported To: |  | Date Reported:
DAILY SAFETY BRIEFING / TOOLBOX TALK
Topic Covered:
Conducted By: |  | Time:
Attendees:
SIGN-OFF & CERTIFICATION
Site Supervisor: |  | Signature:
Lead Technician: |  | Signature:
Safety Officer (if applicable): |  | Signature:
Date: |  | Time:
⚠️ SAFETY FIRST ¦ © [Company Name] ¦ Non-compliance with safety rules may result in disciplinary action ¦ Form: SC-CHK-001