## Dashboard
[ YOUR COMPANY LOGO ]
YOUR COMPANY NAME
Interior Design & Fit-Out Specialists
PROFESSIONAL INTERIOR DESIGN BOQ
Bill of Quantities – Residential & Commercial Projects
|  | PROJECT TYPE: | Commercial
PROJECT INFORMATION
| Project Name: |  |  | BOQ Number: | BOQ-2026-001
| Client Name: |  |  | Revision No.: | Rev. 0
| Client Address: |  |  | GSTIN:
Contact Person:
| Project Location: |  |  | Phone:
| Project Area (Sq.ft.): | 14,000 Sq.ft. |  | Email:
| BOQ Date: | 2026-04-10 |  | Validity: | 30 Days
QUICK FINANCIAL SUMMARY
Total BOQ Value (Before Tax):
CGST (9%):
SGST (9%):
Total GST (18%):
Grand Total (Incl. GST):
| Amount in Words: | Rupees Two Crore Eighty Three Lakh Eighty One Thousand Three Hundred Ninety Two Only
QUICK NAVIGATION
→ Main BOQ Sheet
Quick Navigation
Main BOQ | → Rate Analysis
Takeoff Sheet | → Summary Dashboard
Rate Analysis | → Instructions
Summary
Residential BOQ
Terms & Conditions | Prepared By: |  |  | Checked By:
Instructions | Date: |  |  | Date:
Data Lists
Client Approval:
Date:

## Main_BOQ
BILL OF QUANTITIES - INTERIOR DESIGN & FIT-OUT WORKS
Project: 14,000 Sq.ft. Corporate Office Interior - Sample BOQ (Commercial Mode)
BOQ Date: 10/01/2026 |  |  |  |  | Total Area: 14,000 Sq.ft.
S.No
SECTION A - DEMOLITION & CIVIL WORKS
1 | A | Demolition of existing false ceiling | Complete removal | Sqm |  | 1300 | 85 | 110500 | 0% | 110500
2
3 | A | Brick masonry for partition walls | 115mm thick | Sqm |  | 280 | 1850 | 518000 | 0% | 518000
4 | A | Cement plastering on walls | 12mm thick 1:4 | Sqm |  | 560 | 95 | 53200 | 0% | 53200
5 | A | Waterproofing in pantry/toilet areas | Fosroc/Dr.Fixit | Sqm |  | 120 | 380 | 45600 | 0% | 45600
Subtotal - Section A
SECTION B - FLOORING & TILING WORKS
1 | B | Vitrified tile flooring 800x800mm | Kajaria/Somany Double Charge | Sqm |  | 850 | 1450 | 1232500 | 0% | 1232500
2
3 | B | Granite flooring in lobby | Premium Black Galaxy | Sqm |  | 80 | 3800 | 304000 | 0% | 304000
4 | B | Ceramic tile in toilets | Johnson/RAK | Sqm |  | 85 | 1100 | 93500 | 0% | 93500
5 | B | Wall dado tiles in toilets | 300x600mm glazed | Sqm |  | 120 | 980 | 117600 | 0% | 117600
6
Subtotal - Section B | [7 empty] | 1747600 |  | 1747600
SECTION C - WALL FINISHES & CLADDING
1
2 | C | Glass partition with aluminum frame | 12mm toughened | Sqm |  | 180 | 4500 | 810000 | 0% | 810000
3 | C | ACP cladding on feature walls | Aludecor/Alstrong | Sqm |  | 95 | 2800 | 266000 | 0% | 266000
4 | C | Acoustic wall panels in conference | Ecophon/Armstrong | Sqm |  | 65 | 3200 | 208000 | 0% | 208000
5
Subtotal - Section C | [7 empty] | 1284000 |  | 1284000
SECTION D - FALSE CEILING & POP WORKS
1 | [8 empty] | 0% | 0
2 | D | Gypsum board plain ceiling | 12.5mm Gyproc/USG | Sqm |  | 320 | 185 | 59200 | 0% | 59200
3 | D | Gypsum board with cove lighting | Designer profile | Sqm |  | 180 | 285 | 51300 | 0% | 51300
4 | D | Metal ceiling in lobby | Aluminum strip | Sqm |  | 45 | 680 | 30600 | 0% | 30600
5 | D | POP punning on ceiling | 3mm thick | Sqm |  | 250 | 65 | 16250 | 0% | 16250
6 | D | Acoustic ceiling in boardroom | Rockfon/Armstrong | Sqm |  | 55 | 420 | 23100 | 0% | 23100
Subtotal - Section D | [7 empty] | 180450 |  | 180450
SECTION E - CARPENTRY, WOODWORK & CABINETRY
1 | E | Reception desk with storage | Veneer finish | Nos |  | 1 | 185000 | 185000 | 0% | 185000
2 | E | MD cabin workstation | Executive grade | Nos |  | 1 | 225000 | 225000 | 0% | 225000
3 | E | Manager cabin desks | L-shaped | Nos |  | 8 | 85000 | 680000 | 0% | 680000
4 | E | Workstation modules 4-seater | Modular system | Nos |  | 35 | 48000 | 1680000 | 0% | 1680000
5 | E | Conference table 16-seater | Solid surface top | Nos |  | 1 | 320000 | 320000 | 0% | 320000
6 | E | Conference table 8-seater | Veneer top | Nos |  | 2 | 145000 | 290000 | 0% | 290000
7 | E | Storage units/pedestals | 3-drawer mobile | Nos |  | 150 | 8500 | 1275000 | 0% | 1275000
8 | E | Filing cabinets - vertical | 4-drawer steel | Nos |  | 25 | 12500 | 312500 | 0% | 312500
9 | E | Pantry cabinetry complete | Laminate finish | Rft |  | 45 | 3200 | 144000 | 0% | 144000
10 | E | Server room racks | 42U standard | Nos |  | 4 | 45000 | 180000 | 0% | 180000
Subtotal - Section E | [7 empty] | 5291500 |  | 5291500
SECTION F - DOORS, WINDOWS & HARDWARE
1 | F | Main entrance glass door | Frameless 12mm | Nos |  | 2 | 65000 | 130000 | 0% | 130000
2 | F | Wooden flush door with frame | 35mm BWR ply | Nos |  | 18 | 18500 | 333000 | 0% | 333000
3 | F | Glass door for cabins | 10mm toughened | Nos |  | 12 | 28000 | 336000 | 0% | 336000
4 | F | Fire rated door | 2hr rating | Nos |  | 4 | 48000 | 192000 | 0% | 192000
5 | F | Aluminum sliding window | Powder coated | Sqm |  | 35 | 1850 | 64750 | 0% | 64750
6 | F | Door hardware - premium | Dorma/Hafele | Set |  | 36 | 8500 | 306000 | 0% | 306000
7 | F | Access control system | Biometric | Nos |  | 6 | 35000 | 210000 | 0% | 210000
Subtotal - Section F | [7 empty] | 1571750 |  | 1571750
SECTION G - ELECTRICAL & LIGHTING WORKS
1 | G | Internal wiring complete | Havells/Polycab FR | LS |  | 1 | 850000 | 850000 | 0% | 850000
2 | G | DB panel with MCBs | Schneider/Legrand | Nos |  | 8 | 45000 | 360000 | 0% | 360000
3 | G | LED panel lights 2x2 | 36W Philips/Wipro | Nos |  | 280 | 2800 | 784000 | 0% | 784000
4 | G | LED downlights 12W | Philips/Syska | Nos |  | 120 | 1200 | 144000 | 0% | 144000
5 | G | Linear LED lights | Profile mounted | Rmt |  | 180 | 1850 | 333000 | 0% | 333000
6 | G | Decorative pendant lights | Designer | Nos |  | 8 | 25000 | 200000 | 0% | 200000
7 | G | Emergency lights | Exit signage | Nos |  | 25 | 3500 | 87500 | 0% | 87500
8 | G | UPS system 20KVA | APC/Emerson | Nos |  | 2 | 285000 | 570000 | 0% | 570000
9 | G | Electrical points - power | 15A sockets | Nos |  | 180 | 1100 | 198000 | 0% | 198000
10 | G | Data points - CAT6A | Complete with patch | Nos |  | 200 | 1800 | 360000 | 0% | 360000
11 | G | Floor boxes with modules | 8-module | Nos |  | 35 | 8500 | 297500 | 0% | 297500
Subtotal - Section G | [7 empty] | 4184000 |  | 4184000
SECTION H - PLUMBING & SANITARY WORKS
1 | H | CPVC piping for water supply | Astral/Supreme | LS |  | 1 | 185000 | 185000 | 0% | 185000
2 | H | Drainage piping SWR | 110mm/75mm | LS |  | 1 | 125000 | 125000 | 0% | 125000
3 | H | WC - wall hung | Kohler/Duravit | Nos |  | 8 | 32000 | 256000 | 0% | 256000
4 | H | Wash basin with pedestal | Hindware/Parryware | Nos |  | 10 | 8500 | 85000 | 0% | 85000
5 | H | Urinals with sensor | Hindware | Nos |  | 4 | 18000 | 72000 | 0% | 72000
6 | H | CP fittings complete | Jaquar/Grohe | Set |  | 22 | 12000 | 264000 | 0% | 264000
7 | H | Water heater 25L | Racold/AO Smith | Nos |  | 4 | 14000 | 56000 | 0% | 56000
8 | H | Pantry sink SS | Franke | Nos |  | 2 | 18000 | 36000 | 0% | 36000
Subtotal - Section H | [7 empty] | 1079000 |  | 1079000
SECTION I - PAINTING & POLISHING
1 | I | Wall painting - Asian Royale Luxury | 2 coats on putty | Sqm |  | 2800 | 48 | 134400 | 0% | 134400
2 | I | Ceiling painting - Asian Tractor | 2 coats | Sqm |  | 1300 | 32 | 41600 | 0% | 41600
3 | I | Wood polish - Melamine matt | NC/PU | Sqm |  | 450 | 125 | 56250 | 0% | 56250
4 | I | Metal painting - enamel | Primer + 2 coats | Sqm |  | 180 | 85 | 15300 | 0% | 15300
5 | I | Texture paint on feature walls | Dulux/Asian | Sqm |  | 95 | 185 | 17575 | 0% | 17575
Subtotal - Section I | [7 empty] | 265125 |  | 265125
SECTION J - GLASS WORKS, MIRRORS & GLAZING
1 | J | Glass partition 12mm clear | Toughened | Sqm |  | 85 | 3200 | 272000 | 0% | 272000
2 | J | Frosted film on glass | 3M/Oracal | Sqm |  | 120 | 450 | 54000 | 0% | 54000
3 | J | Mirror in toilets | 6mm beveled | Sqm |  | 18 | 1800 | 32400 | 0% | 32400
4 | J | Glass railing with SS | 12mm toughened | Rmt |  | 25 | 8500 | 212500 | 0% | 212500
Subtotal - Section J | [7 empty] | 570900 |  | 570900
SECTION K - FURNISHING & LOOSE FURNITURE
1 | K | Executive chairs | Herman Miller/Steelcase | Nos |  | 10 | 45000 | 450000 | 0% | 450000
2 | K | Manager chairs | Featherlite/Godrej | Nos |  | 8 | 18000 | 144000 | 0% | 144000
3 | K | Staff chairs - ergonomic | Godrej/HOF | Nos |  | 140 | 8500 | 1190000 | 0% | 1190000
4 | K | Visitor chairs | Padded | Nos |  | 35 | 5500 | 192500 | 0% | 192500
5 | K | Sofa set - reception | 3+1+1 leatherette | Set |  | 2 | 125000 | 250000 | 0% | 250000
6 | K | Center table - reception | Glass top | Nos |  | 2 | 35000 | 70000 | 0% | 70000
7 | K | Window blinds - vertical | Fabric | Sqm |  | 180 | 650 | 117000 | 0% | 117000
8 | K | Roller blinds - blackout | For conference | Sqm |  | 45 | 950 | 42750 | 0% | 42750
9 | K | Carpet - premium | Conference areas | Sqm |  | 120 | 1800 | 216000 | 0% | 216000
Subtotal - Section K | [7 empty] | 2672250 |  | 2672250
SECTION L - MISCELLANEOUS & SPECIAL ITEMS
1 | L | Signage - main entrance | Acrylic LED | Nos |  | 1 | 85000 | 85000 | 0% | 85000
2 | L | Signage - room names | Acrylic | Nos |  | 25 | 2500 | 62500 | 0% | 62500
3 | L | Fire extinguishers | ABC type 4kg | Nos |  | 15 | 2800 | 42000 | 0% | 42000
4 | L | First aid stations | Wall mounted | Nos |  | 4 | 5500 | 22000 | 0% | 22000
5 | L | Notice boards | Pin-up type | Nos |  | 8 | 4500 | 36000 | 0% | 36000
6 | L | White boards | Magnetic | Nos |  | 6 | 8500 | 51000 | 0% | 51000
7 | L | Indoor plants with planters | Decorative | Nos |  | 20 | 3500 | 70000 | 0% | 70000
Subtotal - Section L | [7 empty] | 368500 |  | 368500
SECTION M - TESTING, CLEANING & HANDOVER
1 | M | Electrical testing & certification | Complete | LS |  | 1 | 45000 | 45000 | 0% | 45000
2 | M | Plumbing pressure testing | Complete | LS |  | 1 | 25000 | 25000 | 0% | 25000
3 | M | Deep cleaning post-work | Professional | Sqm |  | 1300 | 18 | 23400 | 0% | 23400
4 | M | Touch-up & snag rectification | Complete | LS |  | 1 | 75000 | 75000 | 0% | 75000
5 | M | As-built drawings | CAD format | Set |  | 1 | 85000 | 85000 | 0% | 85000
Subtotal - Section M | [7 empty] | 253400 |  | 253400
GRAND SUBTOTAL | [9 empty] | 19468475
Contingency @ 5% | [9 empty] | 973423.75
Site Supervision @ 3% | [9 empty] | 584054.25
TOTAL BEFORE TAX | [9 empty] | 21025953
CGST @ 9% | [9 empty] | 1892335.77
SGST @ 9% | [9 empty] | 1892335.77
GRAND TOTAL (Including GST) | [9 empty] | 24810624.54

## Takeoff_Sheet
ROOM-WISE MEASUREMENT TAKEOFF SHEET
S.No | Room/Area | Item Description | Unit | Length (ft) | Width (ft) | Height (ft) | Nos | Total Qty | Remarks
LIVING ROOM
1 | Living Room | Floor Area | Sqft |  |  |  |  | 0
2 | Living Room | Ceiling Area | Sqft |  |  |  |  | 0
3 | Living Room | Wall Area (Net) | Sqft |  |  |  |  | 0
4 | Living Room | Skirting | Rft |  |  |  |  | 0
MASTER BEDROOM
5 | Master Bedroom | Floor Area | Sqft |  |  |  |  | 0
6 | Master Bedroom | Ceiling Area | Sqft |  |  |  |  | 0
7 | Master Bedroom | Wall Area (Net) | Sqft |  |  |  |  | 0
8 | Master Bedroom | Skirting | Rft |  |  |  |  | 0
BEDROOM 2
9 | Bedroom 2 | Floor Area | Sqft |  |  |  |  | 0
10 | Bedroom 2 | Ceiling Area | Sqft |  |  |  |  | 0
11 | Bedroom 2 | Wall Area (Net) | Sqft |  |  |  |  | 0
12 | Bedroom 2 | Skirting | Rft |  |  |  |  | 0
KITCHEN
13 | Kitchen | Floor Area | Sqft |  |  |  |  | 0
14 | Kitchen | Ceiling Area | Sqft |  |  |  |  | 0
15 | Kitchen | Wall Area (Net) | Sqft |  |  |  |  | 0
16 | Kitchen | Skirting | Rft |  |  |  |  | 0
BATHROOM 1
17 | Bathroom 1 | Floor Area | Sqft |  |  |  |  | 0
18 | Bathroom 1 | Ceiling Area | Sqft |  |  |  |  | 0
19 | Bathroom 1 | Wall Area (Net) | Sqft |  |  |  |  | 0
20 | Bathroom 1 | Skirting | Rft |  |  |  |  | 0
BATHROOM 2
21 | Bathroom 2 | Floor Area | Sqft |  |  |  |  | 0
22 | Bathroom 2 | Ceiling Area | Sqft |  |  |  |  | 0
23 | Bathroom 2 | Wall Area (Net) | Sqft |  |  |  |  | 0
24 | Bathroom 2 | Skirting | Rft |  |  |  |  | 0
BALCONY
25 | Balcony | Floor Area | Sqft |  |  |  |  | 0
26 | Balcony | Ceiling Area | Sqft |  |  |  |  | 0
27 | Balcony | Wall Area (Net) | Sqft |  |  |  |  | 0
28 | Balcony | Skirting | Rft |  |  |  |  | 0
ENTRANCE LOBBY
29 | Entrance Lobby | Floor Area | Sqft |  |  |  |  | 0
30 | Entrance Lobby | Ceiling Area | Sqft |  |  |  |  | 0
31 | Entrance Lobby | Wall Area (Net) | Sqft |  |  |  |  | 0
32 | Entrance Lobby | Skirting | Rft |  |  |  |  | 0

## Rate_Analysis
RATE ANALYSIS - INTERIOR DESIGN WORKS
Note: Rates are indicative for Indian market (2024-2025). Adjust based on location and market conditions.
S.No | Item Description | Unit | Material Cost (₹) | Labour Cost (₹) | Total Rate (₹) | Remarks
1 | Vitrified tile 600x600mm (Double charge) | Sqm | 850 | 350 | 1200 | Incl. adhesive & grouting
2 | Italian marble flooring | Sqm | 2800 | 700 | 3500 | Premium quality
3 | Gypsum board false ceiling | Sqm | 65 | 45 | 110 | 12.5mm thickness
4 | POP false ceiling | Sqm | 75 | 70 | 145 | With cove
5 | Modular kitchen - Base unit | Rft | 2000 | 800 | 2800 | Marine ply
6 | Wall painting - Asian Royale | Sqft | 18 | 14 | 32 | 2 coats
7 | Wood polish - Melamine | Sqft | 55 | 30 | 85 | Matt finish
8 | Electrical point - Light/Fan | Point | 280 | 170 | 450 | Havells wire
9 | CPVC plumbing point | Point | 1200 | 600 | 1800 | Astral brand
10 | Wardrobe with loft | Sqft | 1000 | 450 | 1450 | MDF with laminate

## Summary
CONSTRUCTION COST SUMMARY
Bill of Quantities - Category-wise Summary
| Project: |  |  | Client:
S.No
DIRECT CONSTRUCTION COSTS
| 1 | A. Civil & Masonry Works |  | 0%
| 2 | B. Flooring & Tiling Works | 1747600 | 9.1%
| 3 | C. Wall Finishes & Cladding | 1284000 | 6.686%
| 4 | D. False Ceiling & POP | 180450 | 0.9397%
| 5 | E. Carpentry & Woodwork | 5291500 | 27.56%
| 6 | F. Doors & Hardware | 1571750 | 8.185%
| 7 | G. Electrical & Lighting | 4184000 | 21.79%
| 8 | H. Plumbing & Sanitary | 1079000 | 5.619%
9
| 10 | J. Glass Works & Glazing | 570900 | 2.973%
| 11 | K. Furnishing & Furniture | 2672250 | 13.92%
| 12 | L. Miscellaneous Items | 368500 | 1.919%
| 13 | M. Testing & Handover | 253400 | 1.32%
|  | SUBTOTAL - DIRECT COSTS | 19203350 | 1
FINANCIAL SUMMARY
ADDITIONAL COSTS & ALLOWANCES
|  | Contingency Allowance @ 5% | 960167.5 | 5%
|  | Site Supervision @ 3% | 576100.5 | 3%
|  | Transportation & Logistics | 150000 | 0.7811%
|  | Design & Consultancy Fees | 250000 | 1.302%
|  | SUBTOTAL - ADDITIONAL COSTS | 1936268 | 0.10083
FINANCIAL SUMMARY
| Total BOQ Value (Before Tax) |  |  |  | 18124350
| CGST (9%) |  |  |  | 1631191.5
| SGST (9%) |  |  |  | 1631191.5
| Total GST (18%) |  |  |  | 3262383
| GRAND TOTAL (Incl. GST) |  |  |  | 21386733
Amount in Words (Approximate):
Rupees Two Crore Eighty Three Lakh Eighty One Thousand Three Hundred Ninety Two Only

## Instructions
HOW TO USE THIS BOQ TEMPLATE
OVERVIEW
This Professional Interior Design BOQ Template is designed for the Indian market and includes comprehensive sections for residential and commercial projects.
SHEET DESCRIPTIONS:
1. DASHBOARD (Cover Sheet)
• Enter your company details and logo
• Fill in project information
• View quick financial summary
• Navigate to other sheets using quick links
2. MAIN BOQ
• Enter detailed quantities for each work item
• Input Length, Width, and Height to calculate quantities automatically
• Rates are pre-filled based on current market rates
• Add or remove items as needed
WORKBOOK SHEETS REFERENCE
Sheet Name | Description
Dashboard | Project overview with key metrics and navigation
Main_BOQ | Commercial project bill of quantities
Takeoff_Sheet | Quantity measurements and calculations
Rate_Analysis | Unit rate breakdowns for items
Summary | Cost summary with taxes and totals
Residential_BOQ | Residential project bill of quantities
Terms_Conditions | Contract terms and conditions
Data_Lists | Reference data for dropdowns
Instructions | This guide - how to use the workbook
5. SUMMARY DASHBOARD
• Category-wise cost breakdown
USAGE MODES
Commercial Mode: | Use Main_BOQ for commercial construction projects
Residential Mode: | Use Residential_BOQ for residential construction projects
6. DATA LISTS
• Contains dropdown options and reference data
• Do not modify unless adding new categories
IMPORTANT NOTES:
• All rates are indicative for Indian market (2024-2025)
• GST is calculated at 18% (9% CGST + 9% SGST)
• For inter-state supply, modify to IGST (18%)
• Customize categories and items as per project requirements
• Always verify rates with current market prices
• Blue highlighted cells are INPUT cells
• Gray highlighted cells contain FORMULAS - do not overwrite
CUSTOMIZATION:
• Add your company logo in the Dashboard header
• Update rate analysis for your region
• Add/remove work categories as needed
• Modify GST rates if applicable
For support, contact: [Your Contact Details]

## Data_Lists
Project Types | Units | Work Categories | Rooms | Paint Brands | Tile Brands | Plywood Brands | Hardware Brands | Sanitary Brands | Electrical Brands | Lighting Brands | Quality Grades | Finish Types
Commercial | Sqm | Civil Works | Living Room | Asian Paints | Kajaria | Century Ply | Hettich | Hindware | Havells | Philips | Economy | Matte
Residential | Sqft | Flooring | Master Bedroom | Berger Paints | Somany | Greenply | Hafele | Parryware | Polycab | Wipro | Good | Gloss
| Rmt | Wall Finishes | Bedroom 2 | Nerolac | Johnson | Kitply | Godrej | Jaquar | Finolex | Syska | Better | Satin
| Rft | False Ceiling | Bedroom 3 | Dulux | RAK Ceramics | Archid | Ebco | Kohler | Anchor | Crompton | Best | Semi-Gloss
| Cum | Carpentry | Kitchen | Indigo Paints | Nitco | National | Dorma | Duravit | Legrand | Bajaj | Premium | Textured
| Nos | Doors & Hardware | Bathroom 1 | Shalimar | Orient Bell | Duro | Yale | Grohe | Schneider | Osram | Luxury | Polished
| Set | Electrical | Bathroom 2 | British Paints | AGL | MDF Board | Ozone | Cera | Siemens | Orient |  | Natural
| Point | Plumbing | Balcony |  | Simpolo | BWP Grade | Ipsa | HSIL | ABB | Havells |  | Anti-Skid
| LS | Painting | Entrance Lobby |  | Varmora | MR Grade |  | American Standard | GM |  |  | Rustic
| Kg | Glass Works | Dining Area
|  | Furnishing | Study Room
|  | Miscellaneous | Store Room
Testing & Handover

## Residential_BOQ
BILL OF QUANTITIES - 2 BHK RESIDENTIAL INTERIOR
Sample BOQ for 1,200 Sq.ft. Apartment (Residential Mode)
BOQ Date: | 10/4/2026 |  | Carpet Area: | 1,200 Sq.ft.
S.No | Room/Area | Description of Item | Specification/Brand | Unit | Qty | Rate (₹) | Amount (₹) | Good/Better/Best | Remarks
LIVING & DINING AREA
1 | Living Room | Vitrified tile flooring 600x600mm | Kajaria/Somany | Sqft | 320 | 95 | 30400 | Good
2 | Living Room | Skirting 4" height | Matching tile | Rft | 85 | 45 | 3825 | Good
3 | Living Room | False ceiling - plain gypsum | 12.5mm Gyproc | Sqft | 280 | 85 | 23800 | Good
4 | Living Room | False ceiling - cove with LED | Designer profile | Sqft | 60 | 145 | 8700 | Better
5 | Living Room | Wall putty + painting | Asian Royale | Sqft | 850 | 28 | 23800 | Good
6 | Living Room | TV unit with storage | Laminate finish | Sqft | 65 | 950 | 61750 | Better
7 | Living Room | Shoe rack cum display unit | 18mm MDF | Nos | 1 | 18000 | 18000 | Good
8 | Living Room | Electrical points - light/fan | Havells | Point | 12 | 450 | 5400 | Good
9 | Living Room | Electrical points - power | 15A socket | Point | 8 | 650 | 5200 | Good
LIVING & DINING AREA - SUBTOTAL | [6 empty] | 180875
MASTER BEDROOM
1 | Master Bed | Vitrified tile flooring | Kajaria | Sqft | 180 | 95 | 17100 | Good
2 | Master Bed | Wardrobe with loft | Laminate/Veneer | Sqft | 85 | 1250 | 106250 | Better
3 | Master Bed | Bed back panel | PU/Veneer finish | Sqft | 35 | 850 | 29750 | Better
4 | Master Bed | Study table with storage | Laminate | Sqft | 18 | 750 | 13500 | Good
5 | Master Bed | False ceiling - plain | Gypsum | Sqft | 160 | 85 | 13600 | Good
6 | Master Bed | False ceiling - cove | Designer | Sqft | 25 | 145 | 3625 | Better
7 | Master Bed | Wall painting | Asian Royale | Sqft | 520 | 28 | 14560 | Good
8 | Master Bed | AC point provision | Copper piping | Point | 1 | 3500 | 3500 | Good
9 | Master Bed | Electrical points | Complete | LS | 1 | 8500 | 8500 | Good
MASTER BEDROOM - SUBTOTAL | [6 empty] | 210385
BEDROOM 2
1 | Bedroom 2 | Vitrified tile flooring | Kajaria | Sqft | 140 | 95 | 13300 | Good
2 | Bedroom 2 | Wardrobe with loft | Laminate | Sqft | 65 | 1150 | 74750 | Good
3 | Bedroom 2 | Study table | Laminate | Sqft | 12 | 700 | 8400 | Good
4 | Bedroom 2 | False ceiling - plain | Gypsum | Sqft | 120 | 85 | 10200 | Good
5 | Bedroom 2 | Wall painting | Asian Tractor | Sqft | 420 | 22 | 9240 | Good
6 | Bedroom 2 | Electrical points | Complete | LS | 1 | 6500 | 6500 | Good
BEDROOM 2 - SUBTOTAL | [6 empty] | 122390
KITCHEN
1 | Kitchen | Ceramic tile flooring | Anti-skid | Sqft | 85 | 75 | 6375 | Good
2 | Kitchen | Wall tiles full height | Kajaria | Sqft | 180 | 85 | 15300 | Good
3 | Kitchen | Granite platform | Black Galaxy | Sqft | 35 | 320 | 11200 | Better
4 | Kitchen | Modular kitchen - base units | Marine ply + laminate | Rft | 14 | 2800 | 39200 | Better
5 | Kitchen | Modular kitchen - wall units | MR ply + laminate | Rft | 12 | 2200 | 26400 | Better
6 | Kitchen | Modular kitchen - tall unit | Laminate finish | Nos | 1 | 28000 | 28000 | Better
7 | Kitchen | SS sink with drain board | Franke/Nirali | Nos | 1 | 8500 | 8500 | Better
8 | Kitchen | Chimney hood | Elica/Faber | Nos | 1 | 18000 | 18000 | Best
9 | Kitchen | Loft storage | MR ply | Sqft | 25 | 450 | 11250 | Good
10 | Kitchen | Electrical points | Complete | LS | 1 | 12000 | 12000 | Good
11 | Kitchen | Plumbing modifications | CPVC | LS | 1 | 8500 | 8500 | Good
KITCHEN - SUBTOTAL | [6 empty] | 184725
BATHROOM 1 - MASTER
1 | Bath 1 | Ceramic tile flooring | Anti-skid | Sqft | 45 | 85 | 3825 | Good
2 | Bath 1 | Wall tiles full height | Kajaria/Johnson | Sqft | 140 | 95 | 13300 | Better
3 | Bath 1 | False ceiling - PVC | Moisture proof | Sqft | 40 | 65 | 2600 | Good
4 | Bath 1 | WC - wall hung | Hindware | Nos | 1 | 12000 | 12000 | Better
5 | Bath 1 | Wash basin with pedestal | Parryware | Nos | 1 | 4500 | 4500 | Good
6 | Bath 1 | CP fittings complete | Jaquar | Set | 1 | 15000 | 15000 | Best
7 | Bath 1 | Mirror with cabinet | 18x24 | Nos | 1 | 3500 | 3500 | Good
8 | Bath 1 | Shower partition glass | 8mm toughened | Sqft | 15 | 450 | 6750 | Better
9 | Bath 1 | Electrical & exhaust | Complete | LS | 1 | 4500 | 4500 | Good
10 | Bath 1 | Plumbing work | Complete | LS | 1 | 12000 | 12000 | Good
BATHROOM 1 - MASTER - SUBTOTAL | [6 empty] | 77975
BATHROOM 2 - COMMON
1 | Bath 2 | Ceramic tile flooring | Anti-skid | Sqft | 35 | 75 | 2625 | Good
2 | Bath 2 | Wall tiles dado 7ft | Johnson | Sqft | 95 | 80 | 7600 | Good
3 | Bath 2 | False ceiling - PVC | Basic | Sqft | 30 | 55 | 1650 | Good
4 | Bath 2 | WC - EWC | Parryware | Nos | 1 | 6500 | 6500 | Good
5 | Bath 2 | Wash basin | Wall hung | Nos | 1 | 3200 | 3200 | Good
6 | Bath 2 | CP fittings | Hindware | Set | 1 | 8500 | 8500 | Good
7 | Bath 2 | Mirror | Plain beveled | Nos | 1 | 1800 | 1800 | Good
8 | Bath 2 | Electrical & plumbing | Complete | LS | 1 | 12000 | 12000 | Good
BATHROOM 2 - COMMON - SUBTOTAL | [6 empty] | 43875
BALCONY & UTILITY
1 | Balcony | Anti-skid tile flooring | Outdoor grade | Sqft | 65 | 65 | 4225 | Good
2 | Utility | Wall tiles dado 3ft | Basic ceramic | Sqft | 45 | 55 | 2475 | Good
3 | Utility | Utility sink | SS | Nos | 1 | 3500 | 3500 | Good
4 | Utility | Washing machine point | Complete | Nos | 1 | 2500 | 2500 | Good
5 | Balcony | Grill/railing painting | Enamel | Sqft | 40 | 45 | 1800 | Good
BALCONY & UTILITY - SUBTOTAL | [6 empty] | 14500
DOORS & WINDOWS
1 | Entry | Main door - teak frame | Veneer shutter | Nos | 1 | 35000 | 35000 | Better
2 | Bedrooms | Bedroom doors | Flush door | Nos | 3 | 12000 | 36000 | Good
3 | Bathrooms | Bathroom doors | WPC frame | Nos | 2 | 8500 | 17000 | Good
4 | All | Door hardware | Godrej/Yale | Set | 6 | 3500 | 21000 | Better
5 | All | Window grills painting | Enamel | Sqft | 80 | 45 | 3600 | Good
DOORS & WINDOWS - SUBTOTAL | [6 empty] | 112600
MISCELLANEOUS
1 | Pooja Area | Pooja unit | Teak/MDF carved | Nos | 1 | 25000 | 25000 | Better
2 | Entry | Safety door | MS grill powder coated | Nos | 1 | 18000 | 18000 | Good
3 | All Rooms | Curtain rods | SS heavy duty | Nos | 6 | 1200 | 7200 | Good
4 | All | Deep cleaning | Professional | Sqft | 1200 | 8 | 9600 | Good
5 | All | Site supervision | Complete project | LS | 1 | 25000 | 25000 | Good
MISCELLANEOUS - SUBTOTAL | [6 empty] | 84800
GRAND SUBTOTAL | [6 empty] | 1032125
Contingency @ 3% | [6 empty] | 30963.75
TOTAL BEFORE TAX | [6 empty] | 1063088.75
CGST @ 9% | [6 empty] | 95677.9875
SGST @ 9% | [6 empty] | 95677.9875
GRAND TOTAL (INCLUDING GST) | [6 empty] | 1254444.725

## Terms_Conditions
TERMS & CONDITIONS, EXCLUSIONS & PAYMENT SCHEDULE
Project Reference:
Date: | 2026-04-09
1. SCOPE OF WORK
• All interior fit-out works as per approved drawings and specifications
• Material procurement, delivery, and installation at site
• Labour charges including skilled and unskilled workers
• Site supervision and project management throughout execution
• Quality assurance and quality control as per specifications
• Coordination with client, consultants, and other agencies
• Safety measures, PPE, and site cleanliness maintenance
• Testing and commissioning of MEP works
• Defect liability period support for 12 months
• As-built drawings and O&M manuals submission
2. EXCLUSIONS (Not included in this BOQ)
• Structural modifications or RCC work of any kind
• External façade or building envelope works
• HVAC/VRV system (ducting, units, controls, piping)
• Fire fighting system and fire alarm installations
• Building Management System (BMS) integration
• Access flooring / raised flooring systems
• Specialized acoustic treatment beyond specified scope
• IT infrastructure (servers, networking equipment, cabling)
• Signage and wayfinding beyond specified scope
• Loose furniture (chairs, sofas, workstations) unless specified
• Art work, artifacts, and decorative display items
• Window treatments (curtains, blinds, films) unless specified
• Landscaping, irrigation, and external works
• Government approvals, NOCs, and statutory compliance
• Escalation in material prices beyond 90 days from quotation
• Any work not explicitly mentioned in this BOQ
3. ASSUMPTIONS
• Site to be handed over clear of all obstructions and debris
• Working hours: 9:00 AM to 6:00 PM, 6 days a week (Mon-Sat)
• Electricity and water to be provided by client free of cost
• Suitable covered storage space for materials at site
• Single mobilization assumed - demobilization charges apply for breaks >7 days
• Rates are based on current market prices (valid for 30 days)
• Design finalization and approval within 15 days of order confirmation
• Material samples approval within 7 days of submission
• No night work or overtime included in this quotation
• Standard lift and staircase access available for material movement
• Clear site access for delivery vehicles during working hours
• Client to provide approved drawings in AutoCAD format
4. PAYMENT MILESTONE SCHEDULE
S.No. | Milestone | Description |  | % of Contract | Amount (₹)
1 | Advance Payment | On acceptance of order / Work Order |  | 20% | 0
2 | Mobilization | On site mobilization and material delivery start |  | 10% | 0
3 | Progress Billing 1 | On 25% physical work completion |  | 15% | 0
4 | Progress Billing 2 | On 50% physical work completion |  | 20% | 0
5 | Progress Billing 3 | On 75% physical work completion |  | 15% | 0
6 | Substantial Completion | On 90% work completion and handover |  | 10% | 0
7 | Final Payment | On snag-free handover and documentation |  | 10% | 0
| TOTAL |  |  | 1
5. GENERAL TERMS & CONDITIONS
• Validity: This quotation is valid for 30 days from date of issue
• Taxes: GST @18% is included in all rates (CGST 9% + SGST 9%)
• Price Variation: Prices are subject to revision after validity period
• Material Approval: All materials are subject to client/consultant approval
• Variations: Any variation to scope shall be agreed in writing with cost impact
• Warranty: 12 months warranty on workmanship from date of handover
• Brand Substitution: Equivalent brands may be proposed with prior approval
• Force Majeure: Standard force majeure clause shall be applicable
• Dispute Resolution: Disputes shall be resolved through mutual arbitration
• Jurisdiction: Courts of the project city shall have exclusive jurisdiction
• Defect Liability Period: 12 months from date of substantial completion
• Retention Money: 5% retention shall be released after 6 months of handover
• Insurance: Contractor to maintain CAR policy for contract value
• Penalties: LD @0.5% per week, max 5% for delays beyond agreed timeline
• Payment Terms: Payment within 15 days of invoice submission
• Bank Guarantee: 10% Performance BG valid till DLP completion if required
6. ACCEPTANCE & AUTHORIZATION
By signing below, both parties agree to the terms and conditions stated in this document and the attached BOQ.
FOR CONTRACTOR |  |  | FOR CLIENT
Company Name: | ________________________ |  | Company/Name: | ________________________
Authorized Signatory: | ________________________ |  | Authorized Signatory: | ________________________
Designation: | ________________________ |  | Designation: | ________________________
Date: | ________________________ |  | Date: | ________________________
Company Seal: | ________________________ |  | Company Seal: | ________________________
Note: This document forms an integral part of the contract and must be read in conjunction with the Bill of Quantities.