## Cover_Page
CONSTRUCTION ESTIMATOR INDIA
Accurate Estimates ¦ Smart Solutions
CIVIL WORKS - CONSTRUCTION COST ESTIMATE TEMPLATE
[INSERT COMPANY LOGO HERE] |  | Company Name: | Construction Estimator India
|  | Location: | Lucknow, Uttar Pradesh, India
|  | GSTIN: | 09AAAAA0000A1Z5 [Update]
|  | PAN: | AAAAA0000A [Update]
|  | Website: | www.constructionestimatorindia.com
PROJECT DETAILS
Project Name: |  | Residential Building - 2BHK House
Client Name: |  | Mr. Rajesh Kumar Sharma
Project Location: |  | Plot No. 123, Sector 5, Lucknow, UP
Built-up Area: |  | 1,800 Sq.ft. (167.23 Sq.m.)
Plot Area: |  | 2,400 Sq.ft. (222.97 Sq.m.)
No. of Floors: |  | G+1 (Ground + First Floor)
Estimate Date: |  | 27-May-2026
Validity Period: |  | 30 days from estimate date
DOCUMENT CONTROL
Revision No.: | R0 | Prepared By: | [Engineer Name]
Issue Date: | 27-May-2026 | Checked By: | [QS Name]
Document No.: | CEI/EST/2026/001 | Approved By: | [Manager Name]
Status: | DRAFT | Total Pages: | 11 Sheets
ESTIMATE SUMMARY (Auto-Calculated)
Total Civil Cost (₹): |  | Linked from Abstract
GST @ 18% (₹): |  | Auto-Calculated
Grand Total (₹): |  | Auto-Calculated
Cost per Sq.ft. (₹): |  | Auto-Calculated
DISCLAIMER: This estimate is based on prevailing market rates as of 2026 in Uttar Pradesh and is valid for 30 days. Actual costs may vary based on site conditions, design changes, material availability, and market fluctuations. All rates are inclusive of basic materials, labor, and equipment unless specified otherwise. GST, transportation beyond 20km, and statutory approvals are additional. Issued by Construction Estimator India - Accurate Estimates ¦ Smart Solutions.
© 2026 Construction Estimator India ¦ Lucknow, Uttar Pradesh ¦ All Rights Reserved

## Project_Info
PROJECT INFORMATION & ASSUMPTIONS
1. PROJECT DETAILS
Parameter | Value | Unit | Remarks
Project Type | Residential | - | G+1 House
Plot Area | 2400 | Sq.ft. | Total land area
Built-up Area (Ground) | 900 | Sq.ft. | Ground floor
Built-up Area (First) | 900 | Sq.ft. | First floor
Total Built-up Area | 1800 | Sq.ft. | Auto-calculated
Total Built-up Area (Metric) | 167.22 | Sq.m. | 1 sqft = 0.0929 sqm
Floor Height | 10 | ft | Standard residential
No. of Bedrooms | 2 | Nos. | 2BHK configuration
No. of Bathrooms | 2 | Nos.
Foundation Type | Isolated Footing | - | As per soil test
Structure Type | RCC Framed | - | M20 Concrete, Fe500 Steel
Wall Type | Brick Masonry | - | 230mm external, 115mm internal
Roofing | RCC Slab | - | 150mm thick
2. KEY ASSUMPTIONS & FACTORS
Parameter | Value | Unit | Reference/Notes
GST Rate | 18% | % | As per GST Council 2026
Contingency | 5% | % | 5% on civil cost
Overheads | 10% | % | 10% site overheads
Contractor Profit | 15% | % | 15% margin
Wastage - Cement | 3% | % | 3% wastage allowance
Wastage - Steel | 3% | % | 3% wastage
Wastage - Bricks | 5% | % | 5% wastage
Wastage - Tiles | 10% | % | 10% cutting wastage
Labor Productivity Factor | 1 | - | Normal site conditions
Location Factor (UP) | 1 | - | Base location
Lead for Materials | 20 | km | Free transportation
Lift Allowance | 3 | meters | Above 3m extra charge
3. RATE SOURCE TOGGLE
Rate Source: | Market | Options: DSR / Market
Currency: | INR (₹) | Symbol: | ₹
Estimate Base Date: | 2026-05-27 | Valid Till: | 2026-06-26
4. APPLICABLE CODES & STANDARDS
Code | Title | Application | Year
IS 1200 | Method of Measurement | All civil works | 1992
IS 456 | Plain & Reinforced Concrete | RCC works | 2000
IS 875 | Design Loads | Structural design | 1987
IS 1893 | Seismic Design | Earthquake resistance | 2016
IS 2502 | Bar Bending Schedule | Reinforcement | 1963
IS 13920 | Ductile Detailing | RCC structures | 2016
CPWD DSR | Delhi Schedule of Rates | Rate reference | 2024
NBC 2016 | National Building Code | General compliance | 2016
Formulas:
Remarks = [Value]+30

## Market_Rates
MARKET RATES DATABASE - UTTAR PRADESH (2026)
Dynamic Rate Master ¦ Auto-Updated via Toggle in Project_Info Sheet ¦ Cell C35
Active Rate Source: | [6 empty] | Market | Last Database Update: 27-May-2026
S.No. | Code | Item Description | Unit | DSR Rate (₹) | Market Rate (₹) | Applied Rate (₹) | Last Updated | Location Factor | Supplier/Source | Remarks
A. CEMENT & BINDERS
1 | CEM-01 | OPC 43 Grade Cement (50 kg bag) | Bag | 475 | 510 | 510 | 01-May-2026 | 1 | UltraTech/ACC | Brand: UltraTech
2 | CEM-02 | OPC 53 Grade Cement (50 kg bag) | Bag | 495 | 535 | 535 | 01-May-2026 | 1 | Ambuja/Shree | High strength
3 | CEM-03 | PPC Cement (50 kg bag) | Bag | 460 | 495 | 495 | 01-May-2026 | 1 | Birla/JK Lakshmi | Eco-friendly
4 | CEM-04 | PSC Cement (50 kg bag) | Bag | 465 | 500 | 500 | 01-May-2026 | 1 | Local Dealer
5 | CEM-05 | White Cement (Birla White) 40kg | Bag | 1050 | 1180 | 1180 | 01-May-2026 | 1 | Birla White | For finishing
B. STEEL & REINFORCEMENT
6 | STL-01 | TMT Steel Fe500 - 8mm dia | Tonne | 72000 | 78500 | 78500 | 01-May-2026 | 1 | TATA/SAIL | ISI marked
7 | STL-02 | TMT Steel Fe500 - 10mm dia | Tonne | 71500 | 78000 | 78000 | 01-May-2026 | 1 | TATA/SAIL | ISI marked
8 | STL-03 | TMT Steel Fe500 - 12mm dia | Tonne | 71000 | 77500 | 77500 | 01-May-2026 | 1 | TATA/JSW | Most used
9 | STL-04 | TMT Steel Fe500 - 16mm dia | Tonne | 71000 | 77500 | 77500 | 01-May-2026 | 1 | TATA/JSW | Column main bars
10 | STL-05 | TMT Steel Fe500D - 20mm/25mm | Tonne | 73000 | 80000 | 80000 | 01-May-2026 | 1 | TATA/SAIL | Heavy structural
11 | STL-06 | Binding Wire 18 SWG | Kg | 78 | 88 | 88 | 01-May-2026 | 1 | Local | GI wire
C. SAND & AGGREGATES
12 | SND-01 | River Sand (Yamuna/Ganga) - fine | Cu.m. | 2200 | 2600 | 2730 | 01-May-2026 | 1.05 | Local Quarry | Zone-II
13 | SND-02 | M-Sand (Manufactured Sand) | Cu.m. | 1450 | 1700 | 1700 | 01-May-2026 | 1 | Crusher Plant | Substitute for river sand
14 | SND-03 | Plastering Sand (fine) | Cu.m. | 2400 | 2800 | 2940 | 01-May-2026 | 1.05 | Local | Sieved
15 | AGG-01 | Stone Aggregate 10mm | Cu.m. | 1450 | 1650 | 1650 | 01-May-2026 | 1 | Crusher | For RCC
16 | AGG-02 | Stone Aggregate 20mm | Cu.m. | 1400 | 1600 | 1600 | 01-May-2026 | 1 | Crusher | Standard size
17 | AGG-03 | Stone Aggregate 40mm | Cu.m. | 1350 | 1550 | 1550 | 01-May-2026 | 1 | Crusher | PCC use
D. BRICKS & BLOCKS
18 | BRK-01 | 1st Class Red Brick (230x110x70mm) | Nos. | 9 | 11 | 11 | 01-May-2026 | 1 | Local Kiln | Class A
19 | BRK-02 | 2nd Class Red Brick | Nos. | 7 | 8.5 | 8.5 | 01-May-2026 | 1 | Local Kiln | Class B
20 | BRK-03 | Fly Ash Brick (230x110x75mm) | Nos. | 6.5 | 8 | 8 | 01-May-2026 | 1 | Fly Ash Plant | Eco-friendly
21 | BLK-01 | AAC Block 600x200x100mm | Cu.m. | 3200 | 3600 | 3600 | 01-May-2026 | 1 | Birla Aerocon/Magicrete | Lightweight
22 | BLK-02 | AAC Block 600x200x200mm | Cu.m. | 3200 | 3600 | 3600 | 01-May-2026 | 1 | Birla Aerocon | External walls
E. TILES & STONE
23 | TIL-01 | Vitrified Tile 600x600 (Premium) | Sq.m. | 750 | 850 | 850 | 01-May-2026 | 1 | Kajaria/Somany | Floor tile
24 | TIL-02 | Ceramic Wall Tile 300x600 | Sq.m. | 480 | 580 | 580 | 01-May-2026 | 1 | Kajaria | Bathroom
25 | TIL-03 | Anti-skid Floor Tile 300x300 | Sq.m. | 420 | 520 | 520 | 01-May-2026 | 1 | Somany | Toilet floor
26 | STN-01 | Kota Stone (25mm thick) | Sq.m. | 650 | 780 | 858 | 01-May-2026 | 1.1 | Rajasthan | Includes lead
27 | STN-02 | Granite (Premium 18mm) | Sq.m. | 1800 | 2200 | 2420 | 01-May-2026 | 1.1 | Karnataka | Kitchen platform
F. WOOD, DOORS & WINDOWS
28 | WD-01 | Sal Wood (frame quality) | Cu.m. | 95000 | 115000 | 115000 | 01-May-2026 | 1 | Timber Yard | Door/Window frame
29 | WD-02 | Teak Wood (Burma) Premium | Cu.m. | 280000 | 340000 | 340000 | 01-May-2026 | 1 | Premium Supplier | Premium quality
30 | DR-01 | Flush Door 35mm (commercial) | Sq.m. | 1800 | 2200 | 2200 | 01-May-2026 | 1 | Greenply/Century | Internal door
31 | DR-02 | Main Door Solid Teak | Sq.m. | 8500 | 12000 | 12000 | 01-May-2026 | 1 | Custom Made | Main entrance
32 | WN-01 | Aluminum Window (Powder Coated) | Sq.m. | 3200 | 3800 | 3800 | 01-May-2026 | 1 | Jindal/Hindalco | Sliding
33 | WN-02 | UPVC Window with Mesh | Sq.m. | 4800 | 5800 | 5800 | 01-May-2026 | 1 | Fenesta/LG | Premium
G. PAINTS & FINISHES
34 | PT-01 | Cement Primer (per ltr) | Ltr | 145 | 175 | 175 | 01-May-2026 | 1 | Asian Paints | Base coat
35 | PT-02 | Acrylic Distemper (per ltr) | Ltr | 110 | 135 | 135 | 01-May-2026 | 1 | Asian/Berger | Internal
36 | PT-03 | Plastic Emulsion Paint (Premium) | Ltr | 260 | 320 | 320 | 01-May-2026 | 1 | Asian Royale | Washable
37 | PT-04 | Exterior Weatherproof Paint | Ltr | 320 | 380 | 380 | 01-May-2026 | 1 | Apex Ultima | Outside walls
38 | PT-05 | Enamel Paint (per ltr) | Ltr | 280 | 340 | 340 | 01-May-2026 | 1 | Asian/Berger | Wood/metal
H. LABOR RATES (Daily Wages - UP)
39 | LAB-01 | Mason (Skilled - 1st Class) | Day | 750 | 900 | 900 | 01-May-2026 | 1 | Local Labor | 8-hour day
40 | LAB-02 | Mason (Semi-skilled) | Day | 600 | 720 | 720 | 01-May-2026 | 1 | Local Labor
41 | LAB-03 | Bar Bender (Skilled) | Day | 800 | 950 | 950 | 01-May-2026 | 1 | Specialist | Steel work
42 | LAB-04 | Carpenter (Skilled) | Day | 800 | 950 | 950 | 01-May-2026 | 1 | Specialist | Shuttering
43 | LAB-05 | Painter (Skilled) | Day | 700 | 850 | 850 | 01-May-2026 | 1 | Specialist
44 | LAB-06 | Unskilled Labor (Mazdoor) | Day | 450 | 550 | 550 | 01-May-2026 | 1 | Local Labor | Helper
45 | LAB-07 | Plumber | Day | 850 | 1000 | 1000 | 01-May-2026 | 1 | Specialist
I. WATERPROOFING & MISC
46 | WP-01 | Waterproofing Chemical (Dr.Fixit) | Kg | 240 | 290 | 290 | 01-May-2026 | 1 | Pidilite | Roof treatment
47 | WP-02 | APP Membrane (3mm) | Sq.m. | 380 | 460 | 460 | 01-May-2026 | 1 | STP/Pidilite | Terrace
48 | MS-01 | Curing Compound | Ltr | 165 | 195 | 195 | 01-May-2026 | 1 | Fosroc | Concrete cure
49 | MS-02 | Admixture (Plasticizer) | Ltr | 95 | 115 | 115 | 01-May-2026 | 1 | Sika/Fosroc | Workability
50 | MS-03 | POP / Wall Putty | Kg | 22 | 28 | 28 | 01-May-2026 | 1 | Birla/JK Wall | Surface prep
INSTRUCTIONS: Update Market Rate (Column G) monthly. The Applied Rate (Column H) auto-updates based on the toggle in Project_Info!C35. Adjust Location Factor (Column J) for site-specific premium/discount.
Source: CPWD DSR 2024 + UP PWD Schedule + Market Survey May 2026 ¦ Updated By: Construction Estimator India

## BOQ
BILL OF QUANTITIES (BOQ) - CIVIL WORKS
Project: Residential G+1 House, Lucknow UP ¦ As per IS 1200 / CPWD Specifications
Active Rate Source: |  |  | Market | Total BOQ Value (₹): |  |  | 2831469.25
Item No. | Code | Description of Work | Unit | Quantity | Rate (₹) | Amount (₹) | Remarks
1.0 EARTHWORK
1.1 | EW-01 | Site clearance, removal of vegetation, top soil up to 150mm depth and disposal within site. | Sq.m. | 222.97 | 25 | 5574.25 | Manual labor
1.2 | EW-02 | Earthwork in excavation in foundation trenches in ordinary soil up to 1.5m depth including dressing of sides and ramming of bottom. | Cu.m. | 42 | 180 | 7560 | Manual
1.3 | EW-03 | Earth filling in plinth with excavated earth in 200mm layers, watered, rammed and consolidated. | Cu.m. | 28 | 95 | 2660 | Reuse
1.4 | EW-04 | Anti-termite treatment of foundations with chlorpyriphos 1.0% emulsion as per IS 6313. | Sq.m. | 110 | 85 | 9350 | Pre-construction
1.5 | EW-05 | Sand filling under floor in 150mm layers, watered, rammed, consolidated. | Cu.m. | 14 | 850 | 11900 | River sand
Sub-total: Earthwork | [5 empty] | 37044.25
2.0 CONCRETE WORKS (PCC & RCC)
2.1 | CC-01 | PCC 1:4:8 with 40mm graded stone aggregate under foundation/floor as per IS 456. | Cu.m. | 4.5 | 5800 | 26100 | Lean concrete
2.2 | CC-02 | PCC 1:2:4 (M15) with 20mm aggregate for plinth protection and miscellaneous works. | Cu.m. | 2.8 | 6500 | 18200
2.3 | CC-03 | RCC M20 grade (1:1.5:3) with 20mm aggregate in foundation footings, including form work, vibrating, curing. Excluding reinforcement. | Cu.m. | 8.5 | 7800 | 66300 | Isolated footing
2.4 | CC-04 | RCC M20 in columns, including form work and curing. Excluding steel. | Cu.m. | 5.2 | 8500 | 44200 | Up to first floor
2.5 | CC-05 | RCC M20 in plinth beams, lintel beams, sunshades, as per IS 456. | Cu.m. | 4.8 | 8200 | 39360 | Beams & lintels
2.6 | CC-06 | RCC M20 in roof slabs (150mm thick), including form work, mesh placing, vibrating and curing for 14 days. Excluding steel. | Cu.m. | 27 | 8400 | 226800 | GF + FF slabs
2.7 | CC-07 | RCC M25 in staircase including waist slab, steps, landing. | Cu.m. | 2.2 | 9200 | 20240
Sub-total: Concrete Works | [5 empty] | 441200
3.0 FORMWORK & SCAFFOLDING
3.1 | FW-01 | Centering and shuttering with plywood/steel for foundation footings and pedestals. | Sq.m. | 42 | 280 | 11760 | 3 uses
3.2 | FW-02 | Centering and shuttering for columns up to 4m height with steel/ply shuttering. | Sq.m. | 68 | 350 | 23800
3.3 | FW-03 | Centering and shuttering for beams (sides and soffits). | Sq.m. | 85 | 380 | 32300
3.4 | FW-04 | Centering and shuttering for slab soffits including supports up to 3.5m height. | Sq.m. | 180 | 320 | 57600 | Slabs
3.5 | FW-05 | Centering and shuttering for staircase including risers, treads, soffits. | Sq.m. | 22 | 420 | 9240
3.6 | FW-06 | Steel scaffolding for external works including erection, dismantling, hire charges. | Sq.m. | 240 | 85 | 20400 | Per month
Sub-total: Formwork | [5 empty] | 155100
4.0 REINFORCEMENT STEEL
4.1 | RS-01 | Supply and fixing of TMT Fe500 reinforcement bars (8mm-12mm) including cutting, bending, binding with 18 SWG wire as per IS 1786, IS 2502 and BBS. | Tonne | 2.8 | 82000 | 229600 | 3% wastage incl.
4.2 | RS-02 | Supply and fixing of TMT Fe500 bars (16mm-25mm) for columns and beams main reinforcement. | Tonne | 2.2 | 81500 | 179300 | Main bars
4.3 | RS-03 | Mild steel binding wire 18 SWG for tying reinforcement. | Kg | 85 | 88 | 7480
Sub-total: Reinforcement | [5 empty] | 416380
5.0 MASONRY WORK
5.1 | MS-01 | Brick masonry with 1st class bricks in CM 1:6 in foundation and plinth up to GL. | Cu.m. | 8 | 6200 | 49600 | Below GL
5.2 | MS-02 | Brick masonry 230mm thick with 1st class bricks in CM 1:6 in superstructure above GL. | Cu.m. | 24 | 6800 | 163200 | External walls
5.3 | MS-03 | Half brick masonry 115mm thick in CM 1:4 for internal partition walls. | Sq.m. | 95 | 850 | 80750 | Partitions
5.4 | MS-04 | AAC Block masonry 200mm thick with cement mortar 1:6 (alternative). | Cu.m. | 6 | 5800 | 34800 | Optional
Sub-total: Masonry | [5 empty] | 328350
6.0 FINISHING (PLASTER & PAINTING)
6.1 | FN-01 | 12mm thick cement plaster CM 1:4 on internal walls in single coat finished smooth. | Sq.m. | 380 | 240 | 91200 | Internal
6.2 | FN-02 | 20mm thick cement plaster CM 1:4 (two coats) on external walls including curing. | Sq.m. | 220 | 320 | 70400 | External
6.3 | FN-03 | 6mm thick ceiling plaster CM 1:3 finished smooth with neeru. | Sq.m. | 170 | 190 | 32300 | Ceiling
6.4 | FN-04 | Wall putty (Birla/JK) - two coats on internal walls before painting. | Sq.m. | 380 | 85 | 32300
6.5 | FN-05 | Painting with plastic emulsion (Asian Royale) - primer + 2 coats internal. | Sq.m. | 550 | 145 | 79750 | Internal
6.6 | FN-06 | Exterior weatherproof paint (Apex Ultima) - primer + 2 coats on external. | Sq.m. | 220 | 185 | 40700 | External
6.7 | FN-07 | Enamel paint on doors, windows, grills - primer + 2 coats. | Sq.m. | 85 | 210 | 17850 | Wood/MS work
Sub-total: Finishing | [5 empty] | 364500
7.0 FLOORING & TILING
7.1 | FL-01 | Vitrified tile flooring 600x600mm (premium grade) laid on cement mortar bed 20mm thick with neat cement slurry. | Sq.m. | 140 | 1250 | 175000 | Bedroom, Living
7.2 | FL-02 | Anti-skid ceramic tile flooring 300x300mm in toilets and balcony. | Sq.m. | 18 | 850 | 15300 | Bathrooms
7.3 | FL-03 | Ceramic wall tiles 300x600mm (glazed) on toilet walls up to 7ft height with cement mortar 1:3. | Sq.m. | 45 | 950 | 42750 | Dado
7.4 | FL-04 | Kota stone flooring 25mm thick on staircase steps and landing with cement mortar bed. | Sq.m. | 12 | 1100 | 13200 | Staircase
7.5 | FL-05 | Granite stone for kitchen platform 18mm thick polished, including edge moulding and sink cutout. | Sq.m. | 4.5 | 3200 | 14400 | Kitchen
7.6 | FL-06 | Granite skirting 100mm high polished, fixed with cement mortar. | Rmt | 85 | 220 | 18700
Sub-total: Flooring | [5 empty] | 279350
8.0 ROOFING & WATERPROOFING
8.1 | WP-01 | Brick bat coba waterproofing 75-100mm avg thickness on terrace with cement slurry layers and curing. | Sq.m. | 92 | 520 | 47840 | Terrace
8.2 | WP-02 | APP membrane waterproofing (3mm) on terrace including primer. | Sq.m. | 92 | 520 | 47840 | Alternative
8.3 | WP-03 | Waterproofing of toilets sunken portion with Dr.Fixit Pidiproof + cement slurry. | Sq.m. | 12 | 480 | 5760 | Toilet sunken
8.4 | WP-04 | Parapet wall 230mm thick, 900mm high in brick masonry CM 1:6 with coping. | Rmt | 42 | 1850 | 77700 | Terrace edge
Sub-total: Roofing & WP | [5 empty] | 179140
9.0 DOORS, WINDOWS & WOODWORK
9.1 | DR-01 | Main door - solid teak wood frame 100x65mm with 35mm thick teak panel shutter, polished finish, including hardware (Godrej). | Sq.m. | 2.1 | 12500 | 26250 | 1 No.
9.2 | DR-02 | Internal flush doors 35mm thick with sal wood frame 75x50mm, including hinges, locks, handles. | Sq.m. | 12.5 | 3500 | 43750 | 5 Nos.
9.3 | DR-03 | PVC door for toilets with PVC frame, complete with hardware. | Sq.m. | 3.2 | 2400 | 7680 | 2 Nos.
9.4 | WN-01 | Aluminum sliding window with 5mm glass (powder coated Jindal section), including mosquito mesh shutter. | Sq.m. | 18 | 4200 | 75600 | Bedrooms/halls
9.5 | WN-02 | MS Grills (10mm sq bars) on windows, painted with enamel primer + 2 coats. | Sq.m. | 18 | 850 | 15300 | Security grills
9.6 | WN-03 | MS railing for staircase with handrail, balusters, painted. | Rmt | 8.5 | 1450 | 12325
Sub-total: Doors & Windows | [5 empty] | 180905
10.0 MISCELLANEOUS & PROVISIONAL ITEMS
10.1 | MP-01 | Plumbing & sanitary fittings (provisional) - CPVC pipes, fittings, fixtures (basin, WC, shower, taps). | LS | 1 | 85000 | 85000 | 2 toilets, 1 kitchen
10.2 | MP-02 | Electrical wiring with conduit, switches, MCBs, points (provisional) as per IS 732. | LS | 1 | 125000 | 125000 | Full house
10.3 | MP-03 | Overhead water tank 1000 ltr Sintex with stand and connections. | LS | 1 | 12500 | 12500
10.4 | MP-04 | Underground sump 5000 ltr in PCC + brick masonry with waterproofing. | LS | 1 | 42000 | 42000 | Storage
10.5 | MP-05 | Septic tank and soak pit as per IS 2470. | LS | 1 | 38000 | 38000 | Disposal
10.6 | MP-06 | Compound wall 5ft high in brick masonry with iron gate (provisional). | Rmt | 60 | 2200 | 132000
10.7 | MP-07 | Site cleanup, debris removal, and final handover. | LS | 1 | 15000 | 15000
Sub-total: Miscellaneous | [5 empty] | 449500
GRAND TOTAL - BOQ CIVIL WORKS (₹) | [5 empty] | 2831469.25

## Quantity_Takeoff
QUANTITY TAKE-OFF / MEASUREMENT SHEET
As per IS 1200 - Method of Measurement ¦ Project: G+1 Residential Building, Lucknow UP
Building Footprint: 30ft x 30ft = 900 Sq.ft (Ground Floor) ¦ Floor Height: 10ft (3.05m) ¦ Plinth Height: 2ft (0.61m)
S.No. | BOQ Ref | Description / Element | Nos. | Length (m) | Breadth (m) | Height/Depth (m) | Quantity | Unit | Calculation / Remarks
A. EARTHWORK MEASUREMENTS
1 | EW-01 | Site clearance (Plot Area) | 1 | 18.29 | 12.19 |  | 222.9551 | Sq.m. | 60ft x 40ft plot
2 | EW-02 | Foundation Excavation - Footings (12 Nos.) | 12 | 1.5 | 1.5 | 1.5 | 40.5 | Cu.m. | 12 isolated footings
3 | EW-02 | Foundation Excavation - Plinth beam trenches | 1 | 45 | 0.3 | 0.6 | 8.1 | Cu.m. | Continuous trench
4 | EW-02 | Total Foundation Excavation |  |  |  |  | 48.6 | Cu.m. | Round to 42 Cu.m.
5 | EW-03 | Earth filling in plinth (60% of excavation) |  |  |  |  | 29.16 | Cu.m. | Approx 28 Cu.m.
6 | EW-04 | Anti-termite treatment (Plinth area) | 1 | 9.14 | 12.19 |  | 111.4166 | Sq.m. | Plinth area
7 | EW-05 | Sand filling under floor (100mm thick) | 1 | 9.14 | 12.19 | 0.125 | 13.9271 | Cu.m. | 125mm consolidated
Sub-section A Total Items: 7 | [6 empty] | 6 | Items
B. CONCRETE WORKS MEASUREMENTS
1 | CC-01 | PCC 1:4:8 under footings (12 Nos) | 12 | 1.5 | 1.5 | 0.1 | 2.7 | Cu.m. | 100mm thick
2 | CC-01 | PCC 1:4:8 under plinth beams | 1 | 45 | 0.3 | 0.075 | 1.0125 | Cu.m. | 75mm thick
3 | CC-01 | PCC under flooring 75mm | 1 | 9.14 | 12.19 | 0.075 | 8.3562 | Cu.m.
4 | CC-03 | RCC M20 Footings (12 Nos) | 12 | 1.2 | 1.2 | 0.45 | 7.776 | Cu.m. | 1200x1200x450
5 | CC-04 | RCC M20 Columns 230x300 (12 Nos, 6.1m ht) | 12 | 0.23 | 0.3 | 6.1 | 5.0508 | Cu.m. | GF + FF height
6 | CC-05 | RCC M20 Plinth Beams 230x300 | 1 | 45 | 0.23 | 0.3 | 3.105 | Cu.m.
7 | CC-05 | RCC M20 Lintel Beams 230x150 | 1 | 50 | 0.23 | 0.15 | 1.725 | Cu.m.
8 | CC-05 | RCC M20 Roof Beams 230x350 | 1 | 60 | 0.23 | 0.35 | 4.83 | Cu.m. | GF + FF beams
9 | CC-06 | RCC M20 Slabs 150mm thick (GF + FF) | 2 | 9.14 | 12.19 | 0.15 | 33.425 | Cu.m. | Two slabs
10 | CC-07 | RCC M25 Staircase (waist slab + steps) | 1 | 4.5 | 1.2 | 0.4 | 2.16 | Cu.m. | Includes flight + landing
C. MASONRY MEASUREMENTS
1 | MS-01 | Brick masonry below GL (foundation) | 1 | 45 | 0.23 | 0.6 | 6.21 | Cu.m. | 230mm wide
2 | MS-02 | Brick masonry 230mm - GF external walls | 1 | 42 | 0.23 | 3.05 | 29.463 | Cu.m. | Less openings
3 | MS-02 | Brick masonry 230mm - FF external walls | 1 | 42 | 0.23 | 3.05 | 29.463 | Cu.m.
4 | MS-02 | Less: Door/Window openings deduction |  |  |  |  | -9.5 | Cu.m. | Deduction
5 | MS-03 | Half brick internal partition (GF + FF) | 2 | 18 |  | 3.05 | 93.33 | Sq.m. | 115mm; net of openings
D. PLASTER & FINISHING MEASUREMENTS
1 | FN-01 | Internal plaster 12mm - walls (both sides) | 2 | 80 |  | 3.05 | 380.64 | Sq.m. | Net of openings
2 | FN-02 | External plaster 20mm | 1 | 42 |  | 6.1 | 220.332 | Sq.m. | Net of openings
3 | FN-03 | Ceiling plaster (GF + FF) | 2 | 9.14 | 9.29 |  | 169.8212 | Sq.m. | Ceiling area
E. FLOORING MEASUREMENTS
1 | FL-01 | Vitrified flooring - bedrooms/living/kitchen | 2 | 9.14 | 8.2 |  | 137.9043 | Sq.m. | Excl. toilets/balcony
2 | FL-02 | Anti-skid floor tiles - toilets/balcony | 4 | 1.5 | 1.8 |  | 18.36 | Sq.m.
3 | FL-03 | Ceramic wall tiles in toilets (up to 2.1m) | 4 | 6 |  | 2.1 | 45.36 | Sq.m. | Toilet perimeter
F. DOORS & WINDOWS SCHEDULE
1 | DR-01 | Main Door (D1) - Teak 1.0x2.1m | 1 | 1 | 2.1 |  | 2.1 | Sq.m. | 1 No.
2 | DR-02 | Internal flush doors (D2) 0.9x2.1m | 5 | 0.9 | 2.1 |  | 9.45 | Sq.m. | 5 Nos.
3 | DR-03 | PVC toilet doors (D3) 0.75x2.0m | 2 | 0.75 | 2 |  | 3 | Sq.m. | 2 Nos.
4 | WN-01 | Aluminum sliding windows (W1) 1.5x1.2m | 10 | 1.5 | 1.2 |  | 18 | Sq.m. | 10 Nos.
G. SUMMARY - TOTAL QUANTITIES BY CATEGORY
S.No. | Category | Description |  |  | Total Quantity | Unit | Cross-Reference to BOQ
1 | Earthwork | Total Excavation |  |  | 48.6 | Cu.m. | BOQ Section 1
2 | Concrete | PCC + RCC Total |  |  | 70.1405 | Cu.m. | BOQ Section 2
3 | Masonry | Brick + Block Total |  |  | 55.636 | Cu.m. | BOQ Section 5
4 | Plaster | All plastering |  |  | 770.7932 | Sq.m. | BOQ Section 6
5 | Flooring | Floor + Wall tiles |  |  | 201.6243 | Sq.m. | BOQ Section 7
6 | Doors/Windows | Total Openings |  |  | 32.55 | Sq.m. | BOQ Section 9
MEASUREMENT NOTES (IS 1200)
1. All measurements taken in metric units. 1 ft = 0.3048 m, 1 Sq.ft = 0.0929 Sq.m, 1 Cu.ft = 0.0283 Cu.m
2. Deductions made for door/window openings as per IS 1200 (Plaster: opening area; Masonry: opening volume)
3. RCC measurements exclude steel reinforcement (computed separately in BBS sheet)
4. Wastage NOT included in quantity take-off - applied separately in BOQ rates
5. Quantities are NET measurements. For payment purposes, refer to as-built drawings.

## Rate_Analysis
RATE ANALYSIS - DETAILED COST BREAKDOWN
As per CPWD Analysis of Rates 2024 + UP Market Survey May 2026
Note: Rate Analysis covers Major BOQ items. All other rates derived similarly. Wastage, Overheads & Profit included in derived rate.
RA-01: RCC M20 GRADE CONCRETE (1:1.5:3) IN SLAB - per 1 Cu.m.
S.No. | Description | Unit | Quantity | Rate (₹) | Amount (₹) | Remarks
A. MATERIALS
1 | Cement (OPC 43 Grade) | Bag | 7.87 | 510 | 4013.7 | @7.87 bags/cum
2 | River Sand (Zone-II) | Cu.m. | 0.42 | 2600 | 1092 | Net incl. bulking
3 | Coarse Aggregate 20mm | Cu.m. | 0.83 | 1600 | 1328 | Crushed stone
4 | Water (potable) | Ltr | 200 | 0.5 | 100
5 | Admixture (plasticizer) | Ltr | 1.5 | 115 | 172.5 | Sika/Fosroc
Sub-total Materials (a) |  |  |  |  | 6706.2
B. LABOR
1 | Mason (skilled) - 1st class | Day | 0.27 | 900 | 243 | RCC work
2 | Mazdoor (unskilled) | Day | 1.8 | 550 | 990 | Mixing/handling
3 | Bhisti (water carrier) | Day | 0.27 | 550 | 148.5 | Curing
Sub-total Labor (b) |  |  |  |  | 1381.5
C. EQUIPMENT/TOOLS
1 | Concrete Mixer 0.5 cum (hire) | Hour | 0.5 | 280 | 140 | Incl. fuel
2 | Needle Vibrator (electric) | Hour | 0.5 | 120 | 60
3 | Sundries (tools, planks) | LS | 1 | 80 | 80 | T&P
Sub-total Equipment (c) |  |  |  |  | 280
D. ADD-ONS (Wastage, Overheads, Profit)
1 | Wastage @ 3% on materials | % | 3% | 6706.2 | 201.186 | Material loss
2 | Lead & Lift charges | LS | 1 | 150 | 150 | Within 20km
3 | Overheads @ 10% | % | 10% | 8718.886 | 871.8886 | Site OH
4 | Contractor Profit @ 15% | % | 15% | 9590.7746 | 1438.6162
Sub-total Add-ons (d) |  |  |  |  | 2661.6908
TOTAL COST per Cu.m. (a+b+c+d) |  |  |  |  | 11029.3908
Say Round Rate (₹/Cu.m.) |  |  |  |  | 11000 | → BOQ Item 2.6
RA-02: BRICK MASONRY 230mm IN CM 1:6 - per 1 Cu.m.
S.No. | Description | Unit | Quantity | Rate (₹) | Amount (₹) | Remarks
A. MATERIALS
1 | 1st Class Bricks (230x110x70mm) | Nos. | 500 | 11 | 5500 | 500/Cum
2 | Cement OPC 43 Grade | Bag | 1.83 | 510 | 933.3 | CM 1:6
3 | Sand (fine, sieved) | Cu.m. | 0.28 | 2600 | 728
4 | Water | Ltr | 50 | 0.5 | 25
Sub-total Materials (a) |  |  |  |  | 7186.3
B. LABOR
1 | Mason (skilled) | Day | 0.65 | 900 | 585
2 | Mazdoor | Day | 1.5 | 550 | 825 | Helper
3 | Bhisti | Day | 0.2 | 550 | 110
Sub-total Labor (b) |  |  |  |  | 1520
C. TOOLS & SUNDRIES
1 | Sundries (trowel, plumb) | LS | 1 | 60 | 60 | T&P
2 | Scaffolding (proportional) | LS | 1 | 120 | 120 | Hire
Sub-total Tools (c) |  |  |  |  | 180
D. ADD-ONS
1 | Wastage @ 5% | % | 5% | 7186.3 | 359.315 | Breakage
2 | Overheads @ 10% | % | 10% | 9245.615 | 924.5615
3 | Profit @ 15% | % | 15% | 10170.1765 | 1525.5265
Sub-total Add-ons (d) |  |  |  |  | 2809.403
TOTAL COST per Cu.m. |  |  |  |  | 11695.703
Say Round Rate (₹/Cu.m.) |  |  |  |  | 11700 | → BOQ Item 5.2
RA-03: EARTHWORK EXCAVATION IN ORDINARY SOIL (1.5m depth) - per 1 Cu.m.
S.No. | Description | Unit | Quantity | Rate (₹) | Amount (₹) | Remarks
A. LABOR (Manual Excavation)
1 | Mazdoor (digging, dressing, ramming) | Day | 0.3 | 550 | 165 | Per Cum
2 | Mate/Supervisor | Day | 0.03 | 700 | 21
Sub-total Labor (a) |  |  |  |  | 186
B. TOOLS & DISPOSAL
1 | Sundries (pickaxe, basket) | LS | 1 | 25 | 25 | T&P
2 | Disposal within 50m | Cu.m. | 1 | 25 | 25 | Manual cart
Sub-total Tools (b) |  |  |  |  | 50
C. ADD-ONS
1 | Overheads @ 10% | % | 10% | 236 | 23.6
2 | Profit @ 15% | % | 15% | 259.6 | 38.94
Sub-total Add-ons (c) |  |  |  |  | 62.54
TOTAL COST per Cu.m. |  |  |  |  | 298.54
Say Round Rate (₹/Cu.m.) |  |  |  |  | 300 | → BOQ Item 1.2
RA-04: 12mm CEMENT PLASTER CM 1:4 (INTERNAL WALLS) - per 1 Sq.m.
S.No. | Description | Unit | Quantity | Rate (₹) | Amount (₹) | Remarks
A. MATERIALS
1 | Cement OPC 43 | Bag | 0.124 | 510 | 63.24 | 12mm thick
2 | Sand (fine plastering) | Cu.m. | 0.018 | 2800 | 50.4 | Sieved
3 | Water | Ltr | 6 | 0.5 | 3
Sub-total Materials (a) |  |  |  |  | 116.64
B. LABOR
1 | Mason (skilled) | Day | 0.1 | 900 | 90
2 | Mazdoor | Day | 0.15 | 550 | 82.5
Sub-total Labor (b) |  |  |  |  | 172.5
C. ADD-ONS
1 | Wastage @ 3% | % | 3% | 116.64 | 3.4992
2 | Scaffolding (proportional) | LS | 1 | 12 | 12
3 | Overheads @ 10% | % | 10% | 304.6392 | 30.4639
4 | Profit @ 15% | % | 15% | 335.1031 | 50.2655
Sub-total Add-ons (c) |  |  |  |  | 96.2286
TOTAL COST per Sq.m. |  |  |  |  | 385.3686
Say Round Rate (₹/Sq.m.) |  |  |  |  | 385 | → BOQ Item 6.1
RA-05: VITRIFIED TILE FLOORING 600x600mm (Premium) - per 1 Sq.m.
S.No. | Description | Unit | Quantity | Rate (₹) | Amount (₹) | Remarks
A. MATERIALS
1 | Vitrified tile (premium 600x600) | Sq.m. | 1.05 | 850 | 892.5 | 5% wastage
2 | Cement for bed/slurry | Bag | 0.45 | 510 | 229.5 | 20mm bed
3 | Sand (fine) | Cu.m. | 0.022 | 2800 | 61.6
4 | Spacers & epoxy grout | Kg | 0.5 | 180 | 90
Sub-total Materials (a) |  |  |  |  | 1273.6
B. LABOR
1 | Tile Mason (skilled) | Day | 0.15 | 950 | 142.5
2 | Mazdoor | Day | 0.15 | 550 | 82.5
Sub-total Labor (b) |  |  |  |  | 225
C. ADD-ONS
1 | Cutting wastage (corners) | LS | 1 | 25 | 25
2 | Polishing & cleaning | LS | 1 | 30 | 30
3 | Overheads @ 10% | % | 10% | 1553.6 | 155.36
4 | Profit @ 15% | % | 15% | 1708.96 | 256.344
Sub-total Add-ons (c) |  |  |  |  | 466.704
TOTAL COST per Sq.m. |  |  |  |  | 1965.304
Say Round Rate (₹/Sq.m.) |  |  |  |  | 1970 | → BOQ Item 7.1
SUMMARY: DERIVED RATES vs BOQ APPLIED RATES
S.No. | Item Description | Unit | BOQ Ref | Analyzed Rate (₹) | BOQ Rate (₹) | Variance %
1 | RCC M20 in Slabs | Cu.m. | BOQ 2.6 | 11000 | 8400 | 30.95%
2 | Brick Masonry 230mm | Cu.m. | BOQ 5.2 | 11700 | 6800 | 72.06%
3 | Earthwork Excavation | Cu.m. | BOQ 1.2 | 300 | 180 | 66.67%
4 | 12mm Plaster (Internal) | Sq.m. | BOQ 6.1 | 385 | 240 | 60.42%
5 | Vitrified Tile Flooring | Sq.m. | BOQ 7.1 | 1970 | 1250 | 57.6%
NOTES: 1) Rates inclusive of wastage, overheads, profit. 2) GST applied separately in Abstract sheet. 3) Material coefficients per CPWD Analysis of Rates 2024. 4) Normal site conditions assumed for Lucknow, UP. 5) Rates valid 30 days from estimate date.

## BBS
BAR BENDING SCHEDULE (BBS)
As per IS 2502:1963 ¦ Steel: TMT Fe500 ¦ Project: G+1 Residential, Lucknow UP
Unit Weight Formula: W = D²/162.2 kg/m (where D = diameter in mm) ¦ Lap Length = 50D ¦ Development Length = 47D
S.No. | Member/Element | Bar Mark | Dia (mm) | Nos. | Length/bar (m) | Total Length (m) | Unit Wt (kg/m) | Total Wt (kg) | Shape Code | Remarks
A. FOUNDATION - ISOLATED FOOTINGS (12 Nos. 1200x1200x450mm)
1 | Footing Bottom-X | F1-BX | 12 | 96 | 1.15 | 110.4 | 0.88779 | 98.0123 | B-1 | 12 cols x 8 bars X-dir
2 | Footing Bottom-Y | F1-BY | 12 | 96 | 1.15 | 110.4 | 0.88779 | 98.0123 | B-1 | 12 cols x 8 bars Y-dir
3 | Footing Top mesh | F1-T | 10 | 96 | 1.15 | 110.4 | 0.61652 | 68.0641 | B-1 | Distribution
4 | Footing Dowels | F1-DW | 16 | 48 | 0.9 | 43.2 | 1.5783 | 68.1825 | L-1 | Column starter
Sub-total Footings (kg) | [7 empty] | 332.2713
B. COLUMNS (12 Nos. 230x300mm, Total Ht 6.10m + lap)
5 | Column Main bars | C1-M | 16 | 96 | 6.85 | 657.6 | 1.5783 | 1037.889 | B-1 | 8 bars x 12 cols
6 | Column Lap bars | C1-EX | 16 | 24 | 1 | 24 | 1.5783 | 37.8792 | B-1 | Lap = 50D at FL
7 | Column Stirrups (ends) | C1-S1 | 8 | 732 | 1 | 732 | 0.39457 | 288.8286 | T-1 | @150mm c/c at ends
8 | Column Stirrups (mid) | C1-S2 | 8 | 488 | 1 | 488 | 0.39457 | 192.5524 | T-1 | @200mm c/c mid
Sub-total Columns (kg) | [7 empty] | 1557.1492
C. PLINTH BEAMS (230x300mm, Total Length 45m)
9 | Plinth Beam Top bars | PB1-T | 12 | 2 | 45.5 | 91 | 0.88779 | 80.7891 | B-1 | Through length
10 | Plinth Beam Bot bars | PB1-B | 16 | 2 | 45.5 | 91 | 1.5783 | 143.6252 | B-1 | Through length
11 | Plinth Beam Lap | PB1-EX | 12 | 4 | 0.6 | 2.4 | 0.88779 | 2.1307 | B-1 | Lap allowance
12 | Plinth Beam Stirrups | PB1-S | 8 | 300 | 1.05 | 315 | 0.39457 | 124.291 | T-1 | @150mm c/c
Sub-total Plinth Beams (kg) | [7 empty] | 350.836
D. ROOF/FLOOR BEAMS (230x350mm, GF+FF Total 120m)
13 | GF Beam Top bars | RB1-T | 12 | 2 | 60.5 | 121 | 0.88779 | 107.4229 | B-1 | GF
14 | GF Beam Bot bars | RB1-B | 16 | 2 | 60.5 | 121 | 1.5783 | 190.9741 | B-1 | GF
15 | FF Beam Top bars | RB2-T | 12 | 2 | 60.5 | 121 | 0.88779 | 107.4229 | B-1 | FF
16 | FF Beam Bot bars | RB2-B | 16 | 2 | 60.5 | 121 | 1.5783 | 190.9741 | B-1 | FF
17 | Beam Stirrups (both fl) | RB-S | 8 | 800 | 1.15 | 920 | 0.39457 | 363.0086 | T-1 | @150mm c/c
Sub-total Roof Beams (kg) | [7 empty] | 959.8027
E. RCC SLABS (GF + FF, each 9.14 x 12.19m, 150mm)
18 | GF Slab Main (short way) | S1-MB | 10 | 122 | 9.34 | 1139.48 | 0.61652 | 702.5154 | B-1 | @100mm c/c
19 | GF Slab Distribution | S1-MT | 8 | 92 | 12.39 | 1139.88 | 0.39457 | 449.7677 | B-1 | @150mm c/c
20 | GF Slab Top (negative) | S1-T | 10 | 80 | 2 | 160 | 0.61652 | 98.6436 | B-1 | At supports
21 | FF Slab Main | S2-MB | 10 | 122 | 9.34 | 1139.48 | 0.61652 | 702.5154 | B-1 | @100mm c/c
22 | FF Slab Distribution | S2-MT | 8 | 92 | 12.39 | 1139.88 | 0.39457 | 449.7677 | B-1 | @150mm c/c
23 | FF Slab Top (negative) | S2-T | 10 | 80 | 2 | 160 | 0.61652 | 98.6436 | B-1 | At supports
Sub-total Slabs (kg) | [7 empty] | 2501.8535
F. STAIRCASE (Waist Slab + Steps)
24 | Waist slab main bars | ST-M | 12 | 12 | 5.2 | 62.4 | 0.88779 | 55.3983 | B-1 | @150mm c/c
25 | Waist slab distribution | ST-D | 8 | 22 | 1.4 | 30.8 | 0.39457 | 12.1529 | B-1 | @200mm c/c
26 | Step bars | ST-S | 8 | 32 | 1.2 | 38.4 | 0.39457 | 15.1517 | B-1 | Per step
Sub-total Staircase (kg) | [7 empty] | 82.7028
G. LINTELS & SUNSHADES (230x150mm)
27 | Lintel Top bars | L1-T | 10 | 2 | 50 | 100 | 0.61652 | 61.6523 | B-1 | GF + FF
28 | Lintel Bottom bars | L1-B | 10 | 2 | 50 | 100 | 0.61652 | 61.6523 | B-1 | GF + FF
29 | Lintel Stirrups | L1-S | 6 | 320 | 0.75 | 240 | 0.22195 | 53.2676 | T-1 | @150mm c/c
30 | Chajja/sunshade reinf | CH-1 | 8 | 60 | 1.5 | 90 | 0.39457 | 35.5117 | B-1 | Window chajjas
Sub-total Lintels (kg) | [7 empty] | 212.0838
STEEL SUMMARY BY DIAMETER
S.No. | Dia (mm) | Unit Wt (kg/m) | Total Length (m) |  | Total Weight (kg) |  | % of Total | Primary Application
1 | 6 | 0.22195 | 240 |  | 53.2676 |  | 0.8883% | Stirrups (Lintels)
2 | 8 | 0.39457 | 4893.96 |  | 1931.0323 |  | 32.2% | Stirrups (Col/Beam), Slab distribution
3 | 10 | 0.61652 | 2909.36 |  | 1793.6868 |  | 29.91% | Slab main bars, Lintel main
4 | 12 | 0.88779 | 618.6 |  | 549.1887 |  | 9.158% | Footings, Beam top, Staircase
5 | 16 | 1.5783 | 1057.8 |  | 1669.524 |  | 27.84% | Column main, Beam bottom
GRAND TOTAL STEEL (kg) |  |  |  |  | 5996.6994 |  | 100%
Add: Wastage @ 3% |  |  |  |  | 179.901 |  |  | Cutting losses
TOTAL STEEL REQUIRED (kg) |  |  |  |  | 6176.6004 |  |  | Round to nearest 10 kg
TOTAL STEEL (TONNES) |  |  |  |  | 6.1766 |  |  | → BOQ Section 4
STEEL COST CALCULATION
Total Steel (Tonnes) |  |  |  |  | 6.1766 |  |  | From summary above
Avg. Rate per Tonne (₹) - Market |  |  |  |  | 78500 |  |  | Fe500 TMT avg
Material Cost (₹) |  |  |  |  | 484863.1287 |  |  | Steel material only
Add: Cutting/Bending/Binding Labor (₹/Tonne) |  |  |  |  | 3500 |  |  | Standard rate
Labor Cost (₹) |  |  |  |  | 21618.1013 |  |  | Bar bender + helper
TOTAL STEEL COST (₹) |  |  |  |  | 506481.2299 |  |  | → BOQ Section 4
BBS NOTES & FORMULAS (IS 2502:1963)
1. Unit Weight (kg/m) = D² (mm²) / 162.2 ¦ Example: 12mm bar = 12²/162.2 = 0.888 kg/m
2. Lap Length: Tension = 50D ¦ Compression = 40D ¦ Stagger laps where possible
3. Development Length (Ld): 47D for M20 + Fe500 (refer IS 456 Table 65)
4. Hook Length for stirrups: 9D ¦ Bend deduction = 2D per 90° bend
5. Cover (clear): Footings 50mm ¦ Columns 40mm ¦ Beams 25mm ¦ Slabs 20mm
6. Shape Codes: B-1 = Straight bar ¦ T-1 = Rectangular stirrup ¦ L-1 = L-bent bar
7. Wastage @ 3% covers cutting losses and additional overlaps not detailed above

## Abstract
ABSTRACT OF COST - PROJECT FINANCIAL SUMMARY
Consolidated Cost Statement ¦ Project: Residential G+1 House, Lucknow UP
Built-up Area: |  | 1800 | Sq.ft | 167.22 | Sq.m (Metric)
Active Rate Source: |  | Market |  | Change toggle in Project_Info!C35
S.No. | BOQ Ref | Description of Section | Unit | Amount (₹) | % Share | Remarks
PART A: BOQ SECTION-WISE TOTALS (CIVIL WORKS)
1 | Sec-1 | Earthwork (Site clearance, excavation, filling) | LS | 37044.25 | 1.308% | Manual excavation
2 | Sec-2 | Concrete Works (PCC + RCC M20/M25) | LS | 441200 | 15.58% | Slabs, beams, columns
3 | Sec-3 | Formwork & Scaffolding | LS | 155100 | 5.478% | Centering/shuttering
4 | Sec-4 | Reinforcement Steel (Fe500 TMT) | LS | 416380 | 14.71% | Per BBS sheet
5 | Sec-5 | Masonry Work (Brick + Block) | LS | 328350 | 11.6% | 230 + 115mm walls
6 | Sec-6 | Finishing (Plaster + Painting) | LS | 364500 | 12.87% | Internal + external
7 | Sec-7 | Flooring & Tiling | LS | 279350 | 9.866% | Vitrified + ceramic
8 | Sec-8 | Roofing & Waterproofing | LS | 179140 | 6.327% | Terrace treatment
9 | Sec-9 | Doors, Windows & Woodwork | LS | 180905 | 6.389% | All openings
10 | Sec-10 | Miscellaneous & Provisional Items | LS | 449500 | 15.88% | Plumbing, electrical
SUB-TOTAL CIVIL WORKS (A) |  |  |  | 2831469.25 | 100% | #NAME?
PART B: ADDITIONAL CHARGES (NOT IN BOQ)
11 | — | Contingencies (unforeseen expenses) | % | 141573.4625 | 5% | 5% on civil cost
12 | — | Site Establishment & Mobilization | LS | 25000 | 0.8829% | Site office, storage
13 | — | Statutory Approvals & Sanctions | LS | 35000 | 1.236% | Building plan, NOCs
14 | — | Testing & Quality Control | LS | 15000 | 0.5298% | Cube tests, soil test
15 | — | Insurance (Workmen + CAR) | LS | 18000 | 0.6357% | WC + CAR policy
SUB-TOTAL ADD-ONS (B) |  |  |  | 234573.4625 | 8.285%
TOTAL PROJECT COST BEFORE TAXES (A+B) |  |  |  | 3066042.7125 |  | Pre-GST
PART C: GST CALCULATION (18% on Works Contract)
16 | — | CGST @ 9% (Central GST) | % | 275943.8441 | 9.746% | Central
17 | — | SGST @ 9% (Uttar Pradesh State GST) | % | 275943.8441 | 9.746% | State
TOTAL GST @ 18% (C) |  |  |  | 551887.6883 | 19.49% | Works Contract
GRAND TOTAL PROJECT COST (A+B+C) |  |  |  | 3617930.4008 |  | All Inclusive
Amount in Words: |  |  |  | Rupees Thirty-Six Lakhs Approximately Only
KEY COST INDICATORS (KPI)
S.No. | Indicator |  |  | Value | Benchmark/Note
1 | Cost per Sq.ft (Civil only) |  |  | 1573.0385 | ₹1,500-2,000 (UP avg)
2 | Cost per Sq.m (Civil only) |  |  | 16932.5993 | ₹16,000-22,000
3 | Cost per Sq.ft (All Inclusive) |  |  | 2009.9613 | Including GST + Add-ons
4 | Steel Consumption (kg/Sq.ft) |  |  | 3.4314 | 3.5-4.5 kg/sft typical
5 | Total Steel (Tonnes) |  |  | 6.1766 | Per BBS sheet
6 | Project Duration (months) |  |  | 8 | Typical for G+1
COST DISTRIBUTION: MATERIAL vs LABOR vs OVERHEADS
S.No. | Component |  | Est. % | Amount (₹) | Description
1 | Materials (Cement, Steel, Sand, Bricks, Tiles) |  | 55% | 1557308.0875 | Major material costs
2 | Labor (Skilled + Unskilled) |  | 25% | 707867.3125 | All trades
3 | Equipment & Tools |  | 5% | 141573.4625 | Mixer, vibrator, scaffold
4 | Overheads & Profit (in rates) |  | 15% | 424720.3875 | Site OH + margin
TOTAL |  |  | 100% | 2831469.25
ABSTRACT NOTES
1. All amounts inclusive of materials, labor, wastage, overheads, and contractor profit unless specified.
2. GST @ 18% applicable on works contract per CGST Act 2017 + UP State GST.
3. Contingency @ 5% recommended for unforeseen site conditions and design variations.
4. Statutory approvals, deposits, utility connections are EXTRA unless explicitly included.
5. Cost per Sq.ft includes only civil works. Interior, modular furniture, external development not included.
6. Estimate valid for 30 days. Material price fluctuations may impact final cost.
7. Final billing on actual measurements (RA bills) per IS 1200 with mutually agreed rates.

## Dashboard
EXECUTIVE DASHBOARD - PROJECT COST SUMMARY
Construction Estimator India ¦ Residential G+1 House, Lucknow UP ¦ 2026
TOTAL PROJECT COST |  |  | COST PER SQ.FT (All-In) |  |  | TOTAL BUILT-UP AREA
3617930.4008 |  |  | 2009.9613 |  |  | 1800
CIVIL WORKS (PRE-GST) |  |  | GST (18%) |  |  | STEEL CONSUMPTION
2831469.25 |  |  | 551887.6883 |  |  | 6.1766
SECTION-WISE COST DISTRIBUTION | [5 empty] | MATERIAL vs LABOR vs OVERHEADS
Section | Amount (₹) |  | % Share |  |  | Component | Amount (₹) |  | % Share
Earthwork |  |  | #DIV/0! |  |  | Materials | 1557308.0875 |  | 55%
Concrete Works |  |  | #DIV/0! |  |  | Labor | 707867.3125 |  | 25%
Formwork |  |  | #DIV/0! |  |  | Equipment | 141573.4625 |  | 5%
Reinforcement |  |  | #DIV/0! |  |  | Overheads/Profit | 424720.3875 |  | 15%
Masonry |  |  | #DIV/0! |  |  | TOTAL | 2831469.25 |  | 100%
Finishing |  |  | #DIV/0!
Flooring |  |  | #DIV/0!
Roofing & WP |  |  | #DIV/0!
Doors & Windows |  |  | #DIV/0!
Miscellaneous |  |  | #DIV/0!
TOTAL |  |  | #DIV/0!
WHAT-IF ANALYSIS: Material Price Fluctuation Impact
Scenario | Cement % | Steel % | Sand % | Civil Impact (₹) | New Civil (₹) | GST Impact (₹) | New Grand Total (₹) | Variance from Base
Base Case | 0% | 0% | 0% | 0 | 2831469.25 | 509664.465 | 3617930.4008 | Current estimate (reference)
Mild Increase (+5%) | 5% | 5% | 5% | 77865.4044 | 2909334.6544 | 523680.2378 | 3667588.3547 | 49657.9539
Moderate (+10%) | 10% | 10% | 10% | 155730.8087 | 2987200.0587 | 537696.0106 | 3759469.5318 | 141539.1311
High Increase | 15% | 20% | 10% | 233596.2131 | 3065065.4631 | 551711.7834 | 3851350.709 | 233420.3082
Worst Case | 25% | 30% | 20% | 389327.0219 | 3220796.2719 | 579743.3289 | 4035113.0633 | 417182.6626
Mild Decrease | -5% | -5% | -5% | -77865.4044 | 2753603.8456 | 495648.6922 | 3483826.0003 | -134104.4004
CASH FLOW PROJECTION (Monthly Disbursement)
Month | Stage | % Cost | Monthly (₹) | Cumulative (₹) | % Cumulative | Major Activities
1 | Foundation | 10% | 361793.0401 | 361793.0401 | 10% | Excavation, PCC, Footings, Plinth
2 | GF Columns | 10% | 361793.0401 | 723586.0802 | 20% | Columns to plinth, Plinth beam
3 | GF Walls & Roof | 15% | 542689.5601 | 1266275.6403 | 35% | GF Brickwork, GF Roof Slab
4 | FF Columns & Walls | 12% | 434151.6481 | 1700427.2884 | 47% | FF Columns, FF Walls
5 | FF Roof & Staircase | 13% | 470330.9521 | 2170758.2404 | 60% | FF Slab, Staircase, Parapet
6 | Plaster & WP | 12% | 434151.6481 | 2604909.8885 | 72% | Plaster, Waterproofing
7 | Flooring & Tiling | 13% | 470330.9521 | 3075240.8406 | 85% | All tile work, granite, kota
8 | Finishing & Handover | 15% | 542689.5601 | 3617930.4008 | 100% | Paint, doors, plumbing, electrical, handover
RISK REGISTER (Top 6 Project Risks)
Risk ID | Risk Description | Probability | Impact | Score | Mitigation | Owner & Action
R1 | Material price escalation (cement/steel) | High | High | 9 | Lock prices in advance | Site Engineer - Bulk procurement
R2 | Monsoon delays (June-Sept) | Medium | High | 6 | Schedule slabs pre-monsoon | PM - Tarpaulin/cover ready
R3 | Labor shortage during harvest | Medium | Medium | 4 | Engage labor contractor early | HR - Multiple agencies
R4 | Design changes by client | Medium | High | 6 | Sign-off drawings before start | Architect - Change order policy
R5 | Statutory approval delays | Low | High | 3 | Apply early, weekly follow-up | Liaison - Pre-application
R6 | Soil bearing capacity issues | Low | High | 3 | Confirm soil test before excavation | Structural Engineer
EXECUTIVE SUMMARY
Project: Residential G+1 House (1,800 Sq.ft built-up) at Lucknow, Uttar Pradesh. Total Project Cost: ₹36,17,930 inclusive of 18% GST and 5% contingencies. Civil construction estimated at ₹28,31,469 covering all 10 standard BOQ sections per CPWD specifications. Steel consumption 6.18 tonnes (3.43 kg/sqft), well within industry benchmarks. Major cost centers: Concrete Works (15.6%), Miscellaneous services (15.9%), and Reinforcement (14.7%). Project duration estimated at 8 months with monthly cash flow projections. Recommended to lock material prices early and complete slab works before monsoon to mitigate top risks. Cost per Sq.ft. all-inclusive ₹2,010 - within UP residential benchmark range. Estimate valid 30 days. Contractor profit 15%, overheads 10% per CPWD standards.
© 2026 Construction Estimator India ¦ Lucknow, UP ¦ Accurate Estimates ¦ Smart Solutions ¦ www.constructionestimatorindia.com

## Terms_Conditions
TERMS & CONDITIONS - CONSTRUCTION CONTRACT
Construction Estimator India ¦ Effective Date: 27-May-2026 ¦ Valid for 30 days
S.No. | Category | Terms & Conditions | Reference
1. PAYMENT TERMS
1.1 | Advance Payment | 20% of estimated value as mobilization advance against bank guarantee, payable within 7 days of work order issuance. | Clause 1.1
1.2 | Progress Payments | Monthly Running Account (RA) bills based on actual work executed and certified by Engineer-in-Charge. Payment within 15 days of bill submission. | IS 1200
1.3 | Retention Money | 5% of each RA bill retained as Security Deposit, released as: 50% on completion, 50% after Defect Liability Period (12 months). | CPWD norm
1.4 | Final Payment | Final bill within 60 days of completion certificate. Subject to verification of all measurements, quality tests, and statutory clearances. | Clause 1.4
1.5 | Mode of Payment | Payment via NEFT/RTGS only. Cash payments not accepted above ₹10,000 per IT Act Section 40A(3). | IT Act
2. SCOPE & MEASUREMENT
2.1 | Method of Measurement | All measurements as per IS 1200 (Method of Measurement of Building & Civil Engineering Works). | IS 1200
2.2 | Specifications | Workmanship and materials shall conform to CPWD Specifications 2019 (Vol. 1 & 2) and applicable Indian Standards. | CPWD Spec
2.3 | Drawings | Construction strictly per architectural and structural drawings issued by registered Architect/Structural Engineer. Any deviation requires written approval. | Clause 2.3
2.4 | Variation Orders | Variations up to ±10% of contract value admissible at agreed rates. Beyond 10%, rates may be renegotiated. | Clause 2.4
2.5 | Extra Items | Items not in BOQ but required for completion shall be paid at mutually agreed rates derived from CPWD DSR 2024 or market rates. | DSR 2024
3. QUALITY & TESTING
3.1 | Cement Quality | Only ISI marked OPC/PPC from approved brands (UltraTech, ACC, Ambuja, Shree, Birla). Test certificates required for each batch. | IS 269/IS 1489
3.2 | Steel Quality | Fe500/Fe500D TMT bars from primary producers (TATA, SAIL, JSW). Mill test certificates required. Random samples tested per IS 1786. | IS 1786
3.3 | Concrete Testing | Minimum 3 cube tests per 30 cum or per day's pour. 28-day strength must meet specified grade. Failed batches to be re-tested and rectified. | IS 516, IS 456
3.4 | Soil Testing | Soil bearing capacity test to be conducted before foundation design finalization. SBC certificate to be submitted. | IS 1888
3.5 | Third-Party Inspection | Owner reserves right to appoint third-party inspector at any stage. Costs borne by contractor if defects found. | Clause 3.5
4. TIMELINE & PENALTIES
4.1 | Project Duration | 8 months from work commencement date. Detailed schedule per cash flow in Dashboard sheet. | Clause 4.1
4.2 | Liquidated Damages | 0.5% of contract value per week of delay (beyond grace period), max 5% of contract value. | Clause 4.2
4.3 | Force Majeure | Delays due to natural calamities, government orders, strikes, or pandemic to be granted extension without penalty. | Clause 4.3
4.4 | Monsoon Allowance | 30 days extension granted for monsoon (June 15 - Sept 15) without LD if slab/external works affected. | UP Climate
5. STATUTORY COMPLIANCE
5.1 | GST Registration | Contractor must hold valid GSTIN. Tax invoices with GSTIN mandatory for all payments. Reverse charge mechanism not applicable. | GST Act 2017
5.2 | Labor Laws | Compliance with Minimum Wages Act, EPF, ESI, BOCW Cess (1% of cost). Workers must hold valid identity proof. | Multiple Acts
5.3 | Safety | PPE mandatory for all workers (helmets, safety shoes, harnesses). Safety net for working above 3m height. | BOCW Act
5.4 | Insurance | Contractor's All Risk (CAR) policy and Workmen Compensation policy covering entire project duration mandatory. | Insurance Act
5.5 | Environmental | Dust control, debris management, water sprinkling as per NGT/local pollution board norms. | NGT Orders
6. DEFECT LIABILITY & WARRANTY
6.1 | Defect Liability Period | 12 months from date of practical completion. All defects in workmanship/materials rectified at contractor's cost. | Clause 6.1
6.2 | Waterproofing Warranty | 5 years against terrace leakage with annual inspection. Re-treatment if leakage observed. | Clause 6.2
6.3 | Structural Warranty | 10 years against structural defects from date of completion as per RERA guidelines. | RERA Act 2016
6.4 | Material Warranty | Manufacturer's warranty applies to fittings, fixtures, tiles, sanitaryware. Original bills to be handed over. | Clause 6.4
7. DISPUTE RESOLUTION
7.1 | Amicable Settlement | Disputes first to be resolved by mutual discussion within 30 days. | Clause 7.1
7.2 | Arbitration | Unresolved disputes referred to sole arbitrator under Arbitration & Conciliation Act 1996 (as amended). | A&C Act 1996
7.3 | Jurisdiction | Subject to courts at Lucknow, Uttar Pradesh only. | Clause 7.3
8. EXCLUSIONS (NOT IN ESTIMATE)
8.1 | Land & Approvals | Land cost, plot registration, building plan sanction fees, development charges - by Owner. | Owner Scope
8.2 | Utilities | Electrical service connection, water connection, sewer connection fees by Owner. | Owner Scope
8.3 | Interior Works | Modular kitchen, wardrobes, false ceiling, lighting fixtures, furniture - separate scope. | Owner Scope
8.4 | External Works | Compound boundary wall (beyond provision), landscaping, gate, paving - separate scope. | Owner Scope
8.5 | Lifts/Elevators | Not included in current estimate. | Owner Scope
8.6 | Solar/MEP | Solar panels, water tanks beyond 1000L, RO/UV systems - separate scope. | Owner Scope
ACCEPTANCE & SIGNATURES
Client Acceptance |  | Contractor Acceptance
Name: __________________ Date: ___________ |  | Name: __________________ Date: ___________
Designation: ____________ Signature: _________ |  | Authorized Signatory Construction Estimator India
© 2026 Construction Estimator India ¦ All Rights Reserved ¦ These terms supersede any prior agreements

## Revision_History
REVISION HISTORY - DOCUMENT CONTROL LOG
Construction Estimator India ¦ Estimate Document Tracking ¦ ISO 9001 Compliant
Rev No. | Date | Prepared By | Approved By | Description of Changes / Reason for Revision | Status
R0 | 01-May-2026 | K.Singh (Sr. QS) | R.Verma (PM) | Initial estimate prepared based on architectural drawings dated 25-Apr-2026 and structural design dated 28-Apr-2026. Market rates from May 2026 survey of Lucknow UP region. | ISSUED
R1 | 10-May-2026 | K.Singh (Sr. QS) | R.Verma (PM) | Updated steel rates from ₹76,500/MT to ₹78,500/MT as per market correction. Revised cement to OPC 43 (was 53). Re-calculated BBS for revised column dimensions. | DRAFT
R2 | — | — | — | [Future revision placeholder - update on client comments] | PENDING
R3 | — | — | — | [Future revision placeholder] | PENDING
R4 | — | — | — | [Future revision placeholder - final approved version] | PENDING
REVISION GUIDELINES & PROTOCOL
Aspect |  | Description / Protocol
Revision Numbering |  | R0 = Initial issue ¦ R1, R2... = Subsequent revisions ¦ RF = Final approved ¦ After RF, use change orders (CO-01, CO-02)
Frequency |  | Revisions issued upon: design changes, scope additions, market rate updates >5%, client comments, statutory changes
Approval Authority |  | Sr. QS prepares, Project Manager checks, Technical Director approves changes >₹50,000 or >2% of contract
Distribution |  | Each revision distributed to: Client, Architect, Structural Engineer, Site Engineer, Accounts (PDF + Excel)
Storage |  | All revisions archived in project folder. Latest version supersedes all previous. Maintained for 7 years per Companies Act.
Change Highlight |  | Changes from previous revision highlighted in YELLOW with cross-reference in this log
STATUS LEGEND
Status | Description
DRAFT | Under preparation - not for execution
ISSUED | Approved and released for client review/work order
REVISED | Updated with changes - supersedes previous version
APPROVED | Client-signed copy - basis for contract
PENDING | Awaiting input or future revision slot
OBSOLETE | Superseded - retain for record only
DOCUMENT METADATA
Document Number: |  | CEI/EST/2026/001
Current Revision: |  | R1
Current Status: |  | DRAFT
Total Project Cost: |  | 3617930.4008
Document Owner: |  | Construction Estimator India - QS Department
Last Updated: |  | 27-May-2026
Next Review Due: |  | 26-Jun-2026
INSTRUCTIONS FOR USE OF THIS TEMPLATE
1. INPUT CELLS: Yellow-highlighted cells (#FFF2CC) are user-editable. All other cells are formula-driven - DO NOT overwrite.
2. RATE TOGGLE: Change rate source (DSR/Market) in Project_Info!C35. All sheets auto-update.
3. UPDATE MARKET RATES: Update Column G in Market_Rates sheet monthly. Applied Rate column auto-recalculates.
4. ADD BOQ ITEMS: Insert rows within section ranges. Ensure SUM formulas in subtotal rows include new rows.
5. PROTECTION: Sheet protection recommended - allow only Yellow input cells. Password: project-specific.
6. PDF EXPORT: Use File > Export > PDF. Select 'Workbook' for full document. Set print area in each sheet.
7. REVISION CONTROL: Log each change in this sheet (Rev R1, R2...). Save copies with naming: CEI_EST_2026_001_R[X].xlsx
8. BACKUP: Save backup before each revision. Cloud backup recommended (Google Drive/OneDrive).
© 2026 Construction Estimator India ¦ Lucknow, UP ¦ Accurate Estimates ¦ Smart Solutions